## Slide 1
Dan Donecker
BAE/MAE – Structural Option
Senior Thesis Project
35 West 21st Street
New York, New York

## Slide 2
35 West 21st Street
Dan Donecker – Structural Option
Presentation Outline
Building Introduction
Existing Conditions
Thesis Proposal
Structural Redesign: Gravity
Structural Redesign: Lateral
Breadth Redesign: Architecture
Comparison of Existing and Redesigned Building
Questions

## Slide 3
35 West 21st Street
Dan Donecker – Structural Option
Existing Conditions
- General
Location: 35w 21st Street, NY, NY
16 Stories – 160 ft above grade
162,000 sq. ft
Occupancy:
  First floor Retail
  Stories 2-15, Residential
Owner: Roseland Associates
Architect: SLCEArchitects
Struct. Engr.: DeSimone Consulting Engineers
Mech. Engr.: Cosentini Associates
CM: Plaza Construction Corporation

## Slide 4
35 West 21st Street
Dan Donecker – Structural Option
Existing Conditions
- Architecture
Building composed of two sections
  16 story tower (blue)
  8 story tower (green)
N

## Slide 5
35 West 21st Street
Dan Donecker – Structural Option
Existing Conditions
Architecture
Towers connected at Two levels
Classic stone façade

## Slide 6
35 West 21st Street
Dan Donecker – Structural Option
Existing Conditions
Structural: floor
Two – way flat plate
  8” thick (typ.)
  5 ksi concrete
  Studrails at
  columns with
  high shear
N

## Slide 7
35 West 21st Street
Dan Donecker – Structural Option
Existing Conditions
Structural: Columns
Rectangular Col.
  No typical size
  No typical spacing
  Position governed
  by architecture
  5.95 ksi concrete
  Studrails in areas
  of high shear
N

## Slide 8
35 West 21st Street
Dan Donecker – Structural Option
Existing Conditions
Structural: Lateral system
Shear wall system
  5.95 ksi concrete
  Position governed
  by architecture
N

## Slide 9
35 West 21st Street
Dan Donecker – Structural Option
Thesis Proposal
Summary
Create regular column grid
Minimize floor thickness
Optimize lateral system
Integrate architecture and structural
Remove ceiling cavity

## Slide 10
35 West 21st Street
Dan Donecker – Structural Option
Thesis Proposal
Goals
The ultimate goal of this thesis is to minimize the floor-to-floor height of each story in order to add an extra floor without increasing the overall building height. Also to increase constructability by providing a regular column grid and typical column sizes

## Slide 11
35 West 21st Street
Dan Donecker – Structural Option
Structural Redesign:
- Gravity Columns
Create Regular Column Grid
Design Columns Per New Grid

## Slide 12
35 West 21st Street
Dan Donecker – Structural Option
Structural Redesign:
- Gravity Columns
N
Existing column layout
Revised column layout

## Slide 13
35 West 21st Street
Dan Donecker – Structural Option
Structural Redesign:
Gravity Columns
Column load take down
spreadsheet
PCA Slab for moments

## Slide 14
35 West 21st Street
Dan Donecker – Structural Option
Structural Redesign:
Gravity Columns
PCA Column used to design gravity columns
for biaxial bending and compression

## Slide 15
35 West 21st Street
Dan Donecker – Structural Option
Structural Redesign:
Gravity Columns
Number of columns reduced
  Existing – 31
  Redesign – 16
Number of different cross sections
  Existing – 14
  Redesign – 3

## Slide 16
35 West 21st Street
Dan Donecker – Structural Option
Structural Redesign:
- Gravity Floor
Post-Tension 2-way Flat Plate
  Reduce Floor Thickness
  Add Another Level?
Picture from Holbert Apple Associates, Inc.

## Slide 17
35 West 21st Street
Dan Donecker – Structural Option
Structural Redesign:
- Gravity Floor
Post-Tension 2-way Flat Plate
Per Chapter 13 & 18 of ACI 318-05
Frame 1
Frame 4
Frame 3
Frame 2

## Slide 18
35 West 21st Street
Dan Donecker – Structural Option
Structural Redesign:
- Gravity Floor
Post-Tension 2-way Flat Plate
PCA Slab used to determine moments and shears
FRAME 1

## Slide 19
35 West 21st Street
Dan Donecker – Structural Option
Structural Redesign:
- Gravity Floor

## Slide 20
35 West 21st Street
Dan Donecker – Structural Option
Structural Redesign:
- Gravity Floor

## Slide 21
35 West 21st Street
Dan Donecker – Structural Option
Structural Redesign:
Gravity Floor
Studrail Design
Decon Studrail design http://www.deconusa.com/

## Slide 22
35 West 21st Street
Dan Donecker – Structural Option
Structural Redesign:
- Gravity Floor
10 – ½” Diam. Strands
10 – ½” Diam. Strands
20 – ½” Diam.
Strands
20 – ½” Diam.
Strands
1 – ½” Diam.
Strand @ 12 (typ.)

## Slide 23
35 West 21st Street
Dan Donecker – Structural Option
Structural Redesign:
Gravity Floor
Existing floor thickness – 8”
Redesigned floor thickness – 6”
Additional 26” of height available
Decreased cu. Yd. of Concrete needed
Increased difficulty of construction

## Slide 24
35 West 21st Street
Dan Donecker – Structural Option
Structural Redesign:
- Lateral
Optimize Shear Walls
  Integrate into new
  grid and arch.
  Do not decrease
  performance

## Slide 25
35 West 21st Street
Dan Donecker – Structural Option
Structural Redesign:
- Lateral
Existing shear wall plan
Redesigned shear wall plan
N

## Slide 26
35 West 21st Street
Dan Donecker – Structural Option
Structural Redesign:
- Lateral
Performance not decreased
by new plan

## Slide 27
35 West 21st Street
Dan Donecker – Structural Option
Structural Redesign:
Lateral – loads/drifts
Wind – ASCE 7-05 CH. 6
Seismic – ASCE 7-05 CH. 11 & 12
% Diff. wind = 1.1 %
% Diff. seismic = 3.8 %

## Slide 28
35 West 21st Street
Dan Donecker – Structural Option
Structural Redesign:
Lateral – Shear wall design
Explicit modeling of basement walls and ground floor diaphragm
  Large increase in maximum shear wall force
  Shear reversal
  87% increase

## Slide 29
35 West 21st Street
Dan Donecker – Structural Option
Structural Redesign:
Lateral – Shear wall design
Reinforcement governed By Minimum per
ACI 318-05 Chapters 10, 11 & 14
Chapter 21 need not be considered
  Ordinary reinforced conc. Shear wall

## Slide 30
35 West 21st Street
Dan Donecker – Structural Option
Structural Redesign:
Lateral – Shear construction
No link beams in new design
Existing cu. Yd of Conc. = 575
Redesign Cu. Yd of Conc. = 628
9.2% increase
Attribute needed increase in concrete to explicit modeling of basement and ground floor diaphragm

## Slide 31
35 West 21st Street
Dan Donecker – Structural Option
Architectural Breadth:
Floor Plans
Integrate structural grid and new shear wall plan with architecture
Existing Arch. Floor Plan
Redesigned Arch. Floor Plan

## Slide 32
35 West 21st Street
Dan Donecker – Structural Option
Mechanical Breadth:
Individual Heat Pumps
Remove ceiling cavity
Replace mechanical
ductwork with
Individual Air-to-Air
Heat pumps for each
apartment unit

## Slide 33
35 West 21st Street
Dan Donecker – Structural Option
Conclusions:
Reduced slab thickness of 2”
Reduced ceiling cavity of 6”
Total reduction in height of 9’-6”
  Allows for additional story
Additional story has little effect on wind and seismic resisting elements as well as foundations
Decreased cost of construction for columns
Additional revenue from extra story outweighs the upfront costs of a post-tensioned slab.
Overall, Redesign is recommended

## Slide 34
35 West 21st Street
Dan Donecker – Structural Option
Acknowledgements:
DeSimone Consulting
Engineers – Ben Downing
and Josh Gerard
All of the AE Faculty
  Especially :
  Professor Parfitt
  Dr. Lepage
  Dr. Memari
Thesis Advisor:
  Dr. Boothby

## Slide 35
35 West 21st Street
Dan Donecker – Structural Option
Questions?