## Slide 1
Presentation 4: Proposal
AEI Student Competition:
Reading School District Elementary School
Construction
Jenna Dumke
Jeff Sopinski
Structural
Patrick Zuza
Emily Wychock
Lighting/Electrical
Abby Kun
Amanda Small
Mechanical
Kristiana McMunn
Mike Hoffacker
goals BIM schedule site packages renovation results

## Slide 2
Results
Results
Purpose & Team Goals
Team Goal: To create an innovative, high-performance environment in a way that stimulates involvement in both education & the community.
Higher Attendance
Improved Teacher Satisfaction
Efficiency
Functionality
Community
Appeal
LEED Certification
Safer Environment
Lower Operational
Costs
Median Construction Cost
Higher Test Scores
goals BIM schedule site packages renovation results

## Slide 3
BIM Execution Plan
BIM Uses | Applicable Software
Scheduling | P6
Clash Detection | Navisworks
Estimating | RSMeans CostWorks
Virtual Mockups | SketchUp
BIM Uses | Applicable Software
Systems Coordination | Revit
Gravity System | RAM
Lateral System | ETABS
Modeling Space Frames | AutoCAD
Masonry Design | RAM Element
BIM Uses | Applicable Software
Lighting Calculations | AGi32
Daylighting & Electrical Integration | Daysim
Wiring, Circuiting, Systems Coordination | Revit
Rendering | 3ds Max
BIM Uses | Applicable Software
Scheduling | Trace
Clash Detection | Revit
4D Modeling | Excel
goals BIM schedule site packages renovation results

## Slide 4
Production Schedule
goals BIM schedule site packages renovation results
Proposal Presentation
Winter
Break
Progress Review 1
Progress Review 2
Progress Review 3

## Slide 5
Master Plan
Proposed Plan
Our Plan
Design Considerations
Restricted Site
Renovation
Traffic Flow
Parking Accessibility
Geothermal Boring Location
Constructability
Site Lighting and Light Trespass
goals BIM schedule site packages renovation results

## Slide 6
Enclosure
create a functional barrier from exterior elements while maintaining aesthetic appeal & interior comfort.
goals BIM schedule site packages renovation results
Notes: Design Considerations:
-

## Slide 7
Enclosure
create a functional barrier from exterior elements while maintaining aesthetic appeal & interior comfort.
CONSTRUCTABILITY
Two concrete wythes separated by insulation
Lightweight = larger panel sizes, smaller structural frame
Less crane picks, faster installation
Local fabricator within 20 miles = fast deliveries, low delivery costs
$27 per SF
$1,102,300.00
WALL DESIGN GOALS To achieve our target U-value, while minimizing costs and optimizing energy efficiency and constructability. WALL DESIGN CRITERIA ASHRAE 90.1 Required U-value = 0.069 ASHRAE 50% energy savings recommended U-value = 0.037
RESULTS OUR WALL: U-Value = 0.383
goals BIM schedule site packages renovation results
Notes: Design Considerations:
-

## Slide 8
Enclosure
create a functional barrier from exterior elements while maintaining aesthetic appeal & interior comfort.
FENESTRATION DESIGN GOALS To maximize the amount of natural daylight in the classroom spaces, while minimizing the cost of construction and optimizing energy savings. FENESTRATION DESIGN CRITERIA ASHRAE 90.1 Requirements: U-Value = 0.55, SHGC = 0.4, ASHRAE 50% Energy savings recommendation: U-value = 0.45, SHGC = 0.5, VT = 0.63
Window to Wall Ratio < 40%
RESULTS
Our Window: U-Value = 0.54, SHGC = 0.4, VT = 0.6
Window to Wall Ratio = 29.5%
goals BIM schedule site packages renovation results

## Slide 9
Enclosure
create a functional barrier from exterior elements while maintaining aesthetic appeal & interior comfort.
ZONE 4
ZONE 1
ZONE 2
ZONE 5
ZONE 3
Light Shelf and Clerestory Layout
1
2
3
5
Clerestory
Clerestory & Lightshelf
3
4
Curtain Walls
Lightshelf
goals BIM schedule site packages renovation results

## Slide 10
Enclosure
create a functional barrier from exterior elements while maintaining aesthetic appeal & interior comfort.
Light Shelf and Clerestory Layout
1
2
3
5
Clerestory
Clerestory & Lightshelf
3
4
Curtain Walls
Lightshelf
goals BIM schedule site packages renovation results
Panels attached to steel frame
Bay spacing to accommodate desired window area

## Slide 11
Enclosure
ROOF DESIGN GOALS To achieve our target U-value, while minimizing additional structure costs and optimizing energy efficiency and constructability. ROOF DESIGN CRITERIA ASHRAE 90.1 U-value = 0.048 with insulation entirely above deck, c.i. ASHRAE 50% energy savings recommended U-value = 0.0333 with c.i
RESULTS Our Roof: U-value = 0.0333
Green Roof Depth: 4”
Compared to a dark roof :
Electrical: 3179.2 kWh
Total Energy Cost Savings: $407.40
Compared to a white roof :
Electrical: 1707.7 kWh
Total Energy Cost Savings: $288.79
Green Roof Analysis
CONSTRUCTABILITY
Lightweight system
Minimal maintenance
Retains rainwater during droughts
Open joint assembly
Access to substrate
goals BIM schedule site packages renovation results

## Slide 12
Enclosure
WALL: U-Value = 0.383
ROOF: U-value = 0.033
WINDOW: U-Value = 0.540, SHGC = 0.4, VT = 0.6
ENTIRE ENCLOSURE ENERGY SAVINGS
Results
goals BIM schedule site packages renovation results
create a functional barrier from exterior elements while maintaining aesthetic appeal & interior comfort.
Reduced energy use intensity by 22 kBTU/ft^2-yr
(represents all selected enclosure materials with a ground source heat pump system)

## Slide 13
Atrium
create an attractive & secure entrance to welcome students, faculty, and guests.
goals BIM schedule site packages renovation results
Notes: Design Considerations
-optimum daylight while keeping mechanical loads reasonable
-architecture
-access to spaces

## Slide 14
Atrium
goals BIM schedule site packages renovation results
create an attractive & secure entrance to welcome students, faculty, and guests.
DESIGN CONSIDERATIONS
Mechanical loads
  Glass – high solar loads
  Air must be supplied for all three floors
Glare
Diffuse Daylighting
Light Levels
Safety

## Slide 15
Atrium
December 21st @ Noon
Average Illuminance: 25 fc
June 21st @ Noon
Average Illuminance: 53 fc
goals BIM schedule site packages renovation results
create an attractive & secure entrance to welcome students, faculty, and guests.

## Slide 16
Classrooms
create a stimulating & comfortable learning environment.
goals BIM schedule site packages renovation results
Notes: Design considerations:
-controlled natural day lighting
-indoor air quality and thermal comfort
-adaptable to student needs
-energy savings

## Slide 17
Classrooms
create a stimulating & comfortable learning environment.
goals BIM schedule site packages renovation results
Notes: Design considerations:
-controlled natural day lighting
-indoor air quality and thermal comfort
-adaptable to student needs
-energy savings

## Slide 18
Classrooms
create a stimulating & comfortable learning environment.
Cork board
W12x40
W14x68
4.5”
12”
2’ 7.5”
plenum
SUPPLY
RETURN
Typical bay 28 x 30
Limited beam depths
Composite metal deck
goals BIM schedule site packages renovation results
Notes: Design considerations:
-controlled natural day lighting
-indoor air quality and thermal comfort
-adaptable to student needs
-energy savings

## Slide 19
Classrooms
create a stimulating & comfortable learning environment.
Cork board
W12x40
W14x68
4.5”
12”
2’ 7.5”
plenum
Braced Frame
SUPPLY
RETURN
goals BIM schedule site packages renovation results
Masonry Shear Wall
Notes: Design considerations:
-controlled natural day lighting
-indoor air quality and thermal comfort
-adaptable to student needs
-energy savings

## Slide 20
Classrooms
create a stimulating & comfortable learning environment.
Supply
Return
Cork board
W12x40
W14x68
4.5”
12”
2’ 7.5”
plenum
SUPPLY
RETURN
goals BIM schedule site packages renovation results
Notes: Design considerations:
-controlled natural day lighting
-indoor air quality and thermal comfort
-adaptable to student needs
-energy savings

## Slide 21
Test Mode (Full Output)
50% Light Output with Board Light
A/V Mode
Company | Fixture Series | Mounting | Lamp
Pinnacle | Linero 8 – 4’ & 8’ | Suspended | T8
Ledalite | Jump – 8’ | Wall | 8’ LED
Ligholier | LED Micro Undercabinet | Surface | 10W/LF LED
SDS3
SC, S3
SDS3
SC, S3
SDS3
SC, S3
Total Classroom Energy Savings per Year:
21,000 kWh
Classrooms
create a stimulating & comfortable learning environment.
goals BIM schedule site packages renovation results

## Slide 22
Classrooms
goals BIM schedule site packages renovation results
Equipment Type | Manufacturer | Specific Details
Television | Sony | Wall mounted, data supply for basic television and morning news
Projector | InFocus | Classroom grade projector, ceiling mounted, interactive screen functions
Computers | Dell | High performance and functionality, touchscreen interaction
All images from google.com
** Alternate products are also acceptable if required specifications can be met **
LIGHTOLIER
EX 2 Edge-Lit Exit Series
Double Face, Self-Powered

## Slide 23
Administration
create a productive & inviting work environment
goals BIM schedule site packages renovation results
Notes: Design Considerations
-controlled daylighting to increase productivity
-thermal comfort & indoor air quality
-separate zoning system for grownups

## Slide 24
Administration
Company | Fixture Series | Mounting | Lamp
1. Pinnacle | Adeo 2’x2’, 2’x4’ | Recessed | T8
2. Lightolier | Calculite 6”x6” Square DL | Recessed | 27W LED
3. Lightolier | Wal-Master Wall Washer | Recessed | T8
4. AXIS | Beam 4 – Perimeter System | Recessed | T8
2’x2’ Tile Ceiling – Dropped at 8’
1.
2.
3.
4.
goals BIM schedule site packages renovation results
DESIGN CONSIDERATIONS
Mechanical equipment noise
Security system
Structural grid irregularity
create a productive & inviting work environment

## Slide 25
Administration
goals BIM schedule site packages renovation results
DESIGN CONSIDERATIONS
Mechanical equipment noise
Security system
Structural grid irregularity
create a productive & inviting work environment

## Slide 26
Administration
goals BIM schedule site packages renovation results
Visiplex System Functions
Classroom and Building Speakers
Intercom system at entry
Synchronized Clocks
Fire Alarm Announcement Integrated
All Controlled from main admin office, as well as from an intranet log in from home computers
Visiplex.com
DESIGN CONSIDERATIONS
Mechanical equipment noise
Security system
Structural grid irregularity

## Slide 27
Corridor
create a space which accommodates traffic flow and major building system components
goals BIM schedule site packages renovation results

## Slide 28
Corridor
create a space which accommodates traffic flow and major building system components
DESIGN CONSIDERATIONS
Plenum space
Acoustics
goals BIM schedule site packages renovation results

## Slide 29
Corridor
Exposed ceiling
Fixtures
  8ft AFF
  Spaced 30ft on center
Acoustic paneling
  Hung from ceiling and mounted high on walls
Design Criteria from IES Lighting Handbook | 
Age Range | 25-65
Average Illuminance | 5 fc
Avg:Min Ratio | 2:1
Lighting Power Density (Based on Standard 90.1) | 
ASHRAE 90.1 | 0.66 W/SF
Actual LPD | 0.25 W/SF
Pinnacle
Linero 8 – 8ft length
create a space which accommodates traffic flow and major building system components
goals BIM schedule site packages renovation results

## Slide 30
Multipurpose Room
create a flexible space for the school and community.
goals BIM schedule site packages renovation results
Notes: Design Considerations:
-Ceiling space coordination between trusses, skylights, ducts, and lights
-changing occupancy
-

## Slide 31
Multipurpose Room
create a flexible space for the school and community.
goals BIM schedule site packages renovation results
10”Reinforced Masonry Walls
32”Steel Trusses

## Slide 32
Multipurpose Room
Fixtures
  15 (6) 54W T5HO
  Philips Day-Brite Fluorescent Gym Luminaire
Lighting Power Density (Based on Standard 90.1) | 
ASHRAE 90.1 | 1.20 W/SF
Actual LPD | 0.89 W/SF
Design Criteria from IES Lighting Handbook (for Class 3 Sports Lighting) | 
Age Range | 25-65
Average Illuminance | 50 fc
Avg:Min Ratio | 3:1
create a flexible space for the school and community.
goals BIM schedule site packages renovation results

## Slide 33
Multipurpose Room
Passive Daylighting System
paired with
So-Dark Motorized Shade Screen
By Daylighting Systems, Inc.
create a flexible space for the school and community.
Stage
Useful Daylight Illuminance
(500 lux and greater)
Without Skylights
With Skylights
Stage
Energy Savings per Year = 1,791 kWh
4’x4’ with 2.5’ light well
goals BIM schedule site packages renovation results

## Slide 34
Pool & Clinic Renovation
create a recreational building to encourage healthy living and community involvement
goals BIM schedule site packages renovation results
Notes: Due to site constraints we chose to renovate the existing elementary school, demolish half of it and renovate the rest for the clinic. We did this to keep maximum outdoor space
Design Considerations that we will consider:
-extreme thermal loads
-create a badass place that people in the community want to go to and are proud of
-large roof spans
-specific indoor pool requirements

## Slide 35
Pool & Clinic Renovation
create a recreational building to encourage healthy living and community involvement
goals BIM schedule site packages renovation results
CONSTRUCTABILITY
Scheduling & Phasing
Site Logistics
Budget
DESIGN CONSIDERATIONS
Humidity
Energy Savings
Large roof span
Lighting fixtures

## Slide 36
Pool & Clinic Renovation
create a recreational building to encourage healthy living and community involvement
goals BIM schedule site packages renovation results

## Slide 37
Pool & Clinic Renovation
create a recreational building to encourage healthy living and community involvement
goals BIM schedule site packages renovation results
Northwest corner

## Slide 38
Show new floor plan
Pool & Clinic Renovation
create a recreational building to encourage healthy living and community involvement
goals BIM schedule site packages renovation results
Lighting Power Density (Based on Standard 90.1) | 
ASHRAE 90.1 | 1.20 W/SF
Design Criteria from IES Lighting Handbook (for Class 3 Sports Lighting) | 
Age Range | 25-65
Average Deck Illuminance | 100 fc
Average Water Illuminance | 300 fc
Avg:Min Ratio | 3:1
Fixture Considerations
  High Bay Fixtures
  Water tight fixtures
  Complete lifecycle cost analysis

## Slide 39
Lighting Power Density
Interior: about 46,000 W/SF
44.8% below ASHRAE Standard 90.1 Requirements
*Does not include specialty lighting spaces (Library & Atrium)
goals BIM schedule site packages renovation results
Floor to Floor Height Reduction Savings
Façade: 6775 square feet, $182,000
Structural Steel: 762 LF, 38100 lbs, $50,000
Air Volume: 660,000 CF
LEED Certification
Currently 51 points for LEED Silver
Team Goal: To create an innovative, high-performance environment in a way that stimulates involvement in both education & the community.
Operability
Decreased maintenance of green roof
Less maintenance of geothermal mechanical system
Energy Use Intensity savings
Reduced the building energy use intensity by 22 kBTU/ft^2-yr through enclosure design and system selection

## Slide 40
Building Systems
Construction
Lighting/Electrical Systems
Mechanical Systems
Structural Systems
Structural steel frame, typical classroom 28x30
W10 and W12 columns spliced at 3rd floor
W14 girders and W12 beams, W8 girders in corridors
Braced frames and reinforced masonry shear walls
Composite metal deck
Public Spaces all on Building Management System
Emergency fixtures will also serve as normal power and default to emergency when necessary.
277/480V Lighting Panels, 120/208V Electrical Panels
Interior building transformer and generator
On site High Voltage transformer; secondary
Overhead power lines supply building
Multiple Prime with Construction Management Agency
Proposed CM @ Risk w/ Design Assist Subs
Construction Budget: $18,00,000
15 Month Schedule
Rammed Aggregate Piers
Ground Source Heat Pump System
5 Dedicated Outdoor Air Units serving 5 zones
Outdoor air units take the majority of the sensible and latent loads
Ventilation and Terminal Unit split system
Heat Pumps range in size from 3/4 – 3 tons
goals BIM schedule site packages renovation results

## Slide 41
Images taken from:
axislighting.com
daylighting.com
lightolier.com
ledalite.com
pinnacle-ltg.com
Lithonia.com
acoustimac.com
goals BIM schedule site packages renovation results