## Slide 1
| Murphy Hall
| John Carroll University
| 1 John Carroll Boulevard, University Heights, OH 44118
| Faye Poon
| Lighting / Electrical
| Advisor: Shawn Good
Copyright by Hasenstab Architects
1
Thesis | Apr 14, 14
Murphy Hall John Carroll University
Advisor: Shawn Good
Introduction
Lighting Design -
West Lobby and Corridor
Lighting Design - Lounge
Structural
Electrical
Summary

## Slide 2
1 John Carroll Boulevard, University Heights, OH 44118
Dormitory, worship, business
89,809 SF
3 stores above grade, 4 stories total
First LEED certified building on campus
May 2013- August 2014
design fee: 1.4 million;
construction fee: 22.1 million Design-Bid-Build
Address
Occupancy
Size
Total levels
Sustainability
Construction
Cost Project Delivery
THE STATISTICS
PROJECT OVERVIEW
2
Thesis | Apr 14, 14
Murphy Hall John Carroll University
Advisor: Shawn Good
Introduction
Lighting Design -
West Lobby and Corridor
Lighting Design - Lounge
Structural
Electrical
Summary

## Slide 3
OUTLINE
3
Thesis | Apr 14, 14
Murphy Hall John Carroll University
Advisor: Shawn Good
Introduction
Lighting Design -
West Lobby and Corridor
Lighting Design - Lounge
Structural
Electrical
Summary

## Slide 4
RETREAT
THE FACADE
THE LOUNGE
SUITE LIVING
WEST LOBBY & HALLWAY
DESIGN CONCEPT
4
Thesis | Apr 14, 14
Murphy Hall John Carroll University
Advisor: Shawn Good
Introduction
Lighting Design -
West Lobby and Corridor
Lighting Design - Lounge
Structural
Electrical
Summary

## Slide 5
THE FACADE
THE LOUNGE
SUITE LIVING
WEST LOBBY & HALLWAY
HOMECOMING
RELAXING
BONDING
STIMULATING
DESIGN CONCEPT
RETREAT
5
Thesis | Apr 14, 14
Murphy Hall John Carroll University
Advisor: Shawn Good
Introduction
Lighting Design -
West Lobby and Corridor
Lighting Design - Lounge
Structural
Electrical
Summary

## Slide 6
HOMECOMING
RELAXING
BONDING
STIMULATING
HOMECOMING
RELAXING
BONDING
STIMULATING
DESIGN CONCEPT
RETREAT
6
Thesis | Apr 14, 14
Murphy Hall John Carroll University
Advisor: Shawn Good
Introduction
Lighting Design -
West Lobby and Corridor
Lighting Design - Lounge
Structural
Electrical
Summary

## Slide 7
RELAXING
STIMULATING
DESIGN CONCEPT
RETREAT
7
Thesis | Apr 14, 14
Murphy Hall John Carroll University
Advisor: Shawn Good
Introduction
Lighting Design -
West Lobby and Corridor
Lighting Design - Lounge
Structural
Electrical
Summary

## Slide 8
LIGHTING DEPTH
RELAXING
STIMULATING
8
Thesis | Apr 14, 14
Murphy Hall John Carroll University
Advisor: Shawn Good
WEST LOBBY
LOUNGE
Introduction
Lighting Design -
West Lobby and Corridor
Lighting Design - Lounge
Structural
Electrical
Summary

## Slide 9
WEST LOBBY
SPACE DESCRIPTION
2567 SF (1940SF ground floor, 627 SF 1st floor)
Dormitory Multipurpose.
Stimulating
Spacious
Energy Efficiency
Area
Occupancy Type
Design Criteria
IES Recommendation | Eh | Ev | Avg:Min | IES pg. #
Dormitory – Multipurpose (lux) | 150 | 50 | 3:1 | 24.10
STIMULATING
9
Murphy Hall John Carroll University
Advisor: Shawn Good
Lighting Power Density ¦ IECC Table 505.5.2 | 
Dormitory | 1.00 W/SF
Introduction
Lighting Design -
West Lobby and Corridor
Lighting Design - Lounge
Structural
Electrical
Summary

## Slide 10
WEST LOBBY
LIGHTING DESIGN
STIMULATING
10
Murphy Hall John Carroll University
Advisor: Shawn Good
Introduction
Lighting Design -
West Lobby and Corridor
Lighting Design - Lounge
Structural
Electrical
Summary

## Slide 11
WEST LOBBY
LIGHTING DESIGN
11
Murphy Hall John Carroll University
Advisor: Shawn Good
Introduction
Lighting Design -
West Lobby and Corridor
Lighting Design - Lounge
Structural
Electrical
Summary
STIMULATING

## Slide 12
WEST LOBBY
LIGHTING DESIGN
12
Murphy Hall John Carroll University
Advisor: Shawn Good
Introduction
Lighting Design -
West Lobby and Corridor
Lighting Design - Lounge
Structural
Electrical
Summary
STIMULATING

## Slide 13
WEST LOBBY
LIGHTING DESIGN
13
Murphy Hall John Carroll University
Advisor: Shawn Good
Introduction
Lighting Design -
West Lobby and Corridor
Lighting Design - Lounge
Structural
Electrical
Summary
STIMULATING

## Slide 14
WEST LOBBY
LIGHTING DESIGN
14
Murphy Hall John Carroll University
Advisor: Shawn Good
Introduction
Lighting Design -
West Lobby and Corridor
Lighting Design - Lounge
Structural
Electrical
Summary
STIMULATING

## Slide 15
WEST LOBBY
LIGHTING DESIGN
15
Murphy Hall John Carroll University
Advisor: Shawn Good
Introduction
Lighting Design -
West Lobby and Corridor
Lighting Design - Lounge
Structural
Electrical
Summary
STIMULATING

## Slide 16
WEST LOBBY
LIGHTING DESIGN
16
Murphy Hall John Carroll University
Advisor: Shawn Good
Introduction
Lighting Design -
West Lobby and Corridor
Lighting Design - Lounge
Structural
Electrical
Summary
STIMULATING

## Slide 17
WEST LOBBY
17
Murphy Hall John Carroll University
Advisor: Shawn Good
Introduction
Lighting Design -
West Lobby and Corridor
Lighting Design - Lounge
Structural
Electrical
Summary
Average:
Floor: 22 Fc Table: 28 Fc
STIMULATING

## Slide 18
CORRIDORS
LIGHTING DESIGN
IES Recommendation | Eh | Ev | Avg:Min | IES pg. #
Transition – Independent Passage Ways (lux) | 25 | 15 | 2:1 | 24.18
1432 SF
Dormitory Circulation
Stimulating
Spacious
Energy Efficiency
Area
Occupancy Type
Design Criteria
18
Murphy Hall John Carroll University
Advisor: Shawn Good
STIMULATING
Lighting Power Density ¦ IECC Table 505.5.2 | 
Dormitory | 1.00 W/SF
Introduction
Lighting Design -
West Lobby and Corridor
Lighting Design - Lounge
Structural
Electrical
Summary

## Slide 19
CORRIDORS
LIGHTING DESIGN
STIMULATING
19
Murphy Hall John Carroll University
Advisor: Shawn Good
Introduction
Lighting Design -
West Lobby and Corridor
Lighting Design - Lounge
Structural
Electrical
Summary

## Slide 20
CORRIDORS
LIGHTING DESIGN
STIMULATING
20
Murphy Hall John Carroll University
Advisor: Shawn Good
Introduction
Lighting Design -
West Lobby and Corridor
Lighting Design - Lounge
Structural
Electrical
Summary

## Slide 21
CORRIDORS
LIGHTING DESIGN
STIMULATING
21
Murphy Hall John Carroll University
Advisor: Shawn Good
Introduction
Lighting Design -
West Lobby and Corridor
Lighting Design - Lounge
Structural
Electrical
Summary

## Slide 22
CORRIDORS
LIGHTING DESIGN
STIMULATING
22
Murphy Hall John Carroll University
Advisor: Shawn Good
Introduction
Lighting Design -
West Lobby and Corridor
Lighting Design - Lounge
Structural
Electrical
Summary

## Slide 23
CORRIDORS
STIMULATING
23
Murphy Hall John Carroll University
Advisor: Shawn Good
Introduction
Lighting Design -
West Lobby and Corridor
Lighting Design - Lounge
Structural
Electrical
Summary
Average:
Floor: 5 Fc

## Slide 24
Place holder for Lounge thumbnail
1432 SF (1940SF ground floor, 627 SF 1st floor)
Dormitory Multipurpose.
Uniformity
Illuminance
Accent Lighting
Area
Occupancy Type
Design Criteria
SPACE DESCRIPTION
LOUNGE
IES Recommendation | Eh | Ev | Avg:Min | IES pg. #
Dormitory – Multipurpose (lux) | 150 | 50 | 3:1 | 24.10
RELAXING
24
Thesis | Apr 14, 14
Murphy Hall John Carroll University
Advisor: Shawn Good
Lighting Power Density ¦ IECC Table 505.5.2 | 
Dormitory | 1.00 W/SF
Introduction
Lighting Design -
West Lobby and Corridor
Lighting Design - Lounge
Structural
Electrical
Summary

## Slide 25
LIGHTING DESIGN
LOUNGE
RELAXING
25
Murphy Hall John Carroll University
Advisor: Shawn Good
Introduction
Lighting Design -
West Lobby and Corridor
Lighting Design - Lounge
Structural
Electrical
Summary
GROUND FLOOR
1ST FLOOR

## Slide 26
LIGHTING DESIGN
LOUNGE
RELAXING
26
Murphy Hall John Carroll University
Advisor: Shawn Good
Introduction
Lighting Design - Lounge
Lighting Design -
West Lobby and Corridor
Structural
Electrical
Summary
GROUND FLOOR
1ST FLOOR

## Slide 27
LIGHTING DESIGN
LOUNGE
RELAXING
27
Murphy Hall John Carroll University
Advisor: Shawn Good
Introduction
Lighting Design -
West Lobby and Corridor
Lighting Design - Lounge
Structural
Electrical
Summary
GROUND FLOOR
1ST FLOOR

## Slide 28
LIGHTING DESIGN
LOUNGE
RELAXING
28
Murphy Hall John Carroll University
Advisor: Shawn Good
Introduction
Lighting Design -
West Lobby and Corridor
Lighting Design - Lounge
Structural
Electrical
Summary
GROUND FLOOR
1ST FLOOR

## Slide 29
LIGHTING DESIGN
LOUNGE
RELAXING
29
Murphy Hall John Carroll University
Advisor: Shawn Good
Introduction
Lighting Design -
West Lobby and Corridor
Lighting Design - Lounge
Structural
Electrical
Summary
GROUND FLOOR
1ST FLOOR

## Slide 30
LIGHTING DESIGN
LOUNGE
RELAXING
30
Murphy Hall John Carroll University
Advisor: Shawn Good
Introduction
Lighting Design -
West Lobby and Corridor
Lighting Design - Lounge
Structural
Electrical
Summary
GROUND FLOOR
1ST FLOOR

## Slide 31
LOUNGE
RELAXING
31
Murphy Hall John Carroll University
Advisor: Shawn Good
Introduction
Lighting Design -
West Lobby and Corridor
Lighting Design - Lounge
Structural
Electrical
Summary
Average:
Lobby: 25 Fc
Stair: 20 Fc

## Slide 32
LOUNGE
RELAXING
32
Murphy Hall John Carroll University
Advisor: Shawn Good
Introduction
Lighting Design -
West Lobby and Corridor
Lighting Design - Lounge
Structural
Electrical
Summary
Average:
Open Plan: 14 Fc
LPD:
0.81 W/SF

## Slide 33
STRUCTURAL BREADTH
LOUNGE
33
Murphy Hall John Carroll University
Advisor: Shawn Good
Introduction
Lighting Design -
West Lobby and Corridor
Lighting Design - Lounge
Structural
Electrical
Summary

## Slide 34
Thesis | Apr 14, 14
STRUCTURAL BREADTH
LOUNGE
Type | Factors | Load | Distribute length | # Floor | Load LF
Attic | Live Load Dead Load | 40 PSF 75 PSF | 8.5 ft | 1 | 340 lb/LF 638 lb/LF
Floor | Live load Dead load | 40 PSF 80 PSF | 8.5 ft | 2 | 680 lb/LF 1360 lb/LF
Exterior Wall | Dead load | 107 PSF | 8.45 ft tall | 2.5 | 2261 lb/LF
Flat Roof | Live load Dead load Snow load | 30 PSF 80 PSF 29 PSF | 7.84 ft | 1 | 235 lb/LF 627 lb/LF 228 lb/LF
34
Murphy Hall John Carroll University
Advisor: Shawn Good
Introduction
Lighting Design -
West Lobby and Corridor
Lighting Design - Lounge
Structural
Electrical
Summary

## Slide 35
STRUCTURAL BREADTH
LOUNGE
#3 @ 8” o.c.
33”
36”
(8) #9 @ 2.7” o.c.
22”
35
Murphy Hall John Carroll University
Advisor: Shawn Good
Introduction
Lighting Design -
West Lobby and Corridor
Lighting Design - Lounge
Structural
Electrical
Summary
Type | Factors | Load | Distribute length | # Floor | Load LF
Attic | Live Load Dead Load | 40 PSF 75 PSF | 8.5 ft | 1 | 340 lb/LF 638 lb/LF
Floor | Live load Dead load | 40 PSF 80 PSF | 8.5 ft | 2 | 680 lb/LF 1360 lb/LF
Exterior Wall | Dead load | 107 PSF | 8.45 ft tall | 2.5 | 2261 lb/LF
Flat Roof | Live load Dead load Snow load | 30 PSF 80 PSF 29 PSF | 7.84 ft | 1 | 235 lb/LF 627 lb/LF 228 lb/LF

## Slide 36
PHOTOVOLTAIC SYSTEM
ELECTRICAL DEPTH
Metric | Base | 
Cost of System | $457,108.18 | 
Annual Energy | 71,717 | kW/h
System performance factor (%) | 84 | %
Total Land Area | 0.31 | Acres
Payback (years) | 1.32 | Years
36
Murphy Hall John Carroll University
Advisor: Shawn Good
Introduction
Lighting Design -
West Lobby and Corridor
Lighting Design - Lounge
Structural
Electrical
Summary

## Slide 37
PHOTOVOLTAIC SYSTEM
ELECTRICAL DEPTH
Chart: Monthly Energy Delivered (kWh)
Monthly Energy Delivered (kWh) | 3132.03 | 4021.49 | 5977.69 | 7296.62 | 8710.04 | 8802.9 | 8974.54 | 8194.42 | 6462.77 | 4964.85 | 2740.71 | 2274.22
85,390.5 kWh
82060.7
78417.0
72441.3
71716.9
71716.9
37
Murphy Hall John Carroll University
Advisor: Shawn Good
Introduction
Lighting Design -
West Lobby and Corridor
Lighting Design - Lounge
Structural
Electrical
Summary
Annual Energy Delivered

## Slide 38
SUMMARY
38
Murphy Hall John Carroll University
Advisor: Shawn Good
Introduction
Lighting Design -
West Lobby and Corridor
Lighting Design - Lounge
Structural
Electrical
Summary
Dormitory
Lighting Concept of Retreat
Stimulating theme for West lobby and Corridor
Relaxing theme for lounge
Transfer girder as alternative to columns in lounge
PV system produce 71.7MWh annual energy

## Slide 39
SUMMARY
39
Murphy Hall John Carroll University
Advisor: Shawn Good
Introduction
Lighting Design -
West Lobby and Corridor
Lighting Design - Lounge
Structural
Electrical
Summary
Dormitory
Lighting Concept of Retreat
Stimulating theme for West lobby and Corridor
Relaxing theme for lounge
Transfer girder as alternative to columns in lounge
PV system produce 71.7MWh annual energy

## Slide 40
SUMMARY
40
Murphy Hall John Carroll University
Advisor: Shawn Good
Introduction
Lighting Design -
West Lobby and Corridor
Lighting Design - Lounge
Structural
Electrical
Summary
Dormitory
Lighting Concept of Retreat
Stimulating theme for West lobby and Corridor
Relaxing theme for lounge
Transfer girder as alternative to columns in lounge
PV system produce 71.7MWh annual energy

## Slide 41
SUMMARY
41
Murphy Hall John Carroll University
Advisor: Shawn Good
Introduction
Lighting Design -
West Lobby and Corridor
Lighting Design - Lounge
Structural
Electrical
Summary
Dormitory
Lighting Concept of Retreat
Stimulating theme for West lobby and Corridor
Relaxing theme for lounge
Transfer girder as alternative to columns in lounge
PV system produce 71.7MWh annual energy
Chart: Monthly Energy Delivered (mWh)
Monthly Energy Delivered (kWh) | 3132.03 | 4021.49 | 5977.69 | 7296.62 | 8710.04 | 8802.9 | 8974.54 | 8194.42 | 6462.77 | 4964.85 | 2740.71 | 2274.22

## Slide 42
ACKNOWLEDGEMENT
42
Murphy Hall John Carroll University
Advisor: Shawn Good
Introduction
Lighting Design -
West Lobby and Corridor
Lighting Design - Lounge
Structural
Electrical
Summary
Carol P. Dietz Associate VP of Facilities, John Carroll University
Christian Todd Principal, McHenry and Associates
Kelly Hersh Engineer, McHenry and Associates
Dr. Mistrick AE faculty
Dr. Houser AE faculty
Shawn Good Lighting Department Head, Brinjac Engineering
Leslie Beahm Electrical Advisor, Reese Engineering
Family and friends for their support

## Slide 43
SUMMARY
43
Murphy Hall John Carroll University
Advisor: Shawn Good
Chart: Monthly Energy Delivered (mWh)
Monthly Energy Delivered (kWh) | 3132.03 | 4021.49 | 5977.69 | 7296.62 | 8710.04 | 8802.9 | 8974.54 | 8194.42 | 6462.77 | 4964.85 | 2740.71 | 2274.22
Introduction
Lighting Design -
West Lobby and Corridor
Lighting Design - Lounge
Structural
Electrical
Summary
QUESTIONS?

## Slide 44
Thesis | Apr 14, 14
APPENDIX
Murphy Hall John Carroll University
Advisor: Shawn Good
Dormitory, worship, business
89,809 SF
3 stores above grade, 4 stories total
First LEED certified building on campus
May 2013- August 2014
design fee: 1.4 million;
construction fee: 22.1 million Design-Bid-Build
44
PHOTOVOLTAIC SYSTEM

## Slide 45
Outline
Thesis | Apr 14, 14
HVAC BREADTH
LOUNGE
Murphy Hall John Carroll University
Advisor: Shawn Good
45