## Slide 1: Gen*NY*Sis Center for Excellence in Cancer Genomics
Rensselaer, NY
Meral Kanik Structural Option Advisor: A.M. Memari April 14, 2008

## Slide 2: Gen*NY*Sis Center for Genomics
Meral Kanik Structural Option April 14, 2008
Introduction
Building Statistics
Existing Structure
Proposal
Structural Redesign
Lateral Redesign
Vibration Analysis
Sustainability Concerns
Cost Analysis
Schedule Change
Conclusions

## Slide 3
Building Statistics
Owner: University at Albany
Architect/Engineer: Einhorn Yaffee Prescott Architecture & Engineering P.C.
Location: Rensselaer, NY
Function: Cancer Research Laboratories
Size: 117,400 square feet
Height: 87 feet
Number of Stories: 4 above grade, 1 below grade
Cost: $45 million (base building cost)
Project Delivery Method: Fast Track Delivery
Introduction
Building Statistics
Existing Structure
Proposal
Structural Redesign
Lateral Redesign
Vibration Analysis
Sustainability Concerns
Cost Analysis
Schedule Change
Conclusions
Meral Kanik Structural Option April 14, 2008

## Slide 4: Typical Floor Layout
Introduction
Building Statistics
Existing Structure
Proposal
Structural Redesign
Lateral Redesign
Vibration Analysis
Sustainability Concerns
Cost Analysis
Schedule Change
Conclusions
Labs/classrooms
Offices
Vertical Egress
Corridor/gathering
Meral Kanik Structural Option April 14, 2008

## Slide 5
Introduction
Building Statistics
Existing Structure
Proposal
Structural Redesign
Lateral Redesign
Vibration Analysis
Sustainability Concerns
Cost Analysis
Schedule Change
Conclusions
Existing Structure
Meral Kanik Structural Option April 14, 2008

## Slide 6: Typical Bay
Introduction
Building Statistics
Existing Structure
Proposal
Structural Redesign
Lateral Redesign
Vibration Analysis
Sustainability Concerns
Cost Analysis
Schedule Change
Conclusions
4 ½” normal weight concrete
2” composite metal deck
f’c = 3.5 ksi
Fy = 50 ksi
Meral Kanik Structural Option April 14, 2008

## Slide 7: Lateral System
Introduction
Building Statistics
Existing Structure
Proposal
Structural Redesign
Lateral Redesign
Vibration Analysis
Sustainability Concerns
Cost Analysis
Schedule Change
Conclusions
Non moment-resisting eccentrically braced frames
Bracing diagonal of HSS8x8x5/16 steel
Wind controlled
Meral Kanik Structural Option April 14, 2008

## Slide 8: Proposal
Introduction
Building Statistics
Existing Structure
Proposal
Structural Redesign
Lateral Redesign
Vibration Analysis
Sustainability Concerns
Cost Analysis
Schedule Change
Conclusions
Replace steel gravity system
  Employ hollow core planks
Remove steel braced frames
  Utilize concrete shear walls
Evaluate vibration effects
Implement PSU sustainable designs
Reduce erection time
Evaluate price differences
Meral Kanik Structural Option April 14, 2008

## Slide 9: Proposal
Introduction
Building Statistics
Existing Structure
Proposal
Structural Redesign
Lateral Redesign
Vibration Analysis
Sustainability Concerns
Cost Analysis
Schedule Change
Conclusions
Transfer the design from SUNY University at Albany to Penn State’s Hershey Medical Center
Meral Kanik Structural Option April 14, 2008

## Slide 10: New Design Criteria
Introduction
Building Statistics
Existing Structure
Proposal
Structural Redesign
Lateral Redesign
Vibration Analysis
Sustainability Concerns
Cost Analysis
Schedule Change
Conclusions
N
Meral Kanik Structural Option April 14, 2008

## Slide 11: Gravity Loading
Introduction
Building Statistics
Existing Structure
Proposal
Structural Redesign
Lateral Redesign
Vibration Analysis
Sustainability Concerns
Cost Analysis
Schedule Change
Conclusions
Must account for new roof loading
Previous machine weight of 160 kips
Add live load roof garden assembly
Area of roof garden = 14600 ft2
166 psf
Meral Kanik Structural Option April 14, 2008

## Slide 12: Hollow Core Planks
Introduction
Building Statistics
Existing Structure
Proposal
Structural Redesign
Lateral Redesign
Vibration Analysis
Sustainability Concerns
Cost Analysis
Schedule Change
Conclusions
4HC8 + 2” topping
20” square columns
20LB24
28IT20
Meral Kanik Structural Option April 14, 2008

## Slide 13: New Lateral Loads
Introduction
Building Statistics
Existing Structure
Proposal
Structural Redesign
Lateral Redesign
Vibration Analysis
Sustainability Concerns
Cost Analysis
Schedule Change
Conclusions
Cast In Place Concrete Shear Walls
Precast Concrete Shear Wall Panels
Meral Kanik Structural Option April 14, 2008

## Slide 14: New Lateral System
Introduction
Building Statistics
Existing Structure
Proposal
Structural Redesign
Lateral Redesign
Vibration Analysis
Sustainability Concerns
Cost Analysis
Schedule Change
Conclusions
Meral Kanik Structural Option April 14, 2008
Use vertical egress as shear walls
Add new stair case

## Slide 15: Effects of Drift
Introduction
Building Statistics
Existing Structure
Proposal
Structural Redesign
Lateral Redesign
Vibration Analysis
Sustainability Concerns
Cost Analysis
Schedule Change
Conclusions
Meral Kanik Structural Option April 14, 2008
According to IBC,
ΔWIND= H/400

## Slide 16: Concrete Shear Walls
Introduction
Building Statistics
Existing Structure
Proposal
Structural Redesign
Lateral Redesign
Vibration Analysis
Sustainability Concerns
Cost Analysis
Schedule Change
Conclusions
Meral Kanik Structural Option April 14, 2008
Only Continuous Walls Used

## Slide 17: Shear Wall Boundary Element
Introduction
Building Statistics
Existing Structure
Proposal
Structural Redesign
Lateral Redesign
Vibration Analysis
Sustainability Concerns
Cost Analysis
Schedule Change
Conclusions
Meral Kanik Structural Option April 14, 2008
#5 Vertical 15” o.c.
#5 Horizontal 15” o.c.
(8)#9
#3 Ties
20”
20”
10”

## Slide 18: Laboratory Facilities
Introduction
Building Statistics
Existing Structure
Proposal
Structural Redesign
Lateral Redesign
Vibration Analysis
Sustainability Concerns
Cost Analysis
Schedule Change
Conclusions
Meral Kanik Structural Option April 14, 2008
Equipment Used For:
DNA sequencing
Gene cloning
Microarray
Mice Testing
Mass Spectrometry

## Slide 19: Laboratory Facilities
Introduction
Building Statistics
Existing Structure
Proposal
Structural Redesign
Lateral Redesign
Vibration Analysis
Sustainability Concerns
Cost Analysis
Schedule Change
Conclusions
Meral Kanik Structural Option April 14, 2008
Microscopes up to 100x
Microscopes up to 400x
Microscopes over 400x
Microscopes up to 30,000x

## Slide 20: Green Roof
Introduction
Building Statistics
Existing Structure
Proposal
Structural Redesign
Lateral Redesign
Vibration Analysis
Sustainability Concerns
Cost Analysis
Schedule Change
Conclusions
Meral Kanik Structural Option April 14, 2008
“Meadow” Roof Garden Examples set up by RoofScapes inc.
Provide:
Wind Erosion Stabilization
Passive irrigation
Habitat creation
Moderate maintenance

## Slide 21: Metal Mesh Shading
Introduction
Building Statistics
Existing Structure
Proposal
Structural Redesign
Lateral Redesign
Vibration Analysis
Sustainability Concerns
Cost Analysis
Schedule Change
Conclusions
Meral Kanik Structural Option April 14, 2008
Metal Screen from Cambridge Architectural
Provide:
Shade from harsh summer day
Gain heat to save energy costs
Still utilize curtain wall view

## Slide 22: New Green Look
Introduction
Building Statistics
Existing Structure
Proposal
Structural Redesign
Lateral Redesign
Vibration Analysis
Sustainability Concerns
Cost Analysis
Schedule Change
Conclusions
Meral Kanik Structural Option April 14, 2008

## Slide 23: Local Materials
Introduction
Building Statistics
Existing Structure
Proposal
Structural Redesign
Lateral Redesign
Vibration Analysis
Sustainability Concerns
Cost Analysis
Schedule Change
Conclusions
Meral Kanik Structural Option April 14, 2008
Cambridge Architectural
Nitterhouse
RoofScapes, inc.
Hershey Medical Center

## Slide 24: Structural System Costs
Introduction
Building Statistics
Existing Structure
Proposal
Structural Redesign
Lateral Redesign
Vibration Analysis
Sustainability Concerns
Cost Analysis
Schedule Change
Conclusions
Meral Kanik Structural Option April 14, 2008
Low $$ Lateral System
Low $$ Gravity System
OR

## Slide 25: Structural System Schedule
Introduction
Building Statistics
Existing Structure
Proposal
Structural Redesign
Lateral Redesign
Vibration Analysis
Sustainability Concerns
Cost Analysis
Schedule Change
Conclusions
Meral Kanik Structural Option April 14, 2008
Phases of Construction

## Slide 26: In Retrospect…
Introduction
Building Statistics
Existing Structure
Proposal
Structural Redesign
Lateral Redesign
Vibration Analysis
Sustainability Concerns
Cost Analysis
Schedule Change
Conclusions
Meral Kanik Structural Option April 14, 2008
Structural
Precast Planks
Drift
Shear Walls
Vibration
Sustainability
Green Roof
PSU LEED
Construction
Erection Time
Cost

## Slide 27
Special Thanks To…
E.Y.P.A.E.
  Franklin Lancaster
  David Clemenzi
PSU AE Faculty and Staff
  Dr. Ali Memari
  Professor Kevin Parfitt
  Professor Bob Holland
Fellow AE students
All of my family
(Ben Sizin Seviyorum)
Penn State Rugby
(Lessss GO State!)
Meral Kanik Structural Option April 14, 2008

## Slide 28
Questions?
Meral Kanik Structural Option April 14, 2008