## Slide 1
Corbin Building
192 Broadway
New York, NY
Final Thesis Presentation
4/11/2012
Matthew Trethaway | Lighting/ Electrical | Advisor: Dr. Houser | Advisor: Ted Dannerth

## Slide 2
Presentation Outline
Corbin Building
Electrical Depth
Lighting Depth
Breadth Topics
Lighting Depth
MAE
Conclusion
Introduction
Wire vs. Bus Duct
Façade | FSTC Lobby
Architectural | Mechanical
Retail
Daylighting

## Slide 3
Introduction
Wire vs. Bus Duct
Façade | FSTC Lobby
Architectural | Mechanical
Retail
Daylighting
Corbin Building | Electrical Depth | Lighting Depth | Breadth Topics | Lighting Depth | MAE | Conclusion
Corbin Building Location
World Trade Center
Corbin Building
Fulton Street Transit Center
Corbin Building
N
Fulton Street Transit Center
Site Layout

## Slide 4
Introduction
Wire vs. Bus Duct
Façade | FSTC Lobby
Architectural | Mechanical
Retail
Daylighting
Built in 1888 by Francis Kimball
Named for Austin Corbin
  President of Long Island Rail Road (LIRR)
Wrought-Iron Frame
First to be dubbed “skyscraper”
First to use gearless-traction Otis Elevator
Corbin Building Statistics
Renovation of Retail / Office Space
Size
  53,000 Square Feet
Cost
  $59.5 Million
Owner
  Metropolitan Transit Authority (MTA)
Architect
  Page Ayres Cowley Architects
SMEP
  Arup
Contractor
  Judlau Contracting
Corbin Building | Electrical Depth | Lighting Depth | Breadth Topics | Lighting Depth | MAE | Conclusion
Theme
Corbin Building History
“Renovation and integration into the design of the Transit Center while preserving its historic character.”

## Slide 5
Introduction
Wire vs. Bus Duct
Façade | FSTC Lobby
Architectural | Mechanical
Retail
Daylighting
Results
Corbin Building | Electrical Depth | Lighting Depth | Breadth Topics | Lighting Depth | MAE | Conclusion
Feeder Pathway
Copper Wire- 3 Sets of
  Phase & Neutral: 500 MCM
  Ground: 250 MCM
Conduit- Rigid Galvanized Steel
  4 Inch
Bus Duct- 800Amp Copper
800 Amp Main Feeder
  From: 5th Floor Electric Room in FSTC
  To: Basement Electric Room in Corbin Building
Chart: Conduit and Wire vs. Bus Duct
| Conduit and Wire vs. Bus Duct
Conduit and Wire | 85871.38
Bus Duct | 72500.25
Cost Savings: $13,370
N
N

## Slide 6
Introduction
Façade | FSTC Lobby
Architectural | Mechanical
Retail
Daylighting
Corbin Building | Electrical Depth | Lighting Depth | Breadth Topics | Lighting Depth | MAE | Conclusion
Design Criteria
Appearance- historical landmark
Hierarchy- guidance
Connection- historic & modern
Façade
Schematic Design
Façade Layout

## Slide 7
Introduction
Façade | FSTC Lobby
Architectural | Mechanical
Retail
Daylighting
Corbin Building | Electrical Depth | Lighting Depth | Breadth Topics | Lighting Depth | MAE | Conclusion
Design Criteria
Appearance- historical landmark
Hierarchy- guidance
Connection- historic & modern
Façade
Schematic Design
Final Lighting Plan

## Slide 8
Introduction
Façade | FSTC Lobby
Architectural | Mechanical
Retail
Daylighting
Corbin Building | Electrical Depth | Lighting Depth | Breadth Topics | Lighting Depth | MAE | Conclusion
Sidewalk Illuminance
0 fc
2
5
10
45 fc
Façade Pseudo Rendering
Rendering Lobby Entrance
0 fc
7
15
22
30 fc

## Slide 9
Introduction
Façade | FSTC Lobby
Architectural | Mechanical
Retail
Daylighting
Corbin Building | Electrical Depth | Lighting Depth | Breadth Topics | Lighting Depth | MAE | Conclusion
0 fc
2
5
10
45 fc
Façade Pseudo Rendering
Façade Statistics
Final Rendering
Façade Lighting Power Density |  |  |  | 
 |  | ASHRAE | Watts Allowed | Watts Used
Tradable |  |  |  | 
Retail 1 Door |  | 20 W/LF | 388 | 244
FSTC Lobby |  | 30 W/LF | 1224 | 726
Retail 2 Door |  | 20 W/LF | 408 | 108
Corbin Lobby |  | 30 W/LF | 612 | 108
Total Tradable |  |  | 2632 | 1186
Non-Tradable |  |  |  | 
Façade |  | .2W/SF | 3240 | 1832
Total Non-Tradable |  |  | 3240 | 1832

## Slide 10
Introduction
Façade | FSTC Lobby
Architectural | Mechanical
Retail
Daylighting
Corbin Building | Electrical Depth | Lighting Depth | Breadth Topics | Lighting Depth | MAE | Conclusion
Lobby
Illuminance
Lighting Layout
Design Criteria
Welcoming- Inviting interior to draw one in
Connection- Linking Corbin Building & Fulton Street Transit Center
Guiding- Lead to a destination
Safety- Illuminated area
Illuminance
  Horizontal- 10 fc
  Vertical- 3 fc at 5’ AFF
0 fc
6
13
19
25 fc
Avg. Illuminance= 13.4 fc

## Slide 11
Introduction
Façade | FSTC Lobby
Architectural | Mechanical
Retail
Daylighting
Corbin Building | Electrical Depth | Lighting Depth | Breadth Topics | Lighting Depth | MAE | Conclusion
Final Rendering
Final Rendering
Lobby Statistics
Lobby Lighting Power Density |  |  | 
Type | Quantity | Input Watts | Total Watts
C | 9 | 45 | 405
D | 16 | 30 | 480
E | 13 | 31 | 403
 |  | Total Watts | 1288
 |  | Total SF | 1460
ASHREA 90.1 (W/SF) |  |  | 1.3
LPD (W/SF) |  |  | 0.88

## Slide 12
Introduction
Façade | FSTC Lobby
Architectural | Mechanical
Retail
Daylighting
Corbin Building | Electrical Depth | Lighting Depth | Breadth Topics | Lighting Depth | MAE | Conclusion
Architectural- Retail Space
Retail Statistics
Fit out by Tenant
Size: 840 Square Feet
Boutique Clothing
Upscale
Schematic Design
Final Design
Design 1
Design 3
Design 2

## Slide 13
Introduction
Façade | FSTC Lobby
Architectural | Mechanical
Retail
Daylighting
Corbin Building | Electrical Depth | Lighting Depth | Breadth Topics | Lighting Depth | MAE | Conclusion
Rendering
Plan View
North Elevation

## Slide 14
Introduction
Façade | FSTC Lobby
Architectural | Mechanical
Retail
Daylighting
Corbin Building | Electrical Depth | Lighting Depth | Breadth Topics | Lighting Depth | MAE | Conclusion
Mechanical- Retail Space
Rendering
Existing Duct Layout
Redesign Duct Layout

## Slide 15
Introduction
Façade | FSTC Lobby
Architectural | Mechanical
Retail
Daylighting
Corbin Building | Electrical Depth | Lighting Depth | Breadth Topics | Lighting Depth | MAE | Conclusion
Retail Space
Store Layout
Design Goals
Welcoming- inviting interior to draw one in
Guiding- lead to a destination
Comfort- minimal glare & view of fixtures
Dynamic- ability to adjust
General Retail Illuminance- 30 fc at 2’-6” AFF
Feature Displays- x10 fc greater than illuminance of adjacent spaces
Store Layout

## Slide 16
Introduction
Façade | FSTC Lobby
Architectural | Mechanical
Retail
Daylighting
Corbin Building | Electrical Depth | Lighting Depth | Breadth Topics | Lighting Depth | MAE | Conclusion
Lighting Plan
Pseudo Illuminance
Illuminance

## Slide 17
Introduction
Façade | FSTC Lobby
Architectural | Mechanical
Retail
Daylighting
Corbin Building | Electrical Depth | Lighting Depth | Breadth Topics | Lighting Depth | MAE | Conclusion
East Interior View
North Interior View
West Interior View

## Slide 18
Introduction
Façade | FSTC Lobby
Architectural | Mechanical
Retail
Daylighting
Corbin Building | Electrical Depth | Lighting Depth | Breadth Topics | Lighting Depth | MAE | Conclusion
East Interior View
Retail Statistics
East Pseudo Color View
Retail Lighting Power Density |  |  | 
Type | Quantity | Input Watts | Total Watts
K | 13 | 89 | 1157
L | 9 | 12.5 | 112.5
M | 9 | 170 | 1530
N | 7 | 14 | 98
 |  | Total Watts | 2897.5
 |  | Total SF | 840
ASHREA 90.1 (W/SF) |  |  | 1.4
Additional Power Allowance (W) |  |  | 2176
Decorative Lighting (1.0 W/SF) |  |  | 840
Total Watts Allowed (W) |  |  | 3016
Total Watts Used (W) |  |  | 2897.5
 |  | LPD (W/SF) | 3.45

## Slide 19
Introduction
Façade | FSTC Lobby
Architectural | Mechanical
Retail
Daylighting
Corbin Building | Electrical Depth | Lighting Depth | Breadth Topics | Lighting Depth | MAE | Conclusion
Site Location
MAE Focus- Daylighting
Street View
Lower
Manhattan
New York, NY
Congested area of tall buildings
Daylight penetration on 3rd floor office

## Slide 20
Introduction
Façade | FSTC Lobby
Architectural | Mechanical
Retail
Daylighting
Corbin Building | Electrical Depth | Lighting Depth | Breadth Topics | Lighting Depth | MAE | Conclusion
December 21st
June 21st
March 20th
8:00 AM
8:00 AM
8:00 AM
12:00 PM
12:00 PM
12:00 PM

## Slide 21
Introduction
Façade | FSTC Lobby
Architectural | Mechanical
Retail
Daylighting
Corbin Building | Electrical Depth | Lighting Depth | Breadth Topics | Lighting Depth | MAE | Conclusion
December 21st
June 21st
March 20th
3:00 PM
3:00 PM
3:00 PM
6:00 PM
6:00 PM
6:00 PM

## Slide 22
Introduction
Façade | FSTC Lobby
Architectural | Mechanical
Retail
Daylighting
Corbin Building | Electrical Depth | Lighting Depth | Breadth Topics | Lighting Depth | MAE | Conclusion
8:00 AM- 1:00 PM
Conclusions
2:00 PM- 6:00 PM
Most sunlight penetration on west side
Shades would best be optimized on the west
Shading on east from exterior buildings

## Slide 23
Introduction
Façade | FSTC Lobby
Architectural | Mechanical
Retail
Daylighting
Corbin Building | Electrical Depth | Lighting Depth | Breadth Topics | Lighting Depth | MAE | Conclusion
Conclusions
Lighting Design
Highlight architectural details
Clean modern design
Promote safety and integration
Daylighting
Sufficient daylight penetration
Architectural & Mechanical
Redesign provides a modern and upscale design

## Slide 24
Introduction
Façade | FSTC Lobby
Architectural | Mechanical
Retail
Daylighting
Corbin Building | Electrical Depth | Lighting Depth | Breadth Topics | Lighting Depth | MAE | Conclusion
Acknowledgements
Penn State AE Faculty
Dr. Mistrick
Dr. Houser
Mr. Dannerth
Arup
Family and Friends

## Slide 25
Introduction
Façade | FSTC Lobby
Architectural | Mechanical
Retail
Daylighting
Comments and Questions
Matthew Trethaway | Lighting/ Electrical | Advisor: Dr. Houser | Advisor: Ted Dannerth