## Slide 1
MICA GATEWAY RESIDENCE
BALTIMORE, MARYLAND
SCOTT MOLONGOSKI
SENIOR THESIS
STRUCTURAL OPTION
ADVISOR:
PROFESSOR SUSTERSIC

## Slide 2
PRESENTATION OUTLINE
BUILDING INTRODUCTION
EXISTING STRUCTURE
THESIS CHALLENGE
PROPOSED SOLUTION
GRAVITY SYSTEM DESIGN
LATERAL SYSTEM DESIGN
ARCHITECTURAL BREADTH
CONCLUSION

## Slide 3
PRESENTATION
OUTLINE
BUILDING INTRODUCTION
EXISTING STRUCTURE
THESIS CHALLENGE
PROPOSED SOLUTION
GRAVITY SYSTEM DESIGN
LATERAL SYSTEM DESIGN
ARCHITECTURAL BREADTH
CONCLUSION
BUILDING INTRODUCTION
OWNER: MARYLAND INSTITUTE COLLEGE OF ARTS
ARCHITECT AND ENGINEER: RTKL ASSOCIATES
CIVIL ENGINEER: KCW ENGINEERING TECHNOLOGIES
GENERAL CONTRACTOR: WHITING TURNER
LANDSCAPE ARCHITECT: HIGGINS LAZARUS
122’ TALL
9 STORIES PLUS MECHANICAL PENTHOUSE
108,000 SQFT
64 APARTMENTS
MULTIPURPOSE “BLACK BOX” THEATER
COURTYARD
CAFÉ
STUDIOS

## Slide 4
PRESENTATION
OUTLINE
BUILDING INTRODUCTION
EXISTING STRUCTURE
THESIS CHALLENGE
PROPOSED SOLUTION
GRAVITY SYSTEM DESIGN
LATERAL SYSTEM DESIGN
ARCHITECTURAL BREADTH
CONCLUSION
SLABS:
TWO WAY FLAT PLATE
8” THICK
COLUMNS:
TWO CONCENTRIC RINGS
12”x12” – 24”x24”
CIRCULAR EXTERIOR
36” DIAMETER
UNIQUE CONDITIONS:
BLACK BOX ROOF
41’ SLENDER COLUMNS
EXISTING STRUCTURE

## Slide 5
PRESENTATION
OUTLINE
BUILDING INTRODUCTION
EXISTING STRUCTURE
THESIS CHALLENGE
PROPOSED SOLUTION
GRAVITY SYSTEM DESIGN
LATERAL SYSTEM DESIGN
ARCHITECTURAL BREADTH
CONCLUSION
CONCRETE SHEAR WALLS
DRILLED CAISSONS
360o CURTAIN WALL FAÇADE
EXISTING STRUCTURE

## Slide 6
PRESENTATION
OUTLINE
BUILDING INTRODUCTION
EXISTING STRUCTURE
THESIS CHALLENGE
PROPOSED SOLUTION
GRAVITY SYSTEM DESIGN
LATERAL SYSTEM DESIGN
ARCHITECTURAL BREADTH
CONCLUSION
CHANGE USE TO MUSUEM
BENEFITS:
CIRCULAR FLOOR PLAN
ARCHITECTURAL SIGNIFICANCE
OTHER APPROPRIATE SPACES
DETRACTIONS:
LOW DESIGN LIVE LOADS
LOW FLOOR TO FLOOR HEIGHT
POOR SUNLIGHT CONTROL
THESIS CHALLENGE

## Slide 7
PRESENTATION
OUTLINE
BUILDING INTRODUCTION
EXISTING STRUCTURE
THESIS CHALLENGE
PROPOSED SOLUTION
GRAVITY SYSTEM DESIGN
LATERAL SYSTEM DESIGN
ARCHITECTURAL BREADTH
CONCLUSION
INCREASE LIVE LOAD:
40 PSF – 100 PSF
INCREASE FLOOR TO FLOOR HEIGHT:
10 FEET – 15 FEET
LEVEL 4 – LEVEL 7
ELMINATE LEVELS 8, 9
DECREASE SUNLIGHT EMITTED INTO BUILDING:
USE SOLID PANELS
USE REFLECTIVE/ABSORBANT GLASS
ARCHITECTURAL CHANGES:
FLOOR PLAN
CIRCULATION
PROPOSED SOLUTION

## Slide 8
PRESENTATION
OUTLINE
BUILDING INTRODUCTION
EXISTING STRUCTURE
THESIS CHALLENGE
PROPOSED SOLUTION
GRAVITY SYSTEM DESIGN
LATERAL SYSTEM DESIGN
ARCHITECTURAL BREADTH
CONCLUSION
SLAB ANALYSIS:
EQUIVALENT FRAME METHOD
  FLEXURE
  PUNCHING SHEAR
  DEFLECTIONS
SLAB DESIGN:
12” THICK
#6 USED FOR FLEXURE
#5 @ 12” BOTTOM MAT
#4 @ 3” FOR SHEAR
GRAVITY SYSTEM DESIGN

## Slide 9
PRESENTATION
OUTLINE
BUILDING INTRODUCTION
EXISTING STRUCTURE
THESIS CHALLENGE
PROPOSED SOLUTION
GRAVITY SYSTEM DESIGN
LATERAL SYSTEM DESIGN
ARCHITECTURAL BREADTH
CONCLUSION
COLUMN ANALYSIS:
41’ TALL SECTION
STANDARD 15’ TALL SECTION
spCOLUMN
SLENDERNESS CHECK
COLUMN DESIGN:
36” – 42” DIAMETER EXTERIOR
11 #10’s
SLENDERNESS CHECK OKAY
24”x24” – 30”x30” INTERIOR
8 #10’s
CONTINUOUS SIZE LEVEL 4 - ROOF
GRAVITY SYSTEM DESIGN

## Slide 10
PRESENTATION
OUTLINE
BUILDING INTRODUCTION
EXISTING STRUCTURE
THESIS CHALLENGE
PROPOSED SOLUTION
GRAVITY SYSTEM DESIGN
LATERAL SYSTEM DESIGN
ARCHITECTURAL BREADTH
CONCLUSION
ETABS MODEL:
UPDATED SLABS AND COLUMNS
UPDATED FLOOR TO FLOOR HEIGHT
SHEAR WALLS - MESHED SHELLS
LATERAL AND GRAVITY
1ST ANALYSIS:
SEISMIC IN Y DIRECTION CONTROLLED
SHEAR WALLS INADEQUATE IN FLEXURE
INCREASED LENGTH 4’
LATERAL SYSTEM DESIGN

## Slide 11
PRESENTATION
OUTLINE
BUILDING INTRODUCTION
EXISTING STRUCTURE
THESIS CHALLENGE
PROPOSED SOLUTION
GRAVITY SYSTEM DESIGN
LATERAL SYSTEM DESIGN
ARCHITECTURAL BREADTH
CONCLUSION
2ND ANALYSIS:
ACCEPTABLE DEFLECTIONS AND STORY DRIFT
CHECKED OVERTURNING MOMENT
SHEAR WALL DESIGN:
36” BOUNDARY ELEMENT
12 #11’s WITH #3 TIES @ 12”
#4@18” VERTICAL SHEAR
#5@18” HORIZONTAL SHEAR
FOUNDATION DESIGN:
SHEAR WALL CAISSONS
CRSI 2008 HANDBOOK
ADEQUATE SHAFT AND BELL SIZES
LATERAL SYSTEM DESIGN

## Slide 12
PRESENTATION
OUTLINE
BUILDING INTRODUCTION
EXISTING STRUCTURE
THESIS CHALLENGE
PROPOSED SOLUTION
GRAVITY SYSTEM DESIGN
LATERAL SYSTEM DESIGN
ARCHITECTURAL BREADTH
CONCLUSION
DESIGN ASPECTS:
LARGE VIEWING SPACES
OPEN GALLERIES
CIRCULATION
SUNLIGHT CONTROL
REST AREAS
DESIGN CHANGES:
APARTMENT REMOVAL
MUSEUM STORAGE AND MAINTENANCE
RESTROOMS
ART ALCOVES
ARCHITECTURAL BREADTH

## Slide 13
PRESENTATION
OUTLINE
BUILDING INTRODUCTION
EXISTING STRUCTURE
THESIS CHALLENGE
PROPOSED SOLUTION
GRAVITY SYSTEM DESIGN
LATERAL SYSTEM DESIGN
ARCHITECTURAL BREADTH
CONCLUSION
FAÇADE CHANGES:
CONTROL SOUTH SIDE
INCREASED USE OF SOLID PANELS
REFLECTIVE AND ABSORBENT GLASS
ARCHITECTURAL BREADTH

## Slide 14
PRESENTATION
OUTLINE
BUILDING INTRODUCTION
EXISTING STRUCTURE
THESIS CHALLENGE
PROPOSED SOLUTION
GRAVITY SYSTEM DESIGN
LATERAL SYSTEM DESIGN
ARCHITECTURAL BREADTH
CONCLUSION
COULD HAVE BEEN DESIGNED AS MUSEUM
SYSTEM TYPES FEASIBLE
SIGNIFICANT STRUCTURAL STRENGTHENING
SIGNIFICANT ARCHITECTURAL CHANGES
INCREASED MATERIAL AMOUNTS = HIGHER COST
CONCLUSION

## Slide 15
PRESENTATION
OUTLINE
BUILDING INTRODUCTION
EXISTING STRUCTURE
THESIS CHALLENGE
PROPOSED SOLUTION
GRAVITY SYSTEM DESIGN
LATERAL SYSTEM DESIGN
ARCHITECTURAL BREADTH
CONCLUSION
MARYLAND INSTITUTE COLLEGE OF ARTS
RTKL ASSOCIATES
BOB KNIGHT
PETE MALMQUIST
DAVID DYMOND
ADAM REED
PENN STATE ARCHITECTURAL ENGINEERING:
PROFESSOR HEATHER SUSTERSIC
PROFESSOR KEVIN PARFITT
PROFESSOR BOB HOLLAND
FRIENDS AND FAMILY
ACKNOWLEDGEMENTS
QUESTIONS
AND
COMMENTS

## Slide 16
PRESENTATION
OUTLINE
BUILDING INTRODUCTION
EXISTING STRUCTURE
THESIS CHALLENGE
PROPOSED SOLUTION
GRAVITY SYSTEM DESIGN
LATERAL SYSTEM DESIGN
ARCHITECTURAL BREADTH
CONCLUSION
APPENDIX
MATERIAL INCREASE:
SLAB CONCRETE: 27%
COL. CONCRETE: 26%
COL. STEEL: 21%
DEVELOPMENT LENGTH:
6’ BEYOND IN FRAME 1
5’ BEYOND IN FRAME 2
7’ BEYOND IN FRAME 3
BOT. BARS CONT.
HOOKS:
90o
6” BOT. BARS
9.8” TOP BARS