## Slide 1
Peggy Ryan Williams Center
AE Senior Thesis
April 14, 2014
Angela Mincemoyer
Structural Option
Advisor | Dr. Boothby
Ithaca, New York

## Slide 2
Peggy Ryan Williams Center
Introduction
Proposal
Structural Depth
  Gravity System
  Lateral System
  Bridge Truss
Architectural Breadth
Lighting Breadth
Conclusion
Ithaca, New York
AE Senior Thesis
April 14, 2014
Angela Mincemoyer
Structural Option
Advisor | Dr. Boothby

## Slide 3
Peggy Ryan Williams Center
Introduction
Proposal
Structural Depth
  Gravity System
  Lateral System
  Bridge Truss
Architectural Breadth
Lighting Breadth
Conclusion
Introduction
Owner | Ithaca College
Architect | Holt Architects
Structural Engineer | Ryan-Biggs Associates
58,200 GSF
4 Stories
Substantial Completion | March 2010
Photo provided courtesy of Holt Architects

## Slide 4
Peggy Ryan Williams Center
Introduction
Proposal
Structural Depth
  Gravity System
  Lateral System
  Bridge Truss
Architectural Breadth
Lighting Breadth
Conclusion
Existing Gravity System
Composite steel floor
3” x 20 gauge composite metal deck
6” concrete slab
Wide Flange
Beams, girder, columns
Irregular Layout
Geometry, cantilevers
42’
48’

## Slide 5
Peggy Ryan Williams Center
Introduction
Proposal
Structural Depth
  Gravity System
  Lateral System
  Bridge Truss
Architectural Breadth
Lighting Breadth
Conclusion
Existing Lateral System
Concentrically braced structural steel frames
North-South
East-West
Seismic Design Category A
Wind Controlled Design

## Slide 6
Peggy Ryan Williams Center
Introduction
Proposal
Structural Depth
  Gravity System
  Lateral System
  Bridge Truss
Architectural Breadth
Lighting Breadth
Conclusion
Existing Bridge System
Pratt Trusses
HSS
3.5” pipe
Double Cantilever

## Slide 7
Peggy Ryan Williams Center
Building
Bridge
Scenario | Project Schedule is no longer critical
Proposal | One way concrete slab system with pan joists and girders
          Beneficial for cantilevers
          Accommodates varying spans & geometries
          Thinner slab
          Minimize architectural impact
Scenario | Learning opportunity
Proposal | Two different redesign options will be considered
          Reflection of New York’s historic covered bridges
          Reflect on original name of the building
          (“The Gateway Building”)
Introduction
Proposal
Structural Depth
  Gravity System
  Lateral System
  Bridge Truss
Architectural Breadth
Lighting Breadth
Conclusion

## Slide 8
Peggy Ryan Williams Center
Building
Bridge
Scenario | Project Schedule is no longer critical
Proposal | One way concrete slab system with pan joists and girders
          Beneficial for cantilevers
          Accommodates varying spans & geometries
          Thinner slab
          Minimize architectural impact
Scenario | Learning opportunity
Proposal | Two different redesign options will be considered
          Reflection of New York’s historic covered bridges
          Reflect on original name of the building
          (“The Gateway Building”)
Introduction
Proposal
Structural Depth
  Gravity System
  Lateral System
  Bridge Truss
Architectural Breadth
Lighting Breadth
Conclusion

## Slide 9
Peggy Ryan Williams Center
Building
Bridge
Proposal| One way concrete slab system with pan joists and girders
Goals| Design a one way concrete slab system while:
          Minimizing floor system depth
          Minimizing architectural impact
Proposal| Two different redesign options will be considered
Goals| After considering two redesign options:
          Determine which option to move forward with
          Design one side truss of the bridge
Introduction
Proposal
Structural Depth
  Gravity System
  Lateral System
  Bridge Truss
Architectural Breadth
Lighting Breadth
Conclusion

## Slide 10
Peggy Ryan Williams Center
Building
Bridge
Proposal| One way concrete slab system with pan joists and girders
Goals| Design a one way concrete slab system while:
          Minimizing floor system depth
          Minimizing architectural impact
Proposal| Two different redesign options will be considered
Goals| After considering two redesign options:
          Determine which option to move forward with
          Design one side truss of the bridge
Introduction
Proposal
Structural Depth
  Gravity System
  Lateral System
  Bridge Truss
Architectural Breadth
Lighting Breadth
Conclusion

## Slide 11
Peggy Ryan Williams Center
Pan Joist System
Introduction
Proposal
Structural Depth
  Gravity System
  Lateral System
  Bridge Truss
Architectural Breadth
Lighting Breadth
Conclusion
  CRSI Manual
  Same joist size and spacing used throughout
  2 worst case spans considered
  30” forms with 6” rib @ 36” o.c.
  20” rib depth + 4.5” slab = 24.5” system depth
  f’c = 4,000 psi
  fy = 60 ksi

## Slide 12
Peggy Ryan Williams Center
Framing Plan
Girders/Beams
  Designed members indicated
    Chosen due to: Long spans,
    large tributary widths, high loadings
  Designed using spBeam
    Strength requirements
    Deflections checked per ACI 318-11 Table 9.5b
Introduction
Proposal
Structural Depth
  Gravity System
  Lateral System
  Bridge Truss
Architectural Breadth
Lighting Breadth
Conclusion
Column Line 2
Column Line 8
Column Line 13
Column Line D
8
2
13
D

## Slide 13
Peggy Ryan Williams Center
Columns
  Designed using spColumn
  Both axial loads from above & moments were applied
  Square section chosen
    Ease of construction
    Aid in future lateral system design
  All column sizes were increased to
    18”x 18” for constructability
Introduction
Proposal
Structural Depth
  Gravity System
  Lateral System
  Bridge Truss
Architectural Breadth
Lighting Breadth
Conclusion

## Slide 14
Peggy Ryan Williams Center
Summary
Introduction
Proposal
Structural Depth
  Gravity System
  Lateral System
  Bridge Truss
Architectural Breadth
Lighting Breadth
Conclusion
  Columns & girders were removed from original design
  Floor system depth decreased by 5-5/8”
    Larger floor-to-ceiling height
Existing
Redesign

## Slide 15
Peggy Ryan Williams Center
Lateral System Introduction
Introduction
Proposal
Structural Depth
  Gravity System
  Lateral System
  Bridge Truss
Architectural Breadth
Lighting Breadth
Conclusion
  Current lateral system
    Concentrically braced structural steel frames
    No longer the best option
  Gravity system may double as the lateral system
  Concrete moment frames in North-South and East-West directions
  4 concrete moment frames were considered in each direction

## Slide 16
Peggy Ryan Williams Center
Lateral System Analysis
Introduction
Proposal
Structural Depth
  Gravity System
  Lateral System
  Bridge Truss
Architectural Breadth
Lighting Breadth
Conclusion
  Both wind and seismic forces were calculated per ASCE7-10
    Wind controlled
  Using spColumn, 18”x18” columns were designed
    Biaxial bending was considered
  Worst case girder and joist were checked for beam-column interaction
    Found to be adequate

## Slide 17
Peggy Ryan Williams Center
Summary
Introduction
Proposal
Structural Depth
  Gravity System
  Lateral System
  Bridge Truss
Architectural Breadth
Lighting Breadth
Conclusion
  Analysis was done using 4 frames in both directions
    By adding frames the system will surely be adequate
  The gravity system of the building doubles as the lateral system

## Slide 18
Peggy Ryan Williams Center
Bridge Introduction
Introduction
Proposal
Structural Depth
  Gravity System
  Lateral System
  Bridge Truss
Architectural Breadth
Lighting Breadth
Conclusion
  Sketches were produced to determine which inspiration would be used in the redesign
    The covered bridge option was chosen
  Box truss design
  Move supports out to open up the space
  Warren Truss

## Slide 19
Peggy Ryan Williams Center
Loads
Introduction
Proposal
Structural Depth
  Gravity System
  Lateral System
  Bridge Truss
Architectural Breadth
Lighting Breadth
Conclusion
  Only gravity loads were considered for the side trusses
  Panel point loads were determined based on layout
  Controlling Load Combinations:
    1.2 D + 1.6 L + 0.5 S
    1.2 D + 1.6 S + L

## Slide 20
Peggy Ryan Williams Center
Member Force Determination
Introduction
Proposal
Structural Depth
  Gravity System
  Lateral System
  Bridge Truss
Architectural Breadth
Lighting Breadth
Conclusion
  Indexing Method
  Loading all panel points
    Produced worst case force in top chord, bottom chord, and far left diagonal
  Use of geometry to determine member forces
  Method of Joints to verify Indexing Method forces
    Indexing Method is an accurate method of analysis
1.2 D + 1.6 L + 0.5 S

## Slide 21
Peggy Ryan Williams Center
Member Design
Introduction
Proposal
Structural Depth
  Gravity System
  Lateral System
  Bridge Truss
Architectural Breadth
Lighting Breadth
Conclusion
  Steel Manual Tables
    Table 4-4 for top chord and diagonal compression members
    Table 5-5 for bottom chord tension member
  Top Chord: HSS7x7x¼
  Bottom Chord: HSS7x7x¼
  Diagonals: HSS4x4x½

## Slide 22
Peggy Ryan Williams Center
The Newfield Bridge
Introduction
Proposal
Structural Depth
  Gravity System
  Lateral System
  Bridge Truss
Architectural Breadth
Lighting Breadth
Conclusion
The Golden Gate Bridge

## Slide 23
Peggy Ryan Williams Center
The Newfield Bridge
Introduction
Proposal
Structural Depth
  Gravity System
  Lateral System
  Bridge Truss
Architectural Breadth
Lighting Breadth
Conclusion
The Golden Gate Bridge

## Slide 24
Peggy Ryan Williams Center
The Newfield Bridge
Introduction
Proposal
Structural Depth
  Gravity System
  Lateral System
  Bridge Truss
Architectural Breadth
Lighting Breadth
Conclusion
The Golden Gate Bridge
Public domain

## Slide 25
Peggy Ryan Williams Center
The Newfield Bridge
Introduction
Proposal
Structural Depth
  Gravity System
  Lateral System
  Bridge Truss
Architectural Breadth
Lighting Breadth
Conclusion
Chosen Inspiration

## Slide 26
Peggy Ryan Williams Center
Truss Design
Introduction
Proposal
Structural Depth
  Gravity System
  Lateral System
  Bridge Truss
Architectural Breadth
Lighting Breadth
Conclusion
Redesign

## Slide 27
Peggy Ryan Williams Center
Façade Inspiration
Introduction
Proposal
Structural Depth
  Gravity System
  Lateral System
  Bridge Truss
Architectural Breadth
Lighting Breadth
Conclusion
Redesign
Photo provided courtesy of ebayink

## Slide 28
Peggy Ryan Williams Center
Introduction
Proposal
Structural Depth
  Gravity System
  Lateral System
  Bridge Truss
Architectural Breadth
Lighting Breadth
Conclusion
Façade Comparison
Existing Bridge Façade
Redesigned Bridge Façade

## Slide 29
Peggy Ryan Williams Center
Introduction
Proposal
Structural Depth
  Gravity System
  Lateral System
  Bridge Truss
Architectural Breadth
Lighting Breadth
Conclusion
Façade Comparison
Existing Bridge Façade
Redesigned Bridge Façade

## Slide 30
Peggy Ryan Williams Center
Introduction
Proposal
Structural Depth
  Gravity System
  Lateral System
  Bridge Truss
Architectural Breadth
Lighting Breadth
Conclusion
Lighting Breadth

## Slide 31
Peggy Ryan Williams Center
Building
Bridge
Goals| Design a one way concrete slab system while:
          Minimizing floor system depth
          Minimize architectural impact
Conclusion| Designed a one way concrete slab system while:
          Floor system depth decreased by 5-⅝ inches
          Decreased number of columns and girders
          Gravity system adequate for Lateral Loads
Goals| After considering two redesign options:
          Determine which option to move forward with
          Design one side truss of the bridge
Conclusion| Considered two redesign options:
          Chose the covered bridge option
          Designed side truss using the Indexing Method
Introduction
Proposal
Structural Depth
  Gravity System
  Lateral System
  Bridge Truss
Architectural Breadth
Lighting Breadth
Conclusion

## Slide 32
Peggy Ryan Williams Center
Building
Bridge
Goals| Design a one way concrete slab system while:
          Minimizing floor system depth
          Minimize architectural impact
Conclusion| Designed a one way concrete slab system while:
          Floor system depth decreased by 5-⅝ inches
          Decreased number of columns and girders
          Gravity system adequate for Lateral Loads
Goals| After considering two redesign options:
          Determine which option to move forward with
          Design one side truss of the bridge
Conclusion| Considered two redesign options:
          Chose the covered bridge option
          Designed side truss using the Indexing Method
Introduction
Proposal
Structural Depth
  Gravity System
  Lateral System
  Bridge Truss
Architectural Breadth
Lighting Breadth
Conclusion

## Slide 33
Peggy Ryan Williams Center
Acknowledgements
Introduction
Proposal
Structural Depth
  Gravity System
  Lateral System
  Bridge Truss
Architectural Breadth
Lighting Breadth
Conclusion
Ryan-Biggs Associates
Holt Architects
Entire AE Faculty
Dr. Thomas Boothby
Professor M. Kevin Parfitt
Fellow AE Students
Family and Friends

## Slide 34
Peggy Ryan Williams Center
AE Senior Thesis
April 14, 2014
Angela Mincemoyer
Structural Option
Advisor | Dr. Boothby
Questions
Photo provided courtesy of Holt Architects