## Slide 1: engineering center oakland university
lighting schematic
initial design development presentation
JOHNCONLEY

## Slide 2
building | concept | exterior walkway | lobby + atrium | auditorium | project labs | questions
name
location
owner
size
cost
architect
construction
engineering center
rochester, mi
oakland university school of engineering and computer sciences
136,653 sf
$57 million
smithgroupjjr
walbridge aldinger company
| building

## Slide 3
| location
building | concept | exterior walkway | lobby + atrium | auditorium | project labs | questions

## Slide 4
| location
building | concept | exterior walkway | lobby + atrium | auditorium | project labs | questions

## Slide 5
| location
building | concept | exterior walkway | lobby + atrium | auditorium | project labs | questions

## Slide 6
| program of the building
building | concept | exterior walkway | lobby + atrium | auditorium | project labs | questions

## Slide 7
SECS Mission
In carrying out its mission the school will address the needs of the automotive and related industries in southeast Michigan for the:
Education of engineers and computer scientists,
Development of research programs and
Fulfillment of the demands for professional service.
| concept
building | concept | exterior walkway | lobby + atrium | auditorium | project labs | questions
Notes: 1999? At a computer expo (COMDEX), Bill Gates reportedly compared the computer industry with the auto industry and stated: "If GM had kept up with the technology like the computer industry has, we would all be driving $25.00 cars that got 1,000 miles to the gallon." Read more at http://www.snopes.com/humor/jokes/autos.asp#7f05jBkwHDKImPKX.99

## Slide 8
| concept
building | concept | exterior walkway | lobby + atrium | auditorium | project labs | questions
If GM had kept up with technology like the computer industry has, we would all be driving $25 cars that got 1,000 MPG.
Bill Gates
Read more at http://www.brainyquote.com/quotes/quotes/b/billgates389269.html#baOwi0zo3fVrzdpZ.99
Notes: 1999? At a computer expo (COMDEX), Bill Gates reportedly compared the computer industry with the auto industry and stated: "If GM had kept up with the technology like the computer industry has, we would all be driving $25.00 cars that got 1,000 miles to the gallon." Read more at http://www.snopes.com/humor/jokes/autos.asp#7f05jBkwHDKImPKX.99

## Slide 9
| concept
building | concept | exterior walkway | lobby + atrium | auditorium | project labs | questions
Paving the Road to Progress

## Slide 10
| location
building | concept | exterior walkway | lobby + atrium | auditorium | project labs | questions
exterior walkway
auditorium
lobby + atrium
project labs

## Slide 11
| exterior walkway
building | concept | exterior walkway | lobby + atrium | auditorium | project labs | questions

## Slide 12
| exterior walkway
building | concept | exterior walkway | lobby + atrium | auditorium | project labs | questions
design criteria
paths clearly laid out
building as stop not just billboard
campus safety
minimize light to surroundings
LPD = 0.16 W/ft2
LZ2 moderate ambient light
trespass criteria
Eh = 3 lux pre-curfew
= 1 lux post-curfew
Ev = N/A
Notes: Zone 3 Ashrae building grounds walkways 10ft or wider and plaza areas = 0.16 W/sf

## Slide 13
| exterior walkway
building | concept | exterior walkway | lobby + atrium | auditorium | project labs | questions

## Slide 14
| exterior walkway
building | concept | exterior walkway | lobby + atrium | auditorium | project labs | questions

## Slide 15
| exterior walkway
building | concept | exterior walkway | lobby + atrium | auditorium | project labs | questions

## Slide 16
| exterior walkway
building | concept | exterior walkway | lobby + atrium | auditorium | project labs | questions

## Slide 17
| lobby + atrium
building | concept | exterior walkway | lobby + atrium | auditorium | project labs | questions

## Slide 18
design criteria
paths clearly laid out
architecture accented in clean lines
points of higher traffic brighter
points of respite with perimeter light
LPD = 1.23 W/ft2
Day
Eh = 100 lux
Ev = 50 lux
Night
Eh = 50 lux
Ev = 20 lux
| lobby + atrium
building | concept | exterior walkway | lobby + atrium | auditorium | project labs | questions

## Slide 19
| lobby + atrium
building | concept | exterior walkway | lobby + atrium | auditorium | project labs | questions

## Slide 20
| lobby + atrium
building | concept | exterior walkway | lobby + atrium | auditorium | project labs | questions

## Slide 21
| lobby + atrium
building | concept | exterior walkway | lobby + atrium | auditorium | project labs | questions

## Slide 22
| lobby + atrium
building | concept | exterior walkway | lobby + atrium | auditorium | project labs | questions

## Slide 23
| lobby + atrium
building | concept | exterior walkway | lobby + atrium | auditorium | project labs | questions

## Slide 24
| lobby + atrium
building | concept | exterior walkway | lobby + atrium | auditorium | project labs | questions

## Slide 25
| lobby + atrium
building | concept | exterior walkway | lobby + atrium | auditorium | project labs | questions

## Slide 26
| lobby + atrium
building | concept | exterior walkway | lobby + atrium | auditorium | project labs | questions

## Slide 27
| lobby + atrium
building | concept | exterior walkway | lobby + atrium | auditorium | project labs | questions

## Slide 28
| auditorium
building | concept | exterior walkway | lobby + atrium | auditorium | project labs | questions

## Slide 29
| auditorium
building | concept | exterior walkway | lobby + atrium | auditorium | project labs | questions
race track
learn from the achievements of others
show room
let the world see your own achievements
crash testing
test your ideas against others

## Slide 30
| auditorium
building | concept | exterior walkway | lobby + atrium | auditorium | project labs | questions
design criteria
focus on the center or speaker
perimeter highlighted
rythm and symmetry
LPD = 1.24 W/ft2
Eh = 300 lux
Ev = 75 lux
race track

## Slide 31
| auditorium
building | concept | exterior walkway | lobby + atrium | auditorium | project labs | questions

## Slide 32
| auditorium
building | concept | exterior walkway | lobby + atrium | auditorium | project labs | questions

## Slide 33
| auditorium
building | concept | exterior walkway | lobby + atrium | auditorium | project labs | questions
design criteria
high-end feeling space
versatile
focused
LPD = 1.24 W/ft2
Eh = 300 lux
Ev = 75 lux

## Slide 34
| auditorium
building | concept | exterior walkway | lobby + atrium | auditorium | project labs | questions

## Slide 35
| auditorium
building | concept | exterior walkway | lobby + atrium | auditorium | project labs | questions

## Slide 36
| auditorium
building | concept | exterior walkway | lobby + atrium | auditorium | project labs | questions
design criteria
point source lighting
multiple directions
focus on task and clarity
LPD = 1.24 W/ft2
Eh = 300 lux
Ev = 75 lux

## Slide 37
| auditorium
building | concept | exterior walkway | lobby + atrium | auditorium | project labs | questions

## Slide 38
| auditorium
building | concept | exterior walkway | lobby + atrium | auditorium | project labs | questions

## Slide 39
| project rooms
building | concept | exterior walkway | lobby + atrium | auditorium | project labs | questions

## Slide 40
| project rooms
building | concept | exterior walkway | lobby + atrium | auditorium | project labs | questions
design criteria
starting gate of ideas
very intensive task oriented
shop + show room mix
stylized industrial feel
LPD = 1.4 W/ft2
Eh = 1000 lux
Ev = 500 lux

## Slide 41
| project rooms
building | concept | exterior walkway | lobby + atrium | auditorium | project labs | questions

## Slide 42
| project rooms
building | concept | exterior walkway | lobby + atrium | auditorium | project labs | questions

## Slide 43
| project rooms
building | concept | exterior walkway | lobby + atrium | auditorium | project labs | questions

## Slide 44
| project rooms
building | concept | exterior walkway | lobby + atrium | auditorium | project labs | questions

## Slide 45
| questions
building | concept | exterior walkway | lobby + atrium | auditorium | project labs | questions
special thanks to
SmithGroupJJR for all models and images used
shawn good
richard mistrick