## Slide 1: NEOMED Research and Graduate Education Building + Comparative Medical Unit Expansion
the Northeast Ohio Medical University Campus
Rootstown, Ohio
Sam Bridwell, BAE Mechanical Option Advisor: Dr. Freihaut
Image © <www.crystaldiagnostics.com>
Image © <www.neomed.edu>
Notes: Introduction

## Slide 2
Introduction
Project Overview
Existing Systems
Proposal
Depth: Cogeneration Plant Implementation
Breadth 1: Power Interconnect and Black Start Capability
Breadth 2: Alternate Project Delivery System
Final Recommendations
Conclusion/Acknowledgements
Table of Contents
Project Overview
Construction Management Breadth
Electrical Breadth
Mechanical Depth
Proposal
Existing Systems
Final Recomendations
Air-side HVAC
Existing Infrastructure
Water-side HVAC
Potential Benefits
Background
Research
Interconnection Laws and Standards
Utility Interconnect Design
Configuration Analyses
Utility Data Analysis
Screening
Decision Factors
Proposal Components
Design Conditions
Design Objectives
System Operation
Further Expansion
Notes: Project Overview: Project Background
Location
Campus
  Phase 1
    RGE
    CMU
    REDI-Zone
  The Village
  Phase 2
    NEW
  Phase 3

## Slide 3
Table of Contents
Introduction
Project Overview
Existing Systems
Proposal
Depth: Cogeneration Plant Implementation
Breadth 1: Power Interconnect and Black Start Capability
Breadth 2: Alternate Project Delivery System
Final Recommendations
Conclusion/Acknowledgements
Project Location
Utica Shale Region
5A Cool and Moist
Image © <http://upload.wikimedia.org/wikipedia/commons/thumb/b/b2/Utica_Shale_assessment_-_01.jpg/220px-Utica_Shale_assessment_-_01.jpg>
Image © ASHRAE Std. 90.1.5.1.4 Figure B1-1
Notes: Project Overview: Project Background
Location
Campus
  Phase 1
    RGE
    CMU
    REDI-Zone
  The Village
  Phase 2
    NEW
  Phase 3

## Slide 4
Table of Contents
Introduction
Project Overview
Existing Systems
Proposal
Depth: Cogeneration Plant Implementation
Breadth 1: Power Interconnect and Black Start Capability
Breadth 2: Alternate Project Delivery System
Final Recommendations
Conclusion/Acknowledgements
Campus Map
Image © <http://www.neomed.edu/about/pdfs/neomed-campus-map.pdf>
Notes: Project Overview: Project Background
Location
Campus
  Phase 1
    RGE
    CMU
    REDI-Zone
  The Village
  Phase 2
    NEW
  Phase 3

## Slide 5
Table of Contents
Introduction
Project Overview
Existing Systems
Proposal
Depth: Cogeneration Plant Implementation
Breadth 1: Power Interconnect and Black Start Capability
Breadth 2: Alternate Project Delivery System
Final Recommendations
Conclusion/Acknowledgements
Phase 1
Research and Graduate Education Building
Image © <http://www.neomed.edu/about/pdfs/neomed-campus-map.pdf>
Image © <http://www.ruhlin.com/highered-neomedrgecmu>
Notes: Project Overview: Project Background
Location
Campus
  Phase 1
    RGE
    CMU
    REDI-Zone
  The Village
  Phase 2
    NEW
  Phase 3

## Slide 6
Table of Contents
Introduction
Project Overview
Existing Systems
Proposal
Depth: Cogeneration Plant Implementation
Breadth 1: Power Interconnect and Black Start Capability
Breadth 2: Alternate Project Delivery System
Final Recommendations
Conclusion/Acknowledgements
Phase 1
Comparative Medical Unit Expansion
REDI-Zone
Image © <http://www.neomed.edu/about/pdfs/neomed-campus-map.pdf>
Image © Scheeser Buckley Mayfield LLC
Image © Scheeser Buckley Mayfield LLC
Notes: Project Overview: Project Background
Location
Campus
  Phase 1
    RGE
    CMU
    REDI-Zone
  The Village
  Phase 2
    NEW
  Phase 3

## Slide 7
Table of Contents
Introduction
Project Overview
Existing Systems
Proposal
Depth: Cogeneration Plant Implementation
Breadth 1: Power Interconnect and Black Start Capability
Breadth 2: Alternate Project Delivery System
Final Recommendations
Conclusion/Acknowledgements
The Village
Image © <http://www.neomed.edu/about/pdfs/neomed-campus-map.pdf>
Image © <www.neomed.edu>
Notes: Project Overview: Project Background
Location
Campus
  Phase 1
    RGE
    CMU
    REDI-Zone
  The Village
  Phase 2
    NEW
  Phase 3

## Slide 8
Table of Contents
Introduction
Project Overview
Existing Systems
Proposal
Depth: Cogeneration Plant Implementation
Breadth 1: Power Interconnect and Black Start Capability
Breadth 2: Alternate Project Delivery System
Final Recommendations
Conclusion/Acknowledgements
Phase 2
NEOMED Education and Wellness Center
Image © <http://www.neomed.edu/about/pdfs/neomed-campus-map.pdf>
Image © <http://www.ruhlin.com/highered-neomedhwmec>
Image © <http://www.ruhlin.com/highered-neomedhwmec>
Notes: Project Overview: Project Background
Location
Campus
  Phase 1
    RGE
    CMU
    REDI-Zone
  The Village
  Phase 2
    NEW
  Phase 3

## Slide 9
Table of Contents
High-Pressure Steam Plant
Existing Infrastructure
Main HW/CW Plant
Introduction
Project Overview
Existing Systems
  Existing Infrastructure
  Water-side HVAC
  Air-side HVAC
  Design Conditions
  Design Objectives
Proposal
Depth: Cogeneration Plant Implementation
Breadth 1: Power Interconnect and Black Start Capability
Breadth 2: Alternate Project Delivery System
Final Recommendations
Conclusion/Acknowledgements
Image © <http://www.neomed.edu/about/pdfs/neomed-campus-map.pdf>
Notes: Project Overview: Project Background
Location
Campus
  Phase 1
    RGE
    CMU
    REDI-Zone
  The Village
  Phase 2
    NEW
  Phase 3

## Slide 10
Table of Contents
RGE Standalone Utilities
Introduction
Project Overview
Existing Systems
  Existing Infrastructure
  Water-side HVAC
  Air-side HVAC
  Design Conditions
  Design Objectives
Proposal
Depth: Cogeneration Plant Implementation
Breadth 1: Power Interconnect and Black Start Capability
Breadth 2: Alternate Project Delivery System
Final Recommendations
Conclusion/Acknowledgements
Image © Scheeser Buckley Mayfield LLC
Image © Scheeser Buckley Mayfield LLC
Notes: Project Overview: Project Background
Location
Campus
  Phase 1
    RGE
    CMU
    REDI-Zone
  The Village
  Phase 2
    NEW
  Phase 3

## Slide 11
Table of Contents
RGE Standalone Utilities
Introduction
Project Overview
Existing Systems
  Existing Infrastructure
  Water-side HVAC
  Air-side HVAC
  Design Conditions
  Design Objectives
Proposal
Depth: Cogeneration Plant Implementation
Breadth 1: Power Interconnect and Black Start Capability
Breadth 2: Alternate Project Delivery System
Final Recommendations
Conclusion/Acknowledgements
Image © Scheeser Buckley Mayfield LLC
Image © Scheeser Buckley Mayfield LLC
Notes: Project Overview: Project Background
Location
Campus
  Phase 1
    RGE
    CMU
    REDI-Zone
  The Village
  Phase 2
    NEW
  Phase 3

## Slide 12
Table of Contents
Custom RTU’s
AHU-1 and AHU-2
50,000 CFM
100% OA
AHU-3
28,000 CFM
AHU-4
8,400 CFM
Introduction
Project Overview
Existing Systems
  Existing Infrastructure
  Water-side HVAC
  Air-side HVAC
  Design Conditions
  Design Objectives
Proposal
Depth: Cogeneration Plant Implementation
Breadth 1: Power Interconnect and Black Start Capability
Breadth 2: Alternate Project Delivery System
Final Recommendations
Conclusion/Acknowledgements
Notes: Project Overview: Project Background
Location
Campus
  Phase 1
    RGE
    CMU
    REDI-Zone
  The Village
  Phase 2
    NEW
  Phase 3

## Slide 13
Table of Contents
Custom RTU’s
AHU-5
85,000 CFM
100% OA
Introduction
Project Overview
Existing Systems
  Existing Infrastructure
  Water-side HVAC
  Air-side HVAC
  Design Conditions
  Design Objectives
Proposal
Depth: Cogeneration Plant Implementation
Breadth 1: Power Interconnect and Black Start Capability
Breadth 2: Alternate Project Delivery System
Final Recommendations
Conclusion/Acknowledgements
Image © Scheeser Buckley Mayfield LLC
Notes: Project Overview: Project Background
Location
Campus
  Phase 1
    RGE
    CMU
    REDI-Zone
  The Village
  Phase 2
    NEW
  Phase 3

## Slide 14
Table of Contents
Design Conditions
Introduction
Project Overview
Existing Systems
  Existing Infrastructure
  Water-side HVAC
  Air-side HVAC
  Design Conditions
  Design Objectives
Proposal
Depth: Cogeneration Plant Implementation
Breadth 1: Power Interconnect and Black Start Capability
Breadth 2: Alternate Project Delivery System
Final Recommendations
Conclusion/Acknowledgements
Image © BR+A Consulting Engineers
Image © BR+A Consulting Engineers
Image © BR+A Consulting Engineers
Notes: Project Overview: Project Background
Location
Campus
  Phase 1
    RGE
    CMU
    REDI-Zone
  The Village
  Phase 2
    NEW
  Phase 3

## Slide 15
Table of Contents
Introduction
Project Overview
Existing Systems
  Existing Infrastructure
  Water-side HVAC
  Air-side HVAC
  Design Conditions
  Design Objectives
Proposal
Depth: Cogeneration Plant Implementation
Breadth 1: Power Interconnect and Black Start Capability
Breadth 2: Alternate Project Delivery System
Final Recommendations
Conclusion/Acknowledgements
Design Objectives
Top-Notch Quality of Facility
24/7 Availability for Staff and Researchers
Independence and Reliability of Building Systems
Flexibility for Future Changes and Campus Expansion
Image © <http://www.transactbookkeeping.co.uk/images/reliability.jpg>
Image © <http://davegreenwald.com>
Image © <http://microinnova.com>
Image © <http://www.laborcosting.com>
Notes: Project Overview: Project Background
Location
Campus
  Phase 1
    RGE
    CMU
    REDI-Zone
  The Village
  Phase 2
    NEW
  Phase 3

## Slide 16
Table of Contents
Introduction
Project Overview
Existing Systems
Proposal
  Decision Factors
  Proposal Components
Depth: Cogeneration Plant Implementation
Breadth 1: Power Interconnect and Black Start Capability
Breadth 2: Alternate Project Delivery System
Final Recommendations
Conclusion/Acknowledgements
Considerations Made
Built to Benefit not only Students and Researchers but Entire Regional Community
Strict Technical Requirements
Ease of Maintenance
Goal of Long-Term Growth and Development
Distance to Existing Utilities
High Air Turnover, Need for Energy Recovery
Strict Project Delivery Timeline
Atypical Building Systems
Environmental Impact
Multi-Phase, Multiple Bids
Complex Controls and Metering
Cost Impact
Efficiency
Notes: Project Overview: Project Background
Location
Campus
  Phase 1
    RGE
    CMU
    REDI-Zone
  The Village
  Phase 2
    NEW
  Phase 3

## Slide 17
Table of Contents
Proposed Alternatives
Depth: Cogeneration Plant Implementation
Breadth 1: Power Interconnect &
Black Start Capability
Breadth 2: Alternate Project
Delivery System
Introduction
Project Overview
Existing Systems
Proposal
  Decision Factors
  Proposal Components
Depth: Cogeneration Plant Implementation
Breadth 1: Power Interconnect and Black Start Capability
Breadth 2: Alternate Project Delivery System
Final Recommendations
Conclusion/Acknowledgements
Image © <http://www.fhwa.dot.gov>
Image © <http://www.epa.gov>
Image © <http://www-tc.pbs.org>
Notes: Project Overview: Project Background
Location
Campus
  Phase 1
    RGE
    CMU
    REDI-Zone
  The Village
  Phase 2
    NEW
  Phase 3

## Slide 18
Table of Contents
Introduction
Project Overview
Existing Systems
Proposal
Depth: Cogeneration Plant Implementation
  Utility Data Analysis
  Screening
  Configuration Analyses
  System Operation
  Further Expansion
Breadth 1: Power Interconnect and Black Start Capability
Breadth 2: Alternate Project Delivery System
Final Recommendations
Conclusion/Acknowledgements
Chart: 
| FY 03 | FY 04 | FY 05 | FY 06 | FY 07 | FY 08 | FY 09 | FY 10 | FY 11 | FY 12 | FY 13 | FY 14
Gas Price by Year | 5.347 | 7.11 | 7.11 | 9.0224 | 8.5596 | 8.5373 | 10.7953 | 8.0353 | 7.6248 | 7.2172 | 6.9736 | 4.5111
Chart: 
| FY 03 | FY 04 | FY 05 | FY 06 | FY 07 | FY 08 | FY 09 | FY 10 | FY 11 | FY 12 | FY 13 | FY 14
Electric Price by Year | 0.068575 | 0.071007 | 0.071655 | 0.085227 | 0.082845 | 0.077675 | 0.081567 | 0.079937 | 0.075398 | 0.074368 | 0.07441 | 0.06895
Chart: Electric Demand by Month
| January | February | March | April | May | June | July | August | September | October | November | December
Electric Demand by Month | 992.0314 | 1022.5503 | 1004.24 | 1078.2771 | 1049.0806 | 1137.921 | 1161.0025 | 1217.7962 | 1166.2601 | 1082.7799 | 1045.0655 | 1056.6884
Chart: Thermal Demand by Month
| January | February | March | April | May | June | July | August | September | October | November | December
Thermal Demand by Month | 8752.9722 | 10920.1351 | 7807.7336 | 6682.6439 | 4421.4167 | 3917.2058 | 3132.4078 | 3262.4634 | 3445.529 | 4547.2437 | 6597.875 | 8626.3889
Chart: Thermal/Electric Demand Ratio By Month
| January | February | March | April | May | June | July | August | September | October | November | December
Thermal/Electric Demand Ratio By Month | 2.6171 | 3.1225 | 2.2753 | 1.8335 | 1.2386 | 1.0114 | 0.80148 | 0.7918 | 0.8717 | 1.2613 | 1.8694 | 2.3993
Campus Utility Data
Notes: Project Overview: Project Background
Location
Campus
  Phase 1
    RGE
    CMU
    REDI-Zone
  The Village
  Phase 2
    NEW
  Phase 3

## Slide 19
Table of Contents
Introduction
Project Overview
Existing Systems
Proposal
Depth: Cogeneration Plant Implementation
  Utility Data Analysis
  Screening
  Configuration Analyses
  System Operation
  Further Expansion
Breadth 1: Power Interconnect and Black Start Capability
Breadth 2: Alternate Project Delivery System
Final Recommendations
Conclusion/Acknowledgements
System Selection
Site Data Collection |  |  |  |  |  |  |  |  |  |  |  |  |  | 
1. How many hours per year does the facility operate? (hours) Or, ask about operating schedule - day/week, hours/day |  |  |  |  |  |  |  |  |  |  |  | 8,760 |  | 
2. What is your average power demand during operation? (kW), or |  |  |  |  |  |  |  |  |  |  |  | 1,084 |  | 
3. How much electricity do you use in a year, kWh? |  |  |  |  |  |  |  |  |  |  |  | 9,369,859 |  | 
4. What is your facility's primary thermal load (i.e., DHW, steam/HW space heating, process steam, cooling, etc.) |  |  |  |  |  |  |  |  |  |  |  | Space Heating |  | 
5. What is your average thermal demand? (MMBtu/hr), or |  |  |  |  |  |  |  |  |  |  |  | 6.01 |  | 
6. How much fuel (gas/oil/etc) do you use in a year? (MMBtu/yr, Therms/yr, etc.) |  |  |  |  |  |  |  |  |  |  |  | 51,922 |  | 
7. What is your current fuel price? ($/MMBtu) |  |  |  |  |  |  |  |  |  |  |  | $7.850 |  | 
8. How much do you pay for fuel annually? (Dollars/yr) |  |  |  |  |  |  |  |  |  |  |  | $405,770 |  | 
9. What are the CHP Fuel Costs? ($/MMBtu) |  |  |  |  |  |  |  |  |  |  |  | $7.850 |  | 
10. What is your average electricity price? ($/kWh) |  |  |  |  |  |  |  |  |  |  |  | $0.077 |  | 
11. How much do you pay for electricity annually? (Dollars/yr) |  |  |  |  |  |  |  |  |  |  |  | $712,509 |  | 
12. What is the efficiency of your existing boiler(s)/thermal equipment? (decimal) |  |  |  |  |  |  |  |  |  |  |  | 0.90 | RGE HW Boiler | 
13. What is the efficiency of your existing chillers? (kWh/ton) |  |  |  |  |  |  |  |  |  |  |  | 0.60 | RGE Chiller | 
CHP System |  |  |  | 
Net CHP Power, kW | 1,084 |  | CHP System Specs | C
CHP Electric Efficiency, % (HHV) | 36.8% |  | CHP system specs | C
CHP Thermal Output, Btu/kWh | 3,854 |  | CHP system specs | C
CHP Thermal Output, MMBtu/hr | 4.2 |  | CHP system specs | C
CHP Power to Heat Ratio | 0.89 |  | Calculated based on CHP power output and thermal output | 
CHP Availability, % | 98% |  | 90 to 98% | 
Incremental O&M Costs, $/kWh | $0.019 |  | CHP system specs | C
Thermal Utilization, % | 90% |  | Amount of available thermal captured and used - typically 80 to 100% | 
Total Installed Costs, $/kW | $2,335 |  | CHP system specs | C
 | Based on Recip Engines |  |  |  | Based on Gas Turbines |  |  | 
Thermal Output, MMBtu/hr | 0.34 | 2.64 | 3.85 | 10.67 | 24.47 | 52.62 | 76.42 | 141.33
Net Capacity, kW | 50 | 600 | 1,000 | 3,300 | 5,000 | 10,000 | 20,000 | 45,000
System | A | B | C | D | E | F | G | H
Heat Rate, Btu/kWh | 12,637 | 9,896 | 9,264 | 8,454 | 11,807 | 12,482 | 10,265 | 9,488
Net Electrical Efficiency, % | 27.0% | 34.5% | 36.8% | 40.4% | 28.9% | 27.3% | 33.2% | 36.0%
Thermal Output, Btu/kWh | 6,700 | 4,392 | 3,854 | 3,233 | 4,893 | 5,262 | 3,821 | 3,141
Thermal Output, MMBtu/hr | 0.34 | 2.64 | 3.85 | 10.67 | 24.47 | 52.62 | 76.42 | 141.33
Thermal Output for Cooling (single effect) | 80% | 85% | 85% | 85% | 100% | 100% | 100% | 100%
Thermal Output for Cooling (double effect) | 50% | 50% | 50% | 50% | 90% | 90% | 90% | 90%
Total Efficiency, % | 80% |  | 78% | 79% | 70% | 69% | 70% | 69%
Incremental O&M, $/kWh | $0.0240 | $0.0210 | $0.0190 | $0.0126 | $0.0123 | $0.0120 | $0.0093 | $0.0092
Total Installed Costs, $/kW | $2,900 | $2,737 | $2,335 | $1,917 | $2,080 | $1,976 | $1,518 | $1,248
GE Jenbacher Reciprocating Engine
Image © <http://site.ge-energy.com/prod_serv/products/recip_engines/en/type3.htm>
Notes: Project Overview: Project Background
Location
Campus
  Phase 1
    RGE
    CMU
    REDI-Zone
  The Village
  Phase 2
    NEW
  Phase 3

## Slide 20
Table of Contents
Introduction
Project Overview
Existing Systems
Proposal
Depth: Cogeneration Plant Implementation
  Utility Data Analysis
  Screening
  Configuration Analyses
  System Operation
  Further Expansion
Breadth 1: Power Interconnect and Black Start Capability
Breadth 2: Alternate Project Delivery System
Final Recommendations
Conclusion/Acknowledgements
System Sizing
Chart: Temperature
| January | February | March | April | May | June | July | August | September | October | November | December
2014 | 28 | 19 | 26 | 42 | 72 | 71 | 70 | 61 | 49 | 34
2013 | 33 | 27 | 31 | 39 | 56 | 65 | 75 | 76 | 70 | 56 | 48 | 40
Chart: Electric Demand for Sizing
| January | February | March | April | May | June | July | August | September | October | November | December
2014 | 1560.0819 | 1478.7528 | 1595.65 | 1539.7417 | 1688.9236 | 1627.4597 | 1696.5861 | 1486.9014 | 1537.4472 | 1434.5
2013 | 1160.8903 | 1060.5778 | 1039.1333 | 1145.5847 | 1141.1278 | 1314.4778 | 1179.4278 | 1294.7139 | 1201.05 | 1076.6778 | 1045.9653 | 1047.3389
Chart: Thermal Demand for Sizing
| January | February | March | April | May | June | July | August | September | October | November | December
2014 | 13257.6389 | 13045.4167 | 5697.2222 | 5265.9722 | 4815 | 5364.1667 | 7992.3611 | 11905.5556
2013 | 8961.9444 | 12598.0556 | 10598.1944 | 7966.3889 | 4895.2778 | 5372.9167 | 3297.0833 | 2882.3611 | 3126.9444 | 4795.4167 | 5566.5278 | 7015.5556
Notes: Project Overview: Project Background
Location
Campus
  Phase 1
    RGE
    CMU
    REDI-Zone
  The Village
  Phase 2
    NEW
  Phase 3

## Slide 21
Table of Contents
Introduction
Project Overview
Existing Systems
Proposal
Depth: Cogeneration Plant Implementation
  Utility Data Analysis
  Screening
  Configuration Analyses
  System Operation
  Further Expansion
Breadth 1: Power Interconnect and Black Start Capability
Breadth 2: Alternate Project Delivery System
Final Recommendations
Conclusion/Acknowledgements
Configurations
Year-Round
Heating
Cooling
Makeup
Heating
Cooling
Image © Trane Product Literature
Image © AERCO Product Literature
Image © Cleaver Brooks Product Literature
Notes: Project Overview: Project Background
Location
Campus
  Phase 1
    RGE
    CMU
    REDI-Zone
  The Village
  Phase 2
    NEW
  Phase 3

## Slide 22
Table of Contents
Introduction
Project Overview
Existing Systems
Proposal
Depth: Cogeneration Plant Implementation
  Utility Data Analysis
  Screening
  Configuration Analyses
  System Operation
  Further Expansion
Breadth 1: Power Interconnect and Black Start Capability
Breadth 2: Alternate Project Delivery System
Final Recommendations
Conclusion/Acknowledgements
Configuration Analysis
Plant Configuration Results
Notes: Project Overview: Project Background
Location
Campus
  Phase 1
    RGE
    CMU
    REDI-Zone
  The Village
  Phase 2
    NEW
  Phase 3

## Slide 23
Table of Contents
Introduction
Project Overview
Existing Systems
Proposal
Depth: Cogeneration Plant Implementation
  Utility Data Analysis
  Screening
  Configuration Analyses
  System Operation
  Further Expansion
Breadth 1: Power Interconnect and Black Start Capability
Breadth 2: Alternate Project Delivery System
Final Recommendations
Conclusion/Acknowledgements
Cogeneration System Schematic
High-Temperature Water Steam System
Once-Trough Steam Generator
Image © <http://inproheat.com/sites/files/imagecache/product_nodeview/products/pic-onceThrough-zz_0.jpg>
Image © <http://www.davegreenwald.com>
Notes: Project Overview: Project Background
Location
Campus
  Phase 1
    RGE
    CMU
    REDI-Zone
  The Village
  Phase 2
    NEW
  Phase 3

## Slide 24
Table of Contents
Introduction
Project Overview
Existing Systems
Proposal
Depth: Cogeneration Plant Implementation
  Utility Data Analysis
  Screening
  Configuration Analyses
  System Operation
  Further Expansion
Breadth 1: Power Interconnect and Black Start Capability
Breadth 2: Alternate Project Delivery System
Final Recommendations
Conclusion/Acknowledgements
Further Expansion
Locate Additional Plant Capacity in NEW Building
  Lap Pool
  Hydrotherapy Pool
Generator Sizing Accommodates Expansion
  Fit out of 4th Floor
  AHU Humidifiers
Image © <http://www.neomed.edu/about/pdfs/neomed-campus-map.pdf>
Notes: Project Overview: Project Background
Location
Campus
  Phase 1
    RGE
    CMU
    REDI-Zone
  The Village
  Phase 2
    NEW
  Phase 3

## Slide 25
Table of Contents
Introduction
Project Overview
Existing Systems
Proposal
Depth: Cogeneration Plant Implementation
Breadth 1: Power Interconnect and Black Start Capability
  Interconnect Laws and Standards
  Utility Interconnect Design
  Black Start Capability
Breadth 2: Alternate Project Delivery System
Final Recommendations
Conclusion/Acknowledgements
State Interconnect Laws and Standards
Ohio has very “DG-Friendly” Policies
Disconnect Switch at discretion of Utility
No Generation System Size Limit for Interconnection
Net Metering mandated for all IOU’s; No Generation System Size Limit
Image © EPA Clean Energy-Environment Guide to Action
Image © EPA Clean Energy-Environment Guide to Action
Notes: Project Overview: Project Background
Location
Campus
  Phase 1
    RGE
    CMU
    REDI-Zone
  The Village
  Phase 2
    NEW
  Phase 3

## Slide 26
Table of Contents
Introduction
Project Overview
Existing Systems
Proposal
Depth: Cogeneration Plant Implementation
Breadth 1: Power Interconnect and Black Start Capability
  Interconnect Laws and Standards
  Utility Interconnect Design
  Black Start Capability
Breadth 2: Alternate Project Delivery System
Final Recommendations
Conclusion/Acknowledgements
Generation and Utility Parallel Operation Schematic
Notes: Project Overview: Project Background
Location
Campus
  Phase 1
    RGE
    CMU
    REDI-Zone
  The Village
  Phase 2
    NEW
  Phase 3

## Slide 27
Table of Contents
Introduction
Project Overview
Existing Systems
Proposal
Depth: Cogeneration Plant Implementation
Breadth 1: Power Interconnect and Black Start Capability
Breadth 2: Alternate Project Delivery System
  Background
  Research
  Potential Benefits
Final Recommendations
Conclusion/Acknowledgements
Project Delivery Methods
Notes: Project Overview: Project Background
Location
Campus
  Phase 1
    RGE
    CMU
    REDI-Zone
  The Village
  Phase 2
    NEW
  Phase 3

## Slide 28
Table of Contents
Introduction
Project Overview
Existing Systems
Proposal
Depth: Cogeneration Plant Implementation
Breadth 1: Power Interconnect and Black Start Capability
Breadth 2: Alternate Project Delivery System
  Background
  Research
  Potential Benefits
Final Recommendations
Conclusion/Acknowledgements
Project Delivery Methods
Notes: Project Overview: Project Background
Location
Campus
  Phase 1
    RGE
    CMU
    REDI-Zone
  The Village
  Phase 2
    NEW
  Phase 3

## Slide 29
Table of Contents
Introduction
Project Overview
Existing Systems
Proposal
Depth: Cogeneration Plant Implementation
Breadth 1: Power Interconnect and Black Start Capability
Breadth 2: Alternate Project Delivery System
  Background
  Research
  Potential Benefits
Final Recommendations
Conclusion/Acknowledgements
Research Results
Univariate Results
Multivariate Results
50% CMR and DB delivered on-time or early
50% DBB more than 4% late
CMR,DB Quality > DBB Quality
DB < CMR DBB
Delivery Method significant influence on construction speed, some influence on total delivery speed
Delivery Method single biggest influence on schedule growth
Project Delivery Method biggest influence on every metric overall, matched only by Facility Type
Image © Journal of Construction Engineering and Management Nov/Dec 1998
Notes: Project Overview: Project Background
Location
Campus
  Phase 1
    RGE
    CMU
    REDI-Zone
  The Village
  Phase 2
    NEW
  Phase 3

## Slide 30
Table of Contents
Introduction
Project Overview
Existing Systems
Proposal
Depth: Cogeneration Plant Implementation
Breadth 1: Power Interconnect and Black Start Capability
Breadth 2: Alternate Project Delivery System
  Background
  Research
  Potential Benefits
Final Recommendations
Conclusion/Acknowledgements
Project Benefits
Schedule Slippage
Images © the Ruhlin Group, NEOMED University
Notes: Project Overview: Project Background
Location
Campus
  Phase 1
    RGE
    CMU
    REDI-Zone
  The Village
  Phase 2
    NEW
  Phase 3

## Slide 31
Table of Contents
Introduction
Project Overview
Existing Systems
Proposal
Depth: Cogeneration Plant Implementation
Breadth 1: Power Interconnect and Black Start Capability
Breadth 2: Alternate Project Delivery System
  Background
  Research
  Potential Benefits
Final Recommendations
Conclusion/Acknowledgements
Project Benefits
Disputes
Images © the Ruhlin Group, NEOMED University
Notes: Project Overview: Project Background
Location
Campus
  Phase 1
    RGE
    CMU
    REDI-Zone
  The Village
  Phase 2
    NEW
  Phase 3

## Slide 32
Table of Contents
Introduction
Project Overview
Existing Systems
Proposal
Depth: Cogeneration Plant Implementation
Breadth 1: Power Interconnect and Black Start Capability
Breadth 2: Alternate Project Delivery System
Final Recommendations
Conclusion/Acknowledgements
Final Recommendations Based On Analyses
Depth: Cogeneration Plant Implementation
Breadth 1: Power Interconnect &
Black Start Capability
Breadth 2: Alternate Project
Delivery System
Notes: Project Overview: Project Background
Location
Campus
  Phase 1
    RGE
    CMU
    REDI-Zone
  The Village
  Phase 2
    NEW
  Phase 3

## Slide 33
Table of Contents
Introduction
Project Overview
Existing Systems
Proposal
Depth: Cogeneration Plant Implementation
Breadth 1: Power Interconnect and Black Start Capability
Breadth 2: Alternate Project Delivery System
Final Recommendations
Conclusion/Acknowledgements
Chris Schoonover | Principal - Scheeser Buckley Mayfield, LLC
Brian Ault | Mechanical Engineer - Scheeser Buckley Mayfield, LLC
Blaine Wyckoff | Director of Campus Operations- Northeast Ohio Medical University
Jim Rankin | Asst. Dir. of Campus Operations- Northeast Ohio Medical University
Jim Freihaut | Professor of Architectural Engineering – Penn State
Rob Leicht | Asst. Professor of Architectural Engineering – Penn State
Tim Warren | President - JDB Engineering, Inc.
Tom Leary | Executive VP/DOP - JDB Engineering, Inc.
Ari Tinkoff | Managing Director/Principal - BR+A Consulting Engineers
Scott Walthour | Managing Principal – Arium AE
Chris Elgin | Structural Engineer - GPD Group
Diet Mt. Dew | Carbonated Soft Drink – PepsiCo Inc.
Steam | Internet-based gaming platform – Valve Corporation
Acknowledgements
Notes: Project Overview: Project Background
Location
Campus
  Phase 1
    RGE
    CMU
    REDI-Zone
  The Village
  Phase 2
    NEW
  Phase 3