## Slide 1
Nate Babyak Alex Ho Brian Sampson Alex Schreffler
  Mission Statement:
  To deliver innovative designs, with an integrated, streamlined approach to building systems and construction management
Ipd/bim Thesis proposal

## Slide 2
Nate Babyak Alex Ho Brian Sampson Alex Schreffler
Introduction BIM Goals/Coordination Main Roof Redesign Façade Redesign Community Rink Redesign Conclusion
Agenda
  BIM Goals/ Coordination
  Main Roof Redesign
  Façade Redesign
  Community Rink Redesign
  Conclusion

## Slide 3
Nate Babyak Alex Ho Brian Sampson Alex Schreffler
Proposal Focuses
Program Coordination
BIM Goals
Priority (1-3) | Goal Description | Potential BIM Uses
1-Most Important | Value Added Objectives | 
1 | Recognize design conflicts before they reach construction | 3D Coordination, Design Review, Design Authoring
1 | Create an energy efficient arena | Energy Analysis, Lighting Analysis, Building System Analysis, Site Analysis, Design Authoring, Sustainability LEED Evaluation
2 | Design with constructability in mind | 3D Coordination, 4D Modeling, Cost Estimation, Design Authoring
1 | Optimize building performance | Building Systems Analysis, Cost Estimation, Structural Analysis, Energy Analysis, Mechanical Analysis, Design Authoring, 3D Coordination, Construction Systems Design
  Main Roof Redesign
  Create an iconic symbol for Penn State hockey with increased structural efficiency
  Façade Redesign
  Create an energy efficient lightweight facade
  Community Rink Redesign
  Create a more efficient mechanical system while incorporating daylighting strategies
Introduction BIM Goals/Coordination Main Roof Redesign Façade Redesign Community Rink Redesign Conclusion
  CM
  L/E
  Structural
  Mechanical

## Slide 4
Nate Babyak Alex Ho Brian Sampson Alex Schreffler
Project Schedule
Introduction BIM Goals/Coordination Main Roof Redesign Façade Redesign Community Rink Redesign Conclusion

## Slide 5
Nate Babyak Alex Ho Brian Sampson Alex Schreffler
Main Roof Redesign Logic
Introduction BIM Goals/Coordination Main Roof Redesign Façade Redesign Community Rink Redesign Conclusion
  Create an Iconic Symbol for Penn State Hockey
  Reduce the Size of the Roof Girders/Trusses
  Reduce Volume of the Main Arena
  Coordinate MEP and Structural
  Create an Efficient Erection Procedure
inspirations

## Slide 6
Nate Babyak Alex Ho Brian Sampson Alex Schreffler
Main Roof Redesign Logic
Introduction BIM Goals/Coordination Main Roof Redesign Façade Redesign Community Rink Redesign Conclusion
Proposed Design
Erection Process
  Create an Iconic Symbol for Penn State Hockey
  Reduce the Size of the Roof Girders/Trusses
  Reduce Volume of the Main Arena
  Coordinate MEP and Structural
  Create an Efficient Erection Procedure

## Slide 7
Nate Babyak Alex Ho Brian Sampson Alex Schreffler
Main Roof Redesign Logic
Introduction BIM Goals/Coordination Main Roof Redesign Façade Redesign Community Rink Redesign Conclusion
Roof Redesign Tasks and Tools |  |  | 
Discipline | Secondary Tasks | Programs to be Used | References
Structural | Design/Analyze Cable Stay Mast, Cables, Roof Girder | SAP, Revit | ASCE 7-10, ASCE 19-96, AISC Steel Manual 13 Ed., ACI 318-08
 | Adjust Interior Steel Framing | RAM, Revit | AISC Steel Manual 13 Ed.
 | Design Erection Process | SAP, Navisworks | AISC Steel Manual 13 Ed.
Construction Management | Cost Analysis | Revit Architecture, Revit Structure, MS Excel | RS Means, Vendor(s)
 | Schedule Analysis | Microsoft Project, Navisworks | RS Means, Vendor(s)
 | Site Plan Analysis | AutoCad, Adobe Acrobat, MS Excel | -
Mechanical | Roof Composition | H.A.M. Toolbox/Trane Trace 700 | -
 | Mechanical Room Layout | Revit MEP 2012 | -
 | Main Bowl Ductwork Layout | Revit MEP 2012 | -
 | Shaft Coordination | Revit MEP 2012 | -
Lighting/Electrical | Arena Lighting Analysis | AGi32 | NCAA Recommendations ASHRAE 90.1
 | Arena Lighting/Catwalk/ Scoreboard Structural Loads | - | Coordiante with Structural Member
 | Circuit/Panel Redesign | Revit MEP | NEC 2011
  Create an Iconic Symbol for Penn State Hockey
  Reduce the Size of the Roof Girders/Trusses
  Reduce Volume of the Main Arena
  Coordinate MEP and Structural
  Create an Efficient Erection Procedure

## Slide 8
Nate Babyak Alex Ho Brian Sampson Alex Schreffler
Façade Redesign Logic
Introduction BIM Goals/Coordination Main Roof Redesign Façade Redesign Community Rink Redesign Conclusion
  Create a Lightweight Façade of Glass and Metal Panels
  Optimize Daylighting
  Architectural Lighting
  Possible Integration of Lateral Bracing

## Slide 9
Nate Babyak Alex Ho Brian Sampson Alex Schreffler
Façade Redesign Logic
Introduction BIM Goals/Coordination Main Roof Redesign Façade Redesign Community Rink Redesign Conclusion
  Create a Lightweight Façade of Glass and Metal Panels
  Optimize Daylighting
  Architectural Lighting
  Possible Integration of Lateral Bracing

## Slide 10
Nate Babyak Alex Ho Brian Sampson Alex Schreffler
Façade Redesign Logic
Introduction BIM Goals/Coordination Main Roof Redesign Façade Redesign Community Rink Redesign Conclusion
  Create a Lightweight Façade of Glass and Metal Panels
  Optimize Daylighting
  Architectural Lighting
  Possible Integration of Lateral Bracing

## Slide 11
Nate Babyak Alex Ho Brian Sampson Alex Schreffler
Façade Redesign Logic
Introduction BIM Goals/Coordination Main Roof Redesign Façade Redesign Community Rink Redesign Conclusion
Façade Redesign Tasks and Tools |  |  | 
Discipline | Secondary Tasks | Programs to be Used | References
Structural | Design Panels (wind, earthquake, gravity, etc) | ETABS, MS Excel | ASCE 7-10
 | Lateral System Design/ Analysis | ETABS, RAM | ASCE 7-10, AISC Steel Manual 13th Ed.
Construction Management | Cost Analysis | Revit Architecture, MS Excel | RS Means, Vendor(s)
 | Schedule Analysis | MS Project, Navisworks | RS Means, Vendor(s)
 | Site Plan Analysis | AutoCad, Adobe Acrobat, MS Excel | Construction Manager
Mechanical | Wall Composition | H.A.M. Toolbox/Trane Trace 700 | -
 | Panel To Glass Ratio | Trane Trace 700 | -
 | Shading | Trane Trace 700 | -
Lighting/Electrical | Daylighting Analysis | Revit Architecture, AGi32, 3DS Max | IES 2011 Lighting Handbook
 | Shading Analysis | Revit Architecture, AGi32, 3DS Max | IES 2011 Lighting Handbook
 | Architectural Lighting Analysis | AGi32 | IES 2011 Lighting Handbook ASHRAE 90.1
 | Circuit/Panel Redesign | Revit MEP | NEC 2011
  Create a Lightweight Façade of Glass and Metal Panels
  Optimize Daylighting
  Architectural Lighting
  Possible Integration of Lateral Bracing

## Slide 12
Nate Babyak Alex Ho Brian Sampson Alex Schreffler
Community Rink Redesign Logic
Introduction BIM Goals/Coordination Main Roof Redesign Façade Redesign Community Rink Redesign Conclusion
  Move Mechanical Units to Increase Fan Efficiency
  Flexible Roof Design
  Coordinate Daylighting
  Coordinate Mechanical Shafts with Structure

## Slide 13
Nate Babyak Alex Ho Brian Sampson Alex Schreffler
Community Rink Redesign Logic
Introduction BIM Goals/Coordination Main Roof Redesign Façade Redesign Community Rink Redesign Conclusion
  Move Mechanical Units to Increase Fan Efficiency
  Flexible Roof Design
  Coordinate Daylighting
  Coordinate Mechanical Shafts with Structure

## Slide 14
Nate Babyak Alex Ho Brian Sampson Alex Schreffler
Community Rink Redesign Logic
Introduction BIM Goals/Coordination Main Roof Redesign Façade Redesign Community Rink Redesign Conclusion
  Move Mechanical Units to Increase Fan Efficiency
  Flexible Roof Design
  Coordinate Daylighting
  Coordinate Mechanical Shafts with Structure

## Slide 15
Nate Babyak Alex Ho Brian Sampson Alex Schreffler
Community Rink Redesign Logic
Introduction BIM Goals/Coordination Main Roof Redesign Façade Redesign Community Rink Redesign Conclusion
Community Rink Redesign Tasks and Tools |  |  | 
Discipline | Secondary Tasks | Programs to be Used | References
Structural | Design/Analyze Lobby Roof for Mechanical Units | SAP, Revit | ASCE 7-10, ASCE 19-96, AISC Steel Manual 13 Ed.
 | Design/Analyze Community Rink Roof | RAM, Revit | ASCE 7-10, AISC Steel Manual 13 Ed.
Construction Management | Cost Analysis | Revit Architecture, Revit Structure, MS Excel | RS Means, Vendor(s)
 | Schedule Analysis | Microsoft Project | RS Means, Vendor(s)
 | Site Plan Analysis | AutoCad, Adobe Acrobat, MS Excel | Construction Manager
 | MEP Coordination | Navisworks, MS Project | -
Mechanical | Roof Analysis | Trane Trace 700 | -
 | Façade Analysis | H.A.M. Toolbox/Trane Trace 700 | -
 | Ductwork Layout | Revit MEP 2012 | -
Lighting/Electrical | Community Rink Lighting Analysis | AGi32 | NCAA Recommendations ASHRAE 90.1
 | Daylighting Analysis | Revit Architecture, AGi32, 3DS Max | IES 2011 Lighting Handbook
 | Solar Thermal Gain Analysis | Trane Trace 700 | Coordinate with Mechanical Member
 | Circuit/Panel Redesign | Revit MEP | NEC 2011
  Move Mechanical Units to Increase Fan Efficiency
  Flexible Roof Design
  Coordinate Daylighting
  Coordinate Mechanical Shafts with Structure

## Slide 16
Nate Babyak Alex Ho Brian Sampson Alex Schreffler
Conclusion
Introduction BIM Goals/Coordination Main Roof Redesign Façade Redesign Community Rink Redesign Conclusion
  Main Roof Redesign
  Create an iconic symbol for Penn State hockey with increased structural efficiency
  Façade Redesign
  Create an energy efficient lightweight facade
  Community Rink Redesign
  Create a more efficient mechanical system while incorporating daylighting strategies
Group Milestones
  Milestone 1: January 27, 2011
  Main Roof Redesign Complete
  Milestone 2: February 13, 2011
  Lobby Design Complete
  Milestone 3: March 2, 2011
  Façade Design Complete
  Milestone 4: March 26, 2011
  Community Rink Design Complete