## Slide 1
School of Engineering
And Applied Sciences
Building
Jonathan Kirk
Structural Option
Miami University
Oxford, OH

## Slide 2
Building Background
Presentation Outline
Introduction
Connected to existing Benton Hall via skywalk
Size: 103,154 SF above grade on 4 levels
  82,661 SF below grade parking on 3 levels
Cost: $23,651,159
Constructed: Oct. 2004 – Jan. 2007
Delivery Method: Design-Bid-Build
General Contractor: Monarch Construction
Architect: Burt Hill Kosar Rittleman Associates
Structural Engineer: THP Limited
  Building Background
  Project Goals
Structural Depth
Building Enclosures Breadth
Construction Management Breadth
Conclusions

## Slide 3
Existing Conditions
Presentation Outline
Introduction
Structural Depth
Substructure
  Ground Floor and Garage
    2-way C.I.P. slab with drop panels
Building Enclosures Breadth
Construction Management Breadth
Conclusions
  Existing Conditions
  Proposed Redesign
Ground Floor Framing Plan

## Slide 4
Existing Conditions
Presentation Outline
Introduction
Structural Depth
Superstructure
  1st, 2nd, Mechanical, and Roof Levels
    3½” Composite slab on 3” composite deck on steel frame structure
Building Enclosures Breadth
Construction Management Breadth
Conclusions
  Existing Conditions
  Proposed Redesign
First Floor Framing Plan

## Slide 5
Proposed Redesign
Presentation Outline
Introduction
Structural Depth
Goals and Design Constraints
  Accelerated construction schedule
  Decrease or maintain cost
  Do not change architecture
  Maintain floor-to-ceiling and total heights
Building Enclosures Breadth
Construction Management Breadth
Conclusions
  Existing Conditions
  Proposed Redesign
Method
  Prefabricated structure
    Precast concrete hollowcore floor planks
    Supported on similar steel frame
10” Hollowcore Plank with 2” Concrete Topping
ECHO by Nitterhouse Concrete Products, Inc.
Hollowcore Floor Planks

## Slide 6
Hollowcore Floor Planks
Presentation Outline
Introduction
Structural Depth
Building Enclosures Breadth
Construction Management Breadth
Conclusions
  Existing Conditions
  Proposed Redesign
10” Hollowcore Plank with 2” Concrete Topping
ECHO by Nitterhouse Concrete Products, Inc.
Hollowcore Floor Planks

## Slide 7
Hollowcore Floor Planks
Presentation Outline
Introduction
Structural Depth
Building Enclosures Breadth
Construction Management Breadth
Conclusions
  Existing Conditions
  Proposed Redesign
Support System

## Slide 8
Steel Framing
Presentation Outline
Introduction
Structural Depth
Building Enclosures Breadth
Construction Management Breadth
Conclusions
  Existing Conditions
  Proposed Redesign
Seismic Loads
First Floor Framing Plan

## Slide 9
Steel Framing
Presentation Outline
Introduction
Structural Depth
Building Enclosures Breadth
Construction Management Breadth
Conclusions
  Existing Conditions
  Proposed Redesign
First Floor Framing Plan
Wind Loads

## Slide 10
Steel Framing
Presentation Outline
Introduction
Structural Depth
Building Enclosures Breadth
Construction Management Breadth
Conclusions
  Existing Conditions
  Proposed Redesign
Lateral Resisting System
First Floor Framing Plan
Resized Frame C
Original Frame C
Moment Frame

## Slide 11
Steel Framing
Presentation Outline
Introduction
Structural Depth
Building Enclosures Breadth
Construction Management Breadth
Conclusions
  Existing Conditions
  Proposed Redesign
Lateral Resisting System
First Floor Framing Plan
Resized Braced Frames
Original Braced Frames
Braced Frame
Moment Frame

## Slide 12
Story Drifts
Presentation Outline
Introduction
Structural Depth
Building Enclosures Breadth
Construction Management Breadth
Conclusions
  Existing Conditions
  Proposed Redesign
Lateral Displacement
Moment Frame C Deflection Under Seismic Loading
Braced Frame 3 Deflection Under Seismic Loading

## Slide 13
Existing Walls
Presentation Outline
Introduction
Structural Depth
Building Enclosures Breadth
Construction Management Breadth
Conclusions
  Existing Conditions
  Proposed Redesign
Existing Walls
Typical Wall Section

## Slide 14
Presentation Outline
Introduction
Structural Depth
Building Enclosures Breadth
  Existing Conditions
  Proposed Redesign
Construction Management Breadth
Conclusions
Proposed Redesign
Goals
  Accelerated construction schedule
  Decrease or maintain cost
  Minimize architectural effects
  Retain thermal properties
Method
  Prefabricated wall panels
    Precast concrete insulated sandwich panels

## Slide 15
Presentation Outline
Introduction
Structural Depth
Building Enclosures Breadth
  Existing Conditions
  Proposed Redesign
Proposed Wall Panels
Panel Cross Section
Typical 12’ Wall Panel
Thin Brick provides look of traditional brick veneer
Panel Stripping Configuration
Panel Erection
Construction Management Breadth
Conclusions
Typical Sandwich Wall Panel

## Slide 16
Typical Sandwich Wall Panel
Presentation Outline
Introduction
Structural Depth
Building Enclosures Breadth
  Existing Conditions
  Proposed Redesign
Thermal Resistance
Panel Cross Section
Typical 12’ Wall Panel
Existing Wall R-Values
Construction Management Breadth
Conclusions
Proposed Wall R-Values

## Slide 17
Presentation Outline
Introduction
Structural Depth
Building Enclosures Breadth
Construction Management Breadth
  Cost Comparison
  Schedule Comparison
Conclusions
Proposed Structure Cost
Existing Structure Cost
Additional Cost = $218,650 = 14.4% Increase
If hollowcore is supported by top flange of girder, eliminates approximately $1.83/SF, for a new total cost of $1,572,228, only a $57,065 increase (3.8%)

## Slide 18
Presentation Outline
Introduction
Structural Depth
Building Enclosures Breadth
Construction Management Breadth
  Cost Comparison
  Schedule Comparison
Conclusions
Proposed Wall Panel Cost
Existing Walls Cost
Additional Cost = $212,017 = 36.7% Increase
Cost of panel quoted by Nitterhouse Concrete Products, Inc. to be $29.00/SF including overhead and profit, which was approximated to be 30%
Labor cost calculated by the rate of a steel erection crew (C-11) erecting 12 panels/day

## Slide 19
Presentation Outline
Introduction
Structural Depth
Building Enclosures Breadth
Construction Management Breadth
  Cost Comparison
  Schedule Comparison
Conclusions
Proposed Systems Schedule
Existing Systems Schedule
Approximately 5 weeks saved from critical path
Subcontractors in the building interior sooner
Increased flexibility from addition of float time

## Slide 20
Presentation Outline
Introduction
Structural Depth
Building Enclosures Breadth
Construction Management Breadth
Conclusions
  Further Considerations
  Final Recommendations
  Acknowledgements
  Questions
Further Considerations
Project circumstances and local practices
Impact on garage structure and foundations
Increase structural sandwich to eliminate hollowcore supporting plates
Fabrication lead times
Full vibration and acoustical analysis of hollowcore planks
Transfer beam on northern wall for wall panels
Change of substructure to precast concrete

## Slide 21
Presentation Outline
Introduction
Structural Depth
Building Enclosures Breadth
Construction Management Breadth
Conclusions
  Further Considerations
  Final Recommendations
  Acknowledgements
  Questions
Further Considerations
Project circumstances and local practices
Impact on garage structure and foundations
Increase structural sandwich to eliminate hollowcore supporting plates
Fabrication lead times
Full vibration and acoustical analysis of hollowcore planks
Transfer beam on northern wall for wall panels
Change of substructure to precast concrete
Final Recommendations
All goals met except cost control
Current structural and wall systems best for the project
  No time constraints so accelerated schedule not a necessity
  No direct advantage to justify increased cost

## Slide 22
Presentation Outline
Introduction
Structural Depth
Building Enclosures Breadth
Construction Management Breadth
Conclusions
  Further Considerations
  Final Recommendations
  Acknowledgements
  Questions
Acknowledgements
My parents – Victoria and Edward Kirk
Miami University of Ohio
Steve Nearhoof and Alex Wing – Burt Hill
John Jones, Bart Staley, Mike Thomas, Cliff Miles – Nitterhouse Concrete Products, Inc.
Dr. Andres Lepage, Dr. John Messner – PSU AE
Industry professionals
Fellow students
Final Recommendations
All goals met except cost control
Current structural and wall systems best for the project
  No time constraints so accelerated schedule not a necessity
  No direct advantage to justify increased cost

## Slide 23
Presentation Outline
Introduction
Structural Depth
Building Enclosures Breadth
Construction Management Breadth
Conclusions
  Further Considerations
  Final Recommendations
  Acknowledgements
  Questions
Questions & Answers
Acknowledgements
My parents – Victoria and Edward Kirk
Miami University of Ohio
Steve Nearhoof and Alex Wing – Burt Hill
John Jones, Bart Staley, Mike Thomas, Cliff Miles – Nitterhouse Concrete Products, Inc.
Dr. Andres Lepage, Dr. John Messner – PSU AE
Industry professionals
Fellow students

## Slide 24
Typical Sandwich Wall Panel
Presentation Outline
Introduction
Structural Depth
Building Enclosures Breadth
  Existing Conditions
  Proposed Redesign
Wall Panel Connections
Panel Cross Section
Typical 12’ Wall Panel
PSA Slotted Insert by JVI
4-Way Adjustment Connection at Column
Construction Management Breadth
Conclusions

## Slide 25
Proposed Redesign
Presentation Outline
Introduction
Structural Depth
Goals and Design Constraints
  Accelerated construction schedule
  Decrease or maintain cost
  Do not change architecture
  Maintain floor-to-ceiling and total heights
Building Enclosures Breadth
Construction Management Breadth
Conclusions
  Existing Conditions
  Proposed Redesign
Method
  Prefabricated structure
    Precast concrete hollowcore floor planks
    Supported on similar steel frame
Gravity Loads
Dead Loads
Live Loads

## Slide 26
Steel Framing
Presentation Outline
Introduction
Structural Depth
Building Enclosures Breadth
Construction Management Breadth
Conclusions
  Existing Conditions
  Proposed Redesign
First Floor Framing Plan
N-S Braced Frame Distribution
Seismic Loads
E-W Moment Frame Distribution