## Slide 1
1776 WILSON BOULEVARD
ARLINGTON VIRGINIA
Penn State University
Senior Thesis 2012
Faculty Advisor: Thomas Boothby
Joshua Urban
Structural Option

## Slide 2
PRESENTATION OVERVIEW
Penn State University
Senior Thesis 2012
Faculty Advisor: Thomas Boothby
Joshua Urban
Structural Option
BUILDING INTRODUCTION AND EXISTING INFORMATION
PROPOSAL OVERVIEW
STRUCTURAL DEPTH
CONSTRUCTION MANAGEMENT BREADTH SUMMARY
SUSTAINABILITY BREADTH

## Slide 3
I
N
T
R
O
D
U
C
T
I
O
N
LOCATED IN ARLINGTON COUNTY, VIRGINIA
CLASS A OFFICE WITH RETAIL
249,000 SF
5 STORIES WITH 3 ½ BELOW GRADE PARKING
$63.5 MILLION CONTRACT VALUE
DESIGN-BID-BOND
C-O-2.5 ZONING DISTRICT
SEPARATE MIXED USE
BUILDING STATISTICS
I
N
T
R
O
E
X
I
S
T
D
E
P
T
H
C
M
S
U
S
T

## Slide 4
I
N
T
R
O
D
U
C
T
I
O
N
ARCHITECTURE AND SUSTAINABILITY
RETAIL SPACE ON GROUND FLOOR WITH TENNANT MEZZANINES
4 FLOORS OF OPEN OFFICE SPACE
PRECAST CONCRETE PANELS
GENEROUS GLAZING AND CURTAIN WALLS
REDUCED TRAFFIC IMPACT
PUBLIC PARK AREA AND ROOF TERRACE
BROWNFIELD REDEVELOPMENT
GREEN ROOF AND SOLAR PV PANELS
I
N
T
R
O
E
X
I
S
T
D
E
P
T
H
C
M
S
U
S
T

## Slide 5
E
X
I
S
T
I
N
G
S
T
R
U
C
T
U
R
E
SITE CONDITIONS
45,500 SF FOOTPRINT AREA
ONE AND TWO STORY BUILDINGS
ASPHALT, GRAVEL, AND TOPSOIL GROUND COVER
BELOW GROUND STRATA
HIGH GROUNDWATER FLOW
I
N
T
R
O
E
X
I
S
T
D
E
P
T
H
C
M
S
U
S
T
N

## Slide 6
E
X
I
S
T
I
N
G
S
T
R
U
C
T
U
R
E
FOUNDATION
SHALLOW FOUNDATION
BEARING CAPACITY OF 10,000 PSF
SLAB ON GRADE AND FOOTINGS
FLOOR SYSTEM
HIGH STRENGTH POST TENSIONED CONCRETE
FLAT SLAB WITH DROPS
30’ X 30’ AND 30’ X 45’ BAYS
ROOF
LOWER ROOF TERRACE LIVE LOAD OF 100 PSF
25-26 PSF FOR GREEN ROOF
SOLAR PANELS ADD 6.6 – 8 PSF TO DEAD LOAD
ROOF COVERAGE IS VEGETATION, ROOF PAVERS, OR WEARING SLAB
8 TO 10 INCHES THICK
I
N
T
R
O
E
X
I
S
T
D
E
P
T
H
C
M
S
U
S
T
COLUMNS
GROUND FLOOR 24” X 24” COLUMNS
22” X 22” TYPICAL COLUMNS ABOVE
5 TO 8 KSI CONCRETE STRENGTH
#9 TO # 11 REINFORCEMENT

## Slide 7
E
X
I
S
T
I
N
G
S
T
R
U
C
T
U
R
E
LATERAL SYSTEM
CONCRETE MOMENT FRAMES AND SHEAR WALLS
LOWEST R VALUE USED FOR DUAL SYSTEM
SLABS SERVE AS BEAMS
EACH COLUMN PARTICIPATES IN RESISTANCE
10” AND 12” SHEAR WALLS
TORSION AID
I
N
T
R
O
E
X
I
S
T
D
E
P
T
H
C
M
S
U
S
T

## Slide 8
PROPOSAL
EFFICIENTLY DESIGNED
LOCATION CHANGE
REDESIGN FOR NEW SEISMIC LOADS
CONSTRUCTION MANAGEMENT
SUSTAINABILITY

## Slide 9
S
T
R
U
C
T
U
R
A
L
DEPTH
NEW LOCATION
CENTRAL DISTRICT OAKLAND
LEED RELATED SITE BENEFITS
REDEVELOPMENT
NEW SEISMIC LOADS
I
N
T
R
O
E
X
I
S
T
D
E
P
T
H
C
M
S
U
S
T

## Slide 10
S
T
R
U
C
T
U
R
A
L
DEPTH
SEISMIC DESIGN CONSIDERATIONS
I
N
T
R
O
E
X
I
S
T
D
E
P
T
H
C
M
S
U
S
T
SEISMIC DESIGN CATEGORY D
SEISMIC PROVISIONS AISC 341-05
SPECIAL MOMENT FRAMES REQUIRED
REDUNCANCY FACTOR = 1.3
(1.2 + 0.2Sds)D + ρQe + L + 0.2S
(0.9 – 0.2Sds)D + ρQe + 1.6H
ALLOWABLE STORY DRIFT = 0.02hsx
EQUIVALENT LATERAL FORCE ANALYSIS PERMITTED
SLENDERNESS : Kl/r ≤ 4√E/Fy
WIDTH/THICKNESS RATIO: b/t ≤ 0.30√E/Fy
NO SHEAR STUDS IN PROTECTED ZONES

## Slide 11
S
T
R
U
C
T
U
R
A
L
DEPTH
CONCRETE REDESIGN
I
N
T
R
O
E
X
I
S
T
D
E
P
T
H
C
M
S
U
S
T
F’c = 6000 PSI
Fy = 60 KSI
Fpu = 270,000 PSI
7 WIRE STRANDS ½” DIAMETER
60% LOAD BALANCE OF SELF WEIGHT
INCREASE IN MEMBER SIZES
INCREASE IN EDGE REINFORCEMENT
INCREASE IN COLUMN/SLAB CONNECTION REINFORCEMENT
COMPLEX DETAILING

## Slide 12
S
T
R
U
C
T
U
R
A
L
DEPTH
COMPOSITE STEEL PRO/CON
LOWER WEIGHT
DECREASED CONSTRUCTION TIME
ADDITIONAL FIREPROOFING
VIBRATION ISSUES
BELOW GRADE PARKING
GRAVITY SYSTEM
FRAMING PLANS
HAND CALCULATIONS
RAM STRUCTURAL SYSTEM MODEL
I
N
T
R
O
E
X
I
S
T
D
E
P
T
H
C
M
S
U
S
T

## Slide 13
S
T
R
U
C
T
U
R
A
L
DEPTH
RAM STRUCTURAL SYSTEM
HAND CALCULATION RESULTS USED TO ASSIGN SIZES
CRITERIA SET FOR BEAM/ COLUMN CHECKS AND BEAM DEFLECTION
ECONOMIZE LAYOUTS
I
N
T
R
O
E
X
I
S
T
D
E
P
T
H
C
M
S
U
S
T

## Slide 14
S
T
R
U
C
T
U
R
A
L
DEPTH
MOMENT FRAME LAYOUTS
CONSIDERATIONS
LIMIT DRIFT
AVOID P-DELTA INSTABILITIES
MINIMIZE EFFECTS DUE TO TORSION
MINIMIZE ARCHITECTURAL IMPACTS
1ST LAYOUT
BRACED FRAMES AROUND ELEVATOR CORE
PERIMETER MOMENT FRAMES
LARGE TORSION EFFECTS
2ND LAYOUT
BRACE PERIMETER FRAMES
UPLIFT ISSUES AT CORNERS
ARCHITECTURAL IMPACTS
3rd LAYOUT
THREE INTERIOR BRACED CORES
MINIMAL ARCHITECTURAL IMPACT
MINIMAL EFFECT DUE TO TORSION
I
N
T
R
O
E
X
I
S
T
D
E
P
T
H
C
M
S
U
S
T

## Slide 15
S
T
R
U
C
T
U
R
A
L
DEPTH
HAND CALCULATIONS
E
T
C
I
N
T
R
O
E
X
I
S
T
D
E
P
T
H
C
M
S
U
S
T

## Slide 16
S
T
R
U
C
T
U
R
A
L
DEPTH
CONCLUSION
I
N
T
R
O
E
X
I
S
T
D
E
P
T
H
C
M
S
U
S
T
LIMIT DRIFT
AVOID P-DELTA INSTABILITIES
MINIMIZE EFFECTS DUE TO TORSION
MINIMIZE ARCHITECTURAL IMPACTS

## Slide 17
C
M
B
R
E
A
D
T
H
OVERVIEW
DON’T EXTEND SCHEDULE
COMPARE COSTS AND DURATIONS
DEVELOP CRITICAL PATHS
I
N
T
R
O
E
X
I
S
T
D
E
P
T
H
C
M
S
U
S
T
CONCRETE SCHEDULE
FOLLOWS FORMAT OF ORIGINAL SCHEDULE
UPDATED DURATIONS BASED ON INCREASE IN MATERIALS
SUPERSTRUCTURE SCHEDULE EXTENDED 4 DAYS
$1.7 MILLION INCREASE IN COST
STEEL SCHEDULE
TWO CRANES, KEEP NORTH AND SOUTH ZONES
TAKEOFFS PERFORMED BY HAND ON TYPICAL BAYS
SUPERSTRUCTURE SCHEDULE SHORTENED BY 10 DAYS
$625,000 INCREASE IN COST

## Slide 18
BREADTH
S
USTA
I
N
AB
L
E
OVERVIEW
MAINTAIN LEED PLATINUM RATING
PRIORITY LIST
NEW SITE
ENERGY PERFORMANCE
HVAC LOADS
I
N
T
R
O
E
X
I
S
T
D
E
P
T
H
C
M
S
U
S
T

## Slide 19
BREADTH
S
USTA
I
N
AB
L
E
NEW SITE LOCATION
CENTRAL DISTRICT OAKLAND
BROWNFIELD OPPORTUNITIES
REDUCE TRAFFIC IMPACT
HEAT ISLAND
I
N
T
R
O
E
X
I
S
T
D
E
P
T
H
C
M
S
U
S
T

## Slide 20
BREADTH
S
USTA
I
N
AB
L
E
SOLAR PANEL ANALYSIS
176 PANELS
2 COMBINER BOXES
8 PER STRING, 22 STRINGS
TOTAL SYSTEM SIZE OF 38.72KW
PEAK SUN HOURS DETERMINED
20% ASSUMED LOSSES TO AC
HAND CALCS VS PV WATTS
I
N
T
R
O
E
X
I
S
T
D
E
P
T
H
C
M
S
U
S
T

## Slide 21
BREADTH
S
USTA
I
N
AB
L
E
SOLAR PANEL ANALYSIS
CONSIDERATIONS
ITC GRANT
ANNUAL UTILITY RATE INCREASES
OPERATION AND MAINTENANCE
METER AND INVERTER REPLACEMENTS
PRODUCTION DECREASES
I
N
T
R
O
E
X
I
S
T
D
E
P
T
H
C
M
S
U
S
T

## Slide 22
BREADTH
S
USTA
I
N
AB
L
E
SOLAR PANEL ANALYSIS
GREEN ROOF INTEGRATION
SOLAR PANELS INSTALLED OVER EXTENSIVE GREEN ROOF
PANELS SHADE VEGETATION
GREEN ROOF COOLS SOLAR PANELS
UP TO 6% MORE EFFICIENT
CHECK EXISTING EFFICIENCY
USE 3% EFFICIENCY INCREASE
CALCULATE NEW SYSTEM SIZE
INCLUDE GREEN ROOF ADDITION IN COST
PAYBACK PERIOD : 23 YEARS
31 YEARS TO PROVIDE COST SAVINGS
OVER NON INTEGRATED SYSTEM
I
N
T
R
O
E
X
I
S
T
D
E
P
T
H
C
M
S
U
S
T

## Slide 23
BREADTH
S
USTA
I
N
AB
L
E
HEATING AND COOLING LOADS
LOADS CALCULATED FOR SOUTH FACING OFFICE
FOLLOWED ASHRAE HANDBOOK FUNDAMENTALS (2009)
EXISTING ARLINGTON LOADS
COMPARISONS
SIMPLIFYING ASSUMPTIONS
STEADY STATE CONDITIONS
SINGLE OUTSIDE TEMPERATURE
NO HEAT GAIN FROM SOLAR OR INTERNAL SOURCES
I
N
T
R
O
E
X
I
S
T
D
E
P
T
H
C
M
S
U
S
T

## Slide 24
CONCLUSIONS
CONCRETE STRUCTURE : INCREASED WEIGHT AND REINFORCEMENT
STEEL REDESIGN : 3 INTERIOR SPECIALLY BRACED FRAME CORES
MINIMIZED EFFECTS DUE TO TORSION
PERMISSIBLE DRIFT VALUES
STRUCTURAL DEPTH
NORTH AND SOUTH CONSTRUCTION
FASTER CONSTRUCTION TIME
LOWER COST
CONSTRUCTION MANAGEMENT BREADTH
LEED SITE OPPORTUNITIES
GREEN ROOF PERFORMANCE
PHOTOVOLTAIC PANEL PERFORMANCE
HEATING AND COOLING LOADS
LEED RATING MAINTAINED
SUSTAINABILITY BREADTH

## Slide 25
C
M
B
R
E
A
D
T
H
THANK YOU
QUESTIONS/COMMENTS
Penn State University
Senior Thesis 2012
Faculty Advisor: Thomas Boothby
Joshua Urban
Structural Option

## Slide 26
C
M
B
R
E
A
D
T
H
Penn State University
Senior Thesis 2012
Faculty Advisor: Thomas Boothby
Joshua Urban
Structural Option
CONNECTION CONSIDERATIONS
REQUIRED TENSION STRENGTH : RyFyAg OR MAXIMUM LOAD EFFECT
REQUIRED FLEXURAL STRENGTH : 1.1RyMp
REQUIRED COMPRESSIVE STRENGTH : 1.1RyPn

## Slide 27
C
M
B
R
E
A
D
T
H
Penn State University
Senior Thesis 2012
Faculty Advisor: Thomas Boothby
Joshua Urban
Structural Option
SEISMIC LOADS

## Slide 28
C
M
B
R
E
A
D
T
H
Penn State University
Senior Thesis 2012
Faculty Advisor: Thomas Boothby
Joshua Urban
Structural Option
BRACED MOMENT FRAMES