## Slide 1
University Health Building
Located in the Mid-Atlantic Region
Thesis Final Presentation
Evan Landis || Structural Option
Advisor || Heather Sustersic

## Slide 2
Outline
Introduction
Structural Overview
Thesis Proposal
Lateral System Redesign
Lateral System Cost
Foundation Redesign
Foundation Cost/Schedule
Building Envelope
Conclusion

## Slide 3
Project Info
Cost: $56 Million
Size: 161,000 SF
Floors: 7
Structural Overview
Foundation
Spread footings
Grade beam tie ins for basement retaining walls
Floor Slabs
Two-way post tensioned slabs
f’c = 6-8ksi
Lateral System
Concrete Moment Frames
One Shear wall
Roof System
Green roof on post tensioned slab
- White PVC membrane on post tensioned concrete slab
Outline
Introduction
Structural Overview
Proposal
Lateral System Redesign
Lateral System Cost
Foundation Redesign
Foundation Cost/Schedule
Building Envelope
Conclusion
Introduction

## Slide 4
Project Info
Cost: $56 Million
Size: 161,000 SF
Floors: 7
Structural Overview
Foundation
- Spread footings w/ grade beams
Floor Slabs
Two-way post tensioned slabs
f’c = 6-8ksi
Lateral System
Concrete Moment Frames
One Shear wall
Roof System
Green roof on post tensioned slab
- White PVC membrane on post tensioned concrete slab
Structural Overview
Foundation
Spread footings
Grade beam tie ins for basement retaining walls
Floor Slabs
Two-way post tensioned slabs
f’c = 6-8ksi
Lateral System
Concrete Moment Frames
One Shear wall
Roof System
Green roof on post tensioned slab
- White PVC membrane on post tensioned concrete slab
Outline
Introduction
Structural Overview
Proposal
Lateral System Redesign
Lateral System Cost
Foundation Redesign
Foundation Cost/Schedule
Building Envelope
Conclusion

## Slide 5
Project Info
Cost: $56 Million
Size: 161,000 SF
Floors: 7
Structural Overview
Foundation
- Spread footings w/ grade beams
Floor Slabs
Two-way post tensioned slabs
f’c = 6-8ksi
Lateral System
Concrete Moment Frames
One Shear wall
Roof System
Green roof on post tensioned slab
- White PVC membrane on post tensioned concrete slab
Structural Overview
Foundation
Spread footings
Grade beam tie ins for basement retaining walls
Floor Slabs
Two-way post tensioned slabs
f’c = 6-8ksi
Lateral System
Concrete Moment Frames
One Shear wall
Roof System
Green roof on post tensioned slab
- White PVC membrane on post tensioned concrete slab
Outline
Introduction
Structural Overview
Proposal
Lateral System Redesign
Lateral System Cost
Foundation Redesign
Foundation Cost/Schedule
Building Envelope
Conclusion

## Slide 6
Project Info
Cost: $56 Million
Size: 161,000 SF
Floors: 7
Stair Tower Skylight
Structural Overview
Image from usa.sarnafil.sika.com
Foundation
Spread footings
Grade beam tie ins for basement retaining walls
Floor Slabs
Two-way post tensioned slabs
f’c = 6-8ksi
Lateral System
Concrete Moment Frames
One Shear wall
Roof System
Green roof on post tensioned slab
- White PVC membrane on post tensioned concrete slab
Outline
Introduction
Structural Overview
Proposal
Lateral System Redesign
Lateral System Cost
Foundation Redesign
Foundation Cost/Schedule
Building Envelope
Conclusion

## Slide 7
Thesis Proposal
Structural Depth
- Owners want to open a branch campus in Orlando, Florida
Scope
Lateral System Analysis
Foundations check
Cost/Schedule Analysis Breadth
To determine the cost associated with the changes to the lateral and foundation systems
Determine the increase to the building schedule due to changes
Building Envelope Analysis
Determine the condensation point in a typical wall section
Determine if the R-Value meets minimum standards for new location
Mae Requirements
AE 530 Computer Modeling of Building Structures
AE 542 Building Enclosure Science and Design
Outline
Introduction
Structural Overview
Thesis Proposal
Lateral System Redesign
Lateral System Cost
Foundation Redesign
Foundation Cost/Schedule
Building Envelope
Conclusion

## Slide 8
Structural Depth
Etabs model
All structural elements were modeled
Modulus of Elasticity was halved to allow for the inelastic response of concrete members
Live Loads and Superimposed Dead Loads were placed on the model
Floor Slabs modeled as rigid diaphragms
Shear walls modeled as membrane elements
Outline
Introduction
Structural Overview
Thesis Proposal
Lateral System Redesign
Lateral System Cost
Foundation Redesign
Foundation Cost/Schedule
Building Envelope
Conclusion

## Slide 9
Structural Depth
NS Moment Frames
EW Moment Frames
EW Shear Wall
Original Lateral System
Designed for seismic loading
Very few moment frames due to column discontinuities
N
S
E
W
Outline
Introduction
Structural Overview
Thesis Proposal
Lateral System Redesign
Lateral System Cost
Foundation Redesign
Foundation Cost/Schedule
Building Envelope
Conclusion
Story Forces
80.26k
194.84k
105.00k
83.32k
68.17k
53.21k
37.89k
22.32k
48,000ft-k
650k
E
W

## Slide 10
Structural Depth
Outline
Introduction
Structural Overview
Proposal
Lateral System Redesign
Lateral System Cost
Foundation Redesign
Foundation Cost/Schedule
Building Envelope
Conclusion
Story Forces
200k
341k
324k
310k
304k
294k
283k
322k
119,000ft-k
2000k
E
W
Lateral System Additions
Designed for wind velocity of 145mph (Orlando Building Code)
Addition of (7) 12” thick shear walls of varying lengths
Alterations to existing shear wall
h/400 = 3.3”

## Slide 11
Structural Depth
Lateral System Additions
Designed for wind velocity of 145mph (Orlando Building Code)
Addition of (7) 12” thick shear walls of varying lengths
Alterations to existing shear wall
h/400 = 3.3”
3.0”
3.6”
3.2”
13.5”
Original System
New System
Original System
New System
North-SOuth
East-West
Outline
Introduction
Structural Overview
Thesis Proposal
Lateral System Redesign
Lateral System Cost
Foundation Redesign
Foundation Cost/Schedule
Building Envelope
Conclusion
Story Forces
200k
341k
324k
310k
304k
294k
283k
322k
119,000ft-k
2000k
E
W

## Slide 12
Structural Depth
Shear Wall Design
Designed with boundary elements
Walls of same length designed with same
rebar configuration for ease of construction
Typ. (6) or (8) #9’s or #10’s in boundary element
#5’s @ 12” Vertical
#5’s @ 12” Horizontal
1
2
3
4
5
6
7
8
N
S
E
W
Boundary Element
Temperature/Shrinkage and Shear Reinforcing
COR
8’
10’
11’
Outline
Introduction
Structural Overview
Thesis Proposal
Lateral System Redesign
Lateral System Cost
Foundation Redesign
Foundation Cost/Schedule
Building Envelope
Conclusion
Story Forces
200k
341k
324k
310k
304k
294k
283k
322k
119,000ft-k
2000k
E
W

## Slide 13
Structural Depth
Shear Wall Placement
Main goal was to not disrupt the architectural flow of the building
Could not be avoided entirely
1
2
3
4
5
6
7
8
N
S
E
W
Outline
Introduction
Structural Overview
Thesis Proposal
Lateral System Redesign
Lateral System Cost
Foundation Redesign
Foundation Cost/Schedule
Building Envelope
Conclusion
Pre-function Space

## Slide 14
Structural Depth
Shear Wall Placement
Main goal was to not disrupt the architectural flow of the building
Could not be avoided entirely
1
2
3
4
5
6
7
8
N
S
E
W
Outline
Introduction
Structural Overview
Thesis Proposal
Lateral System Redesign
Lateral System Cost
Foundation Redesign
Foundation Cost/Schedule
Building Envelope
Conclusion
Pre-function Space
Exercise Room
(2) Storage Closets
AV Storage

## Slide 15
Structural Depth
1
2
3
4
5
6
7
8
N
S
E
W
Shear Wall Placement
Main goal was to not disrupt the architectural flow of the building
Could not be avoided entirely
Outline
Introduction
Structural Overview
Thesis Proposal
Lateral System Redesign
Lateral System Cost
Foundation Redesign
Foundation Cost/Schedule
Building Envelope
Conclusion
Body Composition Room
5

## Slide 16
Structural Depth
1
2
3
4
5
6
7
8
N
S
E
W
Shear Wall Placement
Main goal was to not disrupt the architectural flow of the building
Could not be avoided entirely
Outline
Introduction
Structural Overview
Thesis Proposal
Lateral System Redesign
Lateral System Cost
Foundation Redesign
Foundation Cost/Schedule
Building Envelope
Conclusion
Body Composition Room
Trash and Recycling Room
5

## Slide 17
Cost/Schedule Breadth
1
2
3
4
5
6
7
8
N
S
E
W
Shear Wall Cost Includes
4-10ksi concrete
Rebar
Formwork
Pumping
Shear Wall Schedule: Negligible
Placement
Finishing
Outline
Introduction
Structural Overview
Thesis Proposal
Lateral System Redesign
Lateral System Cost
Foundation Redesign
Foundation Cost/Schedule
Building Envelope
Conclusion

## Slide 18
Structural Depth
Original Foundation
Spread footings
Soil Bearing Capacity: 30ksf bedrock
Typical sizes: 6x6, 5x4, 9x9
f’c = 5ksi
Goals
Design new spread footings for single shear walls and typ. column
To determine percent increase to size
N
S
E
W
Outline
Introduction
Structural Overview
Thesis Proposal
Lateral System Redesign
Lateral System Cost
Foundation Redesign
Foundation Cost/Schedule
Building Envelope
Conclusion

## Slide 19
Structural Depth
Foundation Design
Trial 1: Spread footings on soil: 2-3ksf
  Not suitable for loading
Trial 2: Spread footings on structural fill: 8ksf
  Typ. Column: 12x12
  Typ. Shear Wall: no good
Trial 3: 50ft Caissons: 20ksf bedrock
www.gardenswag.com
www.fairchildgarden.org
hirise.lpl.arizona.edu
www.fairchildgarden.org
Outline
Introduction
Structural Overview
Thesis Proposal
Lateral System Redesign
Lateral System Cost
Foundation Redesign
Foundation Cost/Schedule
Building Envelope
Conclusion
Sandy Soil
Structural Fill
Bedrock

## Slide 20
Foundation Cost Incudes
3ksi concrete caisson
5ksi concrete cap
Casing and Pumping
Excavation
www.fairchildgarden.org
Mobilization
Haul excess excavation
Inspection
Equipment
Foundation Schedule
1 caisson per column
2 caissons per shear wall
Original number of spread footings
Cost/Schedule Breadth
Outline
Introduction
Structural Overview
Thesis Proposal
Lateral System Redesign
Lateral System Cost
Foundation Redesign
Foundation Cost/Schedule
Building Envelope
Conclusion
22 Days

## Slide 21
Building Envelope Breadth
Condensation Analysis
To determine if typical wall section will work in the humid Orlando Climate
www.fairchildgarden.org
Outline
Introduction
Structural Overview
Thesis Proposal
Lateral System Redesign
Lateral System Cost
Foundation Redesign
Foundation Cost/Schedule
Building Envelope
Conclusion
Mid-Atlantic

## Slide 22
Building Envelope Breadth
R-Value Analysis
ASHRAE 90.1 Energy Standard for Buildings
R-Value does not include Terra Cotta
www.fairchildgarden.org
Outline
Introduction
Structural Overview
Thesis Proposal
Lateral System Redesign
Lateral System Cost
Foundation Redesign
Foundation Cost/Schedule
Building Envelope
Conclusion

## Slide 23
Conclusion
Lateral system
7 new shear walls
1 updated shear wall
Foundation
- Change from spread footings to caissons
Building Envelope
- No changes necessary
www.fairchildgarden.org
Cost
Shear Walls $119,000
Foundations +$571,000
        $690,000
Outline
Introduction
Structural Overview
Thesis Proposal
Lateral System Redesign
Lateral System Cost
Foundation Redesign
Foundation Cost/Schedule
Building Envelope
Conclusion

## Slide 24
Questions?
www.fairchildgarden.org
Special Thanks to the ones that made this possible:

## Slide 25
Appendix
www.fairchildgarden.org
Orlando Florida Building Code

## Slide 26
Appendix
www.fairchildgarden.org

## Slide 27
Appendix
www.fairchildgarden.org