## Slide 1
Hotel | Northeast U.S.
Jordan Rutherford | Structural Option
Faculty Advisor | Dr. Thomas Boothby
AE Senior Thesis | April 8, 2013

## Slide 2
Building Overview
Existing Building
Problem Statement
Proposed Solution
Redesign
Conclusion
Hotel N.E.U.S.
Building Information
Site
Located in the Northeast United States
5 stories above grade
113 rooms
75,209 ft2
  63’ x 257’
Maximum Height: 60’-8”
Construction Cost: $9.2 million
October 2011 – November 2012

## Slide 3
Building Overview
Existing Building
Problem Statement
Proposed Solution
Redesign
Conclusion
Hotel N.E.U.S.
Project Team
Site
Construction Manager | Continental Real Estate
Architect | Meyer and Associates
MEP | Prater Engineering Associates
Fire Protection | Prater Engineering Associates
Civil Engineer | Civil and Environmental Consultants, Inc.
Landscape Arch. | Civil and Environmental Consultants, Inc.
Structural Engineer | Atlantic Engineering Services

## Slide 4
Building Overview
Existing Building
Problem Statement
Proposed Solution
Redesign
Conclusion
Hotel N.E.U.S.
Architecture
Elevations
Synthetic Stucco (EIFS)
Brick
Cornices
Arches

## Slide 5
Building Overview
Existing Building
Problem Statement
Proposed Solution
Redesign
Conclusion
Hotel N.E.U.S.
Existing Structure
Floor Plans
Foundation | Spread and Strip Footings
Floor | Slab on grade
      | 8” Hollowcore precast Plank
Framing | Steel Beams and Columns
        | Masonry Bearing Walls
Lateral System | Masonry Shear Walls

## Slide 6
Building Overview
Existing Building
Problem Statement
Proposed Solution
Redesign
Conclusion
Hotel N.E.U.S.
Problem Statement
Steel / Masonry System
Open spaces on ground level
Room sizes
Lateral Elements layout

## Slide 7
Building Overview
Existing Building
Problem Statement
Proposed Solution
Redesign
Conclusion
Hotel N.E.U.S.
Proposed Solution/Goals
Steel Gravity and Lateral System
Maintain floor plan and room sizes
Maintain window and door placement
Lateral Layout
MAE Requirements
AE 530- Computer Modeling of Building Structures
AE 534- Steel Connections
AE 537- Building Performance Failures and Forensic Techniques
AE 542- Building Enclosures Science Design

## Slide 8
Building Overview
Existing Building
Problem Statement
Proposed Solution
Redesign | Gravity
Conclusion
Hotel N.E.U.S.
Gravity
Concrete on Composite Metal Deck
  5.5” total thickness
  3” flutes
Typical Beam: W14x22 (14) and W16x26 (16)
Typical Girder: W18x40 (16)
Typical Column: W10x33

## Slide 9
Building Overview
Existing Building
Problem Statement
Proposed Solution
Redesign | Gravity
Conclusion
Hotel N.E.U.S.
Gravity
Connection

## Slide 10
Building Overview
Existing Building
Problem Statement
Proposed Solution
Redesign | Lateral
Conclusion
Hotel N.E.U.S.
Lateral
Braced Frame
Moment Frame

## Slide 11
Building Overview
Existing Building
Problem Statement
Proposed Solution
Redesign | Lateral
Conclusion
Hotel N.E.U.S.
Lateral
Center of Rigidity
Braced Frame
Moment Frame

## Slide 12
Building Overview
Existing Building
Problem Statement
Proposed Solution
Redesign | Lateral
Conclusion
Hotel N.E.U.S.
Lateral
Braced Frames
Replace shear walls in short direction
  One brace spans swimming area
R = 3.25
W18x50
W18x50
W18x50
W18x50
W18x50
W18x50
W18x50
W18x50
W18x50
W18x50
W10x39
W10x39
W10x39
W10x39
W10x39
W10x39
W10x39
W10x39
W10x39
W10x39
HSS6x6x3/16
HSS6x6x3/16
HSS6x6x3/16
HSS6x6x3/16
HSS6x6x1/4
HSS6x6x3/16
HSS6x6x3/16
HSS6x6x3/16
HSS6x6x3/16
HSS6x6x1/4

## Slide 13
Building Overview
Existing Building
Problem Statement
Proposed Solution
Redesign | Lateral
Conclusion
Hotel N.E.U.S.
Braced Connection
Braced Frames

## Slide 14
Building Overview
Existing Building
Problem Statement
Proposed Solution
Redesign | Lateral
Conclusion
Hotel N.E.U.S.
Lateral
Moment Frames
Allows for window and door openings
Pinned Base
R = 3
W24x68
W24x68
W27x84
W27x84
W21x62
W12x96
W12x96
W12x96
W12x120
W12x120
W27x84
W27x84
W30x90
W30x90
W24x68
W12x65
W12x96
W12x96
W12x120
W12x120
W24x68
W24x68
W27x84
W27x84
W21x62
W12x65
W12x96
W12x96
W12x120
W12x120

## Slide 15
Building Overview
Existing Building
Problem Statement
Proposed Solution
Redesign | Lateral
Conclusion
Hotel N.E.U.S.
Moment Connection
Moment Frames
W24x68
W24x68
W27x84
W27x84
W21x62
W12x96
W12x96
W12x96
W12x120
W12x120

## Slide 16
Building Overview
Existing Building
Problem Statement
Proposed Solution
Redesign | Arch.
Conclusion
Hotel N.E.U.S.
Architecture
Existing Styles

## Slide 17
Building Overview
Existing Building
Problem Statement
Proposed Solution
Redesign | Arch.
Conclusion
Hotel N.E.U.S.
Architecture
Elevations

## Slide 18
Building Overview
Existing Building
Problem Statement
Proposed Solution
Redesign | Arch.
Conclusion
Hotel N.E.U.S.
Architecture
Metl Span Architectural Insulated Panels
  Grey, Green, and White
Grey Brick along base
Roof Awning
Entryway
  Tinted Structural Glass

## Slide 19
Building Overview
Existing Building
Problem Statement
Proposed Solution
Redesign | Encl.
Conclusion
Hotel N.E.U.S.
Enclosure

## Slide 20
Building Overview
Existing Building
Problem Statement
Proposed Solution
Redesign
Conclusion
Hotel N.E.U.S.
Goals
Maintain floor plan and room sizes
Locate Braces within partitions
Limit drift for moment frames
Keep C.O.R. close to center of building
Redesign architecture
Redesign enclosure
Summary
Gravity system changed from precast plank and masonry walls to composite steel
Lateral system changed from masonry shear walls
  Short direction- Braced frames
  Long direction- Moment frames
Façade changed from EIFS to metal panels

## Slide 21
Building Overview
Existing Building
Problem Statement
Proposed Solution
Redesign
Conclusion
Hotel N.E.U.S.
Acknowledgements
Atlantic Engineering Services:
Cam Baker John Schneider
AE Department Faculty
Dr. Thomas Boothby
My family, friends, girlfriend, and God
Thank You

## Slide 22
Building Overview
Existing Building
Problem Statement
Proposed Solution
Redesign
Conclusion
Hotel N.E.U.S.
Appendix
Seismic/Thermal

## Slide 23
Building Overview
Existing Building
Problem Statement
Proposed Solution
Redesign
Conclusion
Hotel N.E.U.S.
Appendix
Gravity Connections

## Slide 24
Building Overview
Existing Building
Problem Statement
Proposed Solution
Redesign
Conclusion
Hotel N.E.U.S.
Appendix
Lateral and Drifts

## Slide 25
Building Overview
Existing Building
Problem Statement
Proposed Solution
Redesign
Conclusion
Hotel N.E.U.S.
Appendix
Footing Graphs