## Slide 1
David S. Ingalls Rink
New Haven, CT
Yale University
Eero Saarinen
61,646 sf
2
Yale University
Kevin Roche John Dinkeloo and Associates LLC
Atelier Ten Consulting Designers
Severud Associates Consulting Engineers, P.C.
AltieriSeborWieber LLC
Turner Construction Company
Tighe & Bond
Cavanaugh Tocci Associates, Incorporated
Client
Architect
Lighting Consultant
Structure Engineers
Mechanical Consultants
Construction Manager
Civil Engineer
Sound System
Building name
Location
Building Occupant
Architect
Total gsf
Total Levels
David S. Ingalls Rink
73 Sachem Street, New Haven, CT 06501
Amy Huan | Lighting + Electrical |Final Thesis Presentation | 4/14/2014

## Slide 2
Project Overview
Scope + concept
LG | Building Exterior
Diving
LG | Circulation Corridor
Coral Reef
LG | Rink
Ocean
EL | branch circuit analysis
EL | copper vs. aluminum cost analysis
Acoustic | reverberation time analysis
Thanks to…

## Slide 3
|Lighting Depth
Building Exterior
Circulation
Rink
Schley Club Room
|Electrical Depth
Branch Circuit Analysis
Short Circuit Analysis
Copper vs. Aluminum Wire Cost Analysis
|Structural Breadth
Wind Load Analysis on Building Entrance
|Acoustical Breadth
Reverberation Time Analysis
|Lighting Depth
Building Exterior
Circulation
Rink
Schley Club Room
|Electrical Depth
Branch Circuit Analysis
Short Circuit Analysis
Copper vs. Aluminum Wire Cost Analysis
|Structural Breadth
Wind Load Analysis on Building Entrance
|Acoustical Breadth
Reverberation Time Analysis
Habitation
Seeing
Feeling
Hearing
Project Overview
Scope + concept
LG | Building Exterior
Diving
LG | Circulation Corridor
Coral Reef
LG | Rink
Ocean
EL | branch circuit analysis
EL | copper vs. aluminum cost analysis
Acoustic | reverberation time analysis
Thanks to…

## Slide 4
Project Overview
Scope + concept
LG | Building Exterior
Diving
LG | Circulation Corridor
Coral Reef
LG | Rink
Ocean
EL | branch circuit analysis
EL | copper vs. aluminum cost analysis
Acoustic | reverberation time analysis
Thanks to…

## Slide 5
Project Overview
Scope + concept
LG | Building Exterior
Diving
LG | Circulation Corridor
Coral Reef
LG | Rink
Ocean
EL | branch circuit analysis
EL | copper vs. aluminum cost analysis
Acoustic | reverberation time analysis
Thanks to…

## Slide 6
Project Overview
Scope + concept
LG | Building Exterior
Diving
LG | Circulation Corridor
Coral Reef
LG | Rink
Ocean
EL | branch circuit analysis
EL | copper vs. aluminum cost analysis
Acoustic | reverberation time analysis
Thanks to…

## Slide 7
5w LED
linear grazer
adjustable 6” arm
5w/10w/15w LED
linear flood light
surface
100w LED
exterior downlight
surface
Project Overview
Scope + concept
LG | Building Exterior
Diving
LG | Circulation Corridor
Coral Reef
LG | Rink
Ocean
EL | branch circuit analysis
EL | copper vs. aluminum cost analysis
Acoustic | reverberation time analysis
Thanks to…

## Slide 8
surface | illuminance (fc)
roof spine | 50
roof surface | 4
front plaza | 2.5
LPD | designed | allowable
exterior | 0.156 | 0.15
front Plaza | 0.06 | 0.16
Project Overview
Scope + concept
LG | Building Exterior
Diving
LG | Circulation Corridor
Coral Reef
LG | Rink
Ocean
EL | branch circuit analysis
EL | copper vs. aluminum cost analysis
Acoustic | reverberation time analysis
Thanks to…

## Slide 9
surface | illuminance (fc)
roof spine | 50
roof surface | 4
front plaza | 2.5
LPD | designed | allowable
exterior | 0.156 | 0.15
front Plaza | 0.06 | 0.16
Project Overview
Scope + concept
LG | Building Exterior
Diving
LG | Circulation Corridor
Coral Reef
LG | Rink
Ocean
EL | branch circuit analysis
EL | copper vs. aluminum cost analysis
Acoustic | reverberation time analysis
Thanks to…

## Slide 10
Project Overview
Scope + concept
LG | Building Exterior
Diving
LG | Circulation Corridor
Coral Reef
LG | Rink
Ocean
EL | branch circuit analysis
EL | copper vs. aluminum cost analysis
Acoustic | reverberation time analysis
Thanks to…

## Slide 11
Project Overview
Scope + concept
LG | Building Exterior
Diving
LG | Circulation Corridor
Coral Reef
LG | Rink
Ocean
EL | branch circuit analysis
EL | copper vs. aluminum cost analysis
Acoustic | reverberation time analysis
Thanks to…

## Slide 12
Project Overview
Scope + concept
LG | Building Exterior
Diving
LG | Circulation Corridor
Coral Reef
LG | Rink
Ocean
EL | branch circuit analysis
EL | copper vs. aluminum cost analysis
Acoustic | reverberation time analysis
Thanks to…

## Slide 13
22w LED
asymmetrical wallwasher
in-ground
20w MH
adjustable optic steplight
recessed
18w LED
downlight
recessed
Project Overview
Scope + concept
LG | Building Exterior
Diving
LG | Circulation Corridor
Coral Reef
LG | Rink
Ocean
EL | branch circuit analysis
EL | copper vs. aluminum cost analysis
Acoustic | reverberation time analysis
Thanks to…

## Slide 14
surface | illuminance (fc)
circulation floor | 28
circulation @ 6' | 11
wall | 17
press box | 29
seating | 19
LPD | designed | allowable
circulation | 0.44 | 0.66
Project Overview
Scope + concept
LG | Building Exterior
Diving
LG | Circulation Corridor
Coral Reef
LG | Rink
Ocean
EL | branch circuit analysis
EL | copper vs. aluminum cost analysis
Acoustic | reverberation time analysis
Thanks to…

## Slide 15
surface | illuminance (fc)
circulation floor | 9.5
circulation @ 6' | 2
wall | 1.5
press box | 1.5
seating | 3.56
Project Overview
Scope + concept
LG | Building Exterior
Diving
LG | Circulation Corridor
Coral Reef
LG | Rink
Ocean
EL | branch circuit analysis
EL | copper vs. aluminum cost analysis
Acoustic | reverberation time analysis
Thanks to…

## Slide 16
Project Overview
Scope + concept
LG | Building Exterior
Diving
LG | Circulation Corridor
Coral Reef
LG | Rink
Ocean
EL | branch circuit analysis
EL | copper vs. aluminum cost analysis
Acoustic | reverberation time analysis
Thanks to…

## Slide 17
Project Overview
Scope + concept
LG | Building Exterior
Diving
LG | Circulation Corridor
Coral Reef
LG | Rink
Ocean
EL | branch circuit analysis
EL | copper vs. aluminum cost analysis
Acoustic | reverberation time analysis
Thanks to…

## Slide 18
Project Overview
Scope + concept
LG | Building Exterior
Diving
LG | Circulation Corridor
Coral Reef
LG | Rink
Ocean
EL | branch circuit analysis
EL | copper vs. aluminum cost analysis
Acoustic | reverberation time analysis
Thanks to…

## Slide 19
267w LED
highbay downlight
pendant
50w LED
floodlight
surface
Project Overview
Scope + concept
LG | Building Exterior
Diving
LG | Circulation Corridor
Coral Reef
LG | Rink
Ocean
EL | branch circuit analysis
EL | copper vs. aluminum cost analysis
Acoustic | reverberation time analysis
Thanks to…

## Slide 20
surface | illuminance (fc)
rink @ 3.5’ | 95
ceiling | 20
seating | 18
LPD | designed | allowable
rink | 1.16 | 1.92
Project Overview
Scope + concept
LG | Building Exterior
Diving
LG | Circulation Corridor
Coral Reef
LG | Rink
Ocean
EL | branch circuit analysis
EL | copper vs. aluminum cost analysis
Acoustic | reverberation time analysis
Thanks to…

## Slide 21
Project Overview
Scope + concept
LG | Building Exterior
Diving
LG | Circulation Corridor
Coral Reef
LG | Rink
Ocean
EL | branch circuit analysis
EL | copper vs. aluminum cost analysis
Acoustic | reverberation time analysis
Thanks to…

## Slide 22
chain motor
moving/profile
theater fixture
Project Overview
Scope + concept
LG | Building Exterior
Diving
LG | Circulation Corridor
Coral Reef
LG | Rink
Ocean
EL | branch circuit analysis
EL | copper vs. aluminum cost analysis
Acoustic | reverberation time analysis
Thanks to…

## Slide 23
Type | Location | Lamps | #of fixtures | Total KVA
AD01 | Pressbox, Schley Club Room | 13W LED | 42 | 0.546
AD02 | Schley Club Room | 11W LED | 15 | 0.165
AF01 | Rink | 50W LED | 10 | 0.5
AG01 | Schley Club Room | 24W LED | 19 | 0.456
AG01(a) | Schley Club Room | 6W LED | 1 | 0.006
AP01 | Rink | 267W LED | 72 | 19.224
AS01 | Circulation Corridoor | 20W MH | 70 | 1.4
AW01 | Circulation Corridoor | 27W LED | 85 | 2.295
 |  |  | Total | 24.592
Type | Location | Lamps | #of fixtures | Total KVA
A01 | Rink | (1) 400W PS MH | 72 | 28.8
A02 | Circulation Corridoor | (1) 32W TTT (830) | 82 | 2.624
A03 | Circulation Corridoor | (1) 32W TTT (830) | 48 | 1.536
A10 | Schley Club Room | (1) 26W Quad Tube (835) | 12 | 0.312
A11 | Schley Club Room | 75 W PAR 30 flood | 24 | 1.8
A12 | Schley Club Room | (1) 28W T5 (835) | 36 | 1.008
A24 | Schley Club Room | (1) 26W TTT (830) | 4 | 0.104
 |  |  | Total | 36.184
Annual Savings: 34,776 KWh
Project Overview
Scope + concept
LG | Building Exterior
Diving
LG | Circulation Corridor
Coral Reef
LG| Rink
Ocean
EL | branch circuit analysis
EL | copper vs. aluminum cost analysis
Acoustic | reverberation time analysis
Thanks to…

## Slide 24
Copper
Aluminum
Project Overview
Scope + concept
LG | Building Exterior
Diving
LG | Circulation Corridor
Coral Reef
LG| Rink
Ocean
EL | branch circuit analysis
EL | copper vs. aluminum cost analysis
Acoustic | reverberation time analysis
Thanks to…
Copper | $273,612.30
Aluminum | $206,852.20
Savings | $66,760.10

## Slide 25
Project Overview
Scope + concept
LG | Building Exterior
Diving
LG | Circulation Corridor
Coral Reef
LG| Rink
Ocean
EL | branch circuit analysis
EL | copper vs. aluminum cost analysis
Acoustic | reverberation time analysis
Thanks to…

## Slide 26
Chart: Reverberation Time vs Frequency
| 125 | 250 | 500 | 1000 | 2000 | 4000
Rink_Original | 6.04 | 6.98 | 7.15 | 7.98 | 5.1 | 3.02
RT500 = 7.15s
Project Overview
Scope + concept
LG | Building Exterior
Diving
LG | Circulation Corridor
Coral Reef
LG| Rink
Ocean
EL | branch circuit analysis
EL | copper vs. aluminum cost analysis
Acoustic | reverberation time analysis
Thanks to…

## Slide 27
Chart: Reverberation Time vs Frequency
| 125 | 250 | 500 | 1000 | 2000 | 4000
Rink_Original | 6.04 | 6.98 | 7.15 | 7.98 | 5.1 | 3.02
Rink_Designed | 1.76 | 1.49 | 1.61 | 1.3 | 1.17 | 0.99
RT500 = 1.61s
Project Overview
Scope + concept
LG | Building Exterior
Diving
LG | Circulation Corridor
Coral Reef
LG| Rink
Ocean
EL | branch circuit analysis
EL | copper vs. aluminum cost analysis
Acoustic | reverberation time analysis
Thanks to…

## Slide 28
Project Overview
Scope + concept
LG | Building Exterior
Diving
LG | Circulation Corridor
Coral Reef
LG| Rink
Ocean
EL | branch circuit analysis
EL | copper vs. aluminum cost analysis
Acoustic | reverberation time analysis
Thanks to…

## Slide 29
Dr. Kevin Houser
Dr. Richard Mistrick
Professor Shawn Good
Professor Leslie Beahm
Professor Kevin Parfitt
Dr. Ryan Solnosky
Professor Paul Kremer
Professor William Kenyon
Mark Loeffler, Atelier Ten
Chad Groshart, Atelier Ten
Gus Sanchez, Atelier Ten
Sarah Fisher, Atelier Ten
Alice Raucher, Yale University
Friends & Family
All fellow AEs
Thanks to...
Project Overview
Scope + concept
LG | Building Exterior
Diving
LG | Circulation Corridor
Coral Reef
LG| Rink
Ocean
EL | branch circuit analysis
EL | copper vs. aluminum cost analysis
Acoustic | reverberation time analysis
Thanks to…

## Slide 30
Appendix