## Slide 1
Reinsurance Group of
America (RGA) Global Headquarters
Natasha Beck
Structural Option
Faculty Advisor: Heather Sustersic
Images courtesy of Gensler & Tom Rolfes
N

## Slide 2
RGA Global Headquarters
Introduction
Problem Statement & Solution
Green Roof Garden Breadth
Structural Depth
Gravity System
Lateral System
Construction Breadth Results
Conclusions
Acknowledgements
Project Team:
General Contractor: Clayco
Architect: Gensler
Structural Engineer: Uzun & Case
Civil Engineer: Stock & Associates
Landscape Architect: Forum Studio
Lighting Consultant: Randy Burkett Lighting Design
MEP/Fire Protection: Environmental Systems Design
Introduction
Occupancy: General office and training
Construction: March 2013 to September 2014
Delivery: Design-Build
2 Parking Levels
5 Office Levels per Tower
Size: 405,000 GSF
Cost: Approx. $150 million
Model courtesy of Gensler & Tom Rolfes

## Slide 3
RGA Global Headquarters
Introduction
Problem Statement & Solution
Green Roof Garden Breadth
Structural Depth
Gravity System
Lateral System
Construction Breadth Results
Conclusions
Acknowledgements
Scenario:
Owner has decided to incorporate a green roof
garden that is open to RGA’s employees
Thesis Study Goals:
Interdisciplinary green roof design
Revise gravity and lateral systems under green roof loading
Explore cost and schedule impact
Problem Statement & Solution
+112% Dead
+118% Live
+172% Dead
+355% Live
Model courtesy of Gensler & Tom Rolfes

## Slide 4
RGA Global Headquarters
Introduction
Problem Statement & Solution
Green Roof Garden Breadth
Structural Depth
Gravity System
Lateral System
Construction Breadth Results
Conclusions
Acknowledgements
Garden Plants
Green Roof Garden Breadth
Wildflower Plants
Sedums

## Slide 5
RGA Global Headquarters
Introduction
Problem Statement & Solution
Green Roof Garden Breadth
Structural Depth
Gravity System
Lateral System
Construction Breadth Results
Conclusions
Acknowledgements
Interdisciplinary Design Requirements:
Reasonable initial cost
Amenity seating area
Tenant circulation
Low maintenance
Architectural lines are uninterrupted
Green Roof Garden Breadth
N
Layout

## Slide 6
RGA Global Headquarters
Introduction
Problem Statement & Solution
Green Roof Garden Breadth
Structural Depth
Gravity System
Lateral System
Construction Breadth Results
Conclusions
Acknowledgements
Green Roof Garden Breadth
Structural Load Cases
Dead: 53 PSF
Water Live: 26 PSF
Roof Live: 20 PSF
Snow: 22 PSF
Wind: -21 PSF
Dead: 68 PSF
Water Live: 34 PSF
Roof Live: 20 PSF
Snow: 22 PSF
Wind: -21 PSF
Public Live: 100 PSF
Dead: +112%
Live: +118%
Dead: +172%
Live: +355%
4” Growing Medium:
6” Growing Medium:
Roofmeadow Type V System

## Slide 7
RGA Global Headquarters
Introduction
Problem Statement & Solution
Green Roof Garden Breadth
Structural Depth
Gravity System
Lateral System
Construction Breadth Results
Conclusions
Acknowledgements
Structural Depth
Existing Gravity System
Cambered Truss System
Truss T1
Truss T2
Roof Framing
N
Built Up Plate Girder Level 02
From C.D.
From C.D.
From C.D.

## Slide 8
RGA Global Headquarters
Introduction
Problem Statement & Solution
Green Roof Garden Breadth
Structural Depth
Gravity System
Lateral System
Construction Breadth Results
Conclusions
Acknowledgements
Structural Depth
Truss T1:
Roof Reactions
Floor Gravity
Reactions on T2
Deflection < ¾”
From C.D.

## Slide 9
RGA Global Headquarters
Introduction
Problem Statement & Solution
Green Roof Garden Breadth
Structural Depth
Gravity System
Lateral System
Construction Breadth Results
Conclusions
Acknowledgements
Structural Depth
Truss T2:
Roof Reactions
T1 Reactions
Floor Gravity
Reactions to Roof
Deflection < ¾”
From C.D.

## Slide 10
RGA Global Headquarters
Introduction
Problem Statement & Solution
Green Roof Garden Breadth
Structural Depth
Gravity System
Lateral System
Construction Breadth Results
Conclusions
Acknowledgements
Structural Depth
Roof Truss:
T2 Reactions
Reactions to BFs
Deflection < 1.73”
From C.D.

## Slide 11
RGA Global Headquarters
Introduction
Problem Statement & Solution
Green Roof Garden Breadth
Structural Depth
Gravity System
Lateral System
Construction Breadth Results
Conclusions
Acknowledgements
Structural Depth
Existing Lateral System
Steel Braced Frames
Concrete Shear Walls
Scope
Two Stage Procedure
From C.D.
Model courtesy of Gensler & Tom Rolfes

## Slide 12
RGA Global Headquarters
Introduction
Problem Statement & Solution
Green Roof Garden Breadth
Structural Depth
Gravity System
Lateral System
Construction Breadth Results
Conclusions
Acknowledgements
Structural Depth
Existing Layout:
BF 5 & 6
BF 7 & 8
Concentrically Braced Frames
HSS Braces
R = 3
N
From C.D.
From C.D.

## Slide 13
RGA Global Headquarters
Introduction
Problem Statement & Solution
Green Roof Garden Breadth
Structural Depth
Gravity System
Lateral System
Construction Breadth Results
Conclusions
Acknowledgements
Structural Depth
Seismic Force Adjustments:
Assume Seismically Detailed R = 7
Two stage procedure impact
New Response
R = 7
As-Built: R = 3
New Period
Ta = 8.42 sec.
As-Built: 0.561 s
New Office Base Shear
V = 323 k
As-Built: V = 3338 k
New Ratio
1.75
As-Built: 1.0
New Structure Base Shear
V = 1552 k
As-Built: V = 4235 k
Chart: 
| Base Shear Comparison (k)
HSS | 4235
BRB | 1552
ETABS Model

## Slide 14
RGA Global Headquarters
Introduction
Problem Statement & Solution
Green Roof Garden Breadth
Structural Depth
Gravity System
Lateral System
Construction Breadth Results
Conclusions
Acknowledgements
Structural Depth
Controlling load combination:
(1.2 + 0.2SDS) D + ρQE + L + 0.2S
From ASCE 7-05 12.4.2.3
STARBRB-36.0 =
Buckling-Restrained Brace with 36 sq. in. steel core area
BF 5 & 6
Member Sizes &
Code Check
Controlling Frame Design Forces
For Preliminary Sizing
SDC C
I = 1.25
ρ = 1.0
SDS = 0.400
R = 7
Cd = 5.5
Fy = 46 ksi

## Slide 15
RGA Global Headquarters
Introduction
Problem Statement & Solution
Green Roof Garden Breadth
Structural Depth
Gravity System
Lateral System
Construction Breadth Results
Conclusions
Acknowledgements
Construction Breadth
Roof System & Supporting Structure Cost Summary:
As-Built Project : $1,717,700
$60.38 per SF
Green Roof : $5,774,600
$202.97 per SF
10% Overhead and Profit
4% Missouri Sales Tax
5% Contingency
Location
Time
Includes:
Chart: Square Foot Cost Comparison
| Sq. Ft. Cost
Green Roof | 202.97
As-Built | 60.63
Chart: Schedule Activity Duration Comparison
| Green Roof | As-Built
Truss Framing | 1.54 | 1.77
Roof Framing | 5.63 | 5.57
Roof System | 68.55 | 10.18

## Slide 16
RGA Global Headquarters
Introduction
Problem Statement & Solution
Green Roof Garden Breadth
Structural Depth
Gravity System
Lateral System
Construction Breadth Results
Conclusions
Acknowledgements
Conclusions
Thesis Study Conclusions:
Green roof designed with interdisciplinary approach
Implications on gravity and lateral systems considered and minimized where possible
Accounted for cost and schedule factors
System Conclusions:
Green roof garden system is feasible
Cantilever impact minimized
Buckling-restrained braces work, but are not most efficient in this application
Cost and schedule increase reasonable, but final decision rests in the owner’s hands
Model courtesy of Gensler & Tom Rolfes

## Slide 17
RGA Global Headquarters
Introduction
Problem Statement & Solution
Green Roof Garden Breadth
Structural Depth
Gravity System
Lateral System
Construction Breadth Results
Conclusions
Acknowledgements
Acknowledgements
Heather Sustersic
Ruby+Associates
Perry Esslinger & Tom Rolfes with Clayco
Family, Friends, God
Images courtesy of Gensler & Tom Rolfes

## Slide 18
RGA Global Headquarters
Introduction
Problem Statement & Solution
Green Roof Garden Breadth
Structural Depth
Gravity System
Lateral System
Construction Breadth Results
Conclusions
Acknowledgements
Questions?
Model courtesy of Gensler & Tom Rolfes