## Slide 1
Twin Rivers Elementary/Intermediate of McKeesport Area School District
Tessa Bauman
Mechanical Option
Technical Consultant: Laura Miller
1600 Cornell St., McKeesport, Pa
Introduction
Mechanical Systems Overview
Mechanical Depth
Structural Breadth
Acoustical Breadth
Conclusions
Recommendations
Questions

## Slide 2
Introduction
Mechanical Systems Overview
Mechanical Depth
Structural Breadth
Acoustical Breadth
Conclusions
Recommendations
Questions
Building Statistics
Occupancy: Education
Size: 127,000 ft2
Number of Stories: 2
Completion Date: February 2014
Project Cost: $29 million
Project Team
Owner: McKeesport Area School District
Architect: J C Pierce
Construction Manager: PJ Dick
General Contractor: Gurtner Construction
Civil Engineers: Phillips & Associates, Inc.
Structural & MEP Engineers: Loftus Engineers
Environmental Engineers: American Geosciences, Inc.

## Slide 3
Introduction
Mechanical Systems Overview
Mechanical Depth
Structural Breadth
Acoustical Breadth
Conclusions
Recommendations
Questions
McKeesport
Location
Building
20 miles SE of
  Pittsburgh, Pa
5 miles east of
  Allegheny County
  Airport
South
Wing
North
Wing
Café Roof
Gym
Roof
Pittsburgh
ACA

## Slide 4
Introduction
Mechanical Systems Overview
Mechanical Depth
Structural Breadth
Acoustical Breadth
Conclusions
Recommendations
Questions
Design Goals
Tracking LEED Gold Accreditation
  Mechanical designed with
    ASHRAE Advanced Energy Design Guide
    for K-12 School Buildings
Education Aspects of Sustainable Design
  LCD screens describing systems
  Curtain wall system around Mechanical
    and Electrical Room

## Slide 5
Introduction
Mechanical Systems Overview
Mechanical Depth
Structural Breadth
Acoustical Breadth
Conclusions
Recommendations
Questions
Ventilation
2 DOAS
  Heat Recovery Wheel
  Desiccant Wheel
4 AHUs
  Single Zone VAV
  Multi Zone VAV with reheat
Partial Occupancy
Roof Layout
South
Wing
North
Wing
Café Roof
Gym Roof

## Slide 6
Heating and Cooling
Schematic
Geothermal Heat Pumps
  Closed looped earth coupled vertical water loop
  60°F water
  Chiller supply
  Water to Air HPs located in classroom cabinets
  Auxiliary heating and cooling
VAV Reheat to Library and Offices
Introduction
Mechanical Systems Overview
Mechanical Depth
Structural Breadth
Acoustical Breadth
Conclusions
Recommendations
Questions

## Slide 7
Condenser Water Loop
Schematic
30% polyethylene glycol solution
Heat Exchanger
Cooling Towers
Auxiliary Boiler
Introduction
Mechanical Systems Overview
Mechanical Depth
Structural Breadth
Acoustical Breadth
Conclusions
Recommendations
Questions
Heat Pump Water Supply
Domestic Hot Water
Two 125 Gallon Water Heaters
Supply at 140°F

## Slide 8
Solar Thermal Auxiliary
Goals:
  Reduce dependency on natural gas
  Increase sustainability
  “If cost is no issue” possibility
Boiler and Water Heater Reduced Loads
Solar Thermal Array
Introduction
Mechanical Systems Overview
Mechanical Depth
Structural Breadth
Acoustical Breadth
Conclusions
Recommendations
Questions
Shading Analysis

## Slide 9
Solar Thermal Auxiliary
Introduction
Mechanical Systems Overview
Mechanical Depth
Structural Breadth
Acoustical Breadth
Conclusions
Recommendations
Questions
Heat Pump Water Supply
Main Components
  FPC Array
  Main Storage Tank
  Solar Hot Water Tank
  GA Heat Exchanger

## Slide 10
Hourly Solar Calculations
Introduction
Mechanical Systems Overview
Mechanical Depth
Structural Breadth
Acoustical Breadth
Conclusions
Recommendations
Questions
Array Calculations

## Slide 11
System Calculations
Introduction
Mechanical Systems Overview
Mechanical Depth
Structural Breadth
Acoustical Breadth
Conclusions
Recommendations
Questions

## Slide 12
System Calculations
Introduction
Mechanical Systems Overview
Mechanical Depth
Structural Breadth
Acoustical Breadth
Conclusions
Recommendations
Questions

## Slide 13
ETC VS FPC
Introduction
Mechanical Systems Overview
Mechanical Depth
Structural Breadth
Acoustical Breadth
Conclusions
Recommendations
Questions

## Slide 14
Cost Analysis
Introduction
Mechanical Systems Overview
Mechanical Depth
Structural Breadth
Acoustical Breadth
Conclusions
Recommendations
Questions
Cost of System: $371,450
Fuel Savings at Solar Fraction of 0.3: $3,386
Life Cycle Cost Analysis

## Slide 15
Cost Analysis
Introduction
Mechanical Systems Overview
Mechanical Depth
Structural Breadth
Acoustical Breadth
Conclusions
Recommendations
Questions

## Slide 16
Array Effect on Structural Roof
Introduction
Mechanical Systems Overview
Mechanical Depth
Structural Breadth
Acoustical Breadth
Conclusions
Recommendations
Questions

## Slide 17
Array Effect on Structural Roof
Introduction
Mechanical Systems Overview
Mechanical Depth
Structural Breadth
Acoustical Breadth
Conclusions
Recommendations
Questions

## Slide 18
Redesign of Mechanical Room Walls
Introduction
Mechanical Systems Overview
Mechanical Depth
Structural Breadth
Acoustical Breadth
Conclusions
Recommendations
Questions

## Slide 19
Redesign of Mechanical Room Walls
Introduction
Mechanical Systems Overview
Mechanical Depth
Structural Breadth
Acoustical Breadth
Conclusions
Recommendations
Questions
Current STC of Glass Window: STC-30
Proposed Redesign

## Slide 20
Conclusions
As Solar hot Water System is possible and economical
Costly ramifications for structure
Acoustical Treatment is necessary for the mechanical display windows
Introduction
Mechanical Systems Overview
Mechanical Depth
Structural Breadth
Acoustical Breadth
Conclusions
Recommendations
Questions

## Slide 21
Generate More Accurate Model
Do not proceed with solar hot water system
Introduction
Mechanical Systems Overview
Mechanical Depth
Structural Breadth
Acoustical Breadth
Conclusions
Recommendations
Questions
Recommendations

## Slide 22
Questions?
Special Thanks To:
  David Nitchkey
  Harry Bauman
  David Winklebleck
Introduction
Mechanical Systems Overview
Mechanical Depth
Structural Breadth
Acoustical Breadth
Conclusions
Recommendations
Questions