## Slide 1
CSE Renovation Project
Boston, MA
Xiaoyin Wu (Laura)
Lighting/Electrical | Architectural Engineering | Penn State University

## Slide 2
PROJECT OVERVIEW
LOBBY LIGHTING DESIGN
OFFICE REDESIGN
ELECTRICAL DEPTH
SUMMARY

## Slide 3
Project Overview
Building Name-
Location-
Occupancy Type-
Size-
Stories above Grade-
Fraunhofer CSE
5 Channel Center Street, Boston, MA
Offices and research laboratories (Group B) Conference room (Group A-3)
42150SF
6

## Slide 4
Project Overview
Building Name-
Location-
Occupancy Type-
Size-
Stories above Grade-
Fraunhofer CSE
5 Channel Center Street, Boston, MA
Offices and research laboratories (Group B) Conference room (Group A-3)
42150SF
6

## Slide 5
Project Overview
Building Name-
Location-
Occupancy Type-
Size-
Stories above Grade-
Fraunhofer CSE
5 Channel Center Street, Boston, MA
Offices and research laboratories (Group B) Conference room (Group A-3)
42150SF
6

## Slide 6
a renovation for a 100-year old historical building classical revival-style detailing
the Fort Point Channel district is marked by an exceptional degree of visual uniformity
buildings are elegantly proportioned, with classically inspired details concentrated at entrances and cornices the structure is left unchanged in this project to conserve the significant continuity throughout the District in terms of massing, scale, and style

## Slide 7
LIGHTING DESIGN OBJECTIVES
OUTLINE
Design Concept
scope of work
lobby lighting design
office
architecture breadth
lighting design
electrical depth
Based in Boston, MA, the Fraunhofer Center for Sustainable Energy Systems (CSE) is an applied research and development laboratory dedicated to the commercialization of CLEAN energy TECHNOLOGY. CSE engages in COLLABORATIVE research and development with private companies, government entities, and academic institutions, performing research that broadly benefits firms, industries, and society.
CLEAN
TECHNOLOGY
COLLABORATIVE
Notes: Fraunhofer CSE housed a group of people who are passionate about clean energy research and they are doing great work to promote this kind of product and concept into everyday life. So I think they deserve to have a

## Slide 8
DESIGN IDEAS
OUTLINE
Design Concept
scope of work
lobby lighting design
office
architecture breadth
lighting design
electrical depth
REFRESH
Notes: In order to visualize those objectives into some image form of concepts, I found some picture that really inspire my design.

## Slide 9
DESIGN IDEAS
OUTLINE
Design Concept
scope of work
lobby lighting design
office
architecture breadth
lighting design
electrical depth
What you expect to see before you enter the building
Vs.
What you WILL see when you entered
Notes: After I decided on my design concept, the question left for now is, how do I want to apply the concept into the design itself. I then ask a question about the expectation for the building and how the I can blow people people’s mind by utilizing lighting design. wait and see. And you will find another building inside of the 100 year of historical building.

## Slide 10
SCOPE OF WORK
Lighting Redesign
Lobby
Conference Room
Open Office
Façade
Electrical Depth
Branch Circuit Redesign and Feeder Resizing
PV Economical Analysis
Breadth
Architecture
Structure
OUTLINE
design concept
Scope of Work
lobby lighting design
office
architecture breadth
lighting design
electrical depth
Notes: But instead of design the whole building, four spaces are chosen to represent my ideas.

## Slide 11
PRESENTATION COVERAGE
Lighting Redesign
LOBBY
Conference Room
OPEN OFFICE
Façade
Electrical Depth
Branch Circuit Redesign And Feeder Resizing
PV ECONOMICAL ANALYSIS
Breadth
ARCHITECTURE
Structure
OUTLINE
design concept
Scope of Work
lobby lighting design
office
architecture breadth
lighting design
electrical depth
Notes: And in the presentation, I will only talk about….

## Slide 12
LOBBY
OUTLINE
design concept
scope of work
Lobby Lighting Design
office
architecture breadth
lighting design
electrical depth

## Slide 13
LOBBY
Width: 19’-10”
Length: 47’-8”
Height: 8’-10 ¼
OUTLINE
design concept
scope of work
Lobby Lighting Design
office
architecture breadth
lighting design
electrical depth

## Slide 14
LOBBY
Gateway from history to the contemporary
Visual Considerations
Appearance
Accenting
Flexibility
Way finding/Orientation
Quality Lighting
100lux horizontally
avg:min = 4:1
OUTLINE
design concept
scope of work
Lobby Lighting Design
office
architecture breadth
lighting design
electrical depth

## Slide 15
LUMIANIRES
OUTLINE
design concept
scope of work
Lobby Lighting Design
office
architecture breadth
lighting design
electrical depth

## Slide 16
RENDERINGS
OUTLINE
design concept
scope of work
Lobby Lighting Design
office
architecture breadth
lighting design
electrical depth

## Slide 17
CALCULATION
Average Illuminance | 29.5Fc
Avg : Min | 2.76
OUTLINE
design concept
scope of work
Lobby Lighting Design
office
architecture breadth
lighting design
electrical depth

## Slide 18
OFFICE
3rd FLOOR OFFICE
OUTLINE
design concept
scope of work
lobby lighting design
Office
architecture breadth
lighting design
electrical depth

## Slide 19
OFFICE
open
office
OUTLINE
design concept
scope of work
lobby lighting design
Office
Architecture breadth
lighting design
electrical depth

## Slide 20
ARCHITECTURE DESIGN OBJECTIVES
OPEN
office
Brighten Your Everyday
“Practical, aesthetic, and conducive to intended purposes, such as raising productivity, selling merchandise, or improving life style."
-- U.S. Bureau of labor Statistics
Interior design is a practice that responds to changes in the economy, organization, technology, demographics, and business goals of an organization.
OUTLINE
design concept
scope of work
lobby lighting design
Office
Architecture breadth
lighting design
electrical depth
Notes: Mention about how the contract of the classical look of the exterior and the modern look of the interior, makes the user always feel refresh of the building. And the
The design concept also relates to the lighting design concept of the sunlight beams as well

## Slide 21
ARCHITECTURE BREADTH
OPEN
office
Brighten Your Everyday
3rd floor office area
Affecting Floors
OUTLINE
design concept
scope of work
lobby lighting design
Office
Architecture breadth
lighting design
electrical depth

## Slide 22
ARCHITECTURE BREADTH
3rd floor
4th floor
5th floor
OUTLINE
design concept
scope of work
lobby lighting design
Office
Architecture breadth
lighting design
electrical depth

## Slide 23
ARCHITECTURE BREADTH
3rd floor
4th floor
5th floor
OUTLINE
design concept
scope of work
lobby lighting design
Office
Architecture breadth
lighting design
electrical depth

## Slide 24
ARCHITECTURE BREADTH
OUTLINE
design concept
scope of work
lobby lighting design
Office
Architecture breadth
lighting design
electrical depth

## Slide 25
LIGHTING CRITERIA
OFFICE LIGHTING REDESIGN
Visual Considerations
Task oriented
Flexibility
Appearance
Quality Lighting
150lux horizontally
avg:min = 1.5:1
OUTLINE
design concept
scope of work
lobby lighting design
Office
architecture breadth
Lighting design
electrical depth

## Slide 26
LUMINAIRES
OUTLINE
design concept
scope of work
lobby lighting design
Office
architecture breadth
Lighting design
electrical depth

## Slide 27
RENDERINGS + CALCULATIONS
Center Atrium
Average Illuminance 16.7Fc
Max Illuminance
24Fc
Max/Min
4.2
OUTLINE
design concept
scope of work
lobby lighting design
Office
architecture breadth
Lighting design
electrical depth
Notes: I used a quite literal way to represent the light beams through the tree braches

## Slide 28
RENDERINGS + CALCULATIONS
2nd level side office
Average Illuminance 22.8Fc
Max Illuminance
33Fc
Max/Min
1.6
OUTLINE
design concept
scope of work
lobby lighting design
Office
architecture breadth
Lighting design
electrical depth

## Slide 29
RENDERINGS + CALCULATIONS
3rd level side office
Average Illuminance 22.4Fc
Max Illuminance
33.5Fc
Max/Min
1.8
OUTLINE
design concept
scope of work
lobby lighting design
Office
architecture breadth
Lighting design
electrical depth

## Slide 30
ELECTRICAL DEPTH
ELECTRICAL SYSTEM
OUTLINE
design concept
scope of work
lobby lighting design
office
architecture breadth
lighting design
Electrical Depth

## Slide 31
ELECTRICAL DEPTH
Penal Board | Lighting (VA) | Receptacle (VA) | Equipment (VA) | 
P2B | 0 | 27000 | 4576 | 
P22 | 770 | 31000 | 15476 | 
P23 | 883 | 21140 | 24400 | 
P21B | 8233 | 12140 | 12504 | 
P24 | 4524 | 800 | 0 | 
P25 | 800 | 0 | 2400 | 
P26 | 1800 | 36500 | 21080 | 
L42 | 20920 | 0 | 0 | 
L44 | 4299 | 0 | 0 | 
P32 | 0 | 0 | 11200 | 
P22A | 0 | 0 | 40292 | 
EP4B | 12033 | 0 | 92520 | 
P21A | 0 | 0 | 600 | 
P2P | 0 | 1800 | 8700 | 
EP2B | 1080 | 1500 | 6584 | 
Total (kVA) | 55.342 | 131.88 | 240.332 | 427.554
NSTAR Peak Demand Rate = $28.62/kW (per month) Electric Rate: $0.08145/kWh Delivery Charge = $115/month (flat rate)
Array Area | 1300 sf
PV rate | 100w/sf
Total watt per array | 130kw
Total Load usage per year | 14.8kw
PV cost/watt | $1.4/w
PV cost per year | $14800
Watt save per year | 130kw
Conventional Power | $17619
 | ($2819)
OUTLINE
design concept
scope of work
lobby lighting design
office
architecture breadth
lighting design
Electrical Depth

## Slide 32
SUMMARY
Lighting redesign of the spaces achieved the design goals of providing the spaces quality lighting as well as a modern new appearance while saving energy the same time.
The electrical part is altered according to the new design of lighting and control load. Since the building is not completely finished of the retrofit process, the load is slightly higher than the current load due to the vacant of two stories.
The architecture breadth has a cohesive design with the lighting design in the office space. And it accomplished the goal of creating a better working environment.
Notes: Reference Page

## Slide 33
ACKNOWLEDGEMENTS
SPECIAL THANKS TO:
Fruanhofer CSE
Dr. Kurt Roth
Philips
Ms. Dorene Mannicia
Mrs. Carol Jones
Ms. Meg Smith
DiMella Shaffer
Mr. J. Cruz
Penn State
Mr. Shawn Good
Ms. Leslie Beahm
Dr. Kevin Houser
Dr. Richard Mistrick
Dr. Charles Cox
Professor Kevin Parfitt
And thanks to my parents, fellow AEs and friends for the best support I could ask for
Notes: Reference Page

## Slide 34
QUESTIONS?
Notes: Reference Page

## Slide 35
Customer (per month) $18.19 | Distribution Energy First 2,000 kWh (per kWh) $0.02419 | Distribution Energy Next 150 hours of kW (per kWh) $0.01914
Distribution Energy Each additional kWh (per kWh) $0.01727 | Distribution Demand Greater than 10 kW (per kW) $9.43 | Transition Energy First 2,000 kWh (per kWh) $0.00783
Transition Energy Next 150 hours of kW (per kWh) $0.00783 | Transition Energy Each additional kWh (per kWh) $0.00783 | Transition Demand (per kW) No Charge
Transmission Demand Greater than 10kW (per kW) $5.54 | Transmission Energy First 2,000 kWh (per kWh) No Charge | Transmission Energy Next 150 hours of kW (per kWh) No Charge
Transmission Energy Each additional kWh (per kWh) No Charge | Energy Conservation (per kWh) $0.00250 | Renewable Energy (per kWh) $0.00050
Customer (per month) $18.19 | Distribution Energy First 2,000 kWh (per kWh) $0.03412 | Distribution Energy Next 150 hours of kW (per kWh) $0.02087
Distribution Energy Each additional kWh (per kWh) $0.01776 | Distribution Demand Greater than 10 kW (per kW) $20.22 | Transition Energy First 2,000 kWh (per kWh) $0.00783
Transition Energy Next 150 hours of kW (per kWh) $0.00783 | Transition Energy Each additional kWh (per kWh) $0.00783 | Transition Demand (per kW) No Charge
Transmission Demand Greater than 10kW (per kW) $14.68 | Transmission Energy First 2,000 kWh (per kWh) No Charge | Transmission Energy Next 150 hours of kW (per kWh) No Charge
Transmission Energy Each additional kWh (per kWh) No Charge | Energy Conservation (per kWh) $0.00250 | Renewable Energy (per kWh) $0.00050
APPENDICES
Notes: Reference Page

## Slide 36
APPENDICES
http://www.nrel.gov/
Notes: Reference Page