## Slide 1
UNIVERSITY OF MARYLAND – BALTIMORE HEALTH SCIENCES FACILITY III
SCHEMATIC DESIGN
KENNETH M. MOORE LIGHTING / ELECTRICAL THESIS ADVISOR │ SHAWN GOOD

## Slide 2: PROJECT
BACKGROUND
HEALTH SCIENCE FACILITY III
HOUSES RESEARCH GROUPS FOR SCHOOLS OF MEDICINE, PHARMACY, AND DENTISTRY
SHARE NANOMEDICINE CENTER
DRY LAB, WET LAB, ATRIUM CONNECTION
ARCHITECT: HELLMUTH, OBATA, KASSABAUM (HOK)
CONSTRUCTION MANAGER: BARTON MALOW COMPANY

## Slide 3: PROJECT
LOCATION
666 W. BALTIMORE ST.
CITY OF BALTIMORE
SEVERAL BLOCKS FROM INNER HARBOR
CENTRAL LOCATION IN UNIVERSITY CAMPUS
N

## Slide 4: PROJECT
LOCATION
666 W. BALTIMORE ST.
N

## Slide 5: PROJECT
LOCATION
SCHOOL OF DENTISTRY
666 W. BALTIMORE ST.
N

## Slide 6: PROJECT
LOCATION
SCHOOL OF DENTISTRY
SCHOOL OF MEDICINE
666 W. BALTIMORE ST.
N

## Slide 7: PROJECT
LOCATION
SCHOOL OF DENTISTRY
SCHOOL OF MEDICINE
SCHOOL OF PHARMACY
666 W. BALTIMORE ST.
N

## Slide 10: PROJECT
THEME
BIOLUMINESCENCE

## Slide 11: PROJECT
THEME
BIOLUMINESCENCE
PRODUCTION AND EMISSION OF LIGHT BY A LIVING ORGANISM

## Slide 12: PROJECT
THEME
BIOLUMINESCENCE
PRODUCTION AND EMISSION OF LIGHT BY A LIVING ORGANISM
GREEK: BIOS MEANING “LIVING”

## Slide 13: PROJECT
THEME
BIOLUMINESCENCE
PRODUCTION AND EMISSION OF LIGHT BY A LIVING ORGANISM
GREEK: BIOS MEANING “LIVING”
LATIN: LUMEN MEANING “LIGHT”

## Slide 14: PROJECT
THEME
BIOLUMINESCENCE
SIMPLE
UNSEEN
TEXTURE

## Slide 15: MAIN
ATRIUM

## Slide 16: MAIN
DESIGN CRITERIA
PROVIDE TARGET ILLUMINANCE RECOMMENDED FOR CANOPIED ENTRIES, VESTIBULES, AND RECEPTION LOBBIES
CONSIDER HIGH PEDESTRIAN VOLUME AND TRAFFIC
PSYCHOLOGICAL IMPRESSION OF SPACIOUSNESS
ATRIUM CANOPIED ENTRY + VESTIBULE

## Slide 17: MAIN
DESIGN CRITERIA
ATRIUM CANOPIED ENTRY + VESTIBULE
CANOPIED ENTRIES: LIGHTING ZONE 3 (DAYTIME HOURS) HORIZANTAL ILLUMINANCE: 30 LUX VERTICAL ILLUMINANCE: 15 LUX
VESTIBULE: HIGH ACTIVITY (DAYTIME HOURS) HORIZANTAL ILLUMINANCE: 150 LUX VERTICAL ILLUMINANCE: 75 LUX
ATRIUM > 40 FT IN HEIGHT 0.40 + 0.20/FT TOTAL HEIGHT (W/FT2)

## Slide 18: MAIN
DESIGN CRITERIA
ATRIUM CANOPIED ENTRY + VESTIBULE
CANOPIED ENTRIES: LIGHTING ZONE 3 (NIGHTTIME HOURS) HORIZANTAL ILLUMINANCE: 20 LUX VERTICAL ILLUMINANCE: 10 LUX
VESTIBULE: HIGH ACTIVITY (NIGHTTIME HOURS) HORIZANTAL ILLUMINANCE: 100 LUX VERTICAL ILLUMINANCE: 50 LUX
LIGHTING POWER ALLOWANCES GENERAL LOBBY SPACE: 0.9 W/FT2

## Slide 20: MAIN
ATRIUM CANOPIED ENTRY + VESTIBULE
DESIGN SOLUTION

## Slide 21: MAIN
ATRIUM CANOPIED ENTRY + VESTIBULE
DESIGN SOLUTION
SURFACE MOUNTED LINEAR DOWNLIGHT

## Slide 22: MAIN
ATRIUM CANOPIED ENTRY + VESTIBULE
DESIGN SOLUTION
SURFACE MOUNTED LINEAR DOWNLIGHT
SURFACE MOUNTED DOWNLIGHT

## Slide 23: MAIN
EXTERIOR CANOPY
DESIGN SOLUTION
ATRIUM CANOPIED ENTRY + VESTIBULE

## Slide 24: MAIN
SURFACE MOUNTED LINEAR DOWNLIGHT
DESIGN SOLUTION
ATRIUM CANOPIED ENTRY + VESTIBULE

## Slide 25: MAIN
DESIGN SOLUTION
ATRIUM CANOPIED ENTRY + VESTIBULE
SURFACE MOUNTED LINEAR DOWNLIGHT
SURFACE MOUNTED DOWNLIGHT

## Slide 27: MAIN
DESIGN SOLUTION
ATRIUM CIRCULATION

## Slide 28: MAIN
DESIGN SOLUTION
ATRIUM CIRCULATION

## Slide 29: MAIN
DESIGN SOLUTION
ATRIUM CIRCULATION

## Slide 30: MAIN
DESIGN SOLUTION
ATRIUM CIRCULATION

## Slide 31: MAIN
DESIGN SOLUTION
ATRIUM CEILING

## Slide 32: MAIN
DESIGN SOLUTION
ATRIUM CEILING

## Slide 33: MAIN
DESIGN SOLUTION
ATRIUM BRIDGES

## Slide 34: MAIN
DESIGN SOLUTION
ATRIUM BRIDGES
BRIDGES SPAN ATRIUM

## Slide 35: MAIN
BRIDGES SPAN ATRIUM
CONNECTION BETWEEN DRY AND WET LABS
DESIGN SOLUTION
ATRIUM BRIDGES

## Slide 36: MAIN
DESIGN SOLUTION
ATRIUM BRIDGES

## Slide 37: MAIN
DESIGN SOLUTION
ATRIUM BRIDGES

## Slide 38: MAIN
DESIGN SOLUTION
ATRIUM BRIDGES

## Slide 39: MAIN
DESIGN SOLUTION
ATRIUM BRIDGES
HANDRAIL LIGHTING

## Slide 40: MAIN
DESIGN SOLUTION
ATRIUM BRIDGES
LINEAR COVE
HANDRAIL LIGHTING

## Slide 41: MAIN
DESIGN SOLUTION
ATRIUM BRIDGES
LINEAR COVE
HANDRAIL LIGHTING
IN GRADE COLUMN LIGHTING

## Slide 42: ELEVATOR
LOBBY

## Slide 43: ELEVATOR
PROVIDE TARGET ILLUMINANCE RECOMMENDED FOR ELEVATOR LOBBIES
CONSIDER HIGH PEDESTRIAN VOLUME AND TRAFFIC
LIGHTING SHOULD ASSIST WITH ADAPTATION TO ATRIUM
DESIGN CRITERIA
LOBBY CIRCULATION

## Slide 44: ELEVATOR
DESIGN CRITERIA
LOBBY CIRCULATION
CIRCULATION: ELEVATOR LOBBIES (DAYTIME HOURS) HORIZANTAL ILLUMINANCE: 100 LUX VERTICAL ILLUMINANCE: 30 LUX (NIGHTTIME HOURS) HORIZANTAL ILLUMINANCE: 50 LUX VERTICAL ILLUMINANCE: 20 LUX
RECEPTION LOBBIES: DESKTOP HORIZANTAL ILLUMINANCE: 150 LUX VERTICAL ILLUMINANCE: 50 LUX
LIGHTING POWER ALLOWANCES CONFERENCE/MEETING: 0.64 W/FT2

## Slide 46: ELEVATOR
DESIGN SOLUTION
LOBBY CIRCULATION

## Slide 47: ELEVATOR
DESIGN SOLUTION
LOBBY CIRCULATION
RECESSED DOWNLIGHTS

## Slide 48: ELEVATOR
DESIGN SOLUTION
LOBBY CIRCULATION
RECESSED DOWNLIGHTS
RECESSED LINEAR DOWNLIGHT

## Slide 49: ELEVATOR
RECESSED DOWNLIGHTS
RECESSED LINEAR DOWNLIGHT
RECESSED LINEAR COVE
DESIGN SOLUTION
LOBBY CIRCULATION

## Slide 50: ELEVATOR
DESIGN SOLUTION
LOBBY INFORMATION DESK

## Slide 52: ELEVATOR
DESIGN SOLUTION
LOBBY INFORMATION DESK

## Slide 53: ELEVATOR
DESIGN SOLUTION
LOBBY INFORMATION DESK

## Slide 54: ELEVATOR
DESIGN SOLUTION
LOBBY INFORMATION DESK

## Slide 55: ELEVATOR
DESIGN SOLUTION
LOBBY INFORMATION DESK
UNDER CABINET LIGHTING

## Slide 56: ELEVATOR
DESIGN SOLUTION
LOBBY INFORMATION DESK
UNDER CABINET LIGHTING
SURFACE TAPE LIGHT

## Slide 57: NANOMEDICINE
WORKSTATION

## Slide 58: NANOMEDICINE
WORKSTATION
DESIGN CRITERIA
PROVIDE TARGET ILLUMINANCE RECOMMENDED FOR SCIENCE LABS

## Slide 59: NANOMEDICINE
WORKSTATION
DESIGN CRITERIA
PROVIDE TARGET ILLUMINANCE RECOMMENDED FOR SCIENCE LABS
WORKSTATION BENCHES ARE PRIORITY

## Slide 60: NANOMEDICINE
WORKSTATION
DESIGN SOLUTION
PROVIDE TARGET ILLUMINANCE RECOMMENDED FOR SCIENCE LABS
WORKSTATION BENCHES ARE PRIORITY
AVOID SHELVING, CASEWORK, AND FUME HOODS

## Slide 61: NANOMEDICINE
WORKSTATION
DESIGN SOLUTION
SCIENCE LAB: BENCH HORIZANTAL ILLUMINANCE: 500 LUX VERTICAL ILLUMINANCE: 300 LUX
SCIENCE LAB: PRESENTATION AREA HORIZANTAL ILLUMINANCE: 1000 LUX VERTICAL ILLUMINANCE: 500 LUX
LIGHTING POWER ALLOWANCES WORKSHOP: 1.59 W/FT2

## Slide 63: NANOMEDICINE
WORKSTATION
DESIGN SOLUTION
PROVIDE TARGET ILLUMINANCE RECOMMENDED FOR SCIENCE LABS
WORKSTATION BENCHES ARE PRIORITY
AVOID SHELVING, CASEWORK, AND FUME HOODS

## Slide 64: NANOMEDICINE
WORKSTATION
RECESSED LINEAR TROFFER
DESIGN SOLUTION

## Slide 65: NANOMEDICINE
WORKSTATION
DESIGN SOLUTION
RECESSED LINEAR TROFFER
RECESSED DOWNLIGHTS

## Slide 66: MEETING
ROOM

## Slide 67: MEETING
ROOM
MAINTAIN TARGET ILLUMINANCE RECOMMENDED FOR CONFERENCING
CONSIDER AUDIO - VISUAL EQUIPMENT
APPLY 3 SCHEMATIC CONCEPTS
DESIGN CRITERIA

## Slide 68: MEETING
ROOM
DESIGN CRITERIA
CONFERENCE: MEETING HORIZANTAL ILLUMINANCE: 300 LUX VERTICAL ILLUMINANCE: 100 LUX
CONFERENCE: AV PRESENTATION HORIZANTAL ILLUMINANCE: 30 LUX VERTICAL ILLUMINANCE: 30 LUX
LIGHTING POWER ALLOWANCES CONFERENCE/MEETING: 1.23 W/FT2

## Slide 69: MEETING
ROOM
DESIGN SOLUTION

## Slide 70: MEETING
ROOM
RECESSED LINEAR COVE
DESIGN SOLUTION

## Slide 71: MEETING
ROOM
DESIGN SOLUTION
NORTH WALL SECTION VIEW

## Slide 72: MEETING
ROOM
DESIGN SOLUTION
RECESSED LINEAR COVE

## Slide 73: MEETING
DESIGN SOLUTION
ROOM FIRST CONCEPT

## Slide 75: MEETING
DESIGN SOLUTION
ROOM FIRST CONCEPT

## Slide 76: MEETING
RECESSED LINEAR DOWNLIGHTS
DESIGN SOLUTION
ROOM FIRST CONCEPT

## Slide 78: MEETING
DESIGN SOLUTION
ROOM SECOND CONCEPT

## Slide 79: MEETING
RECESSED DOWNLIGHTS
RECESSED WALL – WASHERS
DESIGN SOLUTION
ROOM SECOND CONCEPT

## Slide 81: MEETING
DESIGN SOLUTION
ROOM THIRD CONCEPT

## Slide 82: MEETING
RECESSED 4 X 4 TROFFERS
DESIGN SOLUTION
ROOM THIRD CONCEPT

## Slide 83: EXTERIOR
PLAZA

## Slide 84: EXTERIOR
PLAZA
DESIGN CRITERIA
N
ASSUMED HIGH ACTIVITY AREAS
APPLY MODERATELY HIGH AMBIENT LIGHTING SCHEME
FACIAL RECOGNITION

## Slide 85: EXTERIOR
PLAZA
PLAZAS AND TOWN SQUARES HORIZANTAL ILLUMINANCE: 6 LUX VERTICAL ILLUMINANCE: 2 LUX
RAMPS, STAIRS AND STEPS HORIZANTAL ILLUMINANCE: 8 LUX VERTICAL ILLUMINANCE: 4 LUX
LIGHTING POWER ALLOWANCES WALKWAYS < 10 FT WIDE: 0.8 W/FT2 PLAZA AREAS: 0.8 W/FT2 STAIRWAYS: 0.8 W/FT2 LANDSCAPING: 0.8 W/FT2
DESIGN CRITERIA
N

## Slide 87
N

## Slide 88
N

## Slide 91: EXTERIOR
PLAZA
DESIGN SOLUTION
N

## Slide 92: EXTERIOR
PLAZA
N
DESIGN SOLUTION
HANDRAIL LIGHTING

## Slide 94: EXTERIOR
PLAZA
N
DESIGN SOLUTION
HANDRAIL LIGHTING

## Slide 95: EXTERIOR
PLAZA
N
DESIGN SOLUTION
HANDRAIL LIGHTING
FLOOD LIGHTS

## Slide 96: EXTERIOR
PLAZA
N
DESIGN SOLUTION
HANDRAIL LIGHTING
FLOOD LIGHTS
BOLLARDS

## Slide 98: EXTERIOR
N
DESIGN SOLUTION
HANDRAIL LIGHTING
FLOOD LIGHTS
BOLLARDS
PLAZA

## Slide 99: EXTERIOR
N
DESIGN SOLUTION
HANDRAIL LIGHTING
FLOOD LIGHTS
BOLLARDS
EXTERIOR TAPE LIGHT
PLAZA

## Slide 101: EXTERIOR
DESIGN SOLUTION
N
PLAZA
HANDRAIL LIGHTING
FLOOD LIGHTS
BOLLARDS
EXTERIOR TAPE LIGHT

## Slide 102: FINAL
THOUGHTS
HEALTH SCIENCE FACILITY III
UNIVERSITY OF BALTIMORE – MARYLAND NEWEST RESEARCH FACILITY

## Slide 103: FINAL
THOUGHTS
HEALTH SCIENCE FACILITY III
UNIVERSITY OF BALTIMORE – MARYLAND NEWEST RESEARCH FACILITY
THEME OF BIOLUMINESCENCE

## Slide 104: FINAL
THOUGHTS
HEALTH SCIENCE FACILITY III
UNIVERSITY OF BALTIMORE – MARYLAND NEWEST RESEARCH FACILITY
THEME OF BIOLUMINESCENCE
PSYCHOLOGICAL IMPRESSION OF SPACIOUSNESS

## Slide 105: FINAL
HEALTH SCIENCE FACILITY III
UNIVERSITY OF BALTIMORE – MARYLAND NEWEST RESEARCH FACILITY
THEME OF BIOLUMINESCENCE
PSYCHOLOGICAL IMPRESSION OF SPACIOUSNESS
THREE SCHEMATIC CONCEPTS
THOUGHTS

## Slide 106
ASHRAE Standard 90.1 – Energy Standard for Buildings Except Low-Rise Residential Buildings. 2013 ed. N.P.: ASHRAE, n.d. Print.
DiLaura, David, Kevin Houser, Richard Mistrick, and Gary Steffy. Illuminating Engineering Society The Lighting Handbook. 10th ed. N.p.: ISENA, n.d. N. pag. Print.
Images provided by Barton Malow and HOK.
REFERENCES