## Slide 1
Final Report Presentation
April 16th, 2014
Raymond Scott Pell, Jr.
Construction Management Option
Advisor: Dr. Robert Leicht
Central Ohio Elementary School
Undisclosed Location, Ohio
Introduction
Conclusion
Analysis 3: PEX Domestic Water System
Analysis 2: Cast-in-Place Concrete Floors
Analysis 1: 3rd Party Photo Documentation
Project Background

## Slide 2
Introduction
Conclusion
Analysis 3: PEX Domestic Water System
Analysis 2: Cast-in-Place Concrete Floors
Analysis 1: 3rd Party Photo Documentation
Project Background
Project Background

## Slide 3
Introduction
Conclusion
Analysis 3: PEX Domestic Water System
Analysis 2: Cast-in-Place Concrete Floors
Analysis 1: 3rd Party Photo Documentation
Project Background
The Building
Built: Original Building – 1874
Multiple Renovations
Occupancy: K-5 Grade School
Location: Urban Neighborhood
Closed: 2010 (due to fire damage)

## Slide 4
Introduction
Conclusion
Analysis 3: PEX Domestic Water System
Analysis 2: Cast-in-Place Concrete Floors
Analysis 1: 3rd Party Photo Documentation
Project Background
The Project
Size: 28,000 sqft (Renovation) + 18,000 sqft (Addition)
Number of Stories: 3 Stories + Unoccupied Attic
Construction Cost: $9.07 Million
Total Project Cost: $11.2 Million
Construction Start: August 13, 2014
Construction End: January 23, 2015
Project Delivery Method: Single Prime w/ CM Advisor
The Team
Designer: Hardlines Design Company
Project Manager: Smoot Elford Resources
General Contractor: Miles McClellan Construction Co.

## Slide 5
Introduction
Conclusion
Analysis 3: PEX Domestic Water System
Analysis 2: Cast-in-Place Concrete Floors
Analysis 1: 3rd Party Photo Documentation
Project Background
Analysis #1:
Third-Party Photo Documentation

## Slide 6
Introduction
Conclusion
Analysis 3: PEX Domestic Water System
Analysis 2: Cast-in-Place Concrete Floors
Analysis 1: 3rd Party Photo Documentation
Project Background
Background:
Multivista Systems, LLC providing service
Milestone photography
Progression photography
Web-based software

## Slide 7
Introduction
Conclusion
Analysis 3: PEX Domestic Water System
Analysis 2: Cast-in-Place Concrete Floors
Analysis 1: 3rd Party Photo Documentation
Project Background
Background:
Multivista Systems, LLC providing service
Milestone photography
Progression photography
Web-based software

## Slide 8
Introduction
Conclusion
Analysis 3: PEX Domestic Water System
Analysis 2: Cast-in-Place Concrete Floors
Analysis 1: 3rd Party Photo Documentation
Project Background
September 12, 2013
Background:
Multivista Systems, LLC providing service
Milestone photography
Progression photography
Web-based software

## Slide 9
Introduction
Conclusion
Analysis 3: PEX Domestic Water System
Analysis 2: Cast-in-Place Concrete Floors
Analysis 1: 3rd Party Photo Documentation
Project Background
October 16, 2013
Background:
Multivista Systems, LLC providing service
Milestone photography
Progression photography
Web-based software

## Slide 10
Introduction
Conclusion
Analysis 3: PEX Domestic Water System
Analysis 2: Cast-in-Place Concrete Floors
Analysis 1: 3rd Party Photo Documentation
Project Background
November 20, 2013
Background:
Multivista Systems, LLC providing service
Milestone photography
Progression photography
Web-based software

## Slide 11
Introduction
Conclusion
Analysis 3: PEX Domestic Water System
Analysis 2: Cast-in-Place Concrete Floors
Analysis 1: 3rd Party Photo Documentation
Project Background
December 18, 2013
Background:
Multivista Systems, LLC providing service
Milestone photography
Progression photography
Web-based software

## Slide 12
January 9, 2014
Introduction
Conclusion
Analysis 3: PEX Domestic Water System
Analysis 2: Cast-in-Place Concrete Floors
Analysis 1: 3rd Party Photo Documentation
Project Background
Background:
Multivista Systems, LLC providing service
Milestone photography
Progression photography
Web-based software

## Slide 13
January 9, 2014
Introduction
Conclusion
Analysis 3: PEX Domestic Water System
Analysis 2: Cast-in-Place Concrete Floors
Analysis 1: 3rd Party Photo Documentation
Project Background
Background:
Multivista Systems, LLC providing service
Milestone photography
Progression photography
Web-based software

## Slide 14
Introduction
Conclusion
Analysis 3: PEX Domestic Water System
Analysis 2: Cast-in-Place Concrete Floors
Analysis 1: 3rd Party Photo Documentation
Project Background
Background:
Multivista Systems, LLC providing service
Milestone photography
Progression photography
Web-based software

## Slide 15
Introduction
Conclusion
Analysis 3: PEX Domestic Water System
Analysis 2: Cast-in-Place Concrete Floors
Analysis 1: 3rd Party Photo Documentation
Project Background
Background:
Multivista Systems, LLC providing service
Milestone photography
Progression photography
Web-based software

## Slide 16
Introduction
Conclusion
Analysis 3: PEX Domestic Water System
Analysis 2: Cast-in-Place Concrete Floors
Analysis 1: 3rd Party Photo Documentation
Project Background
Background:
Multivista Systems, LLC providing service
Milestone photography
Progression photography
Web-based software

## Slide 17
Introduction
Conclusion
Analysis 3: PEX Domestic Water System
Analysis 2: Cast-in-Place Concrete Floors
Analysis 1: 3rd Party Photo Documentation
Project Background
Case Study:
Newly Constructed Ohio-based Children’s Hospital
ADA handrails in patient bathrooms detached from wall
Destructive testing found proper support was absent
400 bathrooms needed tested
Referenced MEP Exact-Built® photos
Only 42 bathrooms needed fixed
Saved almost $210,000 and 3400 hours

## Slide 18
Introduction
Conclusion
Analysis 3: PEX Domestic Water System
Analysis 2: Cast-in-Place Concrete Floors
Analysis 1: 3rd Party Photo Documentation
Project Background
Case Study:
Newly Constructed Ohio-based Children’s Hospital
ADA handrails in patient bathrooms detached from wall
Destructive testing found proper support was absent
400 bathrooms needed tested
Referenced MEP Exact-Built® photos
Only 42 bathrooms needed fixed
Saved almost $210,000 and 3400 hours

## Slide 19
Introduction
Conclusion
Analysis 3: PEX Domestic Water System
Analysis 2: Cast-in-Place Concrete Floors
Analysis 1: 3rd Party Photo Documentation
Project Background
Case Study:
Newly Constructed Ohio-based Children’s Hospital
ADA handrails in patient bathrooms detached from wall
Destructive testing found proper support was absent
400 bathrooms needed tested
Referenced MEP Exact-Built® photos
Only 42 bathrooms needed fixed
Saved almost $210,000 and 3400 hours

## Slide 20
Introduction
Conclusion
Analysis 3: PEX Domestic Water System
Analysis 2: Cast-in-Place Concrete Floors
Analysis 1: 3rd Party Photo Documentation
Project Background
Case Study:
Newly Constructed Ohio-based Children’s Hospital
ADA handrails in patient bathrooms detached from wall
Destructive testing found proper support was absent
400 bathrooms needed tested
Referenced MEP Exact-Built® photos
Only 42 bathrooms needed fixed
Saved almost $210,000 and 3400 hours

## Slide 21
Introduction
Conclusion
Analysis 3: PEX Domestic Water System
Analysis 2: Cast-in-Place Concrete Floors
Analysis 1: 3rd Party Photo Documentation
Project Background
Case Study:
Newly Constructed Ohio-based Children’s Hospital
ADA handrails in patient bathrooms detached from wall
Destructive testing found proper support was absent
400 bathrooms needed tested
Referenced MEP Exact-Built® photos
Only 42 bathrooms needed fixed
Saved almost $210,000 and 3400 hours

## Slide 22
Introduction
Conclusion
Analysis 3: PEX Domestic Water System
Analysis 2: Cast-in-Place Concrete Floors
Analysis 1: 3rd Party Photo Documentation
Project Background
Case Study:
Newly Constructed Ohio-based Children’s Hospital
ADA handrails in patient bathrooms detached from wall
Destructive testing found proper support was absent
400 bathrooms needed tested
Referenced MEP Exact-Built® photos
Only 42 bathrooms needed fixed
Saved almost $210,000 and 3400 hours
$225,200
-$15,330
$209,900
3600 hrs
-252 hrs
3348 hrs

## Slide 23
Introduction
Conclusion
Analysis 3: PEX Domestic Water System
Analysis 2: Cast-in-Place Concrete Floors
Analysis 1: 3rd Party Photo Documentation
Project Background
Advantages:
Relieves site superintendent of responsibility
Photos are immediately available and organized
Simple to use
Potential increase in productivity
Reduces litigation
“Green” alternative to printed drawings and photos
Disadvantages:
Additional cost
Doesn’t guarantee photographs of everything
Requires willingness to learn and use

## Slide 24
Introduction
Conclusion
Analysis 3: PEX Domestic Water System
Analysis 2: Cast-in-Place Concrete Floors
Analysis 1: 3rd Party Photo Documentation
Project Background
Analysis #2:
Use of Steel Deck and
Cast-in-Place Concrete

## Slide 25
Introduction
Conclusion
Analysis 3: PEX Domestic Water System
Analysis 2: Cast-in-Place Concrete Floors
Analysis 1: 3rd Party Photo Documentation
Project Background
Original Design:
8” precast hollow core concrete planks
Steel W-shape beams anchored to existing masonry walls
3” concrete top coating
Welded wire mesh reinforcement

## Slide 26
Introduction
Conclusion
Analysis 3: PEX Domestic Water System
Analysis 2: Cast-in-Place Concrete Floors
Analysis 1: 3rd Party Photo Documentation
Project Background
Problem Identification:
Precast concrete planks require accurate dimensions
Measurements for “Connector” section proved difficult
Potential need to move anchor points for steel beams
Limited access to area
Changes require re-order of planks
Limited flexibility for other trades

## Slide 27
Introduction
Conclusion
Analysis 3: PEX Domestic Water System
Analysis 2: Cast-in-Place Concrete Floors
Analysis 1: 3rd Party Photo Documentation
Project Background
Alternate Design:
Composite steel deck
Cast-in-place concrete
  3½” total thickness
  2” thickness above steel deck
Welded wire mesh reinforcement
Steel W-shape girders anchored to masonry walls
Steel W-shape joists

## Slide 28
Introduction
Conclusion
Analysis 3: PEX Domestic Water System
Analysis 2: Cast-in-Place Concrete Floors
Analysis 1: 3rd Party Photo Documentation
Project Background
System Comparison:
Labor: 1 additional day
Cost: additional $16,564

## Slide 29
Introduction
Conclusion
Analysis 3: PEX Domestic Water System
Analysis 2: Cast-in-Place Concrete Floors
Analysis 1: 3rd Party Photo Documentation
Project Background
System Comparison:
Labor: 1 additional day
Cost: additional $16,564
Advantages:
No accessibility issues
Onsite adjustability
  Inaccurate measurements
  Compromised anchor points
  Last minute changes
Can conform to MEP requirements
No lead time

## Slide 30
Introduction
Conclusion
Analysis 3: PEX Domestic Water System
Analysis 2: Cast-in-Place Concrete Floors
Analysis 1: 3rd Party Photo Documentation
Project Background
Structural Breadth:
Design of Steel Deck/Cast-in-Place Flooring System

## Slide 31
Introduction
Conclusion
Analysis 3: PEX Domestic Water System
Analysis 2: Cast-in-Place Concrete Floors
Analysis 1: 3rd Party Photo Documentation
Project Background
Design Procedure:
Identify the joist spacing
Choose the steel deck and concrete thickness
Calculate the dead and live loads
Calculate the shear, moment and moment of inertia
Choose the beams

## Slide 32
Introduction
Conclusion
Analysis 3: PEX Domestic Water System
Analysis 2: Cast-in-Place Concrete Floors
Analysis 1: 3rd Party Photo Documentation
Project Background
Design Procedure:
Identify the joist spacing
Choose the steel deck and concrete thickness
Calculate the dead and live loads
Calculate the shear, moment and moment of inertia
Choose the beams

## Slide 33
Introduction
Conclusion
Analysis 3: PEX Domestic Water System
Analysis 2: Cast-in-Place Concrete Floors
Analysis 1: 3rd Party Photo Documentation
Project Background
Design Procedure:
Identify the joist spacing
Choose the steel deck and concrete thickness
Calculate the dead and live loads
Calculate the shear, moment and moment of inertia
Choose the beams

## Slide 34
Introduction
Conclusion
Analysis 3: PEX Domestic Water System
Analysis 2: Cast-in-Place Concrete Floors
Analysis 1: 3rd Party Photo Documentation
Project Background
Design Procedure:
Identify the joist spacing
Choose the steel deck and concrete thickness
Calculate the dead and live loads
Calculate the shear, moment and moment of inertia
Choose the beams

## Slide 35
Introduction
Conclusion
Analysis 3: PEX Domestic Water System
Analysis 2: Cast-in-Place Concrete Floors
Analysis 1: 3rd Party Photo Documentation
Project Background
Design Procedure:
Identify the joist spacing
Choose the steel deck and concrete thickness
Calculate the dead and live loads
Calculate the shear, moment and moment of inertia
Choose the beams

## Slide 36
Introduction
Conclusion
Analysis 3: PEX Domestic Water System
Analysis 2: Cast-in-Place Concrete Floors
Analysis 1: 3rd Party Photo Documentation
Project Background
Design Procedure:
Identify the joist spacing
Choose the steel deck and concrete thickness
Calculate the dead and live loads
Calculate the shear, moment and moment of inertia
Choose the beams

## Slide 37
Introduction
Conclusion
Analysis 3: PEX Domestic Water System
Analysis 2: Cast-in-Place Concrete Floors
Analysis 1: 3rd Party Photo Documentation
Project Background
Analysis #3:
Use of PEX Tubing for Domestic Plumbing System

## Slide 38
Introduction
Conclusion
Analysis 3: PEX Domestic Water System
Analysis 2: Cast-in-Place Concrete Floors
Analysis 1: 3rd Party Photo Documentation
Project Background
Original Design:
Copper pipe – sizes 3” to ½”
Soldered joints
Cold, hot and hot water return lines
Trunk and branch layout
Problem Identification:
Copper is expensive
Soldering joints is labor intensive
High risk of theft
Alternate Design:
Cross-linked polyethylene tubing (PEX) – 2” to ½”
    (larger pipes to remain copper)
Clamped joints
No 90° elbows in ½”, ¾” or 1” pipe
Cold, hot and hot water return lines
Trunk and branch layout

## Slide 39
Introduction
Conclusion
Analysis 3: PEX Domestic Water System
Analysis 2: Cast-in-Place Concrete Floors
Analysis 1: 3rd Party Photo Documentation
Project Background
Advantages:
Disadvantages:
Less Expensive (50%)
Faster Install (67%)
No Open Flames
Fewer Fittings
No “dry fit” joints
Corrosion resistant
Special equipment
Learning curve
Unknown longevity
Not bacteriostatic
Not UV resistant
Not fireproof

## Slide 40
Introduction
Conclusion
Analysis 3: PEX Domestic Water System
Analysis 2: Cast-in-Place Concrete Floors
Analysis 1: 3rd Party Photo Documentation
Project Background
Plumbing Breadth:
Compare Friction Loss in PEX System to that in Copper System

## Slide 41
Introduction
Conclusion
Analysis 3: PEX Domestic Water System
Analysis 2: Cast-in-Place Concrete Floors
Analysis 1: 3rd Party Photo Documentation
Project Background
Procedure:
Determine design velocity – 4ft/s
Calculate flow
Calculate friction loss
Calculate total equivalent length
Calculate total friction loss

## Slide 42
Introduction
Conclusion
Analysis 3: PEX Domestic Water System
Analysis 2: Cast-in-Place Concrete Floors
Analysis 1: 3rd Party Photo Documentation
Project Background
Procedure:
Determine design velocity – 4ft/s
Calculate flow
Calculate friction loss
Calculate total equivalent length
Calculate total friction loss

## Slide 43
Introduction
Conclusion
Analysis 3: PEX Domestic Water System
Analysis 2: Cast-in-Place Concrete Floors
Analysis 1: 3rd Party Photo Documentation
Project Background
Procedure:
Determine design velocity – 4ft/s
Calculate flow
Calculate friction loss
Calculate total equivalent length
Calculate total friction loss

## Slide 44
Introduction
Conclusion
Analysis 3: PEX Domestic Water System
Analysis 2: Cast-in-Place Concrete Floors
Analysis 1: 3rd Party Photo Documentation
Project Background
Procedure:
Determine design velocity – 4ft/s
Calculate flow
Calculate friction loss
Calculate total equivalent length
Calculate total friction loss

## Slide 45
Introduction
Conclusion
Analysis 3: PEX Domestic Water System
Analysis 2: Cast-in-Place Concrete Floors
Analysis 1: 3rd Party Photo Documentation
Project Background
Procedure:
Determine design velocity – 4ft/s
Calculate flow
Calculate friction loss
Calculate total equivalent length
Calculate total friction loss
24.45 psi
-23.24 psi
1.21 psi

## Slide 46
Introduction
Conclusion
Analysis 3: PEX Domestic Water System
Analysis 2: Cast-in-Place Concrete Floors
Analysis 1: 3rd Party Photo Documentation
Project Background
Conclusion

## Slide 47
Introduction
Conclusion
Analysis 3: PEX Domestic Water System
Analysis 2: Cast-in-Place Concrete Floors
Analysis 1: 3rd Party Photo Documentation
Project Background
Analysis #1: 3rd-Party Photo Documentation
$0.20 - $0.60 / sqft
Reliable
Organized and accessible photos
Reduces litigation
Increases productivity
“Green”

## Slide 48
Introduction
Conclusion
Analysis 3: PEX Domestic Water System
Analysis 2: Cast-in-Place Concrete Floors
Analysis 1: 3rd Party Photo Documentation
Project Background
Analysis #2: Cast-in-Place Concrete Floors
No accessibility issues
Flexibility during installation
Easy coordination of penetrations
No lead time
Analysis #1: 3rd-Party Photo Documentation
$0.20 - $0.60 / sqft
Reliable
Organized and accessible photos
Reduces litigation
Increases productivity
“Green”

## Slide 49
Introduction
Conclusion
Analysis 3: PEX Domestic Water System
Analysis 2: Cast-in-Place Concrete Floors
Analysis 1: 3rd Party Photo Documentation
Project Background
Analysis #3: PEX Domestic Water System
50% savings in material cost
67% savings in installation time
Fewer fittings = fewer leaks
No corrosion
Low risk of theft
Analysis #1: 3rd-Party Photo Documentation
$0.20 - $0.60 / sqft
Reliable
Organized and accessible photos
Reduces litigation
Increases productivity
“Green”
Analysis #2: Cast-in-Place Concrete Floors
No accessibility issues
Flexibility during installation
Easy coordination of penetrations
No lead time

## Slide 50
Introduction
Conclusion
Analysis 3: PEX Domestic Water System
Analysis 2: Cast-in-Place Concrete Floors
Analysis 1: 3rd Party Photo Documentation
Project Background
Academic Acknowledgements:
Robert Leicht
Kevin Parfitt
Moses Ling
Stephen Treado
Industry Acknowledgements:
Peggy Murphy - SERS
Matt Allen - SERS
Joe Studer - SERS
Randy Johnson - Multivista
Matt Rolfe - Multivista
Gary Runyan - Zurn
Dalton Deeter – Deeter Plumbing & Heating
Shashi Savla – Kabil Associates
Raymond Roy - Uponor
Matthew Barrett – W.G. Tomko
Gregory Costa - McKamish
Questions?