## Slide 2
HIROKI OTA
presentation ver. 2.0
Last update 12 APR. 2009
Copyright © Hiroki Ota 2009
monongalia general hospital
AE 482
architectural engineering department
TOPICS
CONDITIONS
01
BREADTH
02
DEPTH
03
04
05
06
07
08
CONCLUSION
A
MATRIX
B
BUBBLE
C
STACKING
D
E
F
G
H
SKETCHES
LEED
topics
AREA TABLE
existing conditions
BUILDING STATISTICS
depth
BLAST AND PROGRESSIVE COLLAPSE ANALYSIS
breadth
COST AND SCHEDULE ANALYSIS
BLAST AND CONDUCTIVITY ANALYSIS OF CURTAIN WALLS
conclusion

## Slide 3
HIROKI OTA
presentation ver. 2.0
Last update 12 APR. 2009
Copyright © Hiroki Ota 2009
monongalia general hospital
AE 482
architectural engineering department
TOPICS
CONDITIONS
01
BREADTH
02
DEPTH
03
04
05
06
07
08
CONCLUSION
A
architecture
B
structure
C
l & e
D
E
F
G
H
mechanical
LEED
AREA TABLE
existing conditions
view from the south east
source: turner construction company
construction

## Slide 4
HIROKI OTA
presentation ver. 2.0
Last update 12 APR. 2009
Copyright © Hiroki Ota 2009
monongalia general hospital
AE 482
architectural engineering department
TOPICS
CONDITIONS
01
BREADTH
02
DEPTH
03
04
05
06
07
08
CONCLUSION
A
architecture
B
structure
C
l & e
D
E
F
G
H
mechanical
LEED
AREA TABLE
existing conditions
construction
ARCHITECTURE
six story general hospital – 340,000 square feet
masonry and curtain wall façade
houses multiple hospital functions
flat roof – ballasted and adhered
east elevation
south elevation

## Slide 5
HIROKI OTA
presentation ver. 2.0
Last update 12 APR. 2009
Copyright © Hiroki Ota 2009
monongalia general hospital
AE 482
architectural engineering department
TOPICS
CONDITIONS
01
BREADTH
02
DEPTH
03
04
05
06
07
08
CONCLUSION
A
architecture
B
structure
C
l & e
D
E
F
G
H
mechanical
LEED
AREA TABLE
existing conditions
construction
STRUCTURE
combination of concrete moment frame and shear walls
spread footing foundations >10’ below grade
(100) 24” x 24” columns
typical bay is 27’ x 27’
two way flat slab
ground floor plan

## Slide 6
HIROKI OTA
presentation ver. 2.0
Last update 12 APR. 2009
Copyright © Hiroki Ota 2009
monongalia general hospital
AE 482
architectural engineering department
TOPICS
CONDITIONS
01
BREADTH
02
DEPTH
03
04
05
06
07
08
CONCLUSION
A
architecture
B
structure
C
l & e
D
E
F
G
H
mechanical
LEED
AREA TABLE
existing conditions
construction
LIGHTING AND ELECTRICAL
utilizes 480/277V 3Φ 4 wire and 208/120V 3Φ 4 wire system
all mechanical and medical equipment linked to 480/277V
lighting fixtures linked to 208/120V with electronic type ballasts at 95% PF
time switches provided for all exterior lighting
two 1500kW diesel engine generators
power riser diagram

## Slide 7
HIROKI OTA
presentation ver. 2.0
Last update 12 APR. 2009
Copyright © Hiroki Ota 2009
monongalia general hospital
AE 482
architectural engineering department
TOPICS
CONDITIONS
01
BREADTH
02
DEPTH
03
04
05
06
07
08
CONCLUSION
A
architecture
B
structure
C
l & e
D
E
F
G
H
mechanical
LEED
AREA TABLE
existing conditions
construction
MECHANICAL
seven rooftop VAV-AHU
water-cooled chiller, cooling tower, and steam boiler are also located on the rooftop
hot and cold water provided to all toilets, examination and operation rooms, and kitchen
electrical duct heating provided in all rooms and hallways
mechanical systems connected to generators
mechanical roof plan

## Slide 8
HIROKI OTA
presentation ver. 2.0
Last update 12 APR. 2009
Copyright © Hiroki Ota 2009
monongalia general hospital
AE 482
architectural engineering department
TOPICS
CONDITIONS
01
BREADTH
02
DEPTH
03
04
05
06
07
08
CONCLUSION
A
architecture
B
structure
C
l & e
D
E
F
G
H
mechanical
LEED
AREA TABLE
existing conditions
construction
CONSTRUCTION
december 2005 – july 2008
design-build
guaranteed maximum price set at $68,000,000 by the Turner Construction Company
ground broken with 70% completion of construction documents
source: turner construction company

## Slide 9
HIROKI OTA
presentation ver. 2.0
Last update 12 APR. 2009
Copyright © Hiroki Ota 2009
monongalia general hospital
AE 482
architectural engineering department
TOPICS
CONDITIONS
01
BREADTH
02
DEPTH
03
04
05
06
07
08
CONCLUSION
A
blast
B
collapse
C
design
D
E
F
G
H
indirect
LEED
AREA TABLE
depth
direct
BLAST AND PROGRESSIVE COLLAPSE ANALYSIS
to incorporate blast and collapse resistant design to mitigate catastrophic scenarios in the event of a terrorist attack

## Slide 10
HIROKI OTA
presentation ver. 2.0
Last update 12 APR. 2009
Copyright © Hiroki Ota 2009
monongalia general hospital
AE 482
architectural engineering department
TOPICS
CONDITIONS
01
BREADTH
02
DEPTH
03
04
05
06
07
08
CONCLUSION
A
blast
B
collapse
C
design
D
E
F
G
H
indirect
LEED
AREA TABLE
depth
direct
BLAST ANALYSIS
blast loads are directly proportional to the stress wave propagation resulting in a dynamic loading situation on the structure
open-air and confined blast
building is engulfed by the shockwave, creates complex loading pattern around the structure

## Slide 11
HIROKI OTA
presentation ver. 2.0
Last update 12 APR. 2009
Copyright © Hiroki Ota 2009
monongalia general hospital
AE 482
architectural engineering department
TOPICS
CONDITIONS
01
BREADTH
02
DEPTH
03
04
05
06
07
08
CONCLUSION
A
blast
B
collapse
C
design
D
E
F
G
H
indirect
LEED
AREA TABLE
depth
direct
BLAST ANALYSIS
confined blasts are extremely hard to analyze – fluid dynamics and solid dynamics
blast is assumed to have eliminated a column
open-air blast will be analyzed in the breadth section

## Slide 12
HIROKI OTA
presentation ver. 2.0
Last update 12 APR. 2009
Copyright © Hiroki Ota 2009
monongalia general hospital
AE 482
architectural engineering department
TOPICS
CONDITIONS
01
BREADTH
02
DEPTH
03
04
05
06
07
08
CONCLUSION
A
blast
B
collapse
C
design
D
E
F
G
H
indirect
LEED
AREA TABLE
depth
direct
PROGRESSIVE COLLAPSE ANALYSIS
collapse is caused by “the spread of an initial local failure from element to element, eventually resulting in the collapse of an entire structure or a disproportionately large part of it.”
blast is assumed to have eliminated a column, triggering a collapse scenario

## Slide 13
HIROKI OTA
presentation ver. 2.0
Last update 12 APR. 2009
Copyright © Hiroki Ota 2009
monongalia general hospital
AE 482
architectural engineering department
TOPICS
CONDITIONS
01
BREADTH
02
DEPTH
03
04
05
06
07
08
CONCLUSION
A
blast
B
collapse
C
design
D
E
F
G
H
indirect
LEED
AREA TABLE
depth
direct
DESIGN
two methods used for design
  indirect design method
  direct design method, alternate path
indirect design to determine required steel reinforcement
direct design to determine new floor design
designs compared for effectiveness (also discussed in breadth)
assumed to be a medium level of protection building

## Slide 14
HIROKI OTA
presentation ver. 2.0
Last update 12 APR. 2009
Copyright © Hiroki Ota 2009
monongalia general hospital
AE 482
architectural engineering department
TOPICS
CONDITIONS
01
BREADTH
02
DEPTH
03
04
05
06
07
08
CONCLUSION
A
blast
B
collapse
C
design
D
E
F
G
H
indirect
LEED
AREA TABLE
depth
direct
INDIRECT DESIGN
indirect design yielded the following results:
Tie | Tie Force (kips) | AsREQ’D (in2) | AsPROV’D (in2)
Peripheral | 9.9 | 0.176 | 0.93
Internal (E-W) | 6.02 /ftwidth | 0.107 /ftwidth | 1.607 /ftwidth
Internal (N-S) | 5.31 /ftwidth | 0.0945 /ftwidth | 0.408 /ftwidth
Horizontal | 14.8 | 0.263 /ftwidth | 0.33 /ftwidth
Vertical | 123.3 | 2.19 | 6
Corner Column | 121.3 | 2.16 | 6
existing design is adequate, but new detailing is required…

## Slide 15
HIROKI OTA
presentation ver. 2.0
Last update 12 APR. 2009
Copyright © Hiroki Ota 2009
monongalia general hospital
AE 482
architectural engineering department
TOPICS
CONDITIONS
01
BREADTH
02
DEPTH
03
04
05
06
07
08
CONCLUSION
A
blast
B
collapse
C
design
D
E
F
G
H
indirect
LEED
AREA TABLE
depth
direct
INDIRECT DESIGN
additional detailing is required…
per UFC 4-023-03, reinforcements must be continuous
research by Corey, Hayes, Mehrdad, and Serkan: “seismic detailing can be compatible with collapse mitigation”

## Slide 16
HIROKI OTA
presentation ver. 2.0
Last update 12 APR. 2009
Copyright © Hiroki Ota 2009
monongalia general hospital
AE 482
architectural engineering department
TOPICS
CONDITIONS
01
BREADTH
02
DEPTH
03
04
05
06
07
08
CONCLUSION
A
blast
B
collapse
C
design
D
E
F
G
H
indirect
LEED
AREA TABLE
depth
direct
INDIRECT DESIGN
additional detailing is required…
use of type 2 mechanical splices at third points of floor height
use of type 2 mechanical splices to maintain continuity on horizontal members
use of 135 degree seismic hooks at horizontal and vertical ties

## Slide 17
HIROKI OTA
presentation ver. 2.0
Last update 12 APR. 2009
Copyright © Hiroki Ota 2009
monongalia general hospital
AE 482
architectural engineering department
TOPICS
CONDITIONS
01
BREADTH
02
DEPTH
03
04
05
06
07
08
CONCLUSION
A
blast
B
collapse
C
design
D
E
F
G
H
indirect
LEED
AREA TABLE
depth
direct
DIRECT DESIGN
two locations analyzed
column in the lobby removed, 54’ span
corner column removed, 30’-4” cantilever situation
existing slab analyzed
post-tensioned slab designed

## Slide 18
HIROKI OTA
presentation ver. 2.0
Last update 12 APR. 2009
Copyright © Hiroki Ota 2009
monongalia general hospital
AE 482
architectural engineering department
TOPICS
CONDITIONS
01
BREADTH
02
DEPTH
03
04
05
06
07
08
CONCLUSION
A
blast
B
collapse
C
design
D
E
F
G
H
indirect
LEED
AREA TABLE
depth
direct
DIRECT DESIGN
first location, 54’ span – two way slab design:
t = 8” | f’c = 5000 psi |  |  | 
 | Frame A |  | Frame B | 
 | M+ | M- | M+ | M-
Column Strip | (19) #5 | (33) #5 | (18) #5 | (33) #5
Middle Strip | (25) #5 | (57) #5 | (10) #5 | (25) #5
first location, 54’ span – post-tensioned slab design:
t = 10” | f’c = 5000 psi | f’ci = 3000 psi | fpu = 270 ksi
 | Reinforcement | Tendons | 
 | #10 @ 12” o.c. | (39) ½” Φ 7 wire | 

## Slide 19
HIROKI OTA
presentation ver. 2.0
Last update 12 APR. 2009
Copyright © Hiroki Ota 2009
monongalia general hospital
AE 482
architectural engineering department
TOPICS
CONDITIONS
01
BREADTH
02
DEPTH
03
04
05
06
07
08
CONCLUSION
A
blast
B
collapse
C
design
D
E
F
G
H
indirect
LEED
AREA TABLE
depth
direct
DIRECT DESIGN
second location, 30’-4” cantilever – two way slab design:
second location, 30’-4” cantilever – post-tensioned slab design:
t = 8” | f’c = 5000 psi |  |  |  |  |  | 
 | Frame C |  |  | Frame D |  |  | 
 | M-EXT | M+INT | M-INT | M-EXT | M+INT |  | M-INT
Column Strip | (32) #5 | (50) #5 | (61) #5 | (31) #5 | (31) #5 |  | (20) #5
Middle Strip | (10) #5 | (13) #5 | (27) #5 | (23) #5 | (27) #5 |  | (16) #5
t = 10” | f’c = 5000 psi | f’ci = 3000 psi | fpu = 270 ksi
 | Reinforcement | Tendons | 
 | N/A | (30) ½” Φ 7 wire | 

## Slide 20
HIROKI OTA
presentation ver. 2.0
Last update 12 APR. 2009
Copyright © Hiroki Ota 2009
monongalia general hospital
AE 482
architectural engineering department
TOPICS
CONDITIONS
01
BREADTH
02
DEPTH
03
04
05
06
07
08
CONCLUSION
A
cost
B
schedule
C
curtain wall
D
E
F
G
H
indirect
LEED
AREA TABLE
breadth
direct
COST ANALYSIS
the indirect and direct designs will be further analyzed for cost
Existing Conditions: Elevated Slab |  |  |  |  | 
 | Quantity | Unit Cost | Labor Cost | Equipment Cost | Total Cost
5000 psi Concrete | 5290.89 yd3 | 111.00 |  |  | $587,285.46
Placement | 5290.89 yd3 |  | 13.55 | 4.94 | $97,828.00
Reinforcing Steel | 1230 tons | 990.00 | 475.00 |  | $1,801,950.00
Formwork | 49689 ft2 | 1.55 | 3.43 |  | $247,451.22
Slab Finishing | 198755 ft2 |  | 0.68 |  | $135,153.40
Total |  |  |  |  | $2,869,668.08
Redesigned Conditions: Elevated Slab (Indirect Design) |  |  |  |  | 
 | Quantity | Unit Cost | Labor Cost | Equipment Cost | Total Cost
5000 psi Concrete | 5290.89 yd3 | 111.00 |  |  | $587,285.46
Placement | 5290.89 yd3 |  | 13.55 | 4.94 | $97,828.00
Reinforcing Steel | 1260 tons | 990.00 | 475.00 |  | $1,845,900.00
Formwork | 49689 ft2 | 1.55 | 3.43 |  | $247,451.22
Slab Finishing | 198755 ft2 |  | 0.68 |  | $135,153.40
Total |  |  |  |  | $2,928,268.08
Difference: Redesign - Existing |  |  |  |  | $43,950.00
extra 30 tons due to detailing changes

## Slide 21
HIROKI OTA
presentation ver. 2.0
Last update 12 APR. 2009
Copyright © Hiroki Ota 2009
monongalia general hospital
AE 482
architectural engineering department
TOPICS
CONDITIONS
01
BREADTH
02
DEPTH
03
04
05
06
07
08
CONCLUSION
A
cost
B
schedule
C
curtain wall
D
E
F
G
H
indirect
LEED
AREA TABLE
breadth
direct
COST ANALYSIS
two-way slab by direct design hikes the reinforcing steel cost
Existing Conditions: Elevated Slab |  |  |  |  | 
 | Quantity | Unit Cost | Labor Cost | Equipment Cost | Total Cost
5000 psi Concrete | 5290.89 yd3 | 111.00 |  |  | $587,285.46
Placement | 5290.89 yd3 |  | 13.55 | 4.94 | $97,828.00
Reinforcing Steel | 1230 tons | 990.00 | 475.00 |  | $1,801,950.00
Formwork | 49689 ft2 | 1.55 | 3.43 |  | $247,451.22
Slab Finishing | 198755 ft2 |  | 0.68 |  | $135,153.40
Total |  |  |  |  | $2,869,668.08
Existing Conditions: Elevated Slab (8” Thick) After Redesign (Direct Design) |  |  |  |  | 
 | Quantity | Unit Cost | Labor Cost | Equipment Cost | Total Cost
5000 psi Concrete | 5290.89 yd3 | 111.00 |  |  | $587,285.46
Placement | 5290.89 yd3 |  | 13.55 | 4.94 | $97,828.00
Reinforcing Steel | 5500 tons | 990.00 | 475.00 |  | $8,057,500.00
Formwork | 49689 ft2 | 1.55 | 3.43 |  | $247,451.22
Slab Finishing | 198755 ft2 |  | 0.68 |  | $135,153.40
Total |  |  |  |  | $9,125,218.08
Difference: Redesign - Existing |  |  |  |  | $6,255,550.00

## Slide 22
HIROKI OTA
presentation ver. 2.0
Last update 12 APR. 2009
Copyright © Hiroki Ota 2009
monongalia general hospital
AE 482
architectural engineering department
TOPICS
CONDITIONS
01
BREADTH
02
DEPTH
03
04
05
06
07
08
CONCLUSION
A
cost
B
schedule
C
curtain wall
D
E
F
G
H
indirect
LEED
AREA TABLE
breadth
direct
COST ANALYSIS
post-tensioned slab increases the cost
Existing Conditions: Elevated Slab |  |  |  |  | 
 | Quantity | Unit Cost | Labor Cost | Equipment Cost | Total Cost
5000 psi Concrete | 5290.89 yd3 | 111.00 |  |  | $587,285.46
Placement | 5290.89 yd3 |  | 13.55 | 4.94 | $97,828.00
Reinforcing Steel | 1230 tons | 990.00 | 475.00 |  | $1,801,950.00
Formwork | 49689 ft2 | 1.55 | 3.43 |  | $247,451.22
Slab Finishing | 198755 ft2 |  | 0.68 |  | $135,153.40
Total |  |  |  |  | $2,869,668.08
Redesigned Conditions: PT Slab (Direct Design) |  |  |  |  | 
 | Quantity | Unit Cost | Labor Cost | Equipment Cost | Total Cost
5000 psi Concrete | 6613.62 yd3 | 111.00 |  |  | $587,285.46
Placement | 6613.62 yd3 |  | 13.55 | 4.94 | $97,828.00
Reinforcing Steel | 500 tons | 990.00 | 475.00 |  | $293,000.00
Prestressing Steel | 600 tons | 1800.00 | 475.00 |  | $1,365,000.00
Formwork | 62111.3 ft2 | 1.55 | 3.43 |  | $247,451.22
Slab Finishing | 198755 ft2 |  | 0.68 |  | $135,153.40
Total |  |  |  |  | $2,958,864.00
Difference: Redesign - Existing |  |  |  |  | $89,195.95

## Slide 23
HIROKI OTA
presentation ver. 2.0
Last update 12 APR. 2009
Copyright © Hiroki Ota 2009
monongalia general hospital
AE 482
architectural engineering department
TOPICS
CONDITIONS
01
BREADTH
02
DEPTH
03
04
05
06
07
08
CONCLUSION
A
cost
B
schedule
C
curtain wall
D
E
F
G
H
indirect
LEED
AREA TABLE
breadth
direct
COST ANALYSIS
comparison of two designs
Design Method | Major Cost Contributors | Total Cost of Construction | Difference to Existing Construction | Impact to Overall Project Cost
Indirect Design Method | Reinforcing Steel $1,801,950.00 | $2,869,668.08 | $43,950.00 | +0.077%
Direct Design Method-PT-Slab | Reinforcing Steel $293,000.00 | $2,958,864.00 | $89,195.95 | +0.156%
 | Prestressing Steel $1,365,000.00 |  |  | 
Difference |  | $89,195.92 | $45,245.95 | 
both designs have minimal impact on the overall project volume
the designs’ impact on the schedule will also be analyzed

## Slide 24
HIROKI OTA
presentation ver. 2.0
Last update 12 APR. 2009
Copyright © Hiroki Ota 2009
monongalia general hospital
AE 482
architectural engineering department
TOPICS
CONDITIONS
01
BREADTH
02
DEPTH
03
04
05
06
07
08
CONCLUSION
A
cost
B
schedule
C
curtain wall
D
E
F
G
H
indirect
LEED
AREA TABLE
breadth
direct
SCHEDULE ANALYSIS
the schedule is broken down into three major zones
a task in one zone is completed and then the next zone’s task will commence

## Slide 25
HIROKI OTA
presentation ver. 2.0
Last update 12 APR. 2009
Copyright © Hiroki Ota 2009
monongalia general hospital
AE 482
architectural engineering department
TOPICS
CONDITIONS
01
BREADTH
02
DEPTH
03
04
05
06
07
08
CONCLUSION
A
cost
B
schedule
C
curtain wall
D
E
F
G
H
indirect
LEED
AREA TABLE
breadth
direct
SCHEDULE ANALYSIS
summary of schedule change
 | Area A Work Days | 
Original Schedule | 137 | 
Indirect | 138 | -
Direct | - | 165
Difference | -1 | -28
 | Area B Work Days | 
Original Schedule | 89 | 
Indirect | 87 | -
Direct | - | 107
Difference | +2 | -18
post-tensioned design delays the project by 46 days
increasing the amount of reinforcement is the better choice

## Slide 26
HIROKI OTA
presentation ver. 2.0
Last update 12 APR. 2009
Copyright © Hiroki Ota 2009
monongalia general hospital
AE 482
architectural engineering department
TOPICS
CONDITIONS
01
BREADTH
02
DEPTH
03
04
05
06
07
08
CONCLUSION
A
cost
B
schedule
C
curtain wall
D
E
F
G
H
indirect
LEED
AREA TABLE
breadth
direct
CURTAIN WALL DESIGN
the existing curtain wall will be analyzed against blast loads as per ASTM F 2248-03
two alternatives were also designed

## Slide 27
HIROKI OTA
presentation ver. 2.0
Last update 12 APR. 2009
Copyright © Hiroki Ota 2009
monongalia general hospital
AE 482
architectural engineering department
TOPICS
CONDITIONS
01
BREADTH
02
DEPTH
03
04
05
06
07
08
CONCLUSION
A
cost
B
schedule
C
curtain wall
D
E
F
G
H
indirect
LEED
AREA TABLE
breadth
direct
CURTAIN WALL DESIGN
summary of analysis and design
Glass Type | Load Resistance | Maximum Charge Capacity
1/4” THK, Heat Strengthened, 1 Lite, Existing | 98 PSF | 100 lbTNT
1/4” THK, Heat Strengthened, 2 Lite | 195 PSF | 300 lbTNT
1/4” THK Fully Tempered, 1 Lite | 217 PSF | 400 lbTNT
Demand | 98 PSF | 100 lbTNT
thermal conductivity analysis was also conducted for these designs

## Slide 28
HIROKI OTA
presentation ver. 2.0
Last update 12 APR. 2009
Copyright © Hiroki Ota 2009
monongalia general hospital
AE 482
architectural engineering department
TOPICS
CONDITIONS
01
BREADTH
02
DEPTH
03
04
05
06
07
08
CONCLUSION
A
cost
B
schedule
C
curtain wall
D
E
F
G
H
indirect
LEED
AREA TABLE
breadth
direct
CURTAIN WALL DESIGN
conductive properties of heat strengthened, 1 lite curtain wall
 | Summer | Winter
∑R (hr*ft2*°F/BTU) | 0.97 | 0.89
U (BTU/hr*ft2*°F) | 1.03 | 1.13
Q (BTU/hr) per panel | 275 | 873
conductive properties of heat strengthened, 2 lite curtain wall
 | Summer | Winter
∑R (hr*ft2*°F/BTU) | 1.8 | 2.06
U (BTU/hr*ft2*°F) | 0.56 | 0.49
Q (BTU/hr) per panel | 149 | 378
 | Summer | Winter
∑R (hr*ft2*°F/BTU) | 4.43 | 4.35
U (BTU/hr*ft2*°F) | 0.23 | 0.23
Q (BTU/hr) per panel | 61 | 177
conductive properties of fully tempered, 1 lite curtain wall

## Slide 29
HIROKI OTA
presentation ver. 2.0
Last update 12 APR. 2009
Copyright © Hiroki Ota 2009
monongalia general hospital
AE 482
architectural engineering department
TOPICS
CONDITIONS
01
BREADTH
02
DEPTH
03
04
05
06
07
08
CONCLUSION
A
cost
B
schedule
C
curtain wall
D
E
F
G
H
indirect
LEED
AREA TABLE
breadth
direct
CURTAIN WALL DESIGN
cost per square foot by curtain wall construction type
Glass Type | Cost per square foot
1/4” THK, Heat Strengthened, 1 Lite, Existing | $5.30
1/4” THK, Heat Strengthened, 2 Lite | $10.60
1/4” THK Fully Tempered, 1 Lite | $16.95
considering the blast resistance, thermal properties, and the cost, fully tempered 1 lite construction is the best choice

## Slide 30
HIROKI OTA
presentation ver. 2.0
Last update 12 APR. 2009
Copyright © Hiroki Ota 2009
monongalia general hospital
AE 482
architectural engineering department
TOPICS
CONDITIONS
01
BREADTH
02
DEPTH
03
04
05
06
07
08
CONCLUSION
A
recommendation
B
closing
C
curtain wall
D
E
F
G
H
indirect
LEED
AREA TABLE
conclusion
direct
RECOMMENDATIONS
the existing structural system is more than adequate to mitigate a collapse situation
1 lite, fully tempered curtain wall will provide better thermal properties for the building as well as resist a 400 lb charge
the analysis and design conducted in this thesis is not meant to save the structure but to save lives, other precautionary measures must be taken

## Slide 31
HIROKI OTA
presentation ver. 2.0
Last update 12 APR. 2009
Copyright © Hiroki Ota 2009
monongalia general hospital
AE 482
architectural engineering department
TOPICS
CONDITIONS
01
BREADTH
02
DEPTH
03
04
05
06
07
08
CONCLUSION
A
recommendation
B
closing
C
curtain wall
D
E
F
G
H
indirect
LEED
AREA TABLE
conclusion
direct
CLOSING REMARKS
Thank you to
The Pennsylvania State University Architectural Engineering Department
The Turner Construction Company
My family and friends