## Slide 1
JOHN PAUL JONES ARENA
CHARLOTTESVILLE, VIRGINIA
FINAL DESIGN PRESENTATION
LOGAN BROWN
LIGHTING/ELECTRICAL OPTION
APRIL 28, 2009

## Slide 2
FINAL DESIGN PRESENTATION: ORDER OF TOPICS
ONE. | Project Overview
TWO. | Lighting Depth: Academic Center / Reading Room
THREE. | Athletic Dining Room
FOUR. | West Façade & Entry Lobby
FIVE. | Electrical Depth: Energy Efficient Transformer Analysis
SIX. | Structural Breadth: Effects of a Green Roof System
SEVEN. | Closing Remarks

## Slide 3
FINAL DESIGN PRESENTATION: PROJECT OVERVIEW
LOCATION:
The University of Virginia
295 Massie Road
Charlottesville, VA 22903
SIZE:
365,000 Square Feet
COST:
$129.8 Million (Overall Cost)
PROJECT TIMETABLE:
May 2003 – August 2006
PRIMARY FUNCTIONS:
16,000 Seat Arena
Team Store
Hall of Fame Museum
Concessions
Team Training Facilities
Educational Spaces
PRIMARY PROJECT TEAM:
Owner: The University of Virginia
Architect: VMDO Architects P.C.
Assoc. Architect: Ellerbe Becket
General Contractor: Barton Malow
Civil Engineer: Patton Harris Rust & Associates P.C.
Structural Engineer: Ellerbe Becket
MEP Engineer: Ellerbe Becket
Arena Signage: Workshop Design LLC

## Slide 4
FINAL DESIGN PRESENTATION: PROJECT OVERVIEW
EXTERIOR FACADE
LOBBY
DINING ROOM
ACADEMIC CENTER

## Slide 5
FINAL DESIGN PRESENTATION: PLAN VIEW
ACADEMIC CENTER

## Slide 6
FINAL DESIGN PRESENTATION: DESIGN GOALS
ONE. | Create a relaxed and open environment
TWO. | Uniform and proper light distribution on task plane
THREE. | Creation of room zones to account for occupancy issues
ACADEMIC CENTER

## Slide 7
FINAL DESIGN PRESENTATION: FIXTURE PLAN
ACADEMIC CENTER

## Slide 8
JOHN PAUL JONES ARENA
CHARLOTTESVILLE, VIRGINIA
ACADEMIC CENTER
FINAL DESIGN PRESENTATION: RENDERINGS

## Slide 9
JOHN PAUL JONES ARENA
CHARLOTTESVILLE, VIRGINIA
ACADEMIC CENTER
FINAL DESIGN PRESENTATION: RENDERINGS

## Slide 10
JOHN PAUL JONES ARENA
CHARLOTTESVILLE, VIRGINIA
ACADEMIC CENTER
FINAL DESIGN PRESENTATION: PSEUDO COLOR RENDERINGS

## Slide 11
FINAL DESIGN PRESENTATION: PLAN VIEW
DINING ROOM

## Slide 12
FINAL DESIGN PRESENTATION: DESIGN GOALS
ONE. | Emphasize the ceiling heights as architectural features
TWO. | Create a spacious & professional environment
THREE. | Use of a visual hierarchy throughout the space
FOUR. | Controls to allow for video projection
DINING ROOM

## Slide 13
FINAL DESIGN PRESENTATION: LIGHTING PLAN
DINING ROOM

## Slide 14
JOHN PAUL JONES ARENA
CHARLOTTESVILLE, VIRGINIA
DINING ROOM
FINAL DESIGN PRESENTATION: RENDERINGS

## Slide 15
JOHN PAUL JONES ARENA
CHARLOTTESVILLE, VIRGINIA
ACADEMIC CENTER
FINAL DESIGN PRESENTATION: RENDERINGS

## Slide 16
JOHN PAUL JONES ARENA
CHARLOTTESVILLE, VIRGINIA
ACADEMIC CENTER
FINAL DESIGN PRESENTATION: RENDERINGS

## Slide 17
JOHN PAUL JONES ARENA
CHARLOTTESVILLE, VIRGINIA
ACADEMIC CENTER
FINAL DESIGN PRESENTATION: PSEUDO COLOR RENDERINGS

## Slide 18
FINAL DESIGN PRESENTATION: DESIGN GOALS
ONE. | Match the historic theme of campus
TWO. | Clean and minimal lunimaire appearance
THREE. | Use of light to create visual depth and hierarchy
FOUR. | Accent major features while providing enough luminance for tasks
FAÇADE & ENTRY

## Slide 19
FINAL DESIGN PRESENTATION: RENDERINGS
FAÇADE & ENTRY

## Slide 20
FINAL DESIGN PRESENTATION: RENDERINGS
FAÇADE & ENTRY

## Slide 21
FINAL DESIGN PRESENTATION: RENDERINGS
FAÇADE & ENTRY

## Slide 22
ONE. | Reduction in annual energy costs
TWO. | Relatively short payback period
THREE. | More efficient, Energy-Star compliant building
FINAL DESIGN PRESENTATION: GOALS
TRANSFORMER ANALYSIS

## Slide 23
FINAL DESIGN PRESENTATION: COST STUDY & ASSUMPTIONS
TRANSFORMER ANALYSIS

## Slide 24
FINAL DESIGN PRESENTATION: STUDY SUMMARY
TRANSFORMER ANALYSIS

## Slide 25
ONE. | Feasibility of a Green Roof System on an athletic arena
TWO. | Limit impact on existing structural design
FINAL DESIGN PRESENTATION: GOALS
STRUCTURAL BREADTH

## Slide 26
FINAL DESIGN PRESENTATION: PROPOSED REDESIGN AREA
STRUCTURAL BREADTH

## Slide 27
FINAL DESIGN PRESENTATION: CONCENTRATION AREA
STRUCTURAL BREADTH

## Slide 28
FINAL DESIGN PRESENTATION: RAM ASSUMPTIONS & MODEL
STRUCTURAL BREADTH

## Slide 29
FINAL DESIGN PRESENTATION: SYSTEM REDESIGN
STRUCTURAL BREADTH

## Slide 30
FINAL DESIGN PRESENTATION
FINAL REMARKS

## Slide 31
FINAL DESIGN PRESENTATION
ACKNOWLEDGEMENTS
Family & Friends
Dad
Mom
Little Broski
Bill and Connie
Nana
Gram
AE Faculty
Dr. Richard Mistrick
Dr. Kevin Houser
Professor Ted Dannerth
Professor Robert Holland
Professor Kevin Parfitt
Ellerbe Becket
Jim Hamm
Paula Gillette
Vittorio Ansourian
VMDO Architects
Bob Moje
The University of Virginia
Jon Oliver
Jason Bauman

## Slide 32
FINAL DESIGN PRESENTATION
QUESTIONS ?