## Slide 1: Introduction 120,000 SF 10 Stories (90ft) $40 Million Aug. 2010 – Dec.2011
Presentation Outline
Introduction
Base Steel Redesign
Progressive Collapse
Tie Force
Alternative Path
Enhanced Local Resistance
Architectural Breadth
Conclusions
Project Team
Owner: Health Research
Architect & Engineer:
General Contractor:

## Slide 2
Presentation Outline
Introduction
Base Steel Redesign
Progressive Collapse
Tie Force
Alternative Path
Enhanced Local Resistance
Architectural Breadth
Conclusions
Progressive Collapse UFC 4-023: Typical Action Classifications
Alternative Path Analysis
Interaction Equation
Moment Divided by m-factor
Expected Strengths Used
Typical Frames = 6

## Slide 3
Presentation Outline
Introduction
Base Steel Redesign
Progressive Collapse
Tie Force
Alternative Path
Enhanced Local Resistance
Architectural Breadth
Conclusions
Progressive Collapse West Façade Column
Alternative Path Analysis

## Slide 4: Architecture Breadth Existing Interior Atrium View
Presentation Outline
Introduction
Base Steel Redesign
Progressive Collapse
Tie Force
Alternative Path
Enhanced Local Resistance
Architectural Breadth
Conclusions
Atrium Curtain Wall
Redesigned Interior Atrium View

## Slide 5: Conclusions Goals
Presentation Outline
Introduction
Base Steel Redesign
Progressive Collapse
Tie Force
Alternative Path
Enhanced Local Resistance
Architectural Breadth
Conclusions
Costs
Progressive Collapse Requirements
Slab Reinforcement: 596% Increase
Columns: 113% Increase
Beams: 9.9% Increase
Total Superstructure: 7.4% Increase
Design to UFC criteria
Explore impacts of this analysis
Minimal architectural impact