## Slide 1
Senior Thesis Final Presentation
University of California, Riverside Student Recreation Center
Daniel MacRitchie
04/10/2013

## Slide 2
Introduction
Entrance Lobby
Daylighting Analysis
Photovoltaic Analysis
Structural Analysis
Conclusion

## Slide 3
N
Introduction
Entrance Lobby
Daylighting Analysis
Photovoltaic Analysis
Structural Analysis
Conclusion

## Slide 4
N
Introduction
Entrance Lobby
Daylighting Analysis
Photovoltaic Analysis
Structural Analysis
Conclusion

## Slide 5
Building Information
Location: Riverside, CA
Renovation: 16,000 SF
Expansion: 80,000 SF
Stories: Two
Building Cost: $36.9 Million
Building Function
Renovate exercise areas to offices
Gymnasium
Multipurpose rooms
Weight rooms
Exercise rooms
Rock climbing wall
Outdoor pool
Classrooms
Spa
Massage therapy rooms
N
Introduction
Entrance Lobby
Daylighting Analysis
Photovoltaic Analysis
Structural Analysis
Conclusion

## Slide 6
Introduction
Entrance Lobby
Daylighting Analysis
Photovoltaic Analysis
Structural Analysis
Conclusion

## Slide 7
Entrance
Lobby
Rock Wall
Gymnasium
N
Introduction
Entrance Lobby
Daylighting Analysis
Photovoltaic Analysis
Structural Analysis
Conclusion

## Slide 8
N
Entrance
Lobby
Gymnasium
Introduction
Entrance Lobby
Daylighting Analysis
Photovoltaic Analysis
Structural Analysis
Conclusion

## Slide 9
N
Space | Target Eavg | Target Eavg:Emin
Stairs | 4 lux | 5
Entrance | 15 lux | 2
Courtyard | 3 lux | 5
Space | ASHRAE 90.1 2010 Allowable Watts | Title 24 Allowable Watts
Tradable | 5,473 | 3,622
Non-tradable | 193 | 178
Introduction
Entrance Lobby
Daylighting Analysis
Photovoltaic Analysis
Structural Analysis
Conclusion

## Slide 10
N
Space | Target Eavg | Target Eavg:Emin
Stairs | 4 lux | 5
Entrance | 15 lux | 2
Courtyard | 3 lux | 5
Space | ASHRAE 90.1 2010 Allowable Watts | Title 24 Allowable Watts
Tradable | 5,473 | 3,622
Non-tradable | 193 | 178
Introduction
Entrance Lobby
Daylighting Analysis
Photovoltaic Analysis
Structural Analysis
Conclusion

## Slide 11
N
Space | Target Eavg | Target Eavg:Emin
Stairs | 4 lux | 5
Entrance | 15 lux | 2
Courtyard | 3 lux | 5
Space | ASHRAE 90.1 2010 Allowable Watts | Title 24 Allowable Watts
Tradable | 5,473 | 3,622
Non-tradable | 193 | 178
Introduction
Entrance Lobby
Daylighting Analysis
Photovoltaic Analysis
Structural Analysis
Conclusion

## Slide 12
N
Space | Target Eavg | Target Eavg:Emin
Stairs | 4 lux | 5
Entrance | 15 lux | 2
Courtyard | 3 lux | 5
Space | ASHRAE 90.1 2010 Allowable Watts | Title 24 Allowable Watts
Tradable | 5,473 | 3,622
Non-tradable | 193 | 178
Introduction
Entrance Lobby
Daylighting Analysis
Photovoltaic Analysis
Structural Analysis
Conclusion

## Slide 13
N
Space | Target Eavg | Target Eavg:Emin
Stairs | 4 lux | 5
Entrance | 15 lux | 2
Courtyard | 3 lux | 5
Space | ASHRAE 90.1 2010 Allowable Watts | Title 24 Allowable Watts
Tradable | 5,473 | 3,622
Non-tradable | 193 | 178
Introduction
Entrance Lobby
Daylighting Analysis
Photovoltaic Analysis
Structural Analysis
Conclusion

## Slide 14
N
Space | Target Eavg | Target Eavg:Emin
Stairs | 4 lux | 5
Entrance | 15 lux | 2
Courtyard | 3 lux | 5
Space | ASHRAE 90.1 2010 Allowable Watts | Title 24 Allowable Watts
Tradable | 5,473 | 3,622
Non-tradable | 193 | 178
Introduction
Entrance Lobby
Daylighting Analysis
Photovoltaic Analysis
Structural Analysis
Conclusion

## Slide 15
N
Space | Target Eavg | Target Eavg:Emin
Stairs | 4 lux | 5
Entrance | 15 lux | 2
Courtyard | 3 lux | 5
Space | ASHRAE 90.1 2010 Allowable Watts | Title 24 Allowable Watts
Tradable | 5,473 | 3,622
Non-tradable | 193 | 178
Introduction
Entrance Lobby
Daylighting Analysis
Photovoltaic Analysis
Structural Analysis
Conclusion

## Slide 16
N
Space | Target Eavg | Target Eavg:Emin
Stairs | 4 lux | 5
Entrance | 15 lux | 2
Courtyard | 3 lux | 5
Space | ASHRAE 90.1 2010 Allowable Watts | Title 24 Allowable Watts
Tradable | 5,473 | 3,622
Non-tradable | 193 | 178
Introduction
Entrance Lobby
Daylighting Analysis
Photovoltaic Analysis
Structural Analysis
Conclusion

## Slide 17
Space | Target Eavg | Target Eavg:Emin | Design Eavg | Design Eavg:Emin
Stairs | 4 lux | 5 | 4.82 lux | 4.02
Entrance | 15 lux | 2 | 16.44 lux | 4.84
Courtyard | 3 lux | 5 | 5.04 lux | 5.60
Space | ASHRAE 90.1 2010 Allowable Watts | Title 24 Allowable Watts | Design Watts
Tradable | 5,473 | 3,622 | 1,160
Non-tradable | 193 | 178 | 410
Introduction
Entrance Lobby
Daylighting Analysis
Photovoltaic Analysis
Structural Analysis
Conclusion

## Slide 18
Introduction
Entrance Lobby
Daylighting Analysis
Photovoltaic Analysis
Structural Analysis
Conclusion

## Slide 19
Introduction
Entrance Lobby
Daylighting Analysis
Photovoltaic Analysis
Structural Analysis
Conclusion

## Slide 20
N
Space | Target Eavg | Target Eavg:Emin
Lobby | 50 lux | 3
Transition | 45 lux | 2
Exercise Area | 150 lux | 3
Running Track | 150 lux | 3
Space | ASHRAE 90.1 2010 Allowable Watts | Title 24 Allowable Watts
Lobby | 10,504 | 9,236
Introduction
Entrance Lobby
Daylighting Analysis
Photovoltaic Analysis
Structural Analysis
Conclusion

## Slide 21
N
Space | Target Eavg | Target Eavg:Emin
Lobby | 50 lux | 3
Transition | 45 lux | 2
Exercise Area | 150 lux | 3
Running Track | 150 lux | 3
Space | ASHRAE 90.1 2010 Allowable Watts | Title 24 Allowable Watts
Lobby | 10,504 | 9,236
Introduction
Entrance Lobby
Daylighting Analysis
Photovoltaic Analysis
Structural Analysis
Conclusion

## Slide 22
N
Space | Target Eavg | Target Eavg:Emin
Lobby | 50 lux | 3
Transition | 45 lux | 2
Exercise Area | 150 lux | 3
Running Track | 150 lux | 3
Space | ASHRAE 90.1 2010 Allowable Watts | Title 24 Allowable Watts
Lobby | 10,504 | 9,236
Introduction
Entrance Lobby
Daylighting Analysis
Photovoltaic Analysis
Structural Analysis
Conclusion

## Slide 23
N
Space | Target Eavg | Target Eavg:Emin
Lobby | 50 lux | 3
Transition | 45 lux | 2
Exercise Area | 150 lux | 3
Running Track | 150 lux | 3
Space | ASHRAE 90.1 2010 Allowable Watts | Title 24 Allowable Watts
Lobby | 10,504 | 9,236
Introduction
Entrance Lobby
Daylighting Analysis
Photovoltaic Analysis
Structural Analysis
Conclusion

## Slide 24
N
Space | Target Eavg | Target Eavg:Emin
Lobby | 50 lux | 3
Transition | 45 lux | 2
Exercise Area | 150 lux | 3
Running Track | 150 lux | 3
Space | ASHRAE 90.1 2010 Allowable Watts | Title 24 Allowable Watts
Lobby | 10,504 | 9,236
Introduction
Entrance Lobby
Daylighting Analysis
Photovoltaic Analysis
Structural Analysis
Conclusion

## Slide 25
N
Space | Target Eavg | Target Eavg:Emin
Lobby | 50 lux | 3
Transition | 45 lux | 2
Exercise Area | 150 lux | 3
Running Track | 150 lux | 3
Space | ASHRAE 90.1 2010 Allowable Watts | Title 24 Allowable Watts
Lobby | 10,504 | 9,236
Introduction
Entrance Lobby
Daylighting Analysis
Photovoltaic Analysis
Structural Analysis
Conclusion

## Slide 26
N
Space | Target Eavg | Target Eavg:Emin
Lobby | 50 lux | 3
Transition | 45 lux | 2
Exercise Area | 150 lux | 3
Running Track | 150 lux | 3
Space | ASHRAE 90.1 2010 Allowable Watts | Title 24 Allowable Watts
Lobby | 10,504 | 9,236
Introduction
Entrance Lobby
Daylighting Analysis
Photovoltaic Analysis
Structural Analysis
Conclusion

## Slide 27
Space | Target Eavg | Target Eavg:Emin | Design Eavg | Design Eavg:Emin
Lobby | 50 lux | 3 | 46.06 lux | 1.98
Circulation | 45 lux | 2 | 91.25 lux | 2.78
Stairs | 45 lux | 2 | 52.10 lux | 1.85
Exercise Area | 150 lux | 3 | 164.09 lux | 2.25
Running Track | 150 lux | 3 | 152.76 lux | 3.06
Space | ASHRAE 90.1 2010 Allowable Watts | Title 24 Allowable Watts | Design Watts
Lobby | 10,504 | 9,236 | 4702
N
Introduction
Entrance Lobby
Daylighting Analysis
Photovoltaic Analysis
Structural Analysis
Conclusion

## Slide 28
Introduction
Entrance Lobby
Daylighting Analysis
Photovoltaic Analysis
Structural Analysis
Conclusion

## Slide 29
Introduction
Entrance Lobby
Daylighting Analysis
Photovoltaic Analysis
Structural Analysis
Conclusion

## Slide 30
N
Space | Target Eavg | Target Eavg:Emin | Design Eavg | Design Eavg:Emin
Gymnasium | 500 lux | 4 | 449.03 lux | 1.89
Space | ASHRAE 90.1 2010 Allowable Watts | Title 24 Allowable Watts | Design Watts
Gymnasium | 8148 | 8230 | 5208
Introduction
Entrance Lobby
Daylighting Analysis
Photovoltaic Analysis
Structural Analysis
Conclusion

## Slide 31
N
Space | Target Eavg | Target Eavg:Emin | Design Eavg | Design Eavg:Emin
Gymnasium | 500 lux | 4 | 449.03 lux | 1.89
Space | ASHRAE 90.1 2010 Allowable Watts | Title 24 Allowable Watts | Design Watts
Gymnasium | 8148 | 8230 | 5208
Unit | Visible Light Transmission | U-Factor | Solar Heat Gain Coefficient
EcoSky 3 | 62% | 0.82 | 0.47
Introduction
Entrance Lobby
Daylighting Analysis
Photovoltaic Analysis
Structural Analysis
Conclusion

## Slide 32
N
Space | Target Eavg | Target Eavg:Emin | Design Eavg | Design Eavg:Emin
Gymnasium | 500 lux | 4 | 449.03 lux | 1.89
Space | ASHRAE 90.1 2010 Allowable Watts | Title 24 Allowable Watts | Design Watts
Gymnasium | 8148 | 8230 | 5208
Unit | Visible Light Transmission | U-Factor | Solar Heat Gain Coefficient
EcoSky 3 | 62% | 0.82 | 0.47
Introduction
Entrance Lobby
Daylighting Analysis
Photovoltaic Analysis
Structural Analysis
Conclusion

## Slide 33
Critical Point Selection
Introduction
Entrance Lobby
Daylighting Analysis
Photovoltaic Analysis
Structural Analysis
Conclusion

## Slide 34
Daylight Autonomy at 500 lux
Points above 50%: 67.95%
Critical Point Selection
Introduction
Entrance Lobby
Daylighting Analysis
Photovoltaic Analysis
Structural Analysis
Conclusion

## Slide 35
Daylight Autonomy at 500 lux
Points above 50%: 67.95%
 | Jan-Mar | April-June | July-Sep | Nov-Dec | Total
Base | 6,854 | 6,984 | 7,140 | 6,447 | 27,425
Optimal | 5,404 | 4,094 | 4,188 | 5,088 | 18,774
Algorithm | 5,321 | 4,139 | 4,245 | 5,021 | 18,726
Difference | 83 | -44 | -57 | 66 | 49
Savings | 1,533 | 2,845 | 2,896 | 1,426 | 8,700
Introduction
Entrance Lobby
Daylighting Analysis
Photovoltaic Analysis
Structural Analysis
Conclusion

## Slide 36
Introduction
Entrance Lobby
Daylighting Analysis
Photovoltaic Analysis
Structural Analysis
Conclusion

## Slide 37
Introduction
Entrance Lobby
Daylighting Analysis
Photovoltaic Analysis
Structural Analysis
Conclusion

## Slide 38
Section | Number of Rows | Solar Panel Width | Roof Area Width | Watts/SF | Total Capacity (kW)
North | 15 | 2.21 ft | 72 | 9 | 21.48
South | 10 | 2.21 ft | 75 | 9 | 14.92
Total | N/A | N/A | N/A | N/A | 36.40
Panel
Solar Ray
3.82’
Panel
Introduction
Entrance Lobby
Daylighting Analysis
Photovoltaic Analysis
Structural Analysis
Conclusion

## Slide 39
Analysis Assumptions
Building Load: Operates at half connected load during operating hours
Panel Output Depreciation: 0.5% per year, compounded
Cost of Electricity: $0.12/kWh
Taxes: Exempt from property and income taxes
Incentives: Production based incentive of $0.139/kWh for first 5 years
Analysis Results | 
Initial Cost | $104,996.56
Annual Energy | 58,398 kWh
Levelized Cost of Energy | $0.1163/kWh
Payback Period | 4.93 years
Introduction
Entrance Lobby
Daylighting Analysis
Photovoltaic Analysis
Structural Analysis
Conclusion

## Slide 40
Monthly Output (kWh)
25 Year Cash Flow
Introduction
Entrance Lobby
Daylighting Analysis
Photovoltaic Analysis
Structural Analysis
Conclusion

## Slide 41
Introduction
Entrance Lobby
Daylighting Analysis
Photovoltaic Analysis
Structural Analysis
Conclusion

## Slide 42
Introduction
Entrance Lobby
Daylighting Analysis
Photovoltaic Analysis
Structural Analysis
Conclusion

## Slide 43
A
C
B
D
E
O
Dead Loads
Roof Deck: 2 psf
Insulation: 1 psf
Misc. Dead Load: 10 psf
Member Self Weight: 5 psf
Solar Panels: 5 psf
Total: 23 psf
Dead Loads
Roof Live Load: 20 psf
1.2*(23psf) + 1.6*(20psf) = 59.6 psf
Introduction
Entrance Lobby
Daylighting Analysis
Photovoltaic Analysis
Structural Analysis
Conclusion

## Slide 44
A
C
B
D
E
O
Beam | Tributary Width (ft) | Uniform Load (plf) | Span (ft) | Reaction At Supports (kips) | Maximum Moment (kip*ft)
A | 10.5 | 625.8 | 33.5 | 10.48 | 87.77
B | 10.875 | 648.15 | 33.5 | 10.86 | 90.95
C | 10.75 | 640.7 | 33.5 | 10.73 | 89.86
O | 10.5 | 625.8 | 36.25 | 11.34 | N/A
Introduction
Entrance Lobby
Daylighting Analysis
Photovoltaic Analysis
Structural Analysis
Conclusion

## Slide 45
A
C
B
D
E
O
Beam | Point Load (kips) | North Reaction (kips) | South Reaction (kips) | Maximum Moment (kip*ft)
D | 21.82 | 11.43 | 10.39 | 114.3
E | 10.48 | 5.49 | 4.99 | 54.9
Introduction
Entrance Lobby
Daylighting Analysis
Photovoltaic Analysis
Structural Analysis
Conclusion

## Slide 46
A
C
B
D
E
O
Beam | Size | Maximum Moment (kip*ft) | ΦbMpx (kip*ft)
A | W 14X22 | 87.77 | 125
B | W 14X22 | 90.95 | 125
C | W 14X22 | 89.86 | 125
D | W 16x26 | 114.3 | 166
E | W 16x26 | 54.9 | 166
Introduction
Entrance Lobby
Daylighting Analysis
Photovoltaic Analysis
Structural Analysis
Conclusion

## Slide 47
Conclusions
Lighting: Provided a lighting design reflecting the use of the building
Daylighting: Provided a daylighting system that provides energy savings in the gymnasium
Photovoltaic Analysis: Photovoltaic array provides energy and reduces the cost of the building
Structural Analysis: The structural members do not need to be redesigned because of the photovoltaic array
Acknowledgements
Dr. Houser
Dr. Mistrick
Professor Parfitt
Professor Holland
Cannon Design
Family and Friends
Introduction
Entrance Lobby
Daylighting Analysis
Photovoltaic Analysis
Structural Analysis
Conclusion

## Slide 48
Questions?

## Slide 49
References
maps.google.com
http://campusmap.ucr.edu/imap/index.html
http://runningtowardsomethingnew.com/tag/treadmill-running/
http://www.elyevergreencottage.com/
http://www.mccoysauna.com/
http://health.howstuffworks.com/wellness/men/health-tips/weight-lifting-and-weight-control.htm
http://upload.wikimedia.org/wikipedia/commons/7/7a/Playing_volleyball_in_Guantanamo_Gym.jpg
http://www.eulesstx.gov/images/pacs/athletics/MensBasketball1.jpg
http://relaxationblog.relaxing-tranquility-moments.com/wp-content/uploads/2010/09/meditation_techniques.jpg
http://www.makemedicinebetter.org/wp-content/uploads/2011/10/Yoga-Class.jpg