## Slide 1: Central High School
Central High School
MID-ATLANTIC REGION
ADAM BROWN MECHANICAL OPTION SPRING 2014
Introduction
Existing Mechanical System
Thesis Proposal
Mechanical Breadth
GCHP Sizing / Layout
Energy Savings
Acoustical Breadth
Construction Breadth
Conclusion
ADAM BROWN MECHANICAL OPTION SPRING 2014

## Slide 2
Central High School
Introduction
Existing Mechanical System
Thesis Proposal
Mechanical Breadth
GCHP Sizing / Layout
Energy Savings
Acoustical Breadth
Construction Breadth
Conclusion
ADAM BROWN MECHANICAL OPTION SPRING 2014
Central High School
  1st floor renovation
  2nd floor addition
Location - Mid Atlantic Region
Size - 322,000 sq. ft.
Project Cost - $84 million
Completion - February 2015

## Slide 3
Central High School
Introduction
Existing Mechanical System
Thesis Proposal
Mechanical Breadth
GCHP Sizing / Layout
Energy Savings
Acoustical Breadth
Construction Breadth
Conclusion
ADAM BROWN MECHANICAL OPTION SPRING 2014
Heating Water System
  1 natural gas boiler
Chilled Water System
  2 air cooled chillers
Air Handling Units
  20 DOAS units
  Energy recovery wheels
4 pipe fan coil units

## Slide 4
Central High School
Introduction
Existing Mechanical System
Thesis Proposal
Mechanical Breadth
GCHP Sizing / Layout
Energy Savings
Acoustical Breadth
Construction Breadth
Conclusion
ADAM BROWN MECHANICAL OPTION SPRING 2014
Peak Heating Load – 7766 Mbh
Peak Cooling Load – 934 Tons

## Slide 5
Central High School
Introduction
Existing Mechanical System
Thesis Proposal
Mechanical Breadth
GCHP Sizing / Layout
Energy Savings
Acoustical Breadth
Construction Breadth
Conclusion
ADAM BROWN MECHANICAL OPTION SPRING 2014
Peak Electric Demand – 88681 kWh
Peak Gas Demand – 2094 Therms

## Slide 6
Central High School
Introduction
Existing Mechanical System
Thesis Proposal
Mechanical Breadth
GCHP Sizing / Layout
Energy Savings
Acoustical Breadth
Construction Breadth
Conclusion
ADAM BROWN MECHANICAL OPTION SPRING 2014
Goals
  REDUCE energy demand
  REDUCE environmental impact
  INCREASE maintainability
Proposal
  Ground Coupled Heat Pump System
    Heat Pumps
    Packaged ERUs
    Hydronic Pumps

## Slide 7
Central High School
Introduction
Existing Mechanical System
Thesis Proposal
Mechanical Breadth
GCHP Sizing / Layout
Energy Savings
Acoustical Breadth
Construction Breadth
Conclusion
ADAM BROWN MECHANICAL OPTION SPRING 2014
Vertical Bore Layout
Well Field
  Increase depth of well
  Decrease amount of wells
Oversize Well Field
  1000 Tons
  Soccer Field
  Future capacity
  No supplemental boiler / cooling tower

## Slide 8
Central High School
Introduction
Existing Mechanical System
Thesis Proposal
Mechanical Breadth
GCHP Sizing / Layout
Energy Savings
Acoustical Breadth
Construction Breadth
Conclusion
ADAM BROWN MECHANICAL OPTION SPRING 2014
Well Field Layout
  38 rows
  13 wells per row
  Reverse return

## Slide 9
Central High School
Introduction
Existing Mechanical System
Thesis Proposal
Mechanical Breadth
GCHP Sizing / Layout
Energy Savings
Acoustical Breadth
Construction Breadth
Conclusion
ADAM BROWN MECHANICAL OPTION SPRING 2014
Individual runs
  Emergency shutoff
3 VFD pumps
  2 primary pumps
  1 redundant
Increase maintainability

## Slide 10
Central High School
Introduction
Existing Mechanical System
Thesis Proposal
Mechanical Breadth
GCHP Sizing / Layout
Energy Savings
Acoustical Breadth
Construction Breadth
Conclusion
ADAM BROWN MECHANICAL OPTION SPRING 2014
Heat Pump Selection
  Carrier
  Typical 1 – 3 ton units
Energy Recovery Unit Selection
  SEMCO
  Packaged
  Water to water source heat pumps
  Enthalpy & Sensible wheels

## Slide 11
Central High School
Introduction
Existing Mechanical System
Thesis Proposal
Mechanical Breadth
GCHP Sizing / Layout
Energy Savings
Acoustical Breadth
Construction Breadth
Conclusion
ADAM BROWN MECHANICAL OPTION SPRING 2014

## Slide 12
Central High School
Introduction
Existing Mechanical System
Thesis Proposal
Mechanical Breadth
GCHP Sizing / Layout
Energy Savings
Acoustical Breadth
Construction Breadth
Conclusion
ADAM BROWN MECHANICAL OPTION SPRING 2014
Electricity increase 45%
Energy decrease 35%
Savings of $19074 per year

## Slide 13
Central High School
Introduction
Existing Mechanical System
Thesis Proposal
Mechanical Breadth
GCHP Sizing / Layout
Energy Savings
Acoustical Breadth
Construction Breadth
Conclusion
ADAM BROWN MECHANICAL OPTION SPRING 2014

## Slide 14
Central High School
Introduction
Existing Mechanical System
Thesis Proposal
Mechanical Breadth
GCHP Sizing / Layout
Energy Savings
Acoustical Breadth
Construction Breadth
Conclusion
ADAM BROWN MECHANICAL OPTION SPRING 2014
Heat Pump closet
  Typical for classrooms
  Achieves mitigation of sound through wall
  Meets ANSI S12.60 standard

## Slide 15
Central High School
Introduction
Existing Mechanical System
Thesis Proposal
Mechanical Breadth
GCHP Sizing / Layout
Energy Savings
Acoustical Breadth
Construction Breadth
Conclusion
ADAM BROWN MECHANICAL OPTION SPRING 2014
Low Frequencies
  Heat Pump emits most noise
  Mitigate sound through ductwork
NC 30 required
  Low frequency issues
NC 27 achieved

## Slide 16
Central High School
Introduction
Existing Mechanical System
Thesis Proposal
Mechanical Breadth
GCHP Sizing / Layout
Energy Savings
Acoustical Breadth
Construction Breadth
Conclusion
ADAM BROWN MECHANICAL OPTION SPRING 2014

## Slide 17
Central High School
Introduction
Existing Mechanical System
Thesis Proposal
Mechanical Breadth
GCHP Sizing / Layout
Energy Savings
Acoustical Breadth
Construction Breadth
Conclusion
ADAM BROWN MECHANICAL OPTION SPRING 2014
Cost Difference of $3643.89
Duration Difference of 2 days
Coordination Issues Difference of 2

## Slide 18
Central High School
Introduction
Existing Mechanical System
Thesis Proposal
Mechanical Breadth
GCHP Sizing / Layout
Energy Savings
Acoustical Breadth
Construction Breadth
Conclusion
ADAM BROWN MECHANICAL OPTION SPRING 2014
Goals
  REDUCE energy demand
  REDUCE environmental impact
  INCREASE maintainability
Conclusions
  GCHP
    REDUCED site energy
    INCREASED environmental impact
    INCREASED maintainability
Heat Pump Closet
  MEETS ANSI standards
  NOT feasible to construct

## Slide 19
Central High School
Introduction
Existing Mechanical System
Thesis Proposal
Mechanical Breadth
GCHP Sizing / Layout
Energy Savings
Acoustical Breadth
Construction Breadth
Conclusion
ADAM BROWN MECHANICAL OPTION SPRING 2014
Acknowledgements
Jacobs
SHW Group
Thesis Advisor
AE Faculty
Family & Friends
Classmates
THANK YOU!

## Slide 20
Central High School
Introduction
Existing Mechanical System
Thesis Proposal
Mechanical Breadth
GCHP Sizing / Layout
Energy Savings
Acoustical Breadth
Construction Breadth
Conclusion
ADAM BROWN MECHANICAL OPTION SPRING 2014
References
SHW Group LLP “Final Bid Set”. Reston, Virginia.
Central High School “Master Specifications”.
ASHRAE. Standard 62.1-2010, Ventilation for Acceptable Indoor Air Quality. Atlanta, GA. American Society of Heating Refrigeration and Air Conditioning Engineers, Inc.
ASHRAE. Standard 90.1-2010, Energy Standards for Buildings Except Low-Rise Residential Buildings. Atlanta, GA. American Society of Heating Refrigeration and Air Conditioning Engineers, Inc.
ANSI/ASA S12.60-2010, American National Standard Acoustical Performance Criteria, Design Requirements, and Guidelines for Schools, Part 1: Permanent Schools. Melville, NY. Acoustical Society of America.
Halliwell, R.E., Nightingale, T. R. T., Warnock, A. C. C., Birta, J. A. Gypsum Board Walls: Transmission Loss Data. 1998. NRC-CNRC.
Mossman, Melville. Plumbing Cost Data, 2014. N.p.: Means, Incorporated, R. S, 2013. Print.
Mossman, Melville. Mechanical Cost Data, 2014. N.p.: Means, Incorporated, R. S, 2013. Print.
Phelan, Marilyn. Assemblies Cost Data, 2014. N.p.: Means, Incorporated, R. S, 2013. Print.
Faculty Consultations

## Slide 21
Central High School
Introduction
Existing Mechanical System
Thesis Proposal
Mechanical Breadth
GCHP Sizing / Layout
Energy Savings
Acoustical Breadth
Construction Breadth
Conclusion
ADAM BROWN MECHANICAL OPTION SPRING 2014
Questions?