## Slide 1: Taylor Hall George Mason University
Fairfax, VA
Advisor: Ed Gannon
Introduction
Prevention through Design
Façade Re-design for PtD
Stick-Built vs. Infinity System
Green Roof Addition
Conclusion
Acknowledgments
Bradley Williams - CM
Renderings courtesy of Gensler

## Slide 2
Introduction
Prevention Through Design
Façade Re-design for PtD
Stick-Built vs. Infinity System
Green Roof Addition
Conclusion
Acknowledgments
Taylor Hall – George Mason University
Fairfax, VA
Project Delivery – Design Build
Owner
Design Builder
Architect
Bradley Williams - CM
Various
Sub-contractors
Project Statistics:
295 Freshman Students
70,057 GSF
~$16,000,00
12 months of construction
LEED Silver
Taylor Hall – George Mason University
Fairfax, VA
Design
Sub-contractors
Renderings courtesy of Gensler

## Slide 3
Introduction
Prevention Through Design
Façade Re-design for PtD
Stick-Built vs. Infinity System
Green Roof Addition
Conclusion
Acknowledgments
Taylor Hall – George Mason University
Fairfax, VA
Bradley Williams - CM
Increase the awareness for sustainable design
Reduce the cost of construction while maintaining quality
Investigate new ways to increase job-site safety
Reduce injury risk for construction workers, future students and maintenance personnel
Investigation Goals
$
!
Analysis 1: Prevention through Design
Analysis 2: Façade Re-design for Fall Safety
Architectural Breadth: Mechanical Access Points
Analysis 3: Stick-Built construction vs. Infinity System
Analysis 4: Green Roof Addition
Structural Breadth: Green Roof Load incurrence
Preview of Analyses
Taylor Hall – George Mason University
Fairfax, VA

## Slide 4
Introduction
Prevention Through Design
Façade Re-design for PtD
Stick-Built vs. Infinity System
Green Roof Addition
Conclusion
Acknowledgments
Taylor Hall – George Mason University
Fairfax, VA
Bradley Williams - CM
Prevention through Design
Critical Industry Research
Disposal / Recycling
Maintenance
Decommissioning
Construction
Current Industry-Wide Issues
Lack of risk knowledge
Lack of early collaboration/communication
Lack of contractual obligation for safety
Ideas for Implementation
Raising sill height to 39”
Prefabrication
Raising parapet height and using flat roofs
Lowering mechanical access points
Using low VOC materials
“…the Center for Disease Control and Prevention (CDC) have pinpointed in recent studies that an abundant 37% of these work related injuries are directly caused by poor design” - CDC.gov
Taylor Hall – George Mason University
Fairfax, VA
A N A L Y S I S O N E
Balfour Beatty Construction

## Slide 5
Introduction
Prevention Through Design
Façade Re-design for PtD
Architectural Breadth
Stick-Built vs. Infinity System
Green Roof Addition
Conclusion
Acknowledgments
Taylor Hall – George Mason University
Fairfax, VA
Bradley Williams - CM
Façade Re-design and Implementation of Prevention through Design
39 in.
Logical Safety improvement method given prefab structural system
Total cost of implementation:
No schedule impact
Taylor Hall – George Mason University
Fairfax, VA
Results:
Increase job site safety
Prevent student misconduct
Benefits outweigh cost
Save cost on temporary fall protection lines
$17,156.40
A N A L Y S I S T W O
Renderings courtesy of Gensler

## Slide 6
Introduction
Prevention Through Design
Façade Re-design for PtD
Architectural Breadth
Stick-Built vs. Infinity System
Green Roof Addition
Conclusion
Acknowledgments
Taylor Hall – George Mason University
Fairfax, VA
Bradley Williams - CM
Taylor Hall – George Mason University
Fairfax, VA
Investigation of Mechanical Access Points
8’ 6”
3’ 5”
Mechanical Access Heights | 
Mechanical Room | Floor Mounted Equipment
Unit FCU Access | 3’ 5”
Mechanical Penthouse | 7’ 8”
FCU Access points in each unit
All access points considered safe (except trip hazard in pent house)
All access points behind locked doors or restricted access
Considered very “safe” design
A R C H I T E C T U R A L B R E A D T H
Renderings courtesy of Gensler

## Slide 7
Introduction
Prevention Through Design
Façade Re-design for PtD
Stick-Built vs. Infinity System
Green Roof Addition
Conclusion
Acknowledgments
Taylor Hall – George Mason University
Fairfax, VA
Bradley Williams - CM
Taylor Hall – George Mason University
Fairfax, VA
Stick-Built Framing vs. Infinity Structural System
Overall Cost of Stick-Built System | 
Part of System | Price
Wooden Roof Trusses/Sheathing | $128,240.64
Wooden Framing | $612,998.75
Wooden Joists/Girders | $1,224,596.36
TOTAL COST | $1,965,835.75
Total ($/SF) | $28.06
Location Adjustment Multiplier (78.3) | $21.97
Infinity Structural System estimated at $23 / SF
Total Savings of $72,158.71
No schedule change with prefabrication
Fire safe construction
Experienced craftsmen in D.C. area
Benefits
A N A L Y S I S T H R E E
Photos courtesy of Brad Williams
Renderings courtesy of Gensler

## Slide 8
Introduction
Prevention Through Design
Façade Re-design for PtD
Stick-Built vs. Infinity System
Green Roof Addition
Structural Analysis
Conclusion
Acknowledgments
Taylor Hall – George Mason University
Fairfax, VA
Bradley Williams - CM
Taylor Hall – George Mason University
Fairfax, VA
Green Roof Addition
Fiscal Analysis
Payback Period: 4.17 - 6.7 years
Internal Rate of Return*: 4.21%
Return on Investment*: 196%
* Not including CO2 Emissions, Community Benefits, or Re-Sale Value
Omni-Ecosystems.com
50 – year Life Cycle Cost Benefit Analysis ($/SF) | 
Initial Cost | $13.51
Maintenance and Replacement | $18.25
Storm Water Reduction Savings | $11.37
Energy Savings | $6.37
CO2 Emission Savings | $2.60
Community Benefits | $30.90
Property Re-sale value premium | $105.93
Installation Cost of $17,696.63
1 day installation
Green Roof
Multi-purpose Room Green Roof
1,310 SF total
Omni-Ecosystem comprehensive style green roof for optimum weight
Can be added post-construction
Low maintenance, high efficiency
A N A L Y S I S F O U R
Takeaways
Significantly longer life than T.P.O.
Educational opportunities in sustainability
Lifetime net yield of up to $182,000 of benefits

## Slide 9
Introduction
Prevention Through Design
Façade Re-design for PtD
Stick-Built vs. Infinity System
Green Roof Addition
Structural Analysis
Conclusion
Acknowledgments
Taylor Hall – George Mason University
Fairfax, VA
Bradley Williams - CM
Taylor Hall – George Mason University
Fairfax, VA
Load Path of Green Roof
Existing Factored Load: 81 PSF
Factored Load with Green Roof: 99 PSF
Load Comparison
Structural Change
Member | Existing Load | New Load | Allowable
Roof Deck | 81 PSF | 99 PSF | 159 PSF
Joists | 329.2 PLF | 401.2 PLF | 472 PLF
Girder | 3.2 kips | 3.9 kips | 20 kips
Steel Post Column | 3.2 kips | 3.9 kips | 16 kips
HSS Column | 9.2 kips | 11.3 kips | 87 kips
Soil | 0.56 KSF | 0.71 KSF | 2.0 KSF
Structural Evaluation of Potential Green Roof
1.5” 20 GA
galv. Roof Deck
14K1 Series
Joists
W12X19
Girder
3” Steel Pipe
Column
HSS 4x4x3/8
Column
3 ksi concrete
footing
15 PSF
All structural members can safely accommodate new loading
No structural changes are necessary
S T R U C T U R A L B R E A D T H

## Slide 10
Introduction
Prevention Through Design
Façade Re-design for PtD
Stick-Built vs. Infinity System
Green Roof Addition
Conclusion
Acknowledgments
Taylor Hall – George Mason University
Fairfax, VA
Bradley Williams - CM
Taylor Hall – George Mason University
Fairfax, VA
Conclusion
Summary of Results |  | 
Analysis | Result | 
Prevention through Design | Reduced risk of injury over the building’s life | 
Façade Re-design | More efficient fall safety measures | 
Stick-Built Construction | Cost effective solution for the D.C. area | 
Green Roof Addition | Educational opportunities and financial benefits | 
$
!
Renderings courtesy of Gensler

## Slide 11
Introduction
Prevention Through Design
Façade Re-design for PtD
Stick-Built vs. Infinity System
Green Roof Addition
Conclusion
Acknowledgments
Taylor Hall – George Mason University
Fairfax, VA
Bradley Williams - CM
Taylor Hall – George Mason University
Fairfax, VA
Acknowledgments
Renderings courtesy of Gensler
Family and Friends
John Risley, Contractor Safety Coordinator of PSU OPP
Professors and Faculty of the Architectural Engineering department
Questions?

## Slide 12
Introduction
Prevention Through Design
Façade Re-design for PtD
Stick-Built vs. Infinity System
Green Roof Addition
Conclusion
Acknowledgments
Taylor Hall – George Mason University
Fairfax, VA
Bradley Williams - CM
Taylor Hall – George Mason University
Fairfax, VA
Appendix
Green Roof Study conducted by the U.S. General Services Administration

## Slide 13
Introduction
Prevention Through Design
Façade Re-design for PtD
Stick-Built vs. Infinity System
Green Roof Addition
Conclusion
Acknowledgments
Taylor Hall – George Mason University
Fairfax, VA
Bradley Williams - CM
Taylor Hall – George Mason University
Fairfax, VA
Appendix

## Slide 14
Introduction
Prevention Through Design
Façade Re-design for PtD
Stick-Built vs. Infinity System
Green Roof Addition
Conclusion
Acknowledgments
Taylor Hall – George Mason University
Fairfax, VA
Bradley Williams - CM
Taylor Hall – George Mason University
Fairfax, VA
Appendix

## Slide 15
Introduction
Prevention Through Design
Façade Re-design for PtD
Stick-Built vs. Infinity System
Green Roof Addition
Conclusion
Acknowledgments
Taylor Hall – George Mason University
Fairfax, VA
Bradley Williams - CM
Taylor Hall – George Mason University
Fairfax, VA
Appendix

## Slide 16
Introduction
Prevention Through Design
Façade Re-design for PtD
Stick-Built vs. Infinity System
Green Roof Addition
Conclusion
Acknowledgments
Taylor Hall – George Mason University
Fairfax, VA
Bradley Williams - CM
Taylor Hall – George Mason University
Fairfax, VA
Appendix