## Slide 1
Casino Gold
AE Senior Thesis
Brad Robertson

## Slide 2
Project Overview
Lighting Concept
Poker Room
Design Criteria
Lighting Solution
Calculations
Pre-Function
Design Criteria
Lighting Solution
Calculations
Solar Array
Structural Effects
Conclusion
Scope of Senior Thesis
Lighting Redesign
  Outdoor Plaza
  Pre-Function
  Poker Room
  Player’s Lounge
Electrical Depth
  Modifications for Lighting Redesign
  Addition of Solar Array
Construction Breadth
Structural Breadth

## Slide 3
Project Overview
Lighting Concept
Poker Room
Design Criteria
Lighting Solution
Calculations
Pre-Function
Design Criteria
Lighting Solution
Calculations
Solar Array
Structural Effects
Conclusion
Scope of Senior Thesis
Lighting Redesign
  Outdoor Plaza
  Pre-Function
  Poker Room
  Player’s Lounge
Electrical Depth
  Modifications for Lighting Redesign
  Addition of Solar Array
Construction Breadth
Structural Breadth

## Slide 4
Project Overview
Lighting Concept
Poker Room
Design Criteria
Lighting Solution
Calculations
Pre-Function
Design Criteria
Lighting Solution
Calculations
Solar Array
Structural Effects
Conclusion

## Slide 5
Level 1
Level 2
Size: 309,450 sq. ft.
Levels: 3
Approximate Cost: $400 Million
Project Team
  Executive Architect: ka
  Design/Interiors Architect: Friedmutter Group
  Construction Manager: Whiting-Turner
  Structural Engineer: Carroll Engineering, Inc.
  MEPT Engineer: JBA Consulting Engineers
  Lighting Design: The Lighting Practice

## Slide 6
Project Overview
Lighting Concept
Poker Room
Design Criteria
Lighting Solution
Calculations
Pre-Function
Design Criteria
Lighting Solution
Calculations
Solar Array
Structural Effects
Conclusion
“Connecting People”
*http://online-free-casino-games.blogspot.com

## Slide 7
Project Overview
Lighting Concept
Poker Room
Design Criteria
Lighting Solution
Calculations
Pre-Function
Design Criteria
Lighting Solution
Calculations
Solar Array
Structural Effects
Conclusion
Description
Located on the 2nd level
Approx. 8,100 sq. ft.
15ft woodwork
16ft ceilings
Poker Room RCP *Friedmutter Group

## Slide 8
Project Overview
Lighting Concept
Poker Room
Design Criteria
Lighting Solution
Calculations
Pre-Function
Design Criteria
Lighting Solution
Calculations
Solar Array
Structural Effects
Conclusion
Design Criteria and Considerations
Workspace for Players
Uniform Light
  Avg. / Min. of 5:1
Horizontal Illuminance
  Eh,avg = 30fc
Lighting Power Density
  Classroom/Lecture: 1.24 W/ft2

## Slide 9
Project Overview
Lighting Concept
Poker Room
Design Criteria
Lighting Solution
Calculations
Pre-Function
Design Criteria
Lighting Solution
Calculations
Solar Array
Structural Effects
Conclusion
Poker Room Lighting Plan
Lithonia, 8” Downlight, 27.5W
123 total

## Slide 10
Project Overview
Lighting Concept
Poker Room
Design Criteria
Lighting Solution
Calculations
Pre-Function
Design Criteria
Lighting Solution
Calculations
Solar Array
Structural Effects
Conclusion
Poker Room Lighting Plan
43” Dia. Winona Decorative Pendant, 186W
14 total

## Slide 11
Project Overview
Lighting Concept
Poker Room
Design Criteria
Lighting Solution
Calculations
Pre-Function
Design Criteria
Lighting Solution
Calculations
Solar Array
Structural Effects
Conclusion
Poker Room Lighting Plan
6” Square Wallwash, 32.5W
12 total

## Slide 12
Project Overview
Lighting Concept
Poker Room
Design Criteria
Lighting Solution
Calculations
Pre-Function
Design Criteria
Lighting Solution
Calculations
Solar Array
Structural Effects
Conclusion
Poker Room Lighting Plan
Winona Wall Drum, 32.2W
3 total

## Slide 13
Project Overview
Lighting Concept
Poker Room
Design Criteria
Lighting Solution
Calculations
Pre-Function
Design Criteria
Lighting Solution
Calculations
Solar Array
Structural Effects
Conclusion
Design Criteria and Considerations
Uniform Light
  Avg. / Min. of 5:1
Horizontal Illuminance
  Eh,avg = 30fc
Lighting Power Density
  Classroom/Lecture: 1.24 W/ft2
Final Design
  Avg. / Min. ratio of 1.85
  Horizontal Illuminance of 32fc
  Lighting Power Density of 0.80 W/ft2

## Slide 14
Description
Located on the 1st level
Approx. 1,980 sq. ft.
15ft ceiling
17ft recessed ceilings
Project Overview
Lighting Concept
Poker Room
Design Criteria
Lighting Solution
Calculations
Pre-Function
Design Criteria
Lighting Solution
Calculations
Solar Array
Structural Effects
Conclusion

## Slide 15
Design Criteria and Considerations
Promote Impression of Spaciousness
Guide Guests
Horizontal Illuminance
  Eh,avg = 30fc
Avg. / Min. ratio of 4:1
Lighting Power Density
  Corridor/Transition: 0.66 W/ft2
Project Overview
Lighting Concept
Poker Room
Design Criteria
Lighting Solution
Calculations
Pre-Function
Design Criteria
Lighting Solution
Calculations
Solar Array
Structural Effects
Conclusion

## Slide 16
Pre-Function Lighting Design
Project Overview
Lighting Concept
Poker Room
Design Criteria
Lighting Solution
Calculations
Pre-Function
Design Criteria
Lighting Solution
Calculations
Solar Array
Structural Effects
Conclusion
Philips 4ft Linear Cove w/ Intelligent White, 20.7W
22 total

## Slide 17
Pre-Function Lighting Design
Project Overview
Lighting Concept
Poker Room
Design Criteria
Lighting Solution
Calculations
Pre-Function
Design Criteria
Lighting Solution
Calculations
Solar Array
Structural Effects
Conclusion
Shaper Fabric Covered Pendant, 93W
4 total

## Slide 18
Pre-Function Lighting Design
Project Overview
Lighting Concept
Poker Room
Design Criteria
Lighting Solution
Calculations
Pre-Function
Design Criteria
Lighting Solution
Calculations
Solar Array
Structural Effects
Conclusion
6” Square Wallwash, 86.6
4 total

## Slide 19
Pre-Function Lighting Design
Project Overview
Lighting Concept
Poker Room
Design Criteria
Lighting Solution
Calculations
Pre-Function
Design Criteria
Lighting Solution
Calculations
Solar Array
Structural Effects
Conclusion
6” Recessed Downlight, Lithonia, 15.6W
4 total

## Slide 20
Design Criteria and Considerations
Avg. / Min. of 4:1
Horizontal Illuminance
  Eh,avg = 30fc
Lighting Power Density
  Corridor/Transition: 0.66 W/ft2
Final Design
  Avg. / Min. ratio of 1.95
  Horizontal Illuminance of 30fc
  Lighting Power Density of 0.62 W/ft2
Project Overview
Lighting Concept
Poker Room
Design Criteria
Lighting Solution
Calculations
Pre-Function
Design Criteria
Lighting Solution
Calculations
Solar Array
Structural Effects
Conclusion

## Slide 21
Project Overview
Lighting Concept
Poker Room
Design Criteria
Lighting Solution
Calculations
Pre-Function
Design Criteria
Lighting Solution
Calculations
Solar Array
Structural Effects
Conclusion
Photovoltaic Array
System Advisor Model, SAM
Suntech Power STP250 – 20Wd Module
  250W, 37.4A, efficiency of 15.4%
Growatt 20000TL3-US Inverter
400 Panels, 20x20
5 inverters needed

## Slide 22
Project Overview
Lighting Concept
Poker Room
Design Criteria
Lighting Solution
Calculations
Pre-Function
Design Criteria
Lighting Solution
Calculations
Solar Array
Structural Effects
Conclusion
Photovoltaic Array
Peak production of 14,000kWh in July
Monthly Average of 11,820kWh
Total Cost of Array
  $239,680
Assuming $0.09/kWh
  Payback Period of 18 years and 9 months

## Slide 23
Project Overview
Lighting Concept
Poker Room
Design Criteria
Lighting Solution
Calculations
Pre-Function
Design Criteria
Lighting Solution
Calculations
Solar Array
Structural Effects
Conclusion
Dead Load
3psf – Suntech panel
5.5psf – Roof Assembly (AISC Table 17-13, 14th Edition
10psf – Superimposed
1.78psf – Vulcraft 1.5B x 22 gauge roof deck
  Total = 21psf
Live Load
30psf - Snow
Roof Deck
Vulcraft 1.5B x 22 gauge
Meets requirements for a 3-span, unshored condition
Current Roof Joist
32LH09
  Span of 60ft, 5’ 8” spacing
Does not meet deflection requirements
New Roof joist
Increase size to 32LH11
  Depth does not change

## Slide 24
Project Overview
Lighting Concept
Poker Room
Design Criteria
Lighting Solution
Calculations
Pre-Function
Design Criteria
Lighting Solution
Calculations
Solar Array
Structural Effects
Conclusion
Dead Load
3psf – Suntech panel
5.5psf – Roof Assembly (AISC Table 17-13, 14th Edition
10psf – Superimposed
1.78psf – Vulcraft 1.5B x 22 gauge roof deck
  Total = 21psf
Live Load
30psf - Snow
Joist Girder
60G10N20K
  60” deep, has 10 panels, unfactored point load of 20kips
  Calculations find actual point load of 17.5kips
Third Level Column
W8X48
  Table 4-1, AISC 14th Edition used to evaluate column
  Calculations find column to be adequate

## Slide 25
Project Overview
Lighting Concept
Poker Room
Design Criteria
Lighting Solution
Calculations
Pre-Function
Design Criteria
Lighting Solution
Calculations
Solar Array
Structural Effects
Conclusion