## Slide 1
Fraunhofer | Center for Sustainable Energy
Boston, MA
Schematic Lighting Design
Xiaoyin Wu
2013.12.09

## Slide 2
Fraunhofer CSE | Boston, MA | Schematic Design | Xiaoyin Wu
building | concept | four spaces | design solutions

## Slide 3
Fraunhofer CSE | Boston, MA | Schematic Design | Xiaoyin Wu
building | concept | four spaces | design solutions
Fraunhofer CSE
5 Channel Center Street, Boston, MA
Offices and research laboratories (Group B) Conference room (Group A-3)
42150SF
6
General Contractor: Gilbane Building Co.
Architects: DiMella Shaffer
Structural Engineer: McNamara/Salvia, Inc.
MEP/FP/Tel Data Engineer: BR+A Consulting Engineers
Lighting Consultant: Lam Partners
Plumbing/HVAC Services: Northeastern Mechanical
Building Name-
Location-
Occupancy Type-
Size-
Stories above Grade-
Project Teams-
Project Overview

## Slide 4
Fraunhofer CSE | Boston, MA | Schematic Design | Xiaoyin Wu
building | concept | four spaces | design solutions
Architecture
a renovation for a 100-year old historical building classical revival-style detailing
the Fort Point Channel district is marked by an exceptional degree of visual uniformity
buildings are elegantly proportioned, with classically inspired details concentrated at entrances and cornices the structure is left unchanged in this project to conserve the significant continuity throughout the District in terms of massing, scale, and style

## Slide 5
Fraunhofer CSE | Boston, MA | Schematic Design | Xiaoyin Wu
building | concept | four spaces | design solutions

## Slide 6
Fraunhofer CSE | Boston, MA | Schematic Design | Xiaoyin Wu
building | concept | four spaces | design solutions

## Slide 7
Fraunhofer CSE | Boston, MA | Schematic Design | Xiaoyin Wu
building | concept | four spaces | design solutions

## Slide 8
Based in Boston, MA, the Fraunhofer Center for Sustainable Energy Systems (CSE) is an applied research and development laboratory dedicated to the commercialization of CLEAN energy TECHNOLOGIES. CSE engages in COLLABORATIVE research and development with private companies, government entities, and academic institutions, performing research that broadly benefits firms, industries, and society.
Fraunhofer CSE | Boston, MA | Schematic Design | Xiaoyin Wu
building | concept | four spaces | design solutions

## Slide 9
Fraunhofer CSE | Boston, MA | Schematic Design | Xiaoyin Wu
building | concept | four spaces | design solutions
Based in Boston, MA, the Fraunhofer Center for Sustainable Energy Systems (CSE) is an applied research and development laboratory dedicated to the commercialization of CLEAN energy TECHNOLOGIES. CSE engages in COLLABORATIVE research and development with private companies, government entities, and academic institutions, performing research that broadly benefits firms, industries, and society.
clean—SIMPLICITY
technology—INTELLIGENT
coordination—COLLABORATIVE

## Slide 10
Fraunhofer CSE | Boston, MA | Schematic Design | Xiaoyin Wu
building | concept | four spaces | design solutions
Clean | Simplicity

## Slide 11
Fraunhofer CSE | Boston, MA | Schematic Design | Xiaoyin Wu
building | concept | four spaces | design solutions
Technology | Intelligent

## Slide 12
Fraunhofer CSE | Boston, MA | Schematic Design | Xiaoyin Wu
building | concept | four spaces | design solutions
Coordination | Collaborative

## Slide 13
Fraunhofer CSE | Boston, MA | Schematic Design | Xiaoyin Wu
building | concept | four spaces | design solutions
Spaces
Façade
Office
Lobby & Conference Room

## Slide 14
Fraunhofer CSE | Boston, MA | Schematic Design | Xiaoyin Wu
1st Floor
Reception/Lobby
Conference Room
building | concept | four spaces | design solutions

## Slide 15
Fraunhofer CSE | Boston, MA | Schematic Design | Xiaoyin Wu
Criteria
lobby | conference room | open office | façade
Space |  | Eh | Ev | Avg:Min
Lower Lobby (F112) |  | 100 lux | 30 lux | 4:1
Upper Lobby (F113) | Reception Desk | 150 lux | 50 lux | 4:1
 | General Area | 100 lux | 30 lux | 4:1
Professional
Modern
Technology Oriented

## Slide 16
lobby | conference room | open office | façade
Fraunhofer CSE | Boston, MA | Schematic Design | Xiaoyin Wu
Lobby | Reception

## Slide 17
lobby | conference room | open office | façade
Fraunhofer CSE | Boston, MA | Schematic Design | Xiaoyin Wu
Lobby | Reception

## Slide 18
lobby | conference room | open office | façade
Fraunhofer CSE | Boston, MA | Schematic Design | Xiaoyin Wu
Lobby | Reception

## Slide 19
lobby | conference room | open office | façade
Fraunhofer CSE | Boston, MA | Schematic Design | Xiaoyin Wu
Lobby | Reception

## Slide 20
lobby | conference room | open office | façade
Fraunhofer CSE | Boston, MA | Schematic Design | Xiaoyin Wu
Lobby | Reception

## Slide 21
lobby | conference room | open office | façade
Fraunhofer CSE | Boston, MA | Schematic Design | Xiaoyin Wu
Lobby | Reception

## Slide 22
lobby | conference room | open office | façade
Fraunhofer CSE | Boston, MA | Schematic Design | Xiaoyin Wu
Lobby | Reception

## Slide 23
lobby | conference room | open office | façade
Fraunhofer CSE | Boston, MA | Schematic Design | Xiaoyin Wu
Lobby | Reception

## Slide 24
lobby | conference room | open office | façade
Fraunhofer CSE | Boston, MA | Schematic Design | Xiaoyin Wu
Lobby | Reception

## Slide 25
lobby | conference room | open office | façade
Fraunhofer CSE | Boston, MA | Schematic Design | Xiaoyin Wu
Lobby | Reception

## Slide 26
lobby | conference room | open office | façade
Fraunhofer CSE | Boston, MA | Schematic Design | Xiaoyin Wu
Lobby | Reception
Psychological impression:
relaxation | tension

## Slide 27
Fraunhofer CSE | Boston, MA | Schematic Design | Xiaoyin Wu
Criteria
lobby | conference room | open office | façade
Surface/Purpose | Eh | Ev | Avg:Min
Meeting | 150 | 75 | 1.5:1
AV | 30 | 30 | 
Front-screen projection |  | 50 | 
Faces | 300 | 400 | 1.5:1
Professional
Simple
Task driven

## Slide 28
lobby | conference room | open office | façade
Fraunhofer CSE | Boston, MA | Schematic Design | Xiaoyin Wu
Conference Room

## Slide 29
lobby | conference room | open office | façade
Fraunhofer CSE | Boston, MA | Schematic Design | Xiaoyin Wu
Conference Room

## Slide 30
lobby | conference room | open office | façade
Fraunhofer CSE | Boston, MA | Schematic Design | Xiaoyin Wu
Conference Room

## Slide 31
lobby | conference room | open office | façade
Fraunhofer CSE | Boston, MA | Schematic Design | Xiaoyin Wu
Open Office

## Slide 32
lobby | conference room | open office | façade
Fraunhofer CSE | Boston, MA | Schematic Design | Xiaoyin Wu
Open Office

## Slide 33
Fraunhofer CSE | Boston, MA | Schematic Design | Xiaoyin Wu
Criteria
lobby | conference room | open office | façade
Surface/Purpose | Eh | Ev | Avg:Min
Work plane (computer) | 150 | 50 | 1.5:1
Clean
Modern
Spacious

## Slide 34
lobby | conference room | open office | façade
Fraunhofer CSE | Boston, MA | Schematic Design | Xiaoyin Wu
Open Office

## Slide 35
lobby | conference room | open office | façade
Fraunhofer CSE | Boston, MA | Schematic Design | Xiaoyin Wu
Open Office

## Slide 36
lobby | conference room | open office | façade
Fraunhofer CSE | Boston, MA | Schematic Design | Xiaoyin Wu
Open Office

## Slide 37
Fraunhofer CSE | Boston, MA | Schematic Design | Xiaoyin Wu
lobby | conference room | open office | façade
Open Office

## Slide 38
Fraunhofer CSE | Boston, MA | Schematic Design | Xiaoyin Wu
lobby | conference room | open office | façade
Open Office

## Slide 39
Fraunhofer CSE | Boston, MA | Schematic Design | Xiaoyin Wu
lobby | conference room | open office | façade
Open Office

## Slide 40
Fraunhofer CSE | Boston, MA | Schematic Design | Xiaoyin Wu
lobby | conference room | open office | façade
Open Office

## Slide 41
Fraunhofer CSE | Boston, MA | Schematic Design | Xiaoyin Wu
lobby | conference room | open office | façade
Façade

## Slide 42
Fraunhofer CSE | Boston, MA | Schematic Design | Xiaoyin Wu
Criteria
lobby | conference room | open office | façade
IES Illuminance Recommendations
Façade with reflection<0.5 and low activity: Ev = 40 lux
ASHRAE 90.1 (2010) Requirements
Building entrances and exits: main entries = 20W/linear-ft of door width
Façade: 0.1W/sf for each illuminated wall or surface or 2.5 W/linear ft for each illuminated wall or surface length
Architectural Elements
Layers
Historical

## Slide 43
Fraunhofer CSE | Boston, MA | Schematic Design | Xiaoyin Wu
lobby | conference room | open office | façade
Façade

## Slide 44
Fraunhofer CSE | Boston, MA | Schematic Design | Xiaoyin Wu
lobby | conference room | open office | façade
Façade

## Slide 45
Fraunhofer CSE | Boston, MA | Schematic Design | Xiaoyin Wu
lobby | conference room | open office | façade
Façade
Horseshoe Casino, Cleveland

## Slide 46
Fraunhofer | Center for Sustainable Energy
Boston, MA
Schematic Lighting Design
Xiaoyin Wu
2013.12.09
QUESTIONS?