## Slide 1
National Law Enforcement Officers Memorial Fund
Anya Godigamuwe | AE Senior Thesis | Mechanical | April 2015
Notes: Good morning, everyone. My name is Anya Godigamuwe and today I will be presenting my thesis of the National Law Enforcement Museum in Washington, DC.

## Slide 2
National Law Enforcement Museum
Introduction
Project Information
  Mechanical System Redesign
    Existing VAV System
    Proposed VRF System
  Pavilion Façade Redesign
    Existing Façade
    Proposed Façade
  Acoustic Analysis
Conclusion
Acknowledgements
Notes: Introduction – preview the different sections

## Slide 3
National Law Enforcement Museum
Project Information
Location
Project Team
Construction & Cost
Schedule
Architecture
Introduction
Project Information
  Mechanical System Redesign
    Existing VAV System
    Proposed VRF System
  Pavilion Façade Redesign
    Existing Façade
    Proposed Façade
  Acoustic Analysis
Conclusion
Acknowledgements
Notes: Preview Project Information Section

## Slide 4
National Law Enforcement Museum
Washington, D.C.
© Google Earth
Project Information
Location
Project Team
Construction & Cost
Schedule
Architecture
Introduction
Project Information
  Mechanical System Redesign
    Existing VAV System
    Proposed VRF System
  Pavilion Façade Redesign
    Existing Façade
    Proposed Façade
  Acoustic Analysis
Conclusion
Acknowledgements

## Slide 5
National Law Enforcement Museum
US Capitol Building
© Google Earth
Project Information
Location
Project Team
Construction & Cost
Schedule
Architecture
Introduction
Project Information
  Mechanical System Redesign
    Existing VAV System
    Proposed VRF System
  Pavilion Façade Redesign
    Existing Façade
    Proposed Façade
  Acoustic Analysis
Conclusion
Acknowledgements

## Slide 6
National Law Enforcement Museum
© Google Earth
Project Information
Location
Project Team
Construction & Cost
Schedule
Architecture
Introduction
Project Information
  Mechanical System Redesign
    Existing VAV System
    Proposed VRF System
  Pavilion Façade Redesign
    Existing Façade
    Proposed Façade
  Acoustic Analysis
Conclusion
Acknowledgements

## Slide 7
National Law Enforcement Museum
DC Court of Appeals
Museum Location
Nat’l Law Enforcement Officers Memorial
© Google Maps
Project Information
Project Information
Location
Project Team
Construction & Cost
Schedule
Architecture
Introduction
Project Information
  Mechanical System Redesign
    Existing VAV System
    Proposed VRF System
  Pavilion Façade Redesign
    Existing Façade
    Proposed Façade
  Acoustic Analysis
Conclusion
Acknowledgements

## Slide 8
National Law Enforcement Museum
Project Information
Location
Project Team
Construction & Cost
Schedule
Architecture
Project Team
Architect: Davis Buckley Architects & Planners
MEP: Loring Consulting Engineers
Structural: Spiegel, Zamecnik & Shah
Construction Manager: Clark Construction
Acoustic Consultant: Shen Milsom Wake
Lighting Consultant: Claude R. Engel
Landscape: Urban Tree + Soils
Project Information
Introduction
Project Information
  Mechanical System Redesign
    Existing VAV System
    Proposed VRF System
  Pavilion Façade Redesign
    Existing Façade
    Proposed Façade
  Acoustic Analysis
Conclusion
Acknowledgements
Notes: Project Team

## Slide 9
National Law Enforcement Museum
Project Information
Construction, Cost & Schedule
Design – Bid – Build
Cost: $50 million
Mechanical Cost: $4.5 million
Schedule: 28 months
Summer 2015
Project Information
Location
Project Team
Construction & Cost
Schedule
Architecture
Introduction
Project Information
  Mechanical System Redesign
    Existing VAV System
    Proposed VRF System
  Pavilion Façade Redesign
    Existing Façade
    Proposed Façade
  Acoustic Analysis
Conclusion
Acknowledgements

## Slide 10
National Law Enforcement Museum
© Davis Buckley Architects & Planners
Architecture
Building: 54000 GSF
Two entry pavilions
Museum Spaces Underground
  Research Center
  Café
  Gift Shop
  Offices
  Exhibit Spaces
  Theater
  Hall of Remembrance
  Central Plant
Project Information
Project Information
Location
Project Team
Construction & Cost
Schedule
Architecture
Architecture
Building: 54000 GSF
Two entry pavilions
Museum Spaces Underground
  Research Center
  Café
  Gift Shop
  Offices
  Exhibit Spaces
  Theater
  Hall of Remembrance
  Central Plant
Introduction
Project Information
  Mechanical System Redesign
    Existing VAV System
    Proposed VRF System
  Pavilion Façade Redesign
    Existing Façade
    Proposed Façade
  Acoustic Analysis
Conclusion
Acknowledgements

## Slide 11
National Law Enforcement Museum
© Davis Buckley Architects & Planners
Project Information
Project Information
Location
Project Team
Construction & Cost
Schedule
Architecture
Architecture
Building: 54000 GSF
Two entry pavilions
Museum Spaces Underground
  Research Center
  Café
  Gift Shop
  Offices
  Exhibit Spaces
  Theater
  Hall of Remembrance
  Central Plant
Introduction
Project Information
  Mechanical System Redesign
    Existing VAV System
    Proposed VRF System
  Pavilion Façade Redesign
    Existing Façade
    Proposed Façade
  Acoustic Analysis
Conclusion
Acknowledgements

## Slide 12
National Law Enforcement Museum
Courtesy of NLEOMF
Project Information
Project Information
Location
Project Team
Construction & Cost
Schedule
Architecture
Architecture
Building: 54000 GSF
Two entry pavilions
Museum Spaces Underground
  Research Center
  Café
  Gift Shop
  Offices
  Exhibit Spaces
  Theater
  Hall of Remembrance
  Central Plant
Introduction
Project Information
  Mechanical System Redesign
    Existing VAV System
    Proposed VRF System
  Pavilion Façade Redesign
    Existing Façade
    Proposed Façade
  Acoustic Analysis
Conclusion
Acknowledgements

## Slide 13
National Law Enforcement Museum
Courtesy of NLEOMF
Project Information
Project Information
Location
Project Team
Construction & Cost
Schedule
Architecture
Architecture
Building: 54000 GSF
Two entry pavilions
Museum Spaces Underground
  Research Center
  Café
  Gift Shop
  Offices
  Exhibit Spaces
  Theater
  Hall of Remembrance
  Central Plant
Introduction
Project Information
  Mechanical System Redesign
    Existing VAV System
    Proposed VRF System
  Pavilion Façade Redesign
    Existing Façade
    Proposed Façade
  Acoustic Analysis
Conclusion
Acknowledgements

## Slide 14
National Law Enforcement Museum
Depth One: Mechanical System Redesign
Introduction
Project Information
  Mechanical System Redesign
    Existing VAV System
    Proposed VRF System
  Pavilion Façade Redesign
    Existing Façade
    Proposed Façade
  Acoustic Analysis
Conclusion
Acknowledgements

## Slide 15
National Law Enforcement Museum
Depth: Mechanical System Redesign
Design Goals
Energy Efficiency
Minimum Noise
LEED Silver Status
Challenges
Humid Summer
Unobtrusive Design
Existing VAV System
Design Goals
Challenges
Equipment
Schematic
Heating & Cooling Loads
Introduction
Project Information
  Mechanical System Redesign
    Existing VAV System
    Proposed VRF System
  Pavilion Façade Redesign
    Existing Façade
    Proposed Façade
  Acoustic Analysis
Conclusion
Acknowledgements

## Slide 16
National Law Enforcement Museum
Depth: Mechanical System Redesign
Equipment
  Mechanical Penthouse East
    (1) Air Handling Unit
      East Entry
    (2) Cooling Towers
      Chillers
Equipment
Mechanical Penthouse East
(1) Air Handling Unit
East Entry
(2) Cooling Towers
Chillers
Existing VAV System
Design Goals
Challenges
Equipment
Schematic
Heating & Cooling Loads
Introduction
Project Information
  Mechanical System Redesign
    Existing VAV System
    Proposed VRF System
  Pavilion Façade Redesign
    Existing Façade
    Proposed Façade
  Acoustic Analysis
Conclusion
Acknowledgements

## Slide 17
National Law Enforcement Museum
Depth: Mechanical System Redesign
Equipment
  Mechanical Penthouse West
    (1) Air Handling Unit
      West Entry
Equipment
Mechanical Penthouse West
(1) Air Handling Unit
West Entry
Existing VAV System
Design Goals
Challenges
Equipment
Schematic
Heating & Cooling Loads
Introduction
Project Information
  Mechanical System Redesign
    Existing VAV System
    Proposed VRF System
  Pavilion Façade Redesign
    Existing Façade
    Proposed Façade
  Acoustic Analysis
Conclusion
Acknowledgements

## Slide 18
National Law Enforcement Museum
Depth: Mechanical System Redesign
Equipment
Mech. Rm. Ticket Level East
(2) Air Handling Units
Exhibits
Theater
Mech. Rm. Ticket Level West
(1) Air Handling Unit
Exhibits
Fan Coil Units
Existing VAV System
Design Goals
Challenges
Equipment
Schematic
Heating & Cooling Loads
Introduction
Project Information
  Mechanical System Redesign
    Existing VAV System
    Proposed VRF System
  Pavilion Façade Redesign
    Existing Façade
    Proposed Façade
  Acoustic Analysis
Conclusion
Acknowledgements

## Slide 19
National Law Enforcement Museum
Depth: Mechanical System Redesign
Equipment
Central Plant
(1) Air Handling Unit
Pepco/Switchgear Rm.
(1) Chiller
(1) Heat Exchanger
(4) Pumps
(1) Expansion Tank
(1) CHW Buffer Tank
Existing VAV System
Design Goals
Challenges
Equipment
Schematic
Heating & Cooling Loads
Introduction
Project Information
  Mechanical System Redesign
    Existing VAV System
    Proposed VRF System
  Pavilion Façade Redesign
    Existing Façade
    Proposed Façade
  Acoustic Analysis
Conclusion
Acknowledgements

## Slide 20
National Law Enforcement Museum
Depth: Mechanical System Redesign
Existing VAV System
Design Goals
Challenges
Equipment
Schematic
Heating & Cooling Loads
Introduction
Project Information
  Mechanical System Redesign
    Existing VAV System
    Proposed VRF System
  Pavilion Façade Redesign
    Existing Façade
    Proposed Façade
  Acoustic Analysis
Conclusion
Acknowledgements

## Slide 21
National Law Enforcement Museum
Depth: Mechanical System Redesign
Energy Costs | KWH | KBTU/YR
Heating | 142345 | 485825
Cooling | 186857 | 637742
Auxiliary Mechanical Equipment | 3954 | 13496
Lighting | 280914 | 958760
Receptacle Load | 559656 | 1910107
Chart: Percent Building Energy Use
| Heating | Cooling | Auxiliary Mechanical Equipment | Lighting | Receptacle Load
% Building Energy | 12.1 | 15.9 | 0.3 | 23.9 | 47.7
Existing VAV System
Design Goals
Challenges
Equipment
Schematic
Heating & Cooling Loads
Introduction
Project Information
  Mechanical System Redesign
    Existing VAV System
    Proposed VRF System
  Pavilion Façade Redesign
    Existing Façade
    Proposed Façade
  Acoustic Analysis
Conclusion
Acknowledgements

## Slide 22
National Law Enforcement Museum
Proposed Redesign – VRF System
Introduction
Project Information
  Mechanical System Redesign
    Existing VAV System
    Proposed VRF System
  Pavilion Façade Redesign
    Existing Façade
    Proposed Façade
  Acoustic Analysis
Conclusion
Acknowledgements

## Slide 23
National Law Enforcement Museum
Depth: Mechanical System Redesign
Reasoning
Less Energy
Lower Noise
Long Term Cost
Model
Trace 700
Zoning by Use
DOAS
Proposed VRF System
Reasoning
Model
Schematic
Heating & Cooling Loads
Annual Energy Use
Cost Analysis
Comparison
Conclusion
Introduction
Project Information
  Mechanical System Redesign
    Existing VAV System
    Proposed VRF System
  Pavilion Façade Redesign
    Existing Façade
    Proposed Façade
  Acoustic Analysis
Conclusion
Acknowledgements

## Slide 24
National Law Enforcement Museum
Depth: Mechanical System Redesign
Proposed VRF System
Reasoning
Model
Schematic
Heating & Cooling Loads
Annual Energy Use
Cost Analysis
Comparison
Conclusion
Introduction
Project Information
  Mechanical System Redesign
    Existing VAV System
    Proposed VRF System
  Pavilion Façade Redesign
    Existing Façade
    Proposed Façade
  Acoustic Analysis
Conclusion
Acknowledgements

## Slide 25
National Law Enforcement Museum
Depth: Mechanical System Redesign
Chart: Cooling and Heating Load for VAV and VRF System
| Cooling Load (Btu/hr) | Heating Load (Btu/hr)
VAV Model | 2702214 | 1138017
VRF Model | 1971709 | 883731
Summary
Heating & Cooling Loads
VRF – 164 Cooling tons
27% less than VAV
VRF – 884 MBH
22% less than VAV
Proposed VRF System
Reasoning
Model
Schematic
Heating & Cooling Loads
Annual Energy Use
Cost Analysis
Comparison
Conclusion
Introduction
Project Information
  Mechanical System Redesign
    Existing VAV System
    Proposed VRF System
  Pavilion Façade Redesign
    Existing Façade
    Proposed Façade
  Acoustic Analysis
Conclusion
Acknowledgements

## Slide 26
National Law Enforcement Museum
Depth: Mechanical System Redesign
Chart: Monthly Energy Cost Comparison
| January | February | March | April | May | June | July | August | September | October | November | December
VAV | 8317 | 7028 | 6665 | 6331 | 7959 | 8429 | 9297 | 8671 | 7671 | 6684 | 6847 | 8052
VRF | 6910 | 6111 | 6131 | 6232 | 8278 | 8757 | 9599 | 9053 | 7961 | 6348 | 5873 | 6530
Annual Energy Use
VRF uses less energy in winter
Both system’s energy use is similar
Cannot choose one over other
Proposed VRF System
Reasoning
Model
Schematic
Heating & Cooling Loads
Annual Energy Use
Cost Analysis
Comparison
Conclusion
Introduction
Project Information
  Mechanical System Redesign
    Existing VAV System
    Proposed VRF System
  Pavilion Façade Redesign
    Existing Façade
    Proposed Façade
  Acoustic Analysis
Conclusion
Acknowledgements

## Slide 27
National Law Enforcement Museum
Depth: Mechanical System Redesign
Life Cycle Cost Estimate | 
Delta First Cost | $ 40,555.00
Net change in annual operating cost | $ 4,168.00
Simple Payback Period | 9.73
Length of life | 20 years
Discount Rate | 3%
Savings over life (20yrs @ 3%) | $ 62,009.29
Benefit to Cost Ratio | 1.53
Is BCR Cost effective? | YES
Internal Rate of Return | 8.13%
Cost Analysis
Length of Life – Mitsubishi
3% expected discount rate 8.13% IRR
Proposed VRF System
Reasoning
Model
Schematic
Heating & Cooling Loads
Annual Energy Use
Cost Analysis
Comparison
Conclusion
Introduction
Project Information
  Mechanical System Redesign
    Existing VAV System
    Proposed VRF System
  Pavilion Façade Redesign
    Existing Façade
    Proposed Façade
  Acoustic Analysis
Conclusion
Acknowledgements

## Slide 28
National Law Enforcement Museum
Depth: Mechanical System Redesign
Alternative 1 & 2 Comparison |  |  | 
 | VAV | VRF | %Difference
CFM | 109761 | 106867 | 2.64%
KW | 1181926 | 1108271 | 6.23%
CO2 (lbm/yr) | 3265014 | 3090651 | 5.34%
SO2 (gm/yr) | 11672 | 11049 | 5.34%
NOX (gm/yr) | 4982 | 4716 | 5.34%
Comparison
Similar operation to VAV
Less cooling energy, 6%
10 year payback period
Potential 5% reduction in CO2 emissions
Proposed VRF System
Reasoning
Model
Schematic
Heating & Cooling Loads
Annual Energy Use
Cost Analysis
Comparison
Conclusion
Introduction
Project Information
  Mechanical System Redesign
    Existing VAV System
    Proposed VRF System
  Pavilion Façade Redesign
    Existing Façade
    Proposed Façade
  Acoustic Analysis
Conclusion
Acknowledgements

## Slide 29
National Law Enforcement Museum
Depth: Mechanical System Redesign
Conclusion:
VRF is not a good option
Cost
Energy Use
Emissions
Proposed VRF System
Reasoning
Model
Schematic
Heating & Cooling Loads
Annual Energy Use
Cost Analysis
Comparison
Conclusion
Introduction
Project Information
  Mechanical System Redesign
    Existing VAV System
    Proposed VRF System
  Pavilion Façade Redesign
    Existing Façade
    Proposed Façade
  Acoustic Analysis
Conclusion
Acknowledgements

## Slide 30
National Law Enforcement Museum
Depth Two: Pavilion Façade Redesign
Introduction
Project Information
  Mechanical System Redesign
    Existing VAV System
    Proposed VRF System
  Pavilion Façade Redesign
    Existing Façade
    Proposed Façade
  Acoustic Analysis
Conclusion
Acknowledgements

## Slide 31
National Law Enforcement Museum
Depth: Pavilion Façade Redesign
Design Goals
Minimize Solar Heat Gain
Minimize Cooling Load
Challenges
Humid Summer
Unobtrusive Design
Chart: Cooling Load
| From Glass | From Other
Percent | 42 | 58
Depth: Pavilion Façade Redesign
Design Goals
Challenges
Proposal
Model
Solar Heat Gain
Cooling Load
Conclusion
Introduction
Project Information
  Mechanical System Redesign
    Existing VAV System
    Proposed VRF System
  Pavilion Façade Redesign
    Existing Façade
    Proposed Façade
  Acoustic Analysis
Conclusion
Acknowledgements

## Slide 32
National Law Enforcement Museum
Depth: Pavilion Façade Redesign
Challenges
Maintain Aesthetic
“minimize intrusion to surrounding square…strong and elegant…respectfully respond to the heavier mass…”
- DBA Website
Challenges
Humid Summer
Unobtrusive Design
© Davis Buckley Architects & Planners
Depth: Pavilion Façade Redesign
Design Goals
Challenges
Proposal
Model
Solar Heat Gain
Cooling Load
Conclusion
Introduction
Project Information
  Mechanical System Redesign
    Existing VAV System
    Proposed VRF System
  Pavilion Façade Redesign
    Existing Façade
    Proposed Façade
  Acoustic Analysis
Conclusion
Acknowledgements

## Slide 33
National Law Enforcement Museum
Depth: Pavilion Façade Redesign
Design Goals
Challenges
Proposal
Model
Solar Heat Gain
Cooling Load
Conclusion
Depth: Pavilion Façade Redesign
Proposal
Replace roof
Utilize better curtain wall
Introduction
Project Information
  Mechanical System Redesign
    Existing VAV System
    Proposed VRF System
  Pavilion Façade Redesign
    Existing Façade
    Proposed Façade
  Acoustic Analysis
Conclusion
Acknowledgements

## Slide 34
National Law Enforcement Museum
Depth: Pavilion Façade Redesign
Design Goals
Challenges
Proposal
Model
Solar Heat Gain
Cooling Load
Conclusion
Depth: Pavilion Façade Redesign
Model
Trace 700 VAV Model
Alternative with new glass type
Compare with VAV design
Original Glass |  | 
Material | Description | Thickness (in.)
Outboard Lite | clear (low iron) heat tempered, heat soaked glass with Low Emissivity Coating on Number 2 Surface, and with flat ground and polished edges | 0.31
Air Space | Air | 0.5
Inboard Lite x2 | Clear (low iron) heat soaked glass laminated with 0.060" DuPont SentryGlass Plus structural interlayer with flat ground and polished edges | 0.625
Thickness |  | 1.50
Approximate U-Value |  | 0.31
Shading Coefficient |  | 0.50
Visible Transmissivity |  | 0.90
Vertical Insulating Laminated Glass |  | 
Material | Description | Thickness (in.)
Outer Layer | Insulating tempered glass with 30% silk screen coverage | 0.25
Air Space | Air | 0.5
Inner Layer | Tempered glass with low-E coating | .25
Thickness |  | 1.00
Approximate U-Value |  | 0.26
Shading Coefficient |  | 0.35
Visible Transmissivity |  | 0.55
Proposed Viracon Glass |  | 
Material | Description | Thickness (in.)
Outer Layer | Insulating tempered glass with 30% silk screen coverage | 0.25
Air Space | Air | 0.5
Inner Layer | Tempered glass with low-E coating | .25
Thickness |  | 1.00
Approximate U-Value |  | 0.26
Shading Coefficient |  | 0.35
Visible Transmissivity |  | 0.55
Introduction
Project Information
  Mechanical System Redesign
    Existing VAV System
    Proposed VRF System
  Pavilion Façade Redesign
    Existing Façade
    Proposed Façade
  Acoustic Analysis
Conclusion
Acknowledgements

## Slide 35
National Law Enforcement Museum
Depth: Pavilion Façade Redesign
Design Goals
Challenges
Proposal
Model
Solar Heat Gain
Cooling Load
Conclusion
Depth: Pavilion Façade Redesign
Solar Heat Gain
Peak Solar Load Comparison
Chart: Original Façade: Percent of Peak Load from Glass/Skylights
| Skylight Solar Peak (Btu/h) | Glass Solar Peak (Btu/hr) | Other Peak Loads (Btu/hr)
Original Façade | 0.31488 | 0.10316 | 0.58196
Chart: New Façade: Percent of Peak Load from Glass/Skylights
| Skylight Solar Peak (Btu/h) | Glass Solar Peak (Btu/hr) | Other Peak Loads (Btu/hr)
New Façade | 0.034571 | 0.034698 | 0.93073
Introduction
Project Information
  Mechanical System Redesign
    Existing VAV System
    Proposed VRF System
  Pavilion Façade Redesign
    Existing Façade
    Proposed Façade
  Acoustic Analysis
Conclusion
Acknowledgements

## Slide 36
National Law Enforcement Museum
Depth: Pavilion Façade Redesign
Design Goals
Challenges
Proposal
Model
Solar Heat Gain
Cooling Load
Conclusion
Depth: Pavilion Façade Redesign
Cooling Load
Cooling Load Comparison
Monthly Utility Cost
Introduction
Project Information
  Mechanical System Redesign
    Existing VAV System
    Proposed VRF System
  Pavilion Façade Redesign
    Existing Façade
    Proposed Façade
  Acoustic Analysis
Conclusion
Acknowledgements
Chart: Total Cooling Load Comparison
| Total Cooling Load Peak (Btu/h)
VAV | 2702214
VAV w/ New Façade | 2040605
Chart: Monthly Utility Cost
| January | February | March | April | May | June | July | August | September | October | November | December
VAV | 8317 | 7028 | 6665 | 6331 | 7959 | 8429 | 9297 | 8671 | 7671 | 6684 | 6847 | 8052
VAV w/ New Façade | 8671 | 7563 | 6843 | 6259 | 7193 | 7536 | 8332 | 7849 | 7056 | 6452 | 6603 | 8104

## Slide 37
National Law Enforcement Museum
Depth: Pavilion Façade Redesign
Design Goals
Challenges
Proposal
Model
Solar Heat Gain
Cooling Load
Conclusion
Depth: Pavilion Façade Redesign
Conclusion
Façade change beneficial
Reduced energy cost
Aesthetic unharmed
Introduction
Project Information
  Mechanical System Redesign
    Existing VAV System
    Proposed VRF System
  Pavilion Façade Redesign
    Existing Façade
    Proposed Façade
  Acoustic Analysis
Conclusion
Acknowledgements

## Slide 38
National Law Enforcement Museum
Breadth Topic: Acoustic Analysis
Introduction
Project Information
  Mechanical System Redesign
    Existing VAV System
    Proposed VRF System
  Pavilion Façade Redesign
    Existing Façade
    Proposed Façade
  Acoustic Analysis
Conclusion
Acknowledgements

## Slide 39
National Law Enforcement Museum
Space Description
Giving face to loss
Tribute to fallen
Breadth Topic: Acoustic Analysis
Space Description
Design Goals
Criteria
Modeling Process
Results
Conclusion
Breadth: Acoustic Analysis
Introduction
Project Information
  Mechanical System Redesign
    Existing VAV System
    Proposed VRF System
  Pavilion Façade Redesign
    Existing Façade
    Proposed Façade
  Acoustic Analysis
Conclusion
Acknowledgements

## Slide 40
National Law Enforcement Museum
Design Goals
Purpose
Low “echo”
Speech intelligibility
Breadth Topic: Acoustic Analysis
Space Description
Design Goals
Criteria
Modeling Process
Results
Conclusion
Breadth: Acoustic Analysis
Introduction
Project Information
  Mechanical System Redesign
    Existing VAV System
    Proposed VRF System
  Pavilion Façade Redesign
    Existing Façade
    Proposed Façade
  Acoustic Analysis
Conclusion
Acknowledgements

## Slide 41
National Law Enforcement Museum
Criteria
Reverberation Time
Quality of sound
Speech intelligibility
Breadth Topic: Acoustic Analysis
Space Description
Design Goals
Criteria
Modeling Process
Results
Conclusion
Breadth: Acoustic Analysis
Introduction
Project Information
  Mechanical System Redesign
    Existing VAV System
    Proposed VRF System
  Pavilion Façade Redesign
    Existing Façade
    Proposed Façade
  Acoustic Analysis
Conclusion
Acknowledgements

## Slide 42
National Law Enforcement Museum
Modeling Process
Absorption Values
Wall Area
RT value per octave band
Breadth Topic: Acoustic Analysis
Space Description
Design Goals
Criteria
Modeling Process
Results
Conclusion
Breadth: Acoustic Analysis
Wall Type 37
Materials
Metal Panel system
5/8" medium density fiberboard
"Z" clips
2 layers 5/8" GWB
3-5/" insulation with metal studs at 16" OC
2 layers 5/8" GWB
Introduction
Project Information
  Mechanical System Redesign
    Existing VAV System
    Proposed VRF System
  Pavilion Façade Redesign
    Existing Façade
    Proposed Façade
  Acoustic Analysis
Conclusion
Acknowledgements
Octave Band | Absorption Coefficient, 
125 | 0.1
250 | 0.07
500 | 0.05
1000 | 0.05
2000 | 0.04
4000 | 0.04

## Slide 43
National Law Enforcement Museum
Results
Room RT = 0.4 s.
Highest RT at 125 Hz
Architectural Acoustics: Principles & Design
Breadth Topic: Acoustic Analysis
Space Description
Design Goals
Criteria
Modeling Process
Results
Conclusion
Breadth: Acoustic Analysis
Frequency | 125 | 250 | 500 | 1000 | 2000 | 4000
Reverberation Time (s) | 0.48 | 0.39 | 0.4 | 0.3 | 0.26 | 0.24
Chart: RT for Hall of Remembrance (s)
| 125 | 250 | 500 | 1000 | 2000 | 4000
Reverberation Time (s) | 0.48 | 0.39 | 0.4 | 0.3 | 0.26 | 0.24
Introduction
Project Information
  Mechanical System Redesign
    Existing VAV System
    Proposed VRF System
  Pavilion Façade Redesign
    Existing Façade
    Proposed Façade
  Acoustic Analysis
Conclusion
Acknowledgements

## Slide 44
National Law Enforcement Museum
Conclusion
This RT is good for space
Low frequency concern
Breadth Topic: Acoustic Analysis
Space Description
Design Goals
Criteria
Modeling Process
Results
Conclusion
Breadth: Acoustic Analysis
Frequency | 125 | 250 | 500 | 1000 | 2000 | 4000
Reverberation Time (s) | 0.48 | 0.39 | 0.4 | 0.3 | 0.26 | 0.24
Chart: RT for Hall of Remembrance (s)
| 125 | 250 | 500 | 1000 | 2000 | 4000
Reverberation Time (s) | 0.48 | 0.39 | 0.4 | 0.3 | 0.26 | 0.24
Introduction
Project Information
  Mechanical System Redesign
    Existing VAV System
    Proposed VRF System
  Pavilion Façade Redesign
    Existing Façade
    Proposed Façade
  Acoustic Analysis
Conclusion
Acknowledgements

## Slide 45
National Law Enforcement Museum
Introduction
Project Information
  Mechanical System Redesign
    Existing VAV System
    Proposed VRF System
  Pavilion Façade Redesign
    Existing Façade
    Proposed Façade
  Acoustic Analysis
Conclusion
Acknowledgements
VRF System
Less energy use
Rate of return, 8.3%
Payback period, 10 years
Cost, $40,000 extra
Conclusion
Pavilion Facade
Less energy use
Lower cooling load
Acoustic Analysis
Meets criteria
RT of 0.4 s. ideal

## Slide 46
National Law Enforcement Museum
Introduction
Project Information
  Mechanical System Redesign
    Existing VAV System
    Proposed VRF System
  Pavilion Façade Redesign
    Existing Façade
    Proposed Façade
  Acoustic Analysis
Conclusion
Acknowledgements
My sincere thanks to:
Mr. J. Michael Galway - Loring Consulting Engineers
Mr. Davis Buckley & Mr. Thomas Striegel -
Davis Buckley Architects & Planners
Ms. Jeni Ashton - National Law Enforcement Museum
Mr. Lincoln Lawrence - Clark Construction Group
Dr. Stephen Treado & Prof. Stephen Parfitt
PSU Architectural Engineering Dept.
My loving family & friends
Acknowledgements
Thank you

## Slide 47
National Law Enforcement Museum
Introduction
Project Information
  Mechanical System Redesign
    Existing VAV System
    Proposed VRF System
  Pavilion Façade Redesign
    Existing Façade
    Proposed Façade
  Acoustic Analysis
Conclusion
Acknowledgements
My sincere thanks to:
Mr. J. Michael Galway - Loring Consulting Engineers
Mr. Davis Buckley & Mr. Thomas Striegel -
Davis Buckley Architects & Planners
Ms. Jeni Ashton - National Law Enforcement Museum
Mr. Lincoln Lawrence - Clark Construction Group
Dr. Stephen Treado & Prof. Stephen Parfitt
PSU Architectural Engineering Dept.
My loving family & friends
Acknowledgements
Thank you

## Slide 48
National Law Enforcement Museum
Appendices
  A – Daylighting
  B – VAV System
  C – VAV/VRF Comparison
  D – Façade Comparison
Appendix A - Daylighting
Breadth Topic: Daylighting Analysis
Model
Criteria
IES Results
Criteria
IES Lighting Handbook
Model
IES Virtual Environment
RadienceIES

## Slide 49
National Law Enforcement Museum
Appendix A - Daylighting
Breadth Topic: Daylighting Analysis
Model
Criteria
IES Results
IES Results
Meet criteria of 100 lux
Appendices
  A – Daylighting
  B – VAV System
  C – VAV/VRF Comparison
  D – Façade Comparison

## Slide 50
National Law Enforcement Museum
Appendix A - Daylighting
Breadth Topic: Daylighting Analysis
Model
Criteria
IES Results
IES Results
Meet criteria of 100 lux
Appendices
  A – Daylighting
  B – VAV System
  C – VAV/VRF Comparison
  D – Façade Comparison

## Slide 51
National Law Enforcement Museum
Appendix B – VAV System
Energy Costs | KWH | KBTU/YR
Heating | 142345 | 485825
Cooling | 186857 | 637742
Auxiliary Mechanical Equipment | 3954 | 13496
Lighting | 280914 | 958760
Receptacle Load | 559656 | 1910107
Chart: Percent Building Energy Use
| Heating | Cooling | Auxiliary Mechanical Equipment | Lighting | Receptacle Load
% Building Energy | 12.1 | 15.9 | 0.3 | 23.9 | 47.7
Appendices
  A – Daylighting
  B – VAV System
  C – VAV/VRF Comparison
  D – Façade Comparison

## Slide 52
National Law Enforcement Museum
Appendix C – VAV/ VRF Comparison
Chart: Cooling and Heating Load for VAV and VRF System
| Cooling Load (Btu/hr) | Heating Load (Btu/hr)
VAV Model | 2702214 | 1138017
VRF Model | 1971709 | 883731
Chart: Monthly Energy Cost Comparison
| January | February | March | April | May | June | July | August | September | October | November | December
VAV | 8317 | 7028 | 6665 | 6331 | 7959 | 8429 | 9297 | 8671 | 7671 | 6684 | 6847 | 8052
VRF | 6910 | 6111 | 6131 | 6232 | 8278 | 8757 | 9599 | 9053 | 7961 | 6348 | 5873 | 6530
Appendices
  A – Daylighting
  B – VAV System
  C – VAV/VRF Comparison
  D – Façade Comparison

## Slide 53
National Law Enforcement Museum
Appendix D – Façade Comparison
Chart: Original Façade: Percent of Peak Load from Glass/Skylights
| Skylight Solar Peak (Btu/h) | Glass Solar Peak (Btu/hr) | Other Peak Loads (Btu/hr)
Original Façade | 0.31488 | 0.10316 | 0.58196
Chart: New Façade: Percent of Peak Load from Glass/Skylights
| Skylight Solar Peak (Btu/h) | Glass Solar Peak (Btu/hr) | Other Peak Loads (Btu/hr)
New Façade | 0.034571 | 0.034698 | 0.93073
Chart: Total Cooling Load Comparison
| Total Cooling Load Peak (Btu/h)
VAV | 2702214
VAV w/ New Façade | 2040605
Chart: Monthly Utility Cost
| January | February | March | April | May | June | July | August | September | October | November | December
VAV | 8317 | 7028 | 6665 | 6331 | 7959 | 8429 | 9297 | 8671 | 7671 | 6684 | 6847 | 8052
VAV w/ New Façade | 8671 | 7563 | 6843 | 6259 | 7193 | 7536 | 8332 | 7849 | 7056 | 6452 | 6603 | 8104
Appendices
  A – Daylighting
  B – VAV System
  C – VAV/VRF Comparison
  D – Façade Comparison