## Slide 1
Senior Thesis Presentation
Bucks County Justice Center
Doylestown, PA
Joshua Lange
Lighting/Electrical
Thesis Adviser: Dr. Richard Mistrick
Electrical Adviser: Gary Golaszewski
4/15/2015

## Slide 2
Introduction
Presentation Overview
Location/Site
Building Overview
Lighting Depth
Electrical Depth
Mechanical Breadth
Acoustical Breadth and MAE Depth
Conclusion
Electrical Depth
Lighting Depth
Acoustical Breadth/MAE Depth
Mechanical Breadth
Project Introduction

## Slide 3
Introduction
Presentation Overview
Location/Site
Building Overview
Lighting Depth
Electrical Depth
Mechanical Breadth
Acoustical Breadth and MAE Depth
Conclusion
Bucks County Justice Center
Doylestown, PA

## Slide 4
Introduction
Presentation Overview
Location/Site
Building Overview
Lighting Depth
Electrical Depth
Mechanical Breadth
Acoustical Breadth and MAE Depth
Conclusion
2.
3.
1.
Existing Administration Building
1
3
2

## Slide 5
Introduction
Presentation Overview
Location/Site
Building Overview
Lighting Depth
Electrical Depth
Mechanical Breadth
Acoustical Breadth and MAE Depth
Conclusion
Building Statistics
Size: 273,000 GSF
Levels: 7 above grade (with penthouse)
2 below grade
Dates of construction: July 2011-February 2015
Overall Project Cost: approximately $84 million
2.
3.
1.
Existing Administration Building
1
3
2

## Slide 6
Introduction
Presentation Overview
Location/Site
Building Overview
Lighting Depth
Electrical Depth
Mechanical Breadth
Acoustical Breadth and MAE Depth
Conclusion
Project Team
Architect: HOK
MEP: H. F. Lenz
Lighting: Tigue Lighting
Telecom, Data, A/V, and Acoustics: Acentech Incorporated
Civil Engineering: Carroll Engineering Corporation
Structural: The Harman Group
Security and Code Consulting: Brinjac Engineers
General Contractor: Ernest Bock & Sons, Inc.
2.
3.
1.
Existing Administration Building
1
3
2

## Slide 7
Introduction
Lighting Depth
Main Lobby
Open Office
Ceremonial Courtroom
Electrical Depth
Mechanical Breadth
Acoustical Breadth and MAE Depth
Conclusion
Outdoor Space: Main Plaza
Design Criteria
Qualitative
Professional
Consistency
Quantitative
CRI:80
CCT: 3500K
Target of 20% reduction from ASHRAE maximum LPD
N
Spaces
Circulation Space: Main Lobby 1000
Large Workspace: Open Office 2520
Special Purpose Space: Ceremonial Courtroom 4100
N
N
N

## Slide 8
Introduction
Lighting Depth
Main Lobby
Introduction/Location
Design Criteria
Final Design
Design Analysis
Open Office
Ceremonial Courtroom
Electrical Depth
Mechanical Breadth
Acoustical Breadth and MAE Depth
Conclusion
N
N
Main Lobby 1000

## Slide 9
Introduction
Lighting Depth
Main Lobby
Introduction/Location
Design Criteria
Final Design
Design Analysis
Open Office
Ceremonial Courtroom
Electrical Depth
Mechanical Breadth
Acoustical Breadth and MAE Depth
Conclusion
N
Main Lobby 1000
Room Area: ~3,000 SF
Ceiling Height: 28’-0”
Balcony

## Slide 10
Introduction
Lighting Depth
Main Lobby
Introduction/Location
Design Criteria
Final Design
Design Analysis
Open Office
Ceremonial Courtroom
Electrical Depth
Mechanical Breadth
Acoustical Breadth and MAE Depth
Conclusion
Location | Eh (lux) | Elevation Eh | Avg:Min
Security Screening | 200 | 3’-0” | 2:1
Lobbies near entries (day) | 100 | Floor | 4:1
LPD (W/SF) | Local Control | Automatic Daylight Responsive Controls for Sidelighting | Automatic Full OFF | Scheduled Shutoff
0.9 | REQ | REQ | ADD2 | ADD2
Qualitative Criteria
Assist Security screening
Spacious and grand
Way finding
Quantitative Criteria

## Slide 11
Introduction
Lighting Depth
Main Lobby
Introduction/Location
Design Criteria
Final Design
Design Analysis
Open Office
Ceremonial Courtroom
Electrical Depth
Mechanical Breadth
Acoustical Breadth and MAE Depth
Conclusion
11
Type | Description | CCT (K) | CRI | Life (Hours) | Input (Watts) | Fixture Image
R3 | RECESSED CIRCULAR 6 INCH WIDE BEAM DOWNLIGHT 1500 LUMEN | 3500 | 80 | 50,000 L70 | 22.4 | 
R4 | RECESSED CIRCULAR 6 INCH WIDE BEAM WALL WASH 1000 LUMEN | 3500 | 80 | 50,000 L70 | 14.1 | 
W1 | WALL MOUNTED LINEAR UPLIGHT TWO FOOT, 2000 LUMENS | 3500 | 80 | 50,000 L70 | 22.6 | 
Type | Description | CCT (K) | CRI | Life (Hours) | Input (Watts) | Fixture Image
R7 | RECESSED CIRCULAR 8 INCH MEDIUM BEAM DOWNLIGHT 5000 LUMEN | 3500 | 80 | 50,000 L70 | 62 | 
R8 | RECESSED CIRCULAR 8 INCH MEDIUM BEAM DOWNLIGHT 3000 LUMEN | 3500 | 80 | 50,000 L70 | 42 | 
R9 | RECESSED CIRCULAR 8 INCH WIDE BEAM DOWNLIGHT 3000 LUMEN | 3500 | 80 | 50,000 L70 | 42 | 

## Slide 12
Introduction
Lighting Depth
Main Lobby
Introduction/Location
Design Criteria
Final Design
Design Analysis
Open Office
Ceremonial Courtroom
Electrical Depth
Mechanical Breadth
Acoustical Breadth and MAE Depth
Conclusion
Location |  | Eh (lux) | Height Eh | Avg:Min
Security Screening | Target | 200 | 3’-0" | 2:1
 | Design | 186 | 3’-0" | 1.7:1
Lobbies near entries (day) | Target | 100 | Floor | 4:1
 | Design | 139 | Floor | 3.2:1
Criteria Vs. Design
 | W/SF | Percent Reduction
ASHRAE Maximum | 0.9 | 63%
Design | 0.33 | 
Illuminance
Power

## Slide 13
Introduction
Lighting Depth
Main Lobby
Introduction/Location
Design Criteria
Final Design
Design Analysis
Open Office
Ceremonial Courtroom
Electrical Depth
Mechanical Breadth
Acoustical Breadth and MAE Depth
Conclusion

## Slide 14
Introduction
Lighting Depth
Main Lobby
Open Office
Introduction/Location
Design Criteria
Final Design
Design Analysis
Ceremonial Courtroom
Electrical Depth
Mechanical Breadth
Acoustical Breadth and MAE Depth
Conclusion
N
Open Office 2520
Room Area: ~1,300 SF
Ceiling Height: 9’-0”
Half height partitions
N

## Slide 15
Introduction
Lighting Depth
Main Lobby
Open Office
Introduction/Location
Design Criteria
Final Design
Design Analysis
Ceremonial Courtroom
Electrical Depth
Mechanical Breadth
Acoustical Breadth and MAE Depth
Conclusion
Location | Eh (lux) | Elevation Eh | Avg:Min
Open Office | 300 | 2’-6” | 1.5:1*
LPD (W/SF) | Local Control | Manual ON | Restricted to Partial Automatic ON | Bilevel Lighting Control | Automatic Daylight Responsive Controls for Sidelighting | Automatic Full OFF | Scheduled Shutoff
0.98 | REQ | ADD1 | ADD1 | REQ | REQ | ADD2 | ADD2
Qualitative Criteria
Openness
Promote community
Views
Quantitative Criteria
*From Table 12.6

## Slide 16
Introduction
Lighting Depth
Main Lobby
Open Office
Introduction/Location
Design Criteria
Final Design
Design Analysis
Ceremonial Courtroom
Electrical Depth
Mechanical Breadth
Acoustical Breadth and MAE Depth
Conclusion
Type | Description | CCT (K) | CRI | Life (Hours) | Input (Watts) | Fixture Image
P1 | CYLINDRICAL LED DIRECT/INDIRECT PENDANT | 3500 | 80+ | 50,000 L80 | 40 | 
P1E | EMERGENCY CYLINDRICAL LED DIRECT/INDIRECT PENDANT | 3500 | 80+ | 50,000 L80 | 40 | 
P2 | CYLINDRICAL LED WALL WASHER PENDANT | 3500 | 80+ | 50,000 L80 | 20 | 
P3 | CYLINDRICAL LED DIRECT/INDIRECT PENDANT | 3500 | 80+ | 50,000 L80 | 60 | 
Luminaire Type P2 is suspended 8’-0” AFF
All others are suspended 7’-0” AFF
P2
P2
P2
P2
P2
P2
P2
P2
P2
P2
P1
P1
P1
P1
P1
P1
P1
P1
P1
P1
P1E
P1
P1
P1
P1
P1
P1
P1
P1
P1E
P1
P1E
P3

## Slide 17
Introduction
Lighting Depth
Main Lobby
Open Office
Introduction/Location
Design Criteria
Final Design
Design Analysis
Ceremonial Courtroom
Electrical Depth
Mechanical Breadth
Acoustical Breadth and MAE Depth
Conclusion
Location |  | Eh (lux) | Height Eh | Avg:Min
Open Office | Target | 300 | 2‘-6" | 1.5:1
 | Design | 329 | 2'-6" | 2.0:1
Criteria Vs. Design
 | W/SF | Percent Reduction
ASHRAE Maximum | 0.98 | 28%
Design | 0.71 | 
Illuminance
Power

## Slide 18
Introduction
Lighting Depth
Main Lobby
Open Office
Introduction/Location
Design Criteria
Final Design
Design Analysis
Ceremonial Courtroom
Electrical Depth
Mechanical Breadth
Acoustical Breadth and MAE Depth
Conclusion

## Slide 19
Introduction
Lighting Depth
Main Lobby
Open Office
Ceremonial Courtroom
Introduction/Location
Design Criteria
Final Design
Design Analysis
Electrical Depth
Mechanical Breadth
Acoustical Breadth and MAE Depth
Conclusion
Ceremonial Courtroom 4100
Room Area: ~2,900 SF
Ceiling Height: 10’-6”
Public Seating Capacity: 222
N
N

## Slide 20
Introduction
Lighting Depth
Main Lobby
Open Office
Ceremonial Courtroom
Introduction/Location
Design Criteria
Final Design
Design Analysis
Electrical Depth
Mechanical Breadth
Acoustical Breadth and MAE Depth
Conclusion
Location | Eh (lux) | Elevation Eh | Avg:Min
Attorneys’ Tables | 500 | 2’-6” | 2:1
Bench and Clerks | 500 | 2’-6” | 2:1
Jury Box | 300 | 2’-6” | 2:1
Witness Stand | 300 | 2’-6” | 2:1
Public Seating | 100 | 2’-6” | 2:1
LPD (W/SF) | Local Control | Manual ON | Restricted to Partial Automatic ON | Bilevel Lighting Control | Automatic Daylight Responsive Controls for Sidelighting | Automatic Full OFF | Scheduled Shutoff
1.72 | REQ | ADD1 | ADD1 | REQ | REQ | ADD2 | ADD2
Qualitative Criteria
Dignified
Flexibility
Quantitative Criteria
Location | Ev (lux) | Max:Avg | Notes
AV Presentation Screen | 50 | 2:1 | Max Value

## Slide 21
Introduction
Lighting Depth
Main Lobby
Open Office
Ceremonial Courtroom
Introduction/Location
Design Criteria
Final Design
Design Analysis
Electrical Depth
Mechanical Breadth
Acoustical Breadth and MAE Depth
Conclusion
Type | Description | CCT (K) | CRI | Life (Hours) | Input (Watts) | Fixture Image
R1 | RECESSED CIRCULAR 6 INCH NARROW BEAM DOWNLIGHT 1500 LUMEN | 3500 | 80 | 50,000 L70 | 22.4 | 
R2 | RECESSED CIRCULAR 6 INCH WIDE BEAM DOWNLIGHT 1000 LUMEN | 3500 | 80 | 50,000 L70 | 14.1 | 
R4 | RECESSED CIRCULAR 6 INCH WIDE BEAM WALL WASH 1000 LUMEN | 3500 | 80 | 50,000 L70 | 14.1 | 
R10 | RECESSED CIRCULAR 6 INCH WIDE BEAM DOWNLIGHT 3000 LUMEN | 3500 | 80 | 50,000 L70 | 43.6 | 
R11 | RECESSED CIRCULAR 6 INCH MEDIUM BEAM DOWNLIGHT 2000 LUMEN | 3500 | 80 | 50,000 L70 | 31.5 | 
S1E | SURFACE MOUNTED LINEAR CEILING WASH | 3500 | 80+ | 50,000 L70 | 63.4 | 
R2
R2
R2
R2
R2
R2
R2
R2
R2
R2
R2
R2
R2
R2
R2
R2
R2
R2
R2
R2
R2
R2
R11
R11
R4
R4
R4
R4
R4
R4
R4
R4
R4
R4
R4
R4
R4
R2
R2
R11
R11
R1
R1
R1
R1
R1
R10
R10
R10
S1E
S1E

## Slide 22
Introduction
Lighting Depth
Main Lobby
Open Office
Ceremonial Courtroom
Introduction/Location
Design Criteria
Final Design
Design Analysis
Electrical Depth
Mechanical Breadth
Acoustical Breadth and MAE Depth
Conclusion
Location |  | Eh (lux) | Avg:Min
Attorney’s Tables | Target | 500 | 2:1
 | Table 1 | 454 | 1.1:1
 | Table 2 | 457 | 1.1:1
Bench and Clerks | Target | 500 | 2:1
 | Design (Bench Upper) | 434 | 1.9:1
 | Design (Bench Lower) | 460 | 1.7:1
 | Design (Clerks) | 500 | 1.2:1
Podium | Target | 500 | 2:1
 | Design | 456 | 1.1:1
Jury Box | Target | 300 | 2:1
 | Design | 325 | 2.0:1
Witness Stand | Target | 300 | 2:1
 | Design | 384 | 1.1:1
Public Seating | Target | 100 | 2:1
 | Design | 123 | 2.1:1
Criteria Vs. Design
 | W/SF | Percent Reduction
ASHRAE Maximum | 1.72 | 62%
Design | 0.66 | 
Illuminance
Power

## Slide 23
Introduction
Lighting Depth
Main Lobby
Open Office
Ceremonial Courtroom
Introduction/Location
Design Criteria
Final Design
Design Analysis
Electrical Depth
Mechanical Breadth
Acoustical Breadth and MAE Depth
Conclusion

## Slide 24
Introduction
Lighting Depth
Electrical Depth
Introduction
Short Circuit Study
Mechanical Breadth
Acoustical Breadth and MAE Depth
Conclusion
Short Circuit Study
Influence of Lighting Depth
DC Efficiency Analysis

## Slide 25
Introduction
Lighting Depth
Electrical Depth
Introduction
Short Circuit Study
Mechanical Breadth
Acoustical Breadth and MAE Depth
Conclusion
Chart: Percentage Loss
| Bus #2 | Level 6 | Level 5 | Level 4 | Level 3 | Level 2 | Level 1
 | 0.19946 | 0.10528 | 0.1905 | 0.2609 | 0.32004 | 0.37041 | 0.41383
Chart: Short Circuit Current (Amps)
| T1 | T2 | T4 | T29 | T31
 | 125510.9281 | 13878.6122 | 20817.9184 | 6574.0795 | 36737.503
Transformer Max Let Through Current
Percentage Loss Due to Conductor Impedance

## Slide 26
Chart: Current (Amps)
| T5 | T6 | T11 | T14 | T15 | T20 | T21 | Level 6 | Level 4 | Level 3 | Level 1
Primary | 36957 | 36957 | 34013 | 32710 | 32710 | 30382 | 30382
Secondary | 6707 | 6707 | 6376 | 6608 | 6608 | 6314 | 6314
Conclusion
Branch circuit panels: AIC rating of 10,000 A
Devices on the primary side of the transformers:
AIC of 35,000 A or 50,000 A depending on the location
Short Circuit Current (Busway #2)
Introduction
Lighting Depth
Electrical Depth
Introduction
Short Circuit Study
Mechanical Breadth
Acoustical Breadth and MAE Depth
Conclusion

## Slide 27
Introduction
Lighting Depth
Electrical Depth
Mechanical Breadth
Introduction
Analysis
Acoustical Breadth and MAE Depth
Conclusion
Data Sources
Thermal Demand was exported from a Trane Trace Model
Electric demand data was derived from EIA data for similar buildings
Natural gas and electric costs came from EIA average data for Pennsylvania
Combined Heat and Power (CHP) Feasibility Analysis
Advantages:
Increases primary fuel efficiency
Reduces emissions
Allows “off grid” operation

## Slide 28
Introduction
Lighting Depth
Electrical Depth
Mechanical Breadth
Data Sources
Analysis
Acoustical Breadth and MAE Depth
Conclusion
Thermal and Electrical Base Loads
Monthly Thermal and Electric Demand and Lambda D
Chart: Electric (KW)
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Average Electric | 589.8488 | 589.8488 | 590.0742 | 600.2786 | 685.6358 | 757.0211 | 839.3061 | 809.1157 | 691.3046 | 612.9614 | 597.7735 | 589.8488
Assumed Base | 589.8488 | 589.8488 | 589.8488 | 589.8488 | 589.8488 | 589.8488 | 589.8488 | 589.8488 | 589.8488 | 589.8488 | 589.8488 | 589.8488
Average Thermal | 4.0627 | 4.0219 | 3.6378 | 3.2826 | 2.6127 | 2.1474 | 1.6771 | 2.1546 | 2.5423 | 3.1346 | 3.4077 | 3.7776
Average Lambda D | 2.0186 | 1.9983 | 1.8068 | 1.6027 | 1.1168 | 0.83132 | 0.5856 | 0.78042 | 1.0778 | 1.4987 | 1.6707 | 1.8769
Thermal Base | 1.993 | 1.993 | 1.993 | 1.993 | 1.993 | 1.993 | 1.993 | 1.993 | 1.993 | 1.993 | 1.993 | 1.993
Results
Spark Spread
21.98
λD Annual
1.34
Simple Payback
16.3 Years
Summer Average (June, July, August) | 
Thermal (MMBTU/hr) | 1.99
Winter Average (December, January, February) | 
Electric (KW) | 590

## Slide 29
Introduction
Lighting Depth
Electrical Depth
Mechanical Breadth
Acoustical Breadth and MAE Depth
Introduction
Acoustical Breadth (RT Analysis)
MAE Depth (Audio Amplification System Analysis)
Conclusion
Speech Intelligibility of Ceremonial Courtroom 4100
Performed a reverberation time (RT) analysis
Analyzed the influence of the audio reinforcement system

## Slide 30
Introduction
Lighting Depth
Electrical Depth
Mechanical Breadth
Acoustical Breadth and MAE Depth
Introduction
Acoustical Breadth (RT Analysis)
MAE Depth (Audio Amplification System Analysis)
Conclusion
Chart: Ceremonial Courtroom Reverberations Times
| 125 | 250 | 500 | 1000 | 2000 | 4000
Target | 0.975 | 0.8625 | 0.75 | 0.75 | 0.75 | 0.75
Original | 0.80682 | 0.75191 | 0.50089 | 0.46493 | 0.45031 | 0.4079
Design | 1.0305 | 1.0112 | 0.69993 | 0.6973 | 0.6747 | 0.58548
EASE | 0.93 | 0.98 | 0.81 | 0.82 | 0.78 | 0.69
Results
Design Criteria
Figure 17.10 from “Architectural Acoustics” by Marshall Long

## Slide 31
Introduction
Lighting Depth
Electrical Depth
Mechanical Breadth
Acoustical Breadth and MAE Depth
Introduction
Acoustical Breadth (RT Analysis)
MAE Depth (Audio Amplification System Analysis)
Conclusion
Audience 2
Audience 3
Audience 1
Seat 2
Seat 1
Human Source
Jury
Judges 1
Judges 2
Speaker (Typ.)

## Slide 32
Introduction
Lighting Depth
Electrical Depth
Mechanical Breadth
Acoustical Breadth and MAE Depth
Introduction
Acoustical Breadth (RT Analysis)
MAE Depth (Audio Amplification System Analysis)
Conclusion
SPL Plot With Reinforcement
SPL Plot Without Reinforcement

## Slide 33
Introduction
Lighting Depth
Electrical Depth
Mechanical Breadth
Acoustical Breadth and MAE Depth
Introduction
Acoustical Breadth (RT Analysis)
MAE Depth (Audio Amplification System Analysis)
Conclusion
STI Plot With Reinforcement
STI Plot Without Reinforcement

## Slide 34
Introduction
Lighting Depth
Electrical Depth
Mechanical Breadth
Acoustical Breadth and MAE Depth
Conclusion
Summary
Acknowledgements
Electrical Depth
Lighting Depth
Acoustical Breadth/MAE Depth
Mechanical Breadth

## Slide 35
Acknowledgements
Mr. Gerald Anderson
Mr. Scott Mack and the team at H.F. Lenz
Dr. Richard Mistrick
Mr. Gary Golaszewski
Dr. Michelle Vigeant
Dr. James Freihaut
Introduction
Lighting Depth
Electrical Depth
Mechanical Breadth
Acoustical Breadth and MAE Depth
Conclusion
Summary
Acknowledgements

## Slide 36
Introduction
Lighting Depth
Electrical Depth
Mechanical Breadth
Acoustical Breadth and MAE Depth
Conclusion
Senior Thesis Presentation
Bucks County Justice Center
Doylestown, PA
Joshua Lange
Lighting/Electrical
Thesis Adviser: Dr. Richard Mistrick
Electrical Adviser: Gary Golaszewski
4/15/2015

## Slide 37
Main Lobby 1000

## Slide 38
Open Office 2520

## Slide 39
Ceremonial Courtroom 4100
Space | Fixture | Quantity | Watts per fixture | Total watts | Room Area | LPD (W/SF) | Space Type | Allowed LPD | Allowed Watts
Ceremonial Courtroom 4100 |  |  |  | 1905 | 2900 | 0.66 | Courtroom | 1.72 | 4988
 | R1 | 5 | 22.4 | 112 |  |  |  |  | 
 | R2 | 24 | 14.1 | 338.4 |  |  |  |  | 
 | R4 | 13 | 14.1 | 183.3 |  |  |  |  | 
 | R10 | 3 | 43.6 | 130.8 |  |  |  |  | 
 | R11 | 4 | 31.5 | 126 |  |  |  |  | 
 | S1 | 16 | 63.4 | 1014 |  |  |  |  | 

## Slide 40
Short Circuit Study
Designation | KVA | Primary Voltage | Secondary Voltage | Phase | Type | %Z* | Mounting | I FLA | ISC
T1 | 2000 | 34,500 | 480Y/277 | 3 | Dry | 5.75 | Floor | 7,217 | 125,511
T2 | 30 | 480 | 208Y/120 | 3 | Dry | 1.8 | Hung | 250 | 13,879
T4 | 45 | 480 | 208Y/120 | 3 | Dry | 1.8 | Hung | 375 | 20,818
T29 | 15 | 480 | 208Y/120 | 3 | Dry | 1.9 | Hung | 125 | 6,574
T31 | 75 | 480 | 208Y/120 | 3 | Dry | 1.7 | Hung | 625 | 36,738
Location | Conductor Type | Length (Feet) | Table 5 C | I3∅ | Conductors per phase (n) | VLL | f 3∅ Faults | M | ISC | Notes
Bus #2 Feed | 3 Sets 300 KCMIL | 30 | 18177 | 125,511 | 3 | 480 | 0.25 | 0.80 | 100,476 | Approximate length of conductor from main panel to bus
Level 6 | 800A Bus | 16 | 49300 | 100,476 | 1 | 480 | 0.12 | 0.89 | 89,898 | Length of bus to electrical room based on floor to floor height
Level 5 | 800A Bus | 32 | 49300 | 100,476 | 1 | 480 | 0.24 | 0.81 | 81,335 | 
Level 4 | 800A Bus | 48 | 49300 | 100,476 | 1 | 480 | 0.35 | 0.74 | 74,262 | 
Level 3 | 800A Bus | 64 | 49300 | 100,476 | 1 | 480 | 0.47 | 0.68 | 68,320 | 
Level 2 | 800A Bus | 80 | 49300 | 100,476 | 1 | 480 | 0.59 | 0.63 | 63,259 | 
Level 1 | 800A Bus | 96 | 49300 | 100,476 | 1 | 480 | 0.71 | 0.59 | 58,896 |