## Slide 1
UNIVERSITY OF MARYLAND – BALTIMORE HEALTH SCIENCES FACILITY III
SENIOR THESIS PRESENTATION
KENNETH M. MOORE LIGHTING / ELECTRICAL THESIS ADVISOR │ SHAWN GOOD

## Slide 2
BACKGROUND
PROJECT OVERVIEW
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY

## Slide 3
BACKGROUND
HIGHLY ADVANCED RESEARCH FACILITY
HOUSES RESEARCH GROUPS FOR SCHOOLS OF MEDICINE, PHARMACY, AND DENTISTRY
ARCHITECT HELLMUTH, OBATA, KASSABAUM (HOK)
CONSTRUCTION MANAGER BARTON MALOW COMPANY
OWNED BY UMB OFFICE OF FACILITIES MANAGEMENT
“The Health Sciences Facility III further strengthens our footprint in west Baltimore and, as a result, our economic impact on the city and the state. We’re privileged to be able to help revitalize our critically important Baltimore neighborhoods and the state of Maryland as a whole, and at the same time, enable biomedical research and education that has the potential to save lives.”
Jay A. Perman, MD
President, University of Maryland
SOUTH FAÇADE
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY

## Slide 4
BACKGROUND
PROJECT SIZE 430,000 GSF
CONSTRUCTION TIMELINE JULY 2013 – SEPTEMBER 2017
PROJECT CONSTRUCTION COST $ 216,000,000.00
PROJECT DELIVERY CM AT RISK
NORTH FAÇADE
SOUTH FAÇADE
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY

## Slide 5
BACKGROUND
13 STORIES
MECHANICAL MEZZANINE + PENTHOUSE
7 STORY ATRIUM + 3 MAIN TOWERS
WET LAB + DRY LAB
GREEN ROOF
WEST ELEVATION
EAST ELEVATION
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY

## Slide 6
BACKGROUND
PROJECT LOCATION
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY

## Slide 7
CITY OF BALTIMORE
SEVERAL BLOCKS FROM INNER HARBOR
CENTRAL LOCATION IN UNIVERSITY CAMPUS
666 W. BALTIMORE ST.
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY

## Slide 8
SCHOOL OF DENTISTRY
666 W. BALTIMORE ST.
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY

## Slide 9
SCHOOL OF DENTISTRY
SCHOOL OF MEDICINE
666 W. BALTIMORE ST.
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY

## Slide 10
SCHOOL OF DENTISTRY
SCHOOL OF MEDICINE
SCHOOL OF PHARMACY
666 W. BALTIMORE ST.
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY

## Slide 11
BACKGROUND
DESIGN CONCEPT
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY

## Slide 13
PRODUCTION AND EMISSION OF LIGHT BY A LIVING ORGANISM
GREEK: BIOS MEANING “LIVING”
LATIN: LUMEN MEANING “LIGHT”
BIOLUMINESCENCE
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY

## Slide 14
BACKGROUND
ELEVATOR LOBBY
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY

## Slide 15
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY

## Slide 16
ELEVATOR LOBBY
DESIGN CRITERIA
HIGH PEDESTRIAN ACTIVITY
EFFECTIVE CENTER OF PEDESTRIAN ACTIVITY
ACCESSED VIA MAIN ATRIUM
4 PEDESTRIAN ELEVATORS + STAFF ELEVATOR
CENTRAL INFORMATION DESK
CONNECTS TO MEETING ROOM SPACE
Circulation, Elevator Lobbies | Horizontal (fc) Targets | Vertical (fc) Targets | Avg:Min
Day | 10 | 3 | 4:1
Night | 5 | 2 | 4:1
H @floor; V @ 5’ AFF. |  |  | 
Reception Lobbies | Horizontal (fc) Targets | Vertical (fc) Targets | Avg:Min
Desk Top | 15 | 5 | 4:1
H @3’6” AFF; V @ 5’AFF |  |  | 
Common Space Types | LPD (W/ft2)
General Lobby Space | 0.90
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY

## Slide 17
DESIGN CONSIDERATIONS
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY

## Slide 18
DESIGN CONSIDERATIONS
MECHANICAL SUPPLY VENTS
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY

## Slide 19
LUMINAIRE SUMMARY
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY

## Slide 20
LUMINAIRE SUMMARY
RECESSED FLUORESCENT GRAZE DOWNLIGHT
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY

## Slide 21
LUMINAIRE SUMMARY
RECESSED FLUORESCENT GRAZE DOWNLIGHT
RECESSED LED DOWNLIGHT – 13’ 6” MH
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY

## Slide 22
RECESSED FLUORESCENT GRAZE DOWNLIGHT
RECESSED LED DOWNLIGHT – 13’ 6” MH
RECESSED LED DOWNLIGHT – 13’ 2” MH
LUMINAIRE SUMMARY
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY

## Slide 23
CALCULATION SUMMARY
10
20
30
40
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY

## Slide 24
DESIGN SUMMARY
Lighting Criterion | Recommended Value | Achieved Value | Criteria Met
LPD Area Summary | < 0.9 W/ft2 | 0.843 W/ft2 | Yes
Average Target Illuminance | ≥ 10 fc | 22.3 fc | Yes
Desk Surface Illuminance | 15 fc | 16.8 fc | Yes
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY

## Slide 25
DESIGN SUMMARY
Lighting Criterion | Recommended Value | Achieved Value | Criteria Met
LPD Area Summary | < 0.9 W/ft2 | 0.843 W/ft2 | Yes
Average Target Illuminance | ≥ 10 fc | 22.3 fc | Yes
Desk Surface Illuminance | 15 fc | 16.8 fc | Yes
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY

## Slide 26
BACKGROUND
NANOMEDICINE WORKSTATION
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY

## Slide 27
NANOMEDICINE WORKSTATION
RESEARCH AND DEVELOPMENT LAB
PRIMARILY CASEWORK, SINKS, SHELVING UNITS
MOVABLE BENCH SECTIONS WITH SHELVING
10 VENTILATION FUME HOODS
DESIGN CRITERIA
LAB SPACE
Classrooms: Science Labs | Horizontal (fc) Targets | Vertical (fc) Targets | Avg:Min
Bench | 50 | 30 | 1:5:1
H @ 3’ ; V @ 4’ 6” AFF. |  |  | 
Common Space Types | LPD (W/ft2)
Workshop | 1.59
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY

## Slide 28
DESIGN CONSIDERATIONS
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY

## Slide 29
DESIGN CONSIDERATIONS
PROVIDE TARGET ILLUMINANCE RECOMMENDED FOR SCIENCE LABS
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY

## Slide 30
DESIGN CONSIDERATIONS
PROVIDE TARGET ILLUMINANCE RECOMMENDED FOR SCIENCE LABS
WORKSTATION BENCHES ARE PRIORITY
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY

## Slide 31
DESIGN CONSIDERATIONS
PROVIDE TARGET ILLUMINANCE RECOMMENDED FOR SCIENCE LABS
WORKSTATION BENCHES ARE PRIORITY
AVOID SHELVING, CASEWORK, AND FUME HOODS
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY

## Slide 32
LUMINAIRE SUMMARY
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY

## Slide 33
LUMINAIRE SUMMARY
RECESSED 1 x 4 LINEAR FLUORESCENT DOWNLIGHT
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY

## Slide 34
LUMINAIRE SUMMARY
RECESSED 1 x 4 LINEAR FLUORESCENT DOWNLIGHT
RECESSED LED DOWNLIGHT
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY

## Slide 35
CALCULATION SUMMARY
30
40
50
60
70
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY

## Slide 36
DESIGN SUMMARY
Lighting Criterion | Recommended Value | Achieved Value | Criteria Met
LPD Area Summary | < 1.59 W/ft2 | 0.973 W/ft2 | Yes
Average Target Illuminance | ≥ 50 fc | 62.8 fc | Yes
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY

## Slide 37
DESIGN SUMMARY
Lighting Criterion | Recommended Value | Achieved Value | Criteria Met
LPD Area Summary | < 1.59 W/ft2 | 0.973 W/ft2 | Yes
Average Target Illuminance | ≥ 50 fc | 62.8 fc | Yes
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY

## Slide 38
BACKGROUND
MEETING ROOM
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY

## Slide 39
MEETING ROOM
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY
Conference: Meeting | Horizontal (fc) Targets | Vertical (fc) Targets | Avg:Min
Discourse | 30 | 10 | 1:5:1
H @ 2’ 6” ; V @ presentation board height. |  |  | 
Common Space Types | LPD (W/ft2)
Conference/Meeting | 1.23
DESIGN CRITERIA
MAIN CONFERENCE ROOM
PRESENTATION AND LECTURE SPACE
ADJUSTABLE FURNITURE TO MEET SPACE REQUIREMENTS

## Slide 40
DESIGN CONSIDERATIONS
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY

## Slide 41
DESIGN CONSIDERATIONS
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY
MECHANICAL SUPPLY VENTS

## Slide 42
DESIGN CONSIDERATIONS
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY
MECHANICAL SUPPLY VENTS
PROJECTOR SYSTEMS

## Slide 43
LUMINAIRE SUMMARY
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY

## Slide 44
LUMINAIRE SUMMARY
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY
RECESSED LED SLOT LUMINAIRE

## Slide 45
LUMINAIRE SUMMARY
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY
RECESSED LED SLOT LUMINAIRE
RECESSED LED LINEAR DOWNLIGHT

## Slide 46
LUMINAIRE SUMMARY
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY
RECESSED LED SLOT LUMINAIRE
RECESSED LED LINEAR DOWNLIGHT
RECESSED LED WALL WASHERS

## Slide 47
CALCULATION SUMMARY
20
30
40
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY

## Slide 48
DESIGN SUMMARY
Lighting Criterion | Recommended Value | Achieved Value | Criteria Met
LPD Area Summary | < 1.23 W/ft2 | 0.685 W/ft2 | Yes
Average Target Illuminance | ≥ 30 fc | 34.9 fc | Yes
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY

## Slide 49
DESIGN SUMMARY
Lighting Criterion | Recommended Value | Achieved Value | Criteria Met
LPD Area Summary | < 1.23 W/ft2 | 0.685 W/ft2 | Yes
Average Target Illuminance | ≥ 30 fc | 34.9 fc | Yes
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY

## Slide 50
BACKGROUND
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY
REPORT BREADTHS

## Slide 51
BACKGROUND
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY
FAÇADE BREADTH STUDY RAIN SCREEN ADDED TO EXTERIOR
STRUCTURAL BREADTH STUDY RAIN SCREEN LOAD SUMMARY

## Slide 52
BACKGROUND
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY
ELECTRICAL DEPTH

## Slide 53
BACKGROUND
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY
WATTSTOPPER Isolé IDP-3050 Power Strip with Personal Sensor IDP-3050-A, DI-110
CONTROLS DESKTOP EQUIPMENT
SAVES ENERGY WITH PERSONAL OCCUPANCY SENSOR
CONSISTS OF 8 OUTLET STRIP (6 CONTROLLED BY OCUPANCY)
EQUIPPED WITH SURGE PROTECTION
ENERGY SAVINGS

## Slide 54
BACKGROUND
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY
USED PRIMARILY IN OFFICE SPACE
8 FLOORS OFFICE SPACE
TOTAL SUPPLY RATE OF THE BUILDING = 15.458 C/KWH
INITIAL STUDY SHOWS NEW SUPPLY RATE = 13.912 C/KWH
SAVING ROUGHLY 10%
ENERGY SAVINGS

## Slide 55
BACKGROUND
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY
REPORT SUMMARY

## Slide 56
BACKGROUND
HIGHLY ADVANCED RESEARCH FACILITY
HOUSES RESEARCH GROUPS FOR SCHOOLS OF MEDICINE, PHARMACY, AND DENTISTRY
SHARE NANOMEDICINE CENTER
CENTRAL CAMPUS LOCATION
HEART OF BALTIMORE
EXPECTED COMPLETION DATE – SEPTEMBER 2017
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY

## Slide 57
BACKGROUND
Lighting Criterion | Recommended Value | Achieved Value | Criteria Met
LPD Area Summary | < 1.59 W/ft2 | 0.973 W/ft2 | Yes
Average Target Illuminance | ≥ 50 fc | 62.8 fc | Yes
Lighting Criterion | Recommended Value | Achieved Value | Criteria Met
LPD Area Summary | < 0.9 W/ft2 | 0.843 W/ft2 | Yes
Average Target Illuminance | ≥ 10 fc | 22.3 fc | Yes
Desk Surface Illuminance | 15 fc | 16.8 fc | Yes
ELEVATOR LOBBY
WORKSTATION
MEETING ROOM
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY
Lighting Criterion | Recommended Value | Achieved Value | Criteria Met
LPD Area Summary | < 1.23 W/ft2 | 0.685 W/ft2 | Yes
Average Target Illuminance | ≥ 30 fc | 34.9 fc | Yes

## Slide 58
BACKGROUND
Dilaura, D. L., Houser, K. W., Mistrick R. G., Steffy G. R. (2011). The Lighting Handbook (10th ed.). New York, NY: Illuminating Engineering Society.
ASHRAE Standard 90.1 – Energy Standard for Buildings Except Low-Rise Residential Buildings. 2010th ed. ASHRAE. Print.
http://www.hok.com/design/type/science-technology/university-of-maryland-baltimore-health-sciences-facility-iii/
http://www.wattstopper.com/products/sensors/plug-load-controls/idp-3050.aspx#.VS4_EU3wvGh
PROJECT OVERVIEW PROJECT LOCATION DESIGN CONCEPT ELEVATOR LOBBY NANOMEDICINE WORKSTATION MEETING ROOM REPORT BREADTHS ELECTRICAL DEPTH REPORT SUMMARY
THANK YOU