## Slide 1
NOLAN JAMES AMOS
Dr. William Bahnfleth, Faculty Consultant
architectural engineering senior thesis
mechanical option
PHOENIXVILLE EARLY LEARNING CENTER
AND ELEMENTARY SCHOOL
phoenixville, pennsylvania

## Slide 2
PHOENIXVILLE EARLY LEARNING CENTER
AND ELEMENTARY SCHOOL
NOLAN JAMES AMOS |ae senior thesis
overview
site conditions
Rendering property of SHRADERgroup Architecture

## Slide 3
PHOENIXVILLE EARLY LEARNING CENTER
AND ELEMENTARY SCHOOL
NOLAN JAMES AMOS |ae senior thesis
overview
2 Stories – 41’-10”
Area: 152,000 SQ. FT.
Occupancy: 1526
Grades: K-5
architectural features
Rendering property of SHRADERgroup Architecture
Rendering property of SHRADERgroup Architecture
Rendering property of SHRADERgroup Architecture

## Slide 4
existing mechanical system
PHOENIXVILLE EARLY LEARNING CENTER
AND ELEMENTARY SCHOOL
NOLAN JAMES AMOS |ae senior thesis
overview
WATER-SIDE EXISTING SYSTEM
AIR-SIDE EXISTING SYSTEM
SPACE CONSIDERATIONS

## Slide 5
existing energy consumption
PHOENIXVILLE EARLY LEARNING CENTER
AND ELEMENTARY SCHOOL
NOLAN JAMES AMOS |ae senior thesis
overview
MODELED ENERGY LOADS
SUMMER AND WINTER DESIGN CONDITIONS
MONTHLY UTILITY USAGE
Summer Design Conditions
charts designed with tool from cal berkley
Winter Design Conditions

## Slide 6
project goals
PHOENIXVILLE EARLY LEARNING CENTER
AND ELEMENTARY SCHOOL
NOLAN JAMES AMOS |ae senior thesis
mechanical depth
increase energy efficiency
  space utilization
ease of maintenance
lower costs
  maintenance
  upfront
  lifecycle
PROJECT GOALS
ground-coupled heat pump system
variable refrigerant flow system
centralized air handling unit
ALTERNATIVES CONSIDERED
BASE SYSTEM
water source heat pumps
Rendering property of SHRADERgroup Architecture

## Slide 7
PHOENIXVILLE EARLY LEARNING CENTER
AND ELEMENTARY SCHOOL
NOLAN JAMES AMOS |ae senior thesis
mechanical depth
ENERGY AND EMISSIONS ANALYSIS
The loads are translated into energy consumption by source. The scope of these calculations includes district hot and/or chilled water and the total amount of makeup water required by a cooling tower—even the energy consumed by the crankcase heaters of a reciprocating compressor.
People contribute to the latent and sensible heating load. Because of the high occupancy of the building, energy loads go up in the summer months.
energy analysis

## Slide 8
PHOENIXVILLE EARLY LEARNING CENTER
AND ELEMENTARY SCHOOL
NOLAN JAMES AMOS |ae senior thesis
mechanical depth
MAINTENANCE
maintenance
Air Filters
Condensate Drainage
Underground Pipes

## Slide 9
PHOENIXVILLE EARLY LEARNING CENTER
AND ELEMENTARY SCHOOL
NOLAN JAMES AMOS |ae senior thesis
mechanical depth
space considerations
Ground Source Heat Pumps
Closets in Corridors –
1575 sqft + ~150,000 sqft borefield
SPACE CONSIDERATIONS

## Slide 10
PHOENIXVILLE EARLY LEARNING CENTER
AND ELEMENTARY SCHOOL
Nolan Amos - Mechanical Option - Dr. William Bahnfleth, Faculty Consultant
NOLAN JAMES AMOS |ae senior thesis
mechanical depth
SPACE CONSIDERATIONS
space considerations
Variable Refrigerant Flow system
Terminal Units in Classrooms
Control Units in Corridors

## Slide 11
NOLAN JAMES AMOS |ae senior thesis
mechanical depth
space considerations
Centralized Air Handling Unit
Multiple Units on Ceiling
= Centralized Air Handling Unit
PHOENIXVILLE EARLY LEARNING CENTER
AND ELEMENTARY SCHOOL
SPACE CONSIDERATIONS

## Slide 12
PHOENIXVILLE EARLY LEARNING CENTER
AND ELEMENTARY SCHOOL
NOLAN JAMES AMOS |ae senior thesis
mechanical depth
Heating balalksk
Cost Analysis
cost analysis
VRF – Did not pay back
AHU – Did not pay back
Simple Payback = 9.34 years
Discount Payback = 11.37 years

## Slide 13
PHOENIXVILLE EARLY LEARNING CENTER
AND ELEMENTARY SCHOOL
NOLAN JAMES AMOS |ae senior thesis
BREADTH STUDIES
Electrical Breadth – Electrical Load
breadth
project goals
Results: VRF System used Less Power
Construction Breadth – Scheduling and cost impacts of geothermal system

## Slide 14
GEOTHERMAL BORE FIELD
PHOENIXVILLE EARLY LEARNING CENTER
AND ELEMENTARY SCHOOL
NOLAN JAMES AMOS |ae senior thesis
Total Head Loss through well field: 363 feet
breadth
bore field design
Rendering property of SHRADERgroup Architecture

## Slide 15
PHOENIXVILLE EARLY LEARNING CENTER
AND ELEMENTARY SCHOOL
NOLAN JAMES AMOS |ae senior thesis
GEOTHERMAL BORE FIELD
WELL FIELD LAYOUT
breadth
bore field design

## Slide 16
PHOENIXVILLE EARLY LEARNING CENTER
AND ELEMENTARY SCHOOL
NOLAN JAMES AMOS |ae senior thesis
CONCLUSIONS
Energy Emissions: GSHP
Space Utilization: VRF
Maintenance: GSHP/WSHP
Cost: GSHP
conclusions
Rendering property of SHRADERgroup Architecture

## Slide 17
PHOENIXVILLE EARLY LEARNING CENTER
AND ELEMENTARY SCHOOL
NOLAN JAMES AMOS |ae senior thesis
AKNOWLEDGEMENTS
Dr. Bahnfelth
Barton Associates
SCHRADERgroup Architecture
Phoenixville School District
AE Class of 2016
My Parents
conclusions
Rendering property of SHRADERgroup Architecture
Questions?

## Slide 18
PHOENIXVILLE EARLY LEARNING CENTER
AND ELEMENTARY SCHOOL
NOLAN JAMES AMOS |ae senior thesis
conclusions
Rendering property of SHRADERgroup Architecture
Questions?

## Slide 19
PHOENIXVILLE EARLY LEARNING CENTER
AND ELEMENTARY SCHOOL
NOLAN JAMES AMOS |ae senior thesis
Appendix
Bore hole calculations
2.
1.
3.
appendix

## Slide 20
PHOENIXVILLE EARLY LEARNING CENTER
AND ELEMENTARY SCHOOL
NOLAN JAMES AMOS |ae senior thesis
Appendix
appendix
vrf analysis